## BoQ1
Government eProcurement System Created By: Ram kesh Meena Created Date/Time: 07-Mar-2022 05:59 PM Tender Title: Provision of gas based fire suppression system at Kishangarh Airport, Ajmer Tender ID: 2022_AAI_103497_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work:- Provision of gas based fire suppression system at Kishangarh Airport, Ajmer.
Tender ID: 2022_AAI_103497_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | advent electric technologies pvt. ltd.(GSTN-07AAJCA2055K1ZN) |  | Nexus Fire And Security Systems(GSTN-07AAKFN7125K1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | GLYPTIC(GSTN-19AAMFG0478J1ZY) |  | Vimal Fire Controls private Limited(GSTN-24AAACV9204C1ZR) |  | MANASH INDUSTRIES(GSTN-NA) |  | APEXINFRANET PVT LTD(GSTN-NA) |  | Lambda Technologies LLP(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & filling of NOVEC™1230 gas in the existing seamleass storage cylinder complete as required as per technical specifications. | 303.00 | Kg | 10.00 | 2500.00 | 757500.00 | 2150.00 | 651450.00 | 2800.00 | 848400.00 | 3207.60 | 971902.80 | 2610.00 | 790830.00 | 2391.00 | 724473.00 | 2600.00 | 787800.00 | 2300.00 | 696900.00 | 651450.00 | Nexus Fire And Security Systems
2.00 | Supply & fixing of 140 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent with complete valve assembly, pressure gauge with all safety features, cylinder strap etc. complete as required as per technical specifications. | 1.00 | No. | 10.00 | 170000.00 | 170000.00 | 90500.00 | 90500.00 | 150000.00 | 150000.00 | 153189.00 | 153189.00 | 120600.00 | 120600.00 | 122625.00 | 122625.00 | 125000.00 | 125000.00 | 165000.00 | 165000.00 | 90500.00 | Nexus Fire And Security Systems
3.00 | Supply & fixing of 80 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent with complete valve assembly, pressure gauge with all safety features, cylinder strap etc. complete as required as per technical specifications. | 2.00 | No. | 10.00 | 130000.00 | 260000.00 | 77000.00 | 154000.00 | 100000.00 | 200000.00 | 118448.00 | 236896.00 | 108000.00 | 216000.00 | 101500.00 | 203000.00 | 83000.00 | 166000.00 | 130000.00 | 260000.00 | 154000.00 | Nexus Fire And Security Systems
4.00 | Supply & fixing of 34 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent with complete valve assembly, pressure gauge with all safety features, cylinder strap etc. complete as required as per technical specifications. | 2.00 | No. | 10.00 | 90000.00 | 180000.00 | 53000.00 | 106000.00 | 80000.00 | 160000.00 | 77651.00 | 155302.00 | 81000.00 | 162000.00 | 82750.00 | 165500.00 | 51000.00 | 102000.00 | 115000.00 | 230000.00 | 102000.00 | APEXINFRANET PVT LTD
5.00 | Supply & fixing of control head suitable for operating electrically from fire detection and control panel with other master adapter kit accessories complete as required as per technical specifications. | 5.00 | No. | 10.00 | 12000.00 | 60000.00 | 25000.00 | 125000.00 | 20000.00 | 100000.00 | 57479.00 | 287395.00 | 63000.00 | 315000.00 | 17938.00 | 89690.00 | 21000.00 | 105000.00 | 34000.00 | 170000.00 | 60000.00 | advent electric technologies pvt. ltd.
6.00 | Supply & fixing of manually operated actuator/lever to operate the gas manually from the cylinder with all accessories complete as required as per technical specifications. | 5.00 | No. | 10.00 | 8000.00 | 40000.00 | 1000.00 | 5000.00 | 3800.00 | 19000.00 | 7496.00 | 37480.00 | 36000.00 | 180000.00 | 15381.00 | 76905.00 | 11000.00 | 55000.00 | 10000.00 | 50000.00 | 5000.00 | Nexus Fire And Security Systems
7.00 | Supply & fixing of high pressure flexible rubber discharge hose with braided reinforcement to route the NOVEC™ 1230 gas agent from storage cylinders to the discharge piping complete as required as per technical specifications. | 5.00 | No. | 10.00 | 9000.00 | 45000.00 | 6400.00 | 32000.00 | 6000.00 | 30000.00 | 10640.00 | 53200.00 | 14400.00 | 72000.00 | 23688.00 | 118440.00 | 19000.00 | 95000.00 | 5000.00 | 25000.00 | 25000.00 | Lambda Technologies LLP
8.00 | Supply & fixing of suitable size discharge nozzles to provide proper flow and distribution of gas to flood hazard area complete as required as per technical specifications. | 30.00 | Each | 10.00 | 2800.00 | 84000.00 | 3200.00 | 96000.00 | 3000.00 | 90000.00 | 3645.00 | 109350.00 | 8100.00 | 243000.00 | 5244.00 | 157320.00 | 5500.00 | 165000.00 | 5175.00 | 155250.00 | 84000.00 | advent electric technologies pvt. ltd.
9.00 | Supply & fixing of gas discharge pressure switch to trip A.C/ electrical equipment etc. complete as required as per technical specifications. | 5.00 | Job | 10.00 | 8000.00 | 40000.00 | 4500.00 | 22500.00 | 12500.00 | 62500.00 | 22571.00 | 112855.00 | 12600.00 | 63000.00 | 12000.00 | 60000.00 | 5700.00 | 28500.00 | 14950.00 | 74750.00 | 22500.00 | Nexus Fire And Security Systems
10.00 | Supply & fixing of manual gas release station having manual break glass push button type call points with auxiliary contacts,hammer etc complete as required as per technical specifications. | 5.00 | Job | 10.00 | 1050.00 | 5250.00 | 1200.00 | 6000.00 | 3000.00 | 15000.00 | 1261.00 | 6305.00 | 4500.00 | 22500.00 | 1813.00 | 9065.00 | 1200.00 | 6000.00 | 3105.00 | 15525.00 | 5250.00 | advent electric technologies pvt. ltd.
11.00 | Supply & fixing of manual gas abort station having manual break glass push button type call points with auxiliary contacts, hammer gland etc complete as required as per technical specifications. | 5.00 | Job | 10.00 | 1050.00 | 5250.00 | 1200.00 | 6000.00 | 3000.00 | 15000.00 | 1261.00 | 6305.00 | 3600.00 | 18000.00 | 1813.00 | 9065.00 | 1200.00 | 6000.00 | 3105.00 | 15525.00 | 5250.00 | advent electric technologies pvt. ltd.
12.00 | Supply, Installation, Testing & Commissioning of 02-zone fire detection and alarm panel with one gas release module, battery backup with built in charger, hooter, provision of testing and reseting, gas release indication alarms and system wiring meeting all system requirements etc. complete as required as per technical specifications. | 5.00 | Job | 10.00 | 15000.00 | 75000.00 | 16000.00 | 80000.00 | 20000.00 | 100000.00 | 7082.00 | 35410.00 | 90000.00 | 450000.00 | 11625.00 | 58125.00 | 13500.00 | 67500.00 | 19550.00 | 97750.00 | 35410.00 | GLYPTIC
13.00 | Supply & Fixing of conventional type photo electric smoke detectors compatible to fire detection and gas release panel with all accessories like base , box etc complete as required as per technical specifications. | 46.00 | Each | 10.00 | 1100.00 | 50600.00 | 1300.00 | 59800.00 | 2000.00 | 92000.00 | 803.00 | 36938.00 | 2250.00 | 103500.00 | 1000.00 | 46000.00 | 1400.00 | 64400.00 | 1500.00 | 69000.00 | 36938.00 | GLYPTIC
14.00 | Supply & Fixing of flasher sounder complete as required as per technical specifications. | 5.00 | Each | 10.00 | 1050.00 | 5250.00 | 1400.00 | 7000.00 | 1500.00 | 7500.00 | 2723.00 | 13615.00 | 13500.00 | 67500.00 | 2500.00 | 12500.00 | 1400.00 | 7000.00 | 1150.00 | 5750.00 | 5250.00 | advent electric technologies pvt. ltd.
15.00 | Supply & laying of 1.1 KV,PVC/XLPE insulated, FRLS PVC sheathed multi stranded copper conductor armoured cable of size 2x1.5sq mm conforming to IS:7098 (part-I) with upto date ammendments in existing pipes/surface or above ceiling etc complete as required. | 500.00 | Mtr | 10.00 | 100.00 | 50000.00 | 100.00 | 50000.00 | 120.00 | 60000.00 | 138.63 | 69315.00 | 135.00 | 67500.00 | 119.00 | 59500.00 | 125.00 | 62500.00 | 92.00 | 46000.00 | 46000.00 | Lambda Technologies LLP
16.00 | Supply & fixing of 80mm dia MS seamless pipe, ASTM A-106(Sch 40), Grade B complete with all fittings and painting with one coat of redoxide and 2 coats of red enamel paint; fixing on ceiling with suspended supports, clamps anchor fastners, cutting chases / holes in false ceiling and making good the same etc complete as required as per technical specifications. | 30.00 | Mtr | 10.00 | 1320.00 | 39600.00 | 1900.00 | 57000.00 | 1400.00 | 42000.00 | 2378.00 | 71340.00 | 1440.00 | 43200.00 | 1469.00 | 44070.00 | 1400.00 | 42000.00 | 3000.00 | 90000.00 | 39600.00 | advent electric technologies pvt. ltd.
17.00 | Supply & fixing of 50mm dia MS seamless pipe, ASTM A-106(Sch 40), Grade B complete with all fittings and painting with one coat of redoxide and 2 coats of red enamel paint; fixing on ceiling with suspended supports, clamps anchor fastners, cutting chases / holes in false ceiling and making good the same etc complete as required as per technical specifications. | 30.00 | Mtr | 10.00 | 1100.00 | 33000.00 | 1700.00 | 51000.00 | 1097.00 | 32910.00 | 1228.00 | 36840.00 | 350.00 | 10500.00 | 1125.00 | 33750.00 | 1300.00 | 39000.00 | 2100.00 | 63000.00 | 10500.00 | Vimal Fire Controls private Limited
18.00 | Supply & fixing of 32 mm dia MS seamless pipe, ASTM A-106(Sch 40), Grade B complete with all fittings and painting with one coat of redoxide and 2 coats of red enamel paint; fixing on ceiling with suspended supports, clamps anchor fastners, cutting chases / holes in false ceiling and making good the same etc complete as required as per technical specifications. | 30.00 | Mtr | 10.00 | 750.00 | 22500.00 | 1600.00 | 48000.00 | 959.00 | 28770.00 | 922.00 | 27660.00 | 900.00 | 27000.00 | 838.00 | 25140.00 | 1250.00 | 37500.00 | 1700.00 | 51000.00 | 22500.00 | advent electric technologies pvt. ltd.
19.00 | S.I.T.C of single loop fire alarm system control panel UL listed/approved complete with a) Loop card with minimum loop capacity of 198 devices (The loop card should recognize all type of detectors like heat , smoke , laser detectors etc ) b) 80 Character display unit c) Power supply unit d) 12 V, 7 Ah Sealed maintenance free batteries 2 nos. e) Auto dialer facility withs 20 nos. dialer (U.L. Listed) | 1.00 | Each | 10.00 | 68000.00 | 68000.00 | 110000.00 | 110000.00 | 80000.00 | 80000.00 | 68910.00 | 68910.00 | 180000.00 | 180000.00 | 102125.00 | 102125.00 | 95000.00 | 95000.00 | 95000.00 | 95000.00 | 68000.00 | advent electric technologies pvt. ltd.
20.00 | SITC of Analoge addressable multi criteria photo electric smokedetector complete with base and mounting box with all mounting accessories (U.L. Listed) | 2.00 | Each | 10.00 | 1750.00 | 3500.00 | 2400.00 | 4800.00 | 3000.00 | 6000.00 | 2155.00 | 4310.00 | 2700.00 | 5400.00 | 2494.00 | 4988.00 | 2400.00 | 4800.00 | 2070.00 | 4140.00 | 3500.00 | advent electric technologies pvt. ltd.
21.00 | SITC of Analoge addressable sounder cum strobe complete with base and mounting box with all mounting accessories (U.L. Listed) | 1.00 | Each | 10.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 2345.00 | 2345.00 | 18000.00 | 18000.00 | 4625.00 | 4625.00 | 3500.00 | 3500.00 | 4140.00 | 4140.00 | 2345.00 | GLYPTIC
22.00 | SITC of Analoge addressable manual call point complete with back box with all mounting accessories (U.L. Listed) | 1.00 | Each | 10.00 | 1800.00 | 1800.00 | 2900.00 | 2900.00 | 3000.00 | 3000.00 | 2345.00 | 2345.00 | 5400.00 | 5400.00 | 3338.00 | 3338.00 | 3500.00 | 3500.00 | 2300.00 | 2300.00 | 1800.00 | advent electric technologies pvt. ltd.
23.00 | SITC of Analoge addressable monitor module complete with back box with all mounting accessories for integration of suppression system panels with main fire alarm panel. | 1.00 | Each | 10.00 | 1800.00 | 1800.00 | 2700.00 | 2700.00 | 3000.00 | 3000.00 | 2218.96 | 2218.96 | 7200.00 | 7200.00 | 3000.00 | 3000.00 | 3200.00 | 3200.00 | 2185.00 | 2185.00 | 1800.00 | advent electric technologies pvt. ltd.
24.00 | SITC of remote response indicator including connections as required | 20.00 | Each | 10.00 | 120.00 | 2400.00 | 120.00 | 2400.00 | 200.00 | 4000.00 | 96.00 | 1920.00 | 270.00 | 5400.00 | 100.00 | 2000.00 | 75.00 | 1500.00 | 86.25 | 1725.00 | 1500.00 | APEXINFRANET PVT LTD
| Total in Figures |  |  |  |  | 2003450.00 |  | 1774050.00 |  | 2154080.00 |  | 2503346.76 |  | 3193530.00 |  | 2135244.00 |  | 2072700.00 |  | 2389940.00
Lowest Amount Quoted BY: Nexus Fire And Security Systems(1774050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of gas based fire suppression system at Kishangarh Airport, Ajmer Tender ID: 2022_AAI_103497_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nexus Fire And Security Systems | 1774050.00 | L1
| 2 | advent electric technologies pvt. ltd. | 2003450.00 | L2
| 3 | APEXINFRANET PVT LTD | 2072700.00 | L3
| 4 | MANASH INDUSTRIES | 2135244.00 | L4
| 5 | CENTRE TAP ENGINEERING | 2154080.00 | L5
| 6 | Lambda Technologies LLP | 2389940.00 | L6
| 7 | GLYPTIC | 2503346.76 | L7
| 8 | Vimal Fire Controls private Limited | 3193530.00 | L8