## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 04-Mar-2022 12:00 PM Tender Title: Annual operation and maintenance contract of E and M installations in Ancillary Building and AAI Residential colony at SGRDJ International Airport, Amritsar (for 02 years). Tender ID: 2022_AAI_103723_1
Tender Inviting Authority: <Jt. General Manager, Engg.(Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Annual Operation & Maintenance Contract of E & M installations in Ancillary Buildings and AAI Residential Colony at SGRDJ International Airport, Amritsar (for 02 years).>
Contract No: <AAI/ASR/ENGG-E/eNIT-14/2021-22>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Preventive / breakdown maintenance, repair and operation of Electrical & Mechanical installations in AAI Residential Colony, Cargo Complex, CWC Building, MT Section, AAI Colony Street lights, Park lights, Community hall, Approach Road & Cargo Road lights, Old Power House, Transmitter, CISF ladies Barrack etc. and also operation of fresh water and sewerage pumps including repair & maintenance of above facilities , attending to complaints/ faults/ breakdowns and taking recification action, ensuring serviceablility / satisfactory working condition of the system, maintenance of records / documentation etc. as per the detailed specifications, terms and conditions covered under this contract on all days including Sunday and holidays through out contract period. | 24.00 | Month |  | 410000.00 | 9840000.00 | 350000.00 | 8400000.00 | 8400000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Digging, dismantling of cable for finding out the fault in LT underground Cable and after repairing laying of the same direct in ground including putting new sand and using old bricks and making good the same. | 400.00 | Mtr |  | 100.00 | 40000.00 | 10.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Maintenance of Ceiling Fans upto 1400 mm sweep Overhauling , Oiling and greasing of fan, bush, replacement, quarter pins, wire with 1.5 sq.mm copper wire & other minor repairs i/c pasting of the sticker clearing mentioning date of maintenance complete as required. | 300.00 | Job |  | 150.00 | 45000.00 | 10.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
4.00 | Maintenance of Exhaust Fans upto 450 mm Overhauling , Oiling and greasing of exhaust fan, bush, replacement, quarter pins, wire with 1.5 sq.mm copper wire & other minor repairs i/c pasting of the sticker clearing mentioning date of maintenance complete as required. | 100.00 | Job |  | 150.00 | 15000.00 | 10.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
5.00 | Rewinding of Ceiling fan motor upto 1400 mm sweep with suitable copper winding wire as reqd complete in all respect i/c pasting of the sticker clearing mentioning date of rewinding. (Dismantle copper wire shall be kept by the contractor need not to be returned & rewound motor will have minimum waranty period of 06 (Six) months). | 120.00 | Job |  | 350.00 | 42000.00 | 10.00 | 1200.00 | 1200.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Rewinding of Exhaust fan motor upto 450 mm sweep, desert coolers motor with suitable copper winding wire as reqd complete in all respect i/c pasting of the sticker clearing mentioning date of rewinding . (Dismantle copper wire shall be kept by the contractor need not to be returned & rewound motor will have minimum waranty period of 06 (Six) months). | 70.00 | Job |  | 500.00 | 35000.00 | 10.00 | 700.00 | 700.00 | JCC ENGINEERS PRIVATE LIMITED
7.00 | Rewinding of wall mount fan motor upto 650 mm sweep, with suitable copper winding wire as reqd complete in all respect i/c pasting of the sticker clearing mentioning date of rewinding . (Dismantle copper wire shall be kept by the contractor need not to be returned & rewound motor will have minimum waranty period of 06 (Six) months).
7.01 | Upto 450 mm | 20.00 | Job |  | 500.00 | 10000.00 | 200.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
7.02 | Between 450 mm to 650 mm | 10.00 | Job |  | 1000.00 | 10000.00 | 300.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
8.00 | Overhauling of desert coolers i/c replacement of wood wool, manifold pipes, oiling greasing of fan motor, pump motor, painting etc as required complete in all respect. | 50.00 | Job |  | 400.00 | 20000.00 | 100.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Lifting / lowering of followings, sumbmersible pump motor / sewerage pump motor i/c dismantling, checking, re-installation after repairs etc as required complete in all respect.
9.01 | 5/7.5 HP submersible pump motor set | 2.00 | Job |  | 2200.00 | 4400.00 | 500.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
9.02 | 10/12.5 HP submersible pump motor set | 4.00 | Job |  | 3200.00 | 12800.00 | 500.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Rewinding of followings,submersible pump motor / sewerage submersible pump motor / monoblock pump motor with suitable size of copper winding, Replacement of bush, bearing, seal and other worn out spares i/c testing commissioning etc. as required complete in all respect. (Dismantle copper winding shall be property of the contractor).
10.01 | 0.5 /1/3 HP motor of submersible/ monoblock pump motor | 5.00 | Job |  | 800.00 | 4000.00 | 500.00 | 2500.00 | 2500.00 | JCC ENGINEERS PRIVATE LIMITED
10.02 | 5/7.5/ HP motor of submersible/ monoblock pump motor | 2.00 | Job |  | 2000.00 | 4000.00 | 500.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
10.03 | 10/12.5 HP motor of submersible/ monoblock pump motor | 4.00 | Job |  | 5000.00 | 20000.00 | 500.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Repairing / Overhauling of pumps sewerage submersible / monoblock etc. i/c replacement of worn out spares like defective bush, impellers, seals and any other associated parts etc. as required complete in all respect.
11.01 | 0.5/1/3 HP pump of submersible | 5.00 | Job |  | 600.00 | 3000.00 | 300.00 | 1500.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
11.02 | 5/ 7.5 HP motor of monoblock pump | 2.00 | Job |  | 1800.00 | 3600.00 | 1500.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
11.03 | 10/ 12.5 HP motor of monoblock pump | 4.00 | Job |  | 5000.00 | 20000.00 | 3500.00 | 14000.00 | 14000.00 | JCC ENGINEERS PRIVATE LIMITED
12.00 | Preventive / breakdown maintenance, repair and operation of Electrical & Mechanical installations in AAI / BCAS Builiding , fresh water and sewerage pumps including repair & maintenance of above facilities, attending to complaints/ faults/ breakdowns and taking recification action, ensuring serviceablility / satisfactory working condition of the system, maintenance of records / documentation etc. as per the detailed specifications, terms and conditions covered under this contract on all days including Sunday and holidays complete as required. | 24.00 | Month |  | 170000.00 | 4080000.00 | 147000.00 | 3528000.00 | 3528000.00 | JCC ENGINEERS PRIVATE LIMITED
13.00 | Annual Comprehensive Maintenance Contract of 01 No. 20 KVA ONLINE UPS (MAKE EMERSON) including preventive & breakdown maintenance through OEM attending to complaints/ faults/ breakdowns and taking recification action, ensuring serviceablility / satisfactory working condition of UPS, maintenance of records / documentation etc. complete as required & as specified on all working days complete as required. | 24.00 | Month |  | 4500.00 | 108000.00 | 2000.00 | 48000.00 | 48000.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Annual maintenance contract of Electronic Weighing Scales for routine, preventive and breakdown maintenance on monthly basis including all spares except load cells as per manufacturers standards/ AAI Guidelines of the following capacities and accquary class complete as required and as per direction of Engineer-in-charge (For a period of 24 Months).
14.01 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC (For 1st Year) | 3.00 | Each |  | 15000.00 | 45000.00 | 5000.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
14.02 | Capacity 5000 Kg, Lazy Pallet Dolly (For 1st Year) | 1.00 | Each |  | 18000.00 | 18000.00 | 3000.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
14.03 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC (For 2nd Year) | 3.00 | Each |  | 13500.00 | 40500.00 | 5000.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
14.04 | Capacity 5000 Kg, Lazy Pallet Dolly (For 2nd Year) | 1.00 | Each |  | 18000.00 | 18000.00 | 3000.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
15.00 | Govt. Fee for stamping
15.01 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC (For 1st Year) | 3.00 | Each |  | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
15.02 | Capacity 5000 Kg, Lazy Pallet Dolly (1 no.) (For 1st Year) | 1.00 | Each |  | 1950.00 | 1950.00 | 1000.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
15.03 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC (For 2nd Year) | 3.00 | Each |  | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
15.04 | Capacity 5000 Kg, Lazy Pallet Dolly (1 no.) (For 2nd Year) | 1.00 | Each |  | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
16.00 | Supply of Load Cells, as and when required.
16.01 | Capacity 1000 Kg, accuracy class-II, Make LEOTRONIC | 1.00 | Each |  | 12000.00 | 12000.00 | 10605.00 | 10605.00 | 10605.00 | JCC ENGINEERS PRIVATE LIMITED
16.02 | Capacity 5000 Kg, Lazy Pallet Dolly | 1.00 | Each |  | 8000.00 | 8000.00 | 6000.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
17.00 | Providing & fixing of AC single phase static energy meter of accuracy class 1.0, rating 5-30 amp, 240 V, 50 Hz in Polycarbonate body with LCD type display and pilfer proof meter box with sealing screw provision complete as required as per AAI approved make. | 20.00 | Each |  | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
18.00 | Providing & fixing of AC 3 phase static energy meter of accuracy class 1.0, 3 X 240 V, 50 Hz with backlit LCD type display of rating 10-60 amp (measures and displays KWh only) with transparent hinge type box complete as required as per AAI approved make. | 5.00 | Each |  | 4600.00 | 23000.00 | 2500.00 | 12500.00 | 12500.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | Replacement of defective pressure guage strainer and charging with salt including servicing of water treatment plant of BCAS building complete as required. | 4.00 | Job |  | 2200.00 | 8800.00 | 4000.00 | 16000.00 | 8800.00 | Manish Electricals
20.00 | Supply of following lamps of different sizes complete as required.
20.01 | 36w/40w Flourscent Tube Light | 200.00 | Nos. |  | 50.00 | 10000.00 | 40.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED
20.02 | 28W T-5 tube light lamp | 50.00 | Nos. |  | 90.00 | 4500.00 | 55.00 | 2750.00 | 2750.00 | JCC ENGINEERS PRIVATE LIMITED
21.00 | Supply of following Wattages, Cap types, Compact Flourocent Lamp suitable to operate on 240 volt, 50 Hz single phase AC supply complete as required.
21.01 | CFL 15W ordinary holder type | 20.00 | Nos. |  | 150.00 | 3000.00 | 50.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
21.02 | CFL 18W 2 Pin | 40.00 | Nos. |  | 150.00 | 6000.00 | 60.00 | 2400.00 | 2400.00 | JCC ENGINEERS PRIVATE LIMITED
22.00 | Supply of following size of Lamp holders complete as required.
22.01 | Holder button /angle /padent | 50.00 | Nos. |  | 25.00 | 1250.00 | 20.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
23.00 | Supply of following type of MCBs, RCCBs & Isolators suitable for 220V, 50Hz AC supply complete as required.
23.01 | MCB 40A C Series TPN | 10.00 | Nos. |  | 2500.00 | 25000.00 | 200.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
23.02 | MCB 63A C Series TPN | 10.00 | Nos. |  | 2500.00 | 25000.00 | 300.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
23.03 | MCB 40A C Series DP | 10.00 | Nos. |  | 1000.00 | 10000.00 | 400.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
23.04 | MCB 10A C Series SP | 20.00 | Nos. |  | 280.00 | 5600.00 | 100.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
23.05 | MCB 25A C Series SP | 20.00 | Nos. |  | 280.00 | 5600.00 | 100.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
23.06 | MCB 32A C Series SP | 20.00 | Nos. |  | 280.00 | 5600.00 | 100.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
23.07 | MCB 40A C Series SP | 20.00 | Nos. |  | 600.00 | 12000.00 | 100.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
23.08 | FP 40A RCCB, 100mA | 20.00 | Nos. |  | 5000.00 | 100000.00 | 500.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
23.09 | FP 63A RCCB, 100mA | 20.00 | Nos. |  | 5500.00 | 110000.00 | 500.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
23.10 | RCCB 40Amp Double pole, 100mA | 10.00 | Nos. |  | 4000.00 | 40000.00 | 500.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
24.00 | Supply of Capacitor/Condenser for Ceiling fan/Exhaust fan, tube light & Vapour Lamps suitable for 240 volt and 50Hz A.C. Supply complete as required.
24.01 | 2.5 MFD | 150.00 | Nos. |  | 30.00 | 4500.00 | 30.00 | 4500.00 | 4500.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
24.02 | 3.15 MFD | 100.00 | Nos. |  | 30.00 | 3000.00 | 40.00 | 4000.00 | 3000.00 | Manish Electricals
25.00 | Supply of Starter for 36 watt Fluorescent Tube Light of approved make complete as required. | 500.00 | Nos. |  | 10.00 | 5000.00 | 10.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
26.00 | Supply of Ding Dong Bell of approved colour, make, suitable for supply voltage 230V, 50 Hz single phase AC supply complete as required. | 50.00 | Nos. |  | 180.00 | 9000.00 | 150.00 | 7500.00 | 7500.00 | JCC ENGINEERS PRIVATE LIMITED
27.00 | Suppy of following type of Ceiling Fans, Exhaust Fans & Wall fans of different sizes complete as required.
27.01 | Ceiling Fan (1200mm) | 15.00 | Nos. |  | 2200.00 | 33000.00 | 1200.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
27.02 | Exhaust Fan (300mm) heavy duty Metalic body | 10.00 | Nos. |  | 1900.00 | 19000.00 | 1000.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
27.03 | Wall Mounted Fan (400mm) | 15.00 | Nos. |  | 3000.00 | 45000.00 | 1000.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
27.04 | Ventilation Fan Plastic body (250mm) | 5.00 | Nos. |  | 1500.00 | 7500.00 | 800.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
28.00 | Supply of 100W Mini Fan Regulator (Electronic step type) suitable for supply voltage 230V, 50 Hz single phase AC supply complete as required. | 50.00 | Nos. |  | 200.00 | 10000.00 | 250.00 | 12500.00 | 10000.00 | Manish Electricals
29.00 | Supply of drivers suitable for the following type of LED Street Light luminiaries complete in all respect as required at site.
29.01 | 120watt (Make:Havells,Model:Endura cityliner Neo N) | 30.00 | No. |  | 2000.00 | 60000.00 | 200.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
29.02 | 70 watt (Make Instapower, Model Middy Zenith) | 20.00 | No. |  | 900.00 | 18000.00 | 200.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
29.03 | 30watt (Make Instapower, Model Micro Zenith) | 20.00 | No. |  | 800.00 | 16000.00 | 200.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
29.04 | 110 watt (Make philips, model | 20.00 | No. |  | 2000.00 | 40000.00 | 500.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
29.05 | 150 watt (Make philips, model | 20.00 | No. |  | 3000.00 | 60000.00 | 500.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
30.00 | Supply of following Wattages, Cap types, Led bulb suitable to operate on 240 volt, 50 Hz single phase AC supply complete as required.
30.01 | LED 15W ordinary holder type | 50.00 | Nos. |  | 200.00 | 10000.00 | 120.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
30.02 | LED 15W Screw type holder | 50.00 | Nos. |  | 180.00 | 9000.00 | 120.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
31.00 | Supply of Capacitor/Condenser for running/starting of motor/pump, suitable for 240 volt and 50Hz A.C. Supply complete as required.
31.01 | 33 / 36 MFD | 10.00 | Nos. |  | 150.00 | 1500.00 | 60.00 | 600.00 | 600.00 | JCC ENGINEERS PRIVATE LIMITED
31.02 | 42 /45 MFD | 10.00 | Nos. |  | 170.00 | 1700.00 | 80.00 | 800.00 | 800.00 | JCC ENGINEERS PRIVATE LIMITED
31.03 | 100/120 microfarad | 10.00 | Nos. |  | 180.00 | 1800.00 | 150.00 | 1500.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
32.00 | Supply of following sizes PVC insulated & PVC round sheathed copper conductor (flexible) industrial cable, 1100V confirming to IS: 694 (01 coil = 100 meter) complete as required.
32.01 | 3 x 1.5 Sqmm | 10.00 | Coil |  | 6400.00 | 64000.00 | 5000.00 | 50000.00 | 50000.00 | JCC ENGINEERS PRIVATE LIMITED
32.02 | 3 x 2.5 Sqmm | 10.00 | Coil |  | 1030.00 | 10300.00 | 7000.00 | 70000.00 | 10300.00 | Manish Electricals
32.03 | 3 x 4 Sqmm | 10.00 | Coil |  | 15700.00 | 157000.00 | 10000.00 | 100000.00 | 100000.00 | JCC ENGINEERS PRIVATE LIMITED
33.00 | Supply of following sizes (Nominal Cross sectional area based on CR value as per IS) PVC insulated, Stranded, Copper conductor, FRLS, House hold wiring cable of approved make and different colour (1 coil = 90 meters).
33.01 | 1.5 Sqmm, Single core | 5.00 | Coil |  | 1900.00 | 9500.00 | 1200.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
33.02 | 2.5 Sqmm, Single core | 5.00 | Coil |  | 3100.00 | 15500.00 | 2000.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
33.03 | 4.0 Sqmm, Single core | 2.00 | Coil |  | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 8000.00 | JCC ENGINEERS PRIVATE LIMITED
34.00 | Supply of following rating Plug Tops complete as required.
34.01 | Plug Top - 5 Amp. | 50.00 | Nos. |  | 50.00 | 2500.00 | 30.00 | 1500.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
34.02 | Plug Top - 15 Amp. | 50.00 | Nos. |  | 100.00 | 5000.00 | 60.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
35.00 | Supply of PVC casing caping of size 25mm x 12mm complete as required. | 300.00 | Mtr. |  | 30.00 | 9000.00 | 20.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
36.00 | Supply of following Piano type Switches & Sockets complete as required.
36.01 | Supply of 5/6Amp Piano Type Switch | 200.00 | Nos. |  | 15.00 | 3000.00 | 20.00 | 4000.00 | 3000.00 | Manish Electricals
36.02 | Supply of 15/16Amp Piano Type Switch | 100.00 | Nos. |  | 80.00 | 8000.00 | 50.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
36.03 | Supply of 5/6Amp Piano Type Socket | 100.00 | Nos. |  | 40.00 | 4000.00 | 30.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
36.04 | Supply of 15/16Amp Piano Type Socket | 100.00 | Nos. |  | 80.00 | 8000.00 | 60.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
36.05 | Switch/socket combined 15Amp | 100.00 | Nos. |  | 130.00 | 13000.00 | 100.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
37.00 | Supply of following Modular type Switches & Sockets complete as required.
37.01 | Supply of 10Amp Modular Type Switch | 50.00 | Nos. |  | 60.00 | 3000.00 | 50.00 | 2500.00 | 2500.00 | JCC ENGINEERS PRIVATE LIMITED
37.02 | Supply of 20Amp Modular Type Switch | 50.00 | Nos. |  | 120.00 | 6000.00 | 50.00 | 2500.00 | 2500.00 | JCC ENGINEERS PRIVATE LIMITED
37.03 | Supply of 10Amp Modular Type Socket | 50.00 | Nos. |  | 110.00 | 5500.00 | 50.00 | 2500.00 | 2500.00 | JCC ENGINEERS PRIVATE LIMITED
37.04 | Supply of 20/10 Amp Modular Type Socket | 50.00 | Nos. |  | 200.00 | 10000.00 | 50.00 | 2500.00 | 2500.00 | JCC ENGINEERS PRIVATE LIMITED
38.00 | Supply of LED batten 20 watt with mounting accessories as per AAI approved make. | 100.00 | Each |  | 700.00 | 70000.00 | 5.00 | 500.00 | 500.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Supply of XLPE insulated & PVC sheathed Aluminium conductor aurmoured Cable of grade 1.1 KV confirming to IS:7098(part-1)/ IS:1554(part-1) with up to date amendments of following sizes as per AAI approved make:
39.01 | 4x10 SQMM | 500.00 | Mtr |  | 180.00 | 90000.00 | 60.00 | 30000.00 | 30000.00 | JCC ENGINEERS PRIVATE LIMITED
39.02 | 3.5x25 SQMM | 300.00 | Mtr |  | 200.00 | 60000.00 | 70.00 | 21000.00 | 21000.00 | JCC ENGINEERS PRIVATE LIMITED
39.03 | 3.5x50 SQMM | 200.00 | Mtr |  | 300.00 | 60000.00 | 80.00 | 16000.00 | 16000.00 | JCC ENGINEERS PRIVATE LIMITED
39.04 | 3.5x95 SQMM | 200.00 | Mtr |  | 700.00 | 140000.00 | 90.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
40.00 | Supply of desert cooler pump (ISI Marked). | 50.00 | Each |  | 1050.00 | 52500.00 | 30.00 | 1500.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
41.00 | Complete item of CPWD schedule of rates electrical 2018 (Rates shall be quoted it multiples eg. 0.99 or 1.01% below/above. (Including Labour Cess & excluding GST @ 12%). | 303000.00 | Rs. |  | .90 | 272700.00 | .50 | 151500.00 | 151500.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 16328600.00 |  | 12855555.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(12855555.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual operation and maintenance contract of E and M installations in Ancillary Building and AAI Residential colony at SGRDJ International Airport, Amritsar (for 02 years). Tender ID: 2022_AAI_103723_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 12855555.00 | L1
| 2 | Manish Electricals | 16328600.00 | L2