## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 15-Mar-2022 03:52 PM Tender Title: Supply and replacement of existing AC units at DVOR and other places at Ludhiana Airport (2021-22). Tender ID: 2022_AAI_104015_1
Tender Inviting Authority: <Sr. Manager Engg (Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Supply & Replacement of Existing AC units at DVOR and other places at Ludhiana Airport, (2021-22).>
Contract No: <AAI/LDH/ENGG-ELECT/eNIT- 15 /21-22>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | ARNAV ENGINEERING CONSULTANCY SERVICES(GSTN-07ABKFA7102Q1Z4) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | LIFE STYLE INTERIORS(GSTN-08AEWPT8384E1ZJ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 2 Ton Inverter Type Split A.C of minimum ISEER rating 4.50 as per latest BEE guidelines (equivalent to erstwhile BEE 5 Star rating), 100% Copper consisting of single room unit (evaporator unit) with cordless remote control and one outdoor condensing unit comprising of sealed twin-rotary/BLDC type compressor suitable for stabilizer free operation at 230 V,50 Hz supply and non CFC refrigerant like R- 410A/R32 capable of performing a) cooling b) de-humidifying c) Air- Circulation d) filtering. Interconnection, pipelines/cables, along with PVC pipe for protection ,refrigerant copper tubes (approx 3 mtrs)along with PVC pipe protection , insulation tubes, insulating tapes, first charge of refrigerant (if required), installation of outdoor & Indoor units in wall with supply of mounting bracket, painting, sealing, civil finishing etc., complete as required. Make- as per approved make list of AAI. The item is bifurcated into supply & ITC components as below:
1.01 | Supply | 8.00 | Nos. |  | 44000.00 | 352000.00 | 45610.00 | 364880.00 | 47500.00 | 380000.00 | 48000.00 | 384000.00 | 42000.00 | 336000.00 | 336000.00 | LIFE STYLE INTERIORS
1.02 | Installation, Testing & Commisioning | 8.00 | Nos. |  | 2000.00 | 16000.00 | 1500.00 | 12000.00 | 800.00 | 6400.00 | 3500.00 | 28000.00 | 1500.00 | 12000.00 | 6400.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
2.00 | Dismantling of existing split ACs of different capacities (1.5/2 TR) including existing copper piping and stacking them in a proper manner at a place designated by Engineer-in-Charge. | 8.00 | Job |  | 750.00 | 6000.00 | 1000.00 | 8000.00 | 700.00 | 5600.00 | 500.00 | 4000.00 | 1000.00 | 8000.00 | 4000.00 | Manish Electricals
3.00 | Supply of metal based 5 KVA Automatic Voltage Stabilizer of following capacity with high / low cut off complete as reqd. suitable for A.C input voltage from 160 to 280 volt giving A.C output 200-240 volt at 50 Hz . | 8.00 | No. |  | 4200.00 | 33600.00 | 3510.00 | 28080.00 | 2700.00 | 21600.00 | 5400.00 | 43200.00 | 2800.00 | 22400.00 | 21600.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
4.00 | Supply and fixing of 25mm dia PVC drain pipe from the respective units, clamping on different surface like wall/floor etc. i/c sealing the joints with making of openings as per site condition (to be measured for lengths exceeding the cumulative length of 3 metres per AC which is already in scope of item 1). | 24.00 | Mtr. |  | 150.00 | 3600.00 | 100.00 | 2400.00 | 150.00 | 3600.00 | 125.00 | 3000.00 | 160.00 | 3840.00 | 2400.00 | Anoop Refrigeration
5.00 | Supply and fixing (in wall or ground) of colour painted M.S. angle iron frame of approx. 35x35x5mm size and mounting of outdoor A.C. units on the stand complete as reqd. Size of the frame can vary as per size of the outdoor units. The contractor shall ensure that the supplied frames are of proper size for the supplied ACs i.e. the outdoor units fit properly in the supplied stand. | 8.00 | Job |  | 1000.00 | 8000.00 | 700.00 | 5600.00 | 800.00 | 6400.00 | 650.00 | 5200.00 | 800.00 | 6400.00 | 5200.00 | Manish Electricals
6.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply and return) with expanded polythene foam insulation tubing covering and protection with PVC pipe of suitable diameter for different rating and type of A/c units. (Measurement of 1 Mtr. Will include both supply & return Cu. Piping with insulation to be measured for lengths exceeding the cumulative length of 3 metres per AC which is already in scope of item 1) . | 24.00 | Mtr. |  | 750.00 | 18000.00 | 850.00 | 20400.00 | 800.00 | 19200.00 | 750.00 | 18000.00 | 1300.00 | 31200.00 | 18000.00 | AQUATICS ENIGINEERS, Manish Electricals
7.00 | Supply and fixing of following size 1.1 kv graded PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable (along with protection with PVC pipe of suitable diameter), conforming to IS 694with upto date amendments as required of approved make. a) 4 core x 2.5 Sq.mm (to be measured for lengths exceeding the cumulative length of 3 metres indoor-outdoor power cum control cable per AC which is already in scope of item 1) | 80.00 | Mtr. |  | 190.00 | 15200.00 | 122.00 | 9760.00 | 135.00 | 10800.00 | 160.00 | 12800.00 | 220.00 | 17600.00 | 9760.00 | Anoop Refrigeration
8.00 | SITC of timer for automatic switching on/off of AC units (2 TR) suitable for 230 V AC supply etc. as required and conforming to relevant specifications. There should be a provision of changing the time setting (duration) and operating the AC units in manual mode as well. The number of ACs to be controlled and number of ACs to be switched on (be in operation) at a time are given below:
8.01 | 2 out of 4 installed Acs to be switched on at a time | 2.00 | Job |  | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 2700.00 | 5400.00 | 4000.00 | 8000.00 | 8000.00 | 16000.00 | 5400.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
| Total in Figures |  |  |  |  | 459400.00 |  | 459120.00 |  | 459000.00 |  | 506200.00 |  | 453440.00
Lowest Amount Quoted BY: LIFE STYLE INTERIORS(453440.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply and replacement of existing AC units at DVOR and other places at Ludhiana Airport (2021-22). Tender ID: 2022_AAI_104015_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LIFE STYLE INTERIORS | 453440.00 | L1
| 2 | ARNAV ENGINEERING CONSULTANCY SERVICES | 459000.00 | L2
| 3 | Anoop Refrigeration | 459120.00 | L3
| 4 | AQUATICS ENIGINEERS | 459400.00 | L4
| 5 | Manish Electricals | 506200.00 | L5