## BoQ1
Government eProcurement System Created By: PRADIP KUMAR B Created Date/Time: 23-Mar-2022 04:50 PM Tender Title: Supply of Mobile Lighting Tower and Portable Inflatable Balloon LED Light at Civil Airport, Gorakhpur Tender ID: 2022_AAI_104298_1
Tender Inviting Authority: AGM (Engg.-Elect.), Civil Airport, Gorakhpur
Name of Work:Supply of Mobile Lighting Tower and Portable Inflatable Balloon LED Light at Civil Airport, Gorakhpur.
Contract No: 2022_AAI_104298
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Vehicle mounted motorized mobile lighting tower with Smart and silent DG Set of 5 KVA capacity (comprising of CPCB II norms) with 5 mtr or above height and minimum 250 W X 6 Nos. LED Flood light with 360 degree rotation with IP66 protection with telescopic tower for illumination for remote locations/ power outage premises. | 1.00 | Nos | 406034.64 | 375000.00 | 375000.00 | 415000.00 | 415000.00 | 375000.00 | M/s LEESHA ELECTRICALS
2.00 | Supply of portable inflatable balloon type LED Light inbuilt with CPCB Approved 750 VA capacity generator, control gear box made of MS sheet fitted with MCB, switches, indicators, Blowers,sand bags,cyllindrical balloon deflating till 15 feet height, stabilizing with rod to withstand wind velocity upto 70 km/hr, stainless steel cage ,approx. dimension of 590x 550x 660 also workable on single phase AC, 50 Hz along with Genset, with blowing of balloon in max. 15 sec, 400 W LED light having 4KV grade surge protection. (Equivalent to Model No.: NAV-PEL-1400). | 1.00 | Nos | 11980.06 | 275000.00 | 275000.00 | 243000.00 | 243000.00 | 243000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 650000.00 |  | 658000.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(650000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Mobile Lighting Tower and Portable Inflatable Balloon LED Light at Civil Airport, Gorakhpur Tender ID: 2022_AAI_104298_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 650000.00 | L1
| 2 | Manish Electricals | 658000.00 | L2