## BoQ1
Government eProcurement System Created By: Anand Gupta Created Date/Time: 08-Mar-2022 06:10 PM Tender Title: Provision of standby 11 KV cable from DP structure to HT panel and miscellaneous works at Barapani Airport, Shillong Tender ID: 2022_AAI_104539_1
Tender Inviting Authority: AAI, Shillong Airport
Name of Work:Provision of standby 11kV cable from DP structure to HT panel and miscellenous works at Barapani Airport, Shillong.
Contract No: Tender ID: 2022_AAI_104539_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size of 11 kV grade HT cable having stranded compact circular aluminium conductor, conductor screen with extruded semi conducting compound, XLPE Insulated, Insulation screening with extruded semi conducting compound in combination with copper tape, cores laid up, innersheath of PVC tape, galvanised flat steel strip armoured and overall PVC Sheathed Cable conforming to IS 7098 / (PART-II) 1985 with latest amendments etc. complete all as required and as specified in Technical Specifications. (a) 3.0 core x 185 mm2 { 6.6 kV (UE)/ 11kV (E) } | 300.00 | Metre |  | 2800.00 | 840000.00 | 2000.00 | 600000.00 | 1600.00 | 480000.00 | 480000.00 | Techno Electricals
2.00 | Supply of following size of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS-7098 Part-I amended upto date etc. complete all as required and as specified in Technical Specifications. (a) 3.5 core x 35 mm2 | 500.00 | Metre |  | 300.00 | 150000.00 | 400.00 | 200000.00 | 295.00 | 147500.00 | 147500.00 | Techno Electricals
3.00 | Supply of 63mm outer dia. HDPE pipe conforming to IS 4984, material grade PE 80, pressure rating PN 6 suitable for cable laying in standard coil length as per OEM, complete all as required and as specified in Technical Specifications. | 500.00 | Metre |  | 180.00 | 90000.00 | 450.00 | 225000.00 | 180.00 | 90000.00 | 90000.00 | jaydeep agency corporation, Techno Electricals
4.00 | Laying of one number PVC / XLPE insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required and as specified in Technical Specifications. (a) Above 120 sq. mm and upto 400 sq. mm | 30.00 | Metre |  | 100.00 | 3000.00 | 400.00 | 12000.00 | 300.00 | 9000.00 | 3000.00 | jaydeep agency corporation
5.00 | Laying of one number PVC / XLPE insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC/HUME/METAL pipe as required and as specified in Technical Specifications. (a) Above 120 sq. mm and upto 400 sq. mm | 20.00 | Metre |  | 75.00 | 1500.00 | 100.00 | 2000.00 | 60.00 | 1200.00 | 1200.00 | Techno Electricals
6.00 | Laying of one number PVC / XLPE insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required and as specified in Technical Specifications. (a) Above 120 sq. mm and upto 400 sq. mm | 10.00 | Metre |  | 70.00 | 700.00 | 100.00 | 1000.00 | 60.00 | 600.00 | 600.00 | Techno Electricals
7.00 | Supplying of indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : (a) 240 sq. mm. | 1.00 | Each |  | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 10000.00 | 10000.00 | 4000.00 | DOSHI ELECTRIC ENGG. CO.
8.00 | Installation, Testing and Commissioning of indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : (a) 240 sq. mm. | 1.00 | Each |  | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 8000.00 | 8000.00 | 1200.00 | jaydeep agency corporation
9.00 | Supplying of outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : (a) 240 sq. mm. | 1.00 | Each |  | 8500.00 | 8500.00 | 7000.00 | 7000.00 | 12000.00 | 12000.00 | 7000.00 | DOSHI ELECTRIC ENGG. CO.
10.00 | Installation, Testing and Commissioning of outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : (a) 240 sq. mm. | 1.00 | Each |  | 1250.00 | 1250.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 1250.00 | jaydeep agency corporation
11.00 | Supply, Installation, Testing and Commissioning of 800 Amp, EDO, Breaking Capacity 50kA, Microprocessor based, 4 pole Air Circuit Breaker complete with all accessories such as shunt opening coil, shunt closing coil, motor operator and UV release etc. including control wiring (if required) in the existing LT panel, complete as required for smooth operation of ACB and as specified in Technical Specifications. (ABB make; model no. SACE PR121/P release E1 frame) | 2.00 | Each |  | 130000.00 | 260000.00 | 180000.00 | 360000.00 | 275000.00 | 550000.00 | 260000.00 | jaydeep agency corporation
12.00 | Supply, Installation, Testing and Commissioning of 800 Amp, EDO, Breaking Capacity 50kA, Microprocessor based, 4 pole Air Circuit Breaker complete with all accessories such as shunt opening coil, shunt closing coil, motor operator and UV release etc. including control wiring (if required) in the existing LT panel, complete as required for smooth operation of ACB and as specified in Technical Specifications. (L&T make; model no. C-POWER CN-CS 800 C SR18G) | 2.00 | Each |  | 130000.00 | 260000.00 | 160000.00 | 320000.00 | 275000.00 | 550000.00 | 260000.00 | jaydeep agency corporation
13.00 | Supply, Installation, Testing and Commissioning of 630 Amp, Short Circuit level 50 kA, Microprocessor release, 4 pole Molded Case Circuit Breaker suitable to replace the live MCCB having ABB make; model no. T5S 630 PR221DS-LS/I, complete in the existing LT panel complete as required for smooth operation of MCCB and as specified in Technical Specifications. (ABB make; model no. T5S 630 PR221DS-LS/I or equivalent) | 1.00 | Each |  | 65000.00 | 65000.00 | 50000.00 | 50000.00 | 63663.00 | 63663.00 | 50000.00 | DOSHI ELECTRIC ENGG. CO.
14.00 | Supply of 250 Amp, Short Circuit level 50 kA, Microprocessor release, 4 pole Molded Case Circuit Breaker complete in the existing LT panel complete as required and as specified in Technical Specifications. (ABB make; model no. XT4S 250 or equivalent) | 3.00 | Each |  | 45000.00 | 135000.00 | 32000.00 | 96000.00 | 32000.00 | 96000.00 | 96000.00 | DOSHI ELECTRIC ENGG. CO., Techno Electricals
15.00 | Installation, Testing and Commissioning of 250 Amp, 4 pole Molded Case Circuit Breaker, including supply and fixing of Ammeter, 250/5 Amp. CT, LED indication lamp, selector switch, required size bus bar arrangement incomer and outgoing side (total upto 1 mtr./ phase), required control wiring etc. complete as required in the existing LT panel compartment for smooth operation of MCCB as per electrical standards. | 3.00 | Each |  | 3500.00 | 10500.00 | 32000.00 | 96000.00 | 12500.00 | 37500.00 | 10500.00 | jaydeep agency corporation
16.00 | Supply of 125 Amp, 415 Volts, 4 pole, manual on load changeover switch conforms to IS/IEC 60947-3 including terminal shrouds, source separator, phase barriers and handle with door interlock kit complete with sheet steel encloser and extended handle all as required for complete operation. (L&T make; model no. CO21250OSOO or Havells make; model no. IHCNFE0125 or equivalent) | 2.00 | Each |  | 31000.00 | 62000.00 | 16000.00 | 32000.00 | 10000.00 | 20000.00 | 20000.00 | Techno Electricals
17.00 | Supply of following rating Super Heavy Duty Capacitors suitable for 525 V ac (Cylindrical series) for Automatic Power Factor Correction Panel of following cummulative capacity as per OEM Complete as required and as specified. (a) 5 kVAr | 15.00 | Each |  | 5000.00 | 75000.00 | 2300.00 | 34500.00 | 2000.00 | 30000.00 | 30000.00 | Techno Electricals
18.00 | Supply of following rating Super Heavy Duty Capacitors suitable for 525 V ac (Cylindrical series) for Automatic Power Factor Correction Panel of following cummulative capacity as per OEM Complete as required and as specified. (b) 10 kVAr | 8.00 | Each |  | 8300.00 | 66400.00 | 4000.00 | 32000.00 | 3000.00 | 24000.00 | 24000.00 | Techno Electricals
19.00 | Supply of following rating Super Heavy Duty Capacitors suitable for 525 V ac (Cylindrical series) for Automatic Power Factor Correction Panel of following cummulative capacity as per OEM Complete as required and as specified. (c ) 20 kVAr | 6.00 | Each |  | 15000.00 | 90000.00 | 7000.00 | 42000.00 | 6000.00 | 36000.00 | 36000.00 | Techno Electricals
20.00 | Installation, Testing and Commissioning of following rating Super Heavy Duty Capacitors suitable for 525 Vac (cylindrical series) for Automatic Power Factor Correction Panel Complete as required and as specified. (a) 5 kVAr/ 10 kVAr/ 20 kVAr | 22.00 | Each |  | 200.00 | 4400.00 | 1000.00 | 22000.00 | 1000.00 | 22000.00 | 4400.00 | jaydeep agency corporation
21.00 | Supply of Multifunction meter suitable for existing LT/ HT panel, class 1 complete as required. (Conzerv make; model no. EM6400 or equivalent) | 8.00 | Each |  | 5231.00 | 41848.00 | 10000.00 | 80000.00 | 2500.00 | 20000.00 | 20000.00 | Techno Electricals
22.00 | Supply of Voltmeter suitable for existing HT panel, class 1 complete as required. (Conzerv make; model no. DM 3251 or equivalent) | 2.00 | Each |  | 8350.00 | 16700.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 2000.00 | DOSHI ELECTRIC ENGG. CO.
23.00 | Supply of Ampere meter suitable for existing LT panel, class 1 complete as required. (Elmeasure make; model no. Alpha A or equivalent) | 12.00 | Each |  | 1053.00 | 12636.00 | 1000.00 | 12000.00 | 1800.00 | 21600.00 | 12000.00 | DOSHI ELECTRIC ENGG. CO.
24.00 | Supply of Digital Megger for measurement of Insulation resistance upto 2500V DC having selection in the steps of 500V, 1000V & 2500V meter as per IS 10656 - 1983 or as latest amendment complete as required. (MECO make; model no. DIT918 or equivalent) | 1.00 | Each |  | 6084.00 | 6084.00 | 20000.00 | 20000.00 | 9500.00 | 9500.00 | 6084.00 | jaydeep agency corporation
25.00 | Supply of Analog Earth Tester Resistance range from 0 to 10 Ohms, conforming to IS 9223-1989 or as latest amendment complete as required. (Rishabh make; model no. det-10 or equivalent) | 1.00 | Each |  | 6800.00 | 6800.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 5000.00 | DOSHI ELECTRIC ENGG. CO.
26.00 | Supply of Digital Clamp Meter for measurement of DC Voltage Range : 400Mv ~ 600V, AC Voltage range : 0~600 vac, AC / DC current : 0-600Amps, resistance : 0 to 40 mohms, Capacitor range 40 Nf ~ 200uf complete as required. (MECO make; model no. INS-Meco 36 BL or equivalent) | 1.00 | Each |  | 3250.00 | 3250.00 | 2000.00 | 2000.00 | 5500.00 | 5500.00 | 2000.00 | DOSHI ELECTRIC ENGG. CO.
27.00 | Supply of Air Blower 620W, 1.7 Kg, having air flow 3.5 cum/min, no load speed 16000 rpm, suitable for Operation at 230V, 50Hz system complete as required. (Bosch make; model no. GBL 620 or equivalent) | 1.00 | Each |  | 9800.00 | 9800.00 | 2000.00 | 2000.00 | 3200.00 | 3200.00 | 2000.00 | DOSHI ELECTRIC ENGG. CO.
28.00 | Supply of angle grinder for metal working, 660V, 1.93 Kg, having no load speed 12000 rpm, with brush motor and protective guard, having Disc diameter 100mm, spindle thread M10 overall length not more than 350mm, suitable for Operation at 230V, 50Hz system complete as required. (Bosch make; model no. GWS 600 or equivalent) | 1.00 | Each |  | 7500.00 | 7500.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2000.00 | DOSHI ELECTRIC ENGG. CO.
29.00 | Supply of aluminium multipurpose ladder 12 feet with 2 scaffolding platform having complete as required and as specified in technical specification. (Equal make, Model No. EALM - 403SS or equivalent) | 1.00 | Each |  | 28000.00 | 28000.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 15000.00 | Techno Electricals
30.00 | Supply of aluminium step ladder 8 feet with utility tray having minimum 7 slip resistance steps, 100 kg load capacity, foldable, having opening width 25.5 inch and height when open 96 inch, 8.5 kg complete as required. (Liberti make; model No.: LB-1208 or equivalent) | 1.00 | Each |  | 22000.00 | 22000.00 | 10000.00 | 10000.00 | 12500.00 | 12500.00 | 10000.00 | DOSHI ELECTRIC ENGG. CO.
| Total in Figures |  |  |  |  | 2283568.00 |  | 2295500.00 |  | 2296763.00
Lowest Amount Quoted BY: jaydeep agency corporation(2283568.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of standby 11 KV cable from DP structure to HT panel and miscellaneous works at Barapani Airport, Shillong Tender ID: 2022_AAI_104539_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | jaydeep agency corporation | 2283568.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. | 2295500.00 | L2
| 3 | Techno Electricals | 2296763.00 | L3