## BoQ1
Government eProcurement System Created By: AVDHESH AGGARWAL Created Date/Time: 19-May-2022 11:33 AM Tender Title: Construction of 3 nos. Security watch Tender ID: 2022_AAI_104551_2
Tender Inviting Authority: Assistant General Manager (Engg-Civil)-I, Civil Enclave Jodhpur
Name of Work: Construction of 3 nos. Security watch towers at C.E. Jodhpur
Contract No: 2022_AAI_104551_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LALIT ENTERPRISES(GSTN-08ABNPS2060A1ZU) |  | Hanumant enterprises(GSTN-NA) |  | Bindal Constructions(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 23.00 | cum | 100.00 | 350.00 | 8050.00 | 350.00 | 8050.00 | 150.00 | 3450.00 | 3450.00 | Bindal Constructions
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 15.00 | cum | 100.00 | 200.00 | 3000.00 | 250.00 | 3750.00 | 150.00 | 2250.00 | 2250.00 | Bindal Constructions
3.00 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead upto 50 m and lift upto 1.5 m : a) All kinds of soil | 259.00 | Sqm |  | 35.00 | 9065.00 | 200.00 | 51800.00 | 4.00 | 1036.00 | 1036.00 | Bindal Constructions
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size) | 2.00 | cum |  | 5200.00 | 10400.00 | 3200.00 | 6400.00 | 4200.00 | 8400.00 | 6400.00 | Hanumant enterprises
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 27.00 | cum |  | 3800.00 | 102600.00 | 2800.00 | 75600.00 | 3000.00 | 81000.00 | 75600.00 | Hanumant enterprises
6.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 8.00 | cum |  | 6000.00 | 48000.00 | 3700.00 | 29600.00 | 4000.00 | 32000.00 | 29600.00 | Hanumant enterprises
7.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 4.00 | cum |  | 7000.00 | 28000.00 | 3700.00 | 14800.00 | 4200.00 | 16800.00 | 14800.00 | Hanumant enterprises
8.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 15.00 | cum |  | 6800.00 | 102000.00 | 4200.00 | 63000.00 | 4200.00 | 63000.00 | 63000.00 | Bindal Constructions, Hanumant enterprises
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 23.00 | sqm |  | 300.00 | 6900.00 | 1500.00 | 34500.00 | 250.00 | 5750.00 | 5750.00 | Bindal Constructions
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 69.00 | sqm |  | 600.00 | 41400.00 | 1500.00 | 103500.00 | 350.00 | 24150.00 | 24150.00 | Bindal Constructions
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 52.00 | sqm |  | 450.00 | 23400.00 | 1500.00 | 78000.00 | 350.00 | 18200.00 | 18200.00 | Bindal Constructions
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 65.00 | sqm |  | 650.00 | 42250.00 | 1500.00 | 97500.00 | 350.00 | 22750.00 | 22750.00 | Bindal Constructions
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 982.00 | kg |  | 119.00 | 116858.00 | 115.00 | 112930.00 | 90.00 | 88380.00 | 88380.00 | Bindal Constructions
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 2276.00 | kg |  | 118.00 | 268568.00 | 115.00 | 261740.00 | 92.00 | 209392.00 | 209392.00 | Bindal Constructions
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 2.00 | cum |  | 6500.00 | 13000.00 | 5200.00 | 10400.00 | 4500.00 | 9000.00 | 9000.00 | Bindal Constructions
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 8.00 | cum |  | 7000.00 | 56000.00 | 5800.00 | 46400.00 | 4500.00 | 36000.00 | 36000.00 | Bindal Constructions
17.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 282.00 | kg |  | 130.00 | 36660.00 | 125.00 | 35250.00 | 100.00 | 28200.00 | 28200.00 | Bindal Constructions
18.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 3.00 | each |  | 250.00 | 750.00 | 3800.00 | 11400.00 | 400.00 | 1200.00 | 750.00 | LALIT ENTERPRISES
19.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 3.00 | each |  | 100.00 | 300.00 | 3500.00 | 10500.00 | 250.00 | 750.00 | 300.00 | LALIT ENTERPRISES
20.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 6.00 | each |  | 70.00 | 420.00 | 850.00 | 5100.00 | 150.00 | 900.00 | 420.00 | LALIT ENTERPRISES
21.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 3.00 | each |  | 80.00 | 240.00 | 150.00 | 450.00 | 70.00 | 210.00 | 210.00 | Bindal Constructions
22.00 | Providing and fixing factory made shutters of Pre-laminated particle board flat pressed three layer or graded wood particle board with one side decorative finish and other side balancing lamination conforming to IS: 12823 Grade l Type ll, of approved design, and edges sealed with water resistant paint and lipped with aluminium 'U' type edge beading allround the shutter, including fixing with angle cleat, grip strip, cadmium plated steel screws, including fixing of aluminium hinges 100x63x4 mm etc. complete as per architectural drawing and direction of Engineer-in- Charge (Cost of 'U' beading and hinges will be paid for separately). 25 mm thick | 6.00 | sqm |  | 2500.00 | 15000.00 | 1800.00 | 10800.00 | 2000.00 | 12000.00 | 10800.00 | Hanumant enterprises
23.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 735.00 | kg |  | 115.00 | 84525.00 | 150.00 | 110250.00 | 100.00 | 73500.00 | 73500.00 | Bindal Constructions
24.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 332.00 | kg |  | 125.00 | 41500.00 | 130.00 | 43160.00 | 115.00 | 38180.00 | 38180.00 | Bindal Constructions
25.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1462.00 | kg |  | 115.00 | 168130.00 | 130.00 | 190060.00 | 100.00 | 146200.00 | 146200.00 | Bindal Constructions
26.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. G.I. pipes | 263.00 | kg |  | 150.00 | 39450.00 | 300.00 | 78900.00 | 200.00 | 52600.00 | 39450.00 | LALIT ENTERPRISES
27.00 | Providing and fixing aluminum U beading of required size to Pre-laminated/ flush door shutter, including fixing etc. complete as per direction of Engineer-in-charge. | 10.00 | kg |  | 600.00 | 6000.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 4000.00 | Bindal Constructions, Hanumant enterprises
28.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 37.00 | sqm |  | 350.00 | 12950.00 | 1800.00 | 66600.00 | 200.00 | 7400.00 | 7400.00 | Bindal Constructions
29.00 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. 18 mm thick | 7.00 | sqm |  | 320.00 | 2240.00 | 350.00 | 2450.00 | 700.00 | 4900.00 | 2240.00 | LALIT ENTERPRISES
30.00 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. 40 mm wide and 4 mm thick | 29.00 | mtr |  | 50.00 | 1450.00 | 60.00 | 1740.00 | 50.00 | 1450.00 | 1450.00 | LALIT ENTERPRISES, Bindal Constructions
31.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 8.00 | mtr |  | 250.00 | 2000.00 | 200.00 | 1600.00 | 250.00 | 2000.00 | 1600.00 | Hanumant enterprises
32.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 75 mm Shoe | 8.00 | each |  | 180.00 | 1440.00 | 100.00 | 800.00 | 200.00 | 1600.00 | 800.00 | Hanumant enterprises
33.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 3.00 | each |  | 140.00 | 420.00 | 220.00 | 660.00 | 200.00 | 600.00 | 420.00 | LALIT ENTERPRISES
34.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 53.00 | sqm |  | 1050.00 | 55650.00 | 880.00 | 46640.00 | 750.00 | 39750.00 | 39750.00 | Bindal Constructions
35.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 11.00 | mtr |  | 700.00 | 7700.00 | 750.00 | 8250.00 | 450.00 | 4950.00 | 4950.00 | Bindal Constructions
36.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 46.00 | sqm |  | 320.00 | 14720.00 | 250.00 | 11500.00 | 160.00 | 7360.00 | 7360.00 | Bindal Constructions
37.00 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 73.00 | sqm |  | 350.00 | 25550.00 | 240.00 | 17520.00 | 220.00 | 16060.00 | 16060.00 | Bindal Constructions
38.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 169.00 | sqm |  | 300.00 | 50700.00 | 300.00 | 50700.00 | 150.00 | 25350.00 | 25350.00 | Bindal Constructions
39.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer | 46.00 | sqm |  | 120.00 | 5520.00 | 200.00 | 9200.00 | 70.00 | 3220.00 | 3220.00 | Bindal Constructions
40.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 241.00 | sqm |  | 150.00 | 36150.00 | 250.00 | 60250.00 | 80.00 | 19280.00 | 19280.00 | Bindal Constructions
41.00 | Applying priming coat: With ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) | 12.00 | sqm |  | 50.00 | 600.00 | 221.00 | 2652.00 | 40.00 | 480.00 | 480.00 | Bindal Constructions
42.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 163.00 | sqm |  | 85.00 | 13855.00 | 250.00 | 40750.00 | 70.00 | 11410.00 | 11410.00 | Bindal Constructions
43.00 | Providing and laying 60 mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 240.00 | sqm |  | 850.00 | 204000.00 | 580.00 | 139200.00 | 550.00 | 132000.00 | 132000.00 | Bindal Constructions
44.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 3000.00 | per litre |  | 10.00 | 30000.00 | 11.50 | 34500.00 | 12.00 | 36000.00 | 30000.00 | LALIT ENTERPRISES
45.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 339.00 | kg |  | 610.00 | 206790.00 | 550.00 | 186450.00 | 450.00 | 152550.00 | 152550.00 | Bindal Constructions
46.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 254.00 | kg |  | 625.00 | 158750.00 | 550.00 | 139700.00 | 450.00 | 114300.00 | 114300.00 | Bindal Constructions
47.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 20.00 | sqm |  | 1200.00 | 24000.00 | 800.00 | 16000.00 | 1500.00 | 30000.00 | 16000.00 | Hanumant enterprises
48.00 | Supply of sizes 2 x 6 sqmm of PVC insulated and PVC Round Sheathed, Copper Conductor (flexible) industrial cable, 1100 Volts, conforming to IS: 694 etc complete as required. | 1100.00 | Meter |  | 200.00 | 220000.00 | 185.00 | 203500.00 | 200.00 | 220000.00 | 203500.00 | Hanumant enterprises
49.00 | Supply of 20W 6500K Wall mounted batten extruded aluminium heat sink provided for efficient heat dissipation & integrated electronic driver complete with all necessary accessories & lamp as required. (Havells, Code no. PBTM05207 or similar) | 3.00 | Each |  | 3000.00 | 9000.00 | 450.00 | 1350.00 | 600.00 | 1800.00 | 1350.00 | Hanumant enterprises
50.00 | Supply of 10W 6500K, IP 65 bulk head luminiare with couple diffuser complete with all necessary accessories & lamp as required. (Penasonic, Code no. PBHM01107 or similar) | 3.00 | Each |  | 1000.00 | 3000.00 | 800.00 | 2400.00 | 500.00 | 1500.00 | 1500.00 | Bindal Constructions
51.00 | Supplying of 400mm sweep wall mounted fan having not less than 2000 RPM, with speed regulator suitable for operation at 230Volts 50Hz AC supply etc complete as required. (Make Havells Swing Gyro or similar). | 3.00 | Each |  | 4000.00 | 12000.00 | 3200.00 | 9600.00 | 2500.00 | 7500.00 | 7500.00 | Bindal Constructions
52.00 | Supply of 32 mm (OD), PN-6, PE 80 size ISI marked, HDPE pipe confirming to IS-4984-1995 with up to date amendments and confirming to tender’s technical specifications, terms & conditions i/c loading, unloading etc. complete as required. (Make : Gangotri or similar). | 1100.00 | Mtr. |  | 85.00 | 93500.00 | 85.00 | 93500.00 | 40.00 | 44000.00 | 44000.00 | Bindal Constructions
53.00 | Laying of 32 mm Dia HDPE pipe in the road crossing / rocky area/ ground including trenching (50 cm deep & 30 cm Wide), refilling & making good the same as required. | 1100.00 | Mtr. |  | 135.00 | 148500.00 | 100.00 | 110000.00 | 15.00 | 16500.00 | 16500.00 | Bindal Constructions
54.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of size upto 35 Sq. mm, in the existing RCC/ HUME/ METAL pipe as required. | 1100.00 | Mtr. |  | 35.00 | 38500.00 | 350.00 | 385000.00 | 15.00 | 16500.00 | 16500.00 | Bindal Constructions
55.00 | Supplying and fixing 6 way , Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 4.00 | Each |  | 1900.00 | 7600.00 | 12000.00 | 48000.00 | 800.00 | 3200.00 | 3200.00 | Bindal Constructions
56.00 | Supplying and fixing 25 Amp rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 2200.00 | 8800.00 | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 8000.00 | Bindal Constructions
57.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of single poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 8.00 | Each |  | 200.00 | 1600.00 | 650.00 | 5200.00 | 125.00 | 1000.00 | 1000.00 | Bindal Constructions
58.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. (Group -A). | 9.00 | Point |  | 850.00 | 7650.00 | 200.00 | 1800.00 | 1200.00 | 10800.00 | 1800.00 | Hanumant enterprises
59.00 | Supplying and fixing 5/6 amps switch modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 4.00 | Each |  | 90.00 | 360.00 | 300.00 | 1200.00 | 90.00 | 360.00 | 360.00 | LALIT ENTERPRISES, Bindal Constructions
60.00 | Supplying and fixing 3 pin 5/6 amp socket outlet modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 3.00 | Each |  | 110.00 | 330.00 | 300.00 | 900.00 | 180.00 | 540.00 | 330.00 | LALIT ENTERPRISES
61.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 3.00 | Each |  | 450.00 | 1350.00 | 1800.00 | 5400.00 | 350.00 | 1050.00 | 1050.00 | Bindal Constructions
| Total in Figures |  |  |  |  | 2679141.00 |  | 3212852.00 |  | 1922708.00
Lowest Amount Quoted BY: Bindal Constructions(1922708.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of 3 nos. Security watch Tender ID: 2022_AAI_104551_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bindal Constructions | 1922708.00 | L1
| 2 | LALIT ENTERPRISES | 2679141.00 | L2
| 3 | Hanumant enterprises | 3212852.00 | L3