## BoQ1
Government eProcurement System Created By: A.V Rama Krishna Created Date/Time: 22-Apr-2022 05:33 PM Tender Title: Renovation of C-Type Quarters at Begumpet Airport Colony, Hyderabad. Tender ID: 2022_AAI_104849_1
Tender Inviting Authority: AGM (Engg-Civil)-I, Airports Authority of India, Begumpet Airport, Hyderabad-500016, Ph: 040-27903054 (333)/+91 9133724399 (Bid Manager)
Name of Work: Renovation of C-Type Quarters at Begumpet Airport Colony, Hyderabad.
Tender Id: 2022_AAI_104849_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Monaarc Corporation Pvt Ltd(GSTN-24AAGCM4513R1Z5) |  | M/S SAI VISHNU CONSTRUCTIONS(GSTN-37ADCFS4391P1ZC) |  | Srinivas Gannamaneni(GSTN-37AFZPG2201D1ZO) |  | prime constructions(GSTN-27AABFP2480L1Z1) |  | srinivasulu p(GSTN-NA) |  | S.R.CONSTRUCTIONS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 444.00 | Cum | 100.00 | 385.00 | 170940.00 | 120.00 | 53280.00 | 150.00 | 66600.00 | 120.00 | 53280.00 | 169.00 | 75036.00 | 250.00 | 111000.00 | 53280.00 | M/S SAI VISHNU CONSTRUCTIONS, prime constructions
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size). | 8.00 | Cum | 100.00 | 6600.00 | 52800.00 | 5000.00 | 40000.00 | 5900.00 | 47200.00 | 5200.00 | 41600.00 | 5800.00 | 46400.00 | 5500.00 | 44000.00 | 40000.00 | M/S SAI VISHNU CONSTRUCTIONS
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 14.00 | Cum | 10.00 | 5830.00 | 81620.00 | 4000.00 | 56000.00 | 4600.00 | 64400.00 | 3700.00 | 51800.00 | 4900.00 | 68600.00 | 5000.00 | 70000.00 | 51800.00 | prime constructions
4.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 4.00 | Cum | 10.00 | 9350.00 | 37400.00 | 8000.00 | 32000.00 | 7000.00 | 28000.00 | 5800.00 | 23200.00 | 6900.00 | 27600.00 | 8000.00 | 32000.00 | 23200.00 | prime constructions
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 320.00 | Kgs | 10.00 | 94.00 | 30080.00 | 120.00 | 38400.00 | 90.00 | 28800.00 | 78.00 | 24960.00 | 105.00 | 33600.00 | 115.00 | 36800.00 | 24960.00 | prime constructions
6.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 5.0 in superstructure above plinth level up to floor five level in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 60.00 | Cum | 10.00 | 7200.00 | 432000.00 | 5500.00 | 330000.00 | 6000.00 | 360000.00 | 6300.00 | 378000.00 | 5800.00 | 348000.00 | 6800.00 | 408000.00 | 330000.00 | M/S SAI VISHNU CONSTRUCTIONS
7.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm | 148.00 | sqm | 10.00 | 3468.00 | 513264.00 | 2300.00 | 340400.00 | 3000.00 | 444000.00 | 3200.00 | 473600.00 | 3000.00 | 444000.00 | 2800.00 | 414400.00 | 340400.00 | M/S SAI VISHNU CONSTRUCTIONS
8.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 228.00 | metre | 10.00 | 162.00 | 36936.00 | 350.00 | 79800.00 | 250.00 | 57000.00 | 240.00 | 54720.00 | 30.00 | 6840.00 | 150.00 | 34200.00 | 6840.00 | srinivasulu p
9.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 228.00 | Mts | 10.00 | 397.00 | 90516.00 | 400.00 | 91200.00 | 250.00 | 57000.00 | 150.00 | 34200.00 | 500.00 | 114000.00 | 420.00 | 95760.00 | 34200.00 | prime constructions
10.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 1.00 | Cum | 10.00 | 118717.00 | 118717.00 | 125000.00 | 125000.00 | 120000.00 | 120000.00 | 105000.00 | 105000.00 | 150000.00 | 150000.00 | 95000.00 | 95000.00 | 95000.00 | S.R.CONSTRUCTIONS
11.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass panes. 5.0 mm thick glass panes (weight not less than 12.5 kg per sqm) | 695.00 | Sqm | 10.00 | 1118.00 | 777010.00 | 1200.00 | 834000.00 | 1200.00 | 834000.00 | 1200.00 | 834000.00 | 900.00 | 625500.00 | 1050.00 | 729750.00 | 625500.00 | srinivasulu p
12.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading | 173.00 | Sqm | 10.00 | 825.00 | 142725.00 | 1300.00 | 224900.00 | 900.00 | 155700.00 | 1000.00 | 173000.00 | 850.00 | 147050.00 | 450.00 | 77850.00 | 77850.00 | S.R.CONSTRUCTIONS
13.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 220.00 | Sqm | 10.00 | 2265.00 | 498300.00 | 2500.00 | 550000.00 | 2000.00 | 440000.00 | 1900.00 | 418000.00 | 2400.00 | 528000.00 | 2500.00 | 550000.00 | 418000.00 | prime constructions
14.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 220.00 | Sqm | 10.00 | 341.00 | 75020.00 | 400.00 | 88000.00 | 200.00 | 44000.00 | 350.00 | 77000.00 | 400.00 | 88000.00 | 250.00 | 55000.00 | 44000.00 | Srinivas Gannamaneni
15.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | 440.00 | Sqm | 10.00 | 904.00 | 397760.00 | 800.00 | 352000.00 | 700.00 | 308000.00 | 860.00 | 378400.00 | 398.00 | 175120.00 | 775.00 | 341000.00 | 175120.00 | srinivasulu p
16.00 | Providing and fixing factory made uPVC white colour sliding glazed window upto 1.50 m in height dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately) Note: For uPVC frame and sash extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Three track three panels sliding window with fly proof SS wire mesh (Two nos. glazed & one no. wire mesh panels) made of (small series) frame 92 x 44 mm & sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area of window upto 1.75 sqm). | 868.00 | sqm | 10.00 | 6380.00 | 5537840.00 | 8000.00 | 6944000.00 | 6900.00 | 5989200.00 | 7800.00 | 6770400.00 | 6050.00 | 5251400.00 | 6200.00 | 5381600.00 | 5251400.00 | srinivasulu p
17.00 | Structural steel work in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5646.00 | Kgs | 10.00 | 135.00 | 762210.00 | 120.00 | 677520.00 | 110.00 | 621060.00 | 110.00 | 621060.00 | 129.00 | 728334.00 | 130.00 | 733980.00 | 621060.00 | Srinivas Gannamaneni, prime constructions
18.00 | 20 mm cement plaster of mix : : 1:6 (1 cement: 6 coarse sand) | 1278.00 | Sqm | 10.00 | 379.00 | 484362.00 | 350.00 | 447300.00 | 250.00 | 319500.00 | 270.00 | 345060.00 | 180.00 | 230040.00 | 415.00 | 530370.00 | 230040.00 | srinivasulu p
19.00 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : 1:4 (1 cement: 4 fine sand) | 257.00 | Sqm | 10.00 | 355.00 | 91235.00 | 350.00 | 89950.00 | 300.00 | 77100.00 | 330.00 | 84810.00 | 165.00 | 42405.00 | 550.00 | 141350.00 | 42405.00 | srinivasulu p
20.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 11915.00 | Sqm | 10.00 | 36.00 | 428940.00 | 60.00 | 714900.00 | 45.00 | 536175.00 | 30.00 | 357450.00 | 105.00 | 1251075.00 | 35.00 | 417025.00 | 357450.00 | prime constructions
21.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 11915.00 | Sqm | 10.00 | 118.00 | 1405970.00 | 75.00 | 893625.00 | 72.00 | 857880.00 | 90.00 | 1072350.00 | 120.00 | 1429800.00 | 70.00 | 834050.00 | 834050.00 | S.R.CONSTRUCTIONS
22.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 1515.00 | Sqm | 10.00 | 154.00 | 233310.00 | 75.00 | 113625.00 | 70.00 | 106050.00 | 80.00 | 121200.00 | 120.00 | 181800.00 | 100.00 | 151500.00 | 106050.00 | Srinivas Gannamaneni
23.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 11915.00 | Sqm | 10.00 | 71.00 | 845965.00 | 75.00 | 893625.00 | 68.00 | 810220.00 | 75.00 | 893625.00 | 99.00 | 1179585.00 | 79.00 | 941285.00 | 810220.00 | Srinivas Gannamaneni
24.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 11915.00 | Sqm | 10.00 | 17.00 | 202555.00 | 20.00 | 238300.00 | 10.00 | 119150.00 | 7.00 | 83405.00 | 16.00 | 190640.00 | 10.00 | 119150.00 | 83405.00 | prime constructions
25.00 | Providing and fixing brass curtain rods of wall thickness 1.25 mm with two brass brackets fixed with brass screws and wooden plugs etc. wherever necessary complete. 25 mm diameter. | 166.00 | metre | 10.00 | 306.00 | 50796.00 | 360.00 | 59760.00 | 200.00 | 33200.00 | 160.00 | 26560.00 | 388.00 | 64408.00 | 300.00 | 49800.00 | 26560.00 | prime constructions
26.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 53.00 | Each | 10.00 | 165.00 | 8745.00 | 96.00 | 5088.00 | 100.00 | 5300.00 | 100.00 | 5300.00 | 99.00 | 5247.00 | 500.00 | 26500.00 | 5088.00 | M/S SAI VISHNU CONSTRUCTIONS
27.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 504.00 | Each | 10.00 | 165.00 | 83160.00 | 200.00 | 100800.00 | 100.00 | 50400.00 | 100.00 | 50400.00 | 200.00 | 100800.00 | 500.00 | 252000.00 | 50400.00 | Srinivas Gannamaneni, prime constructions
28.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 106.00 | Each | 10.00 | 110.00 | 11660.00 | 105.00 | 11130.00 | 150.00 | 15900.00 | 100.00 | 10600.00 | 150.00 | 15900.00 | 800.00 | 84800.00 | 10600.00 | prime constructions
29.00 | Dismantling tile work in floors and roofs laid in cement mortar includingstacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1278.00 | Sqm | 10.00 | 178.00 | 227484.00 | 50.00 | 63900.00 | 35.00 | 44730.00 | 60.00 | 76680.00 | 51.00 | 65178.00 | 50.00 | 63900.00 | 44730.00 | Srinivas Gannamaneni
30.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 530.00 | metre | 10.00 | 39.00 | 20670.00 | 108.00 | 57240.00 | 70.00 | 37100.00 | 50.00 | 26500.00 | 109.00 | 57770.00 | 200.00 | 106000.00 | 20670.00 | Monaarc Corporation Pvt Ltd
31.00 | Dismantling of road gully chamber of various sizes including C.I. grating with frame including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead including refilling the excavated gap. | 106.00 | each | 10.00 | 110.00 | 11660.00 | 680.00 | 72080.00 | 400.00 | 42400.00 | 200.00 | 21200.00 | 250.00 | 26500.00 | 125.00 | 13250.00 | 11660.00 | Monaarc Corporation Pvt Ltd
32.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 53.00 | Each | 10.00 | 110.00 | 5830.00 | 660.00 | 34980.00 | 250.00 | 13250.00 | 100.00 | 5300.00 | 525.00 | 27825.00 | 500.00 | 26500.00 | 5300.00 | prime constructions
33.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 53.00 | Each | 10.00 | 5265.00 | 279045.00 | 3800.00 | 201400.00 | 3500.00 | 185500.00 | 4500.00 | 238500.00 | 4450.00 | 235850.00 | 4500.00 | 238500.00 | 185500.00 | Srinivas Gannamaneni
34.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 106.00 | Each | 10.00 | 83.00 | 8798.00 | 85.00 | 9010.00 | 90.00 | 9540.00 | 100.00 | 10600.00 | 100.00 | 10600.00 | 100.00 | 10600.00 | 8798.00 | Monaarc Corporation Pvt Ltd
35.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 62.00 | Metre | 10.00 | 1110.00 | 68820.00 | 1000.00 | 62000.00 | 800.00 | 49600.00 | 1260.00 | 78120.00 | 900.00 | 55800.00 | 700.00 | 43400.00 | 43400.00 | S.R.CONSTRUCTIONS
36.00 | Providing and fixing soil, waste and vent pipes : 75 mm dia Sand cast iron S&S pipe as per IS: 1729 | 124.00 | Metre | 10.00 | 1016.00 | 125984.00 | 920.00 | 114080.00 | 750.00 | 93000.00 | 1060.00 | 131440.00 | 760.00 | 94240.00 | 700.00 | 86800.00 | 86800.00 | S.R.CONSTRUCTIONS
37.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : 75 mm dia pipe | 10.00 | Each | 10.00 | 275.00 | 2750.00 | 126.00 | 1260.00 | 100.00 | 1000.00 | 60.00 | 600.00 | 85.00 | 850.00 | 200.00 | 2000.00 | 600.00 | prime constructions
38.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : 100 mm dia pipe | 10.00 | Each | 10.00 | 220.00 | 2200.00 | 145.00 | 1450.00 | 100.00 | 1000.00 | 60.00 | 600.00 | 95.00 | 950.00 | 250.00 | 2500.00 | 600.00 | prime constructions
39.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Sand cast iron S&S as per IS - 1729 | 10.00 | Each | 10.00 | 619.00 | 6190.00 | 460.00 | 4600.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 400.00 | 4000.00 | 3500.00 | Srinivas Gannamaneni
40.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 75mm dia Sand cast iron S&S as per IS - 1729 | 10.00 | Each | 10.00 | 501.00 | 5010.00 | 370.00 | 3700.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 426.00 | 4260.00 | 300.00 | 3000.00 | 3000.00 | Srinivas Gannamaneni, S.R.CONSTRUCTIONS, prime constructions
41.00 | Providing and fixing plain bend of required degree. 100mm dia Sand cast iron S&S as per IS - 1729 | 10.00 | Each | 10.00 | 579.00 | 5790.00 | 380.00 | 3800.00 | 300.00 | 3000.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 325.00 | 3250.00 | 3000.00 | Srinivas Gannamaneni
42.00 | Providing and fixing plain bend of required degree. 75mm dia Sand cast iron S&S as per IS -1729 | 10.00 | Each | 10.00 | 446.00 | 4460.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 326.00 | 3260.00 | 275.00 | 2750.00 | 2750.00 | S.R.CONSTRUCTIONS
43.00 | Providing and fixing heel rest sanitary bend 100 mm dia Sand cast iron S&S as per IS - 1729 | 10.00 | Each | 10.00 | 493.00 | 4930.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 400.00 | 4000.00 | 3500.00 | Srinivas Gannamaneni
44.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm Sand cast iron S&S as per IS - 1729 | 10.00 | Each | 10.00 | 924.00 | 9240.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 650.00 | 6500.00 | 500.00 | 5000.00 | 5000.00 | Srinivas Gannamaneni, S.R.CONSTRUCTIONS, prime constructions
45.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 75x75x75 mm Sand cast iron S&S as per IS - 1729 | 10.00 | Each | 10.00 | 655.00 | 6550.00 | 475.00 | 4750.00 | 420.00 | 4200.00 | 400.00 | 4000.00 | 550.00 | 5500.00 | 400.00 | 4000.00 | 4000.00 | S.R.CONSTRUCTIONS, prime constructions
46.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS - 1729 | 10.00 | Each | 10.00 | 160.00 | 1600.00 | 1510.00 | 15100.00 | 900.00 | 9000.00 | 700.00 | 7000.00 | 1405.00 | 14050.00 | 1500.00 | 15000.00 | 1600.00 | Monaarc Corporation Pvt Ltd
47.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :75 mm inlet and 75 mm outlet Sand cast iron S&S as per IS - 1729 | 106.00 | Each | 10.00 | 904.00 | 95824.00 | 1300.00 | 137800.00 | 800.00 | 84800.00 | 600.00 | 63600.00 | 1301.00 | 137906.00 | 1050.00 | 111300.00 | 63600.00 | prime constructions
48.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 20 mm dia nominal bore | 530.00 | metre | 10.00 | 475.00 | 251750.00 | 300.00 | 159000.00 | 250.00 | 132500.00 | 300.00 | 159000.00 | 152.00 | 80560.00 | 300.00 | 159000.00 | 80560.00 | srinivasulu p
49.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 25 mm dia nominal bore | 530.00 | metre | 10.00 | 642.00 | 340260.00 | 400.00 | 212000.00 | 280.00 | 148400.00 | 400.00 | 212000.00 | 205.00 | 108650.00 | 400.00 | 212000.00 | 108650.00 | srinivasulu p
50.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 40 mm dia nominal bore | 71.00 | metre | 10.00 | 964.00 | 68444.00 | 640.00 | 45440.00 | 450.00 | 31950.00 | 700.00 | 49700.00 | 305.00 | 21655.00 | 600.00 | 42600.00 | 21655.00 | srinivasulu p
51.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 15 mm dia nominal bore | 71.00 | metre | 10.00 | 392.00 | 27832.00 | 445.00 | 31595.00 | 200.00 | 14200.00 | 300.00 | 21300.00 | 125.00 | 8875.00 | 400.00 | 28400.00 | 8875.00 | srinivasulu p
52.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 20 mm dia nominal bore | 318.00 | metre | 10.00 | 475.00 | 151050.00 | 500.00 | 159000.00 | 250.00 | 79500.00 | 360.00 | 114480.00 | 155.00 | 49290.00 | 420.00 | 133560.00 | 49290.00 | srinivasulu p
53.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 106.00 | Each | 10.00 | 957.00 | 101442.00 | 495.00 | 52470.00 | 300.00 | 31800.00 | 1100.00 | 116600.00 | 500.00 | 53000.00 | 440.00 | 46640.00 | 31800.00 | Srinivas Gannamaneni
54.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 20 mm nominal bore | 106.00 | Each | 10.00 | 847.00 | 89782.00 | 460.00 | 48760.00 | 350.00 | 37100.00 | 800.00 | 84800.00 | 400.00 | 42400.00 | 400.00 | 42400.00 | 37100.00 | Srinivas Gannamaneni
55.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 53.00 | Each | 10.00 | 513.00 | 27189.00 | 385.00 | 20405.00 | 330.00 | 17490.00 | 800.00 | 42400.00 | 450.00 | 23850.00 | 350.00 | 18550.00 | 17490.00 | Srinivas Gannamaneni
56.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 265.00 | Each | 10.00 | 193.00 | 51145.00 | 83.00 | 21995.00 | 100.00 | 26500.00 | 100.00 | 26500.00 | 80.00 | 21200.00 | 70.00 | 18550.00 | 18550.00 | S.R.CONSTRUCTIONS
57.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 20 mm nominal bore | 106.00 | Each | 10.00 | 79.00 | 8374.00 | 260.00 | 27560.00 | 250.00 | 26500.00 | 150.00 | 15900.00 | 100.00 | 10600.00 | 245.00 | 25970.00 | 8374.00 | Monaarc Corporation Pvt Ltd
58.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 25 mm nominal bore | 106.00 | Each | 10.00 | 103.00 | 10918.00 | 340.00 | 36040.00 | 300.00 | 31800.00 | 180.00 | 19080.00 | 100.00 | 10600.00 | 300.00 | 31800.00 | 10600.00 | srinivasulu p
59.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 40 mm nominal bore | 53.00 | Each | 10.00 | 156.00 | 8268.00 | 450.00 | 23850.00 | 396.00 | 20988.00 | 220.00 | 11660.00 | 250.00 | 13250.00 | 400.00 | 21200.00 | 8268.00 | Monaarc Corporation Pvt Ltd
60.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 20000.00 | per litre | 10.00 | 10.45 | 209000.00 | 8.50 | 170000.00 | 8.50 | 170000.00 | 9.00 | 180000.00 | 9.00 | 180000.00 | 10.00 | 200000.00 | 170000.00 | M/S SAI VISHNU CONSTRUCTIONS, Srinivas Gannamaneni
61.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 106.00 | Each | 10.00 | 1280.00 | 135680.00 | 550.00 | 58300.00 | 800.00 | 84800.00 | 1000.00 | 106000.00 | 595.00 | 63070.00 | 500.00 | 53000.00 | 53000.00 | S.R.CONSTRUCTIONS
62.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore | 265.00 | Each | 10.00 | 476.00 | 126140.00 | 500.00 | 132500.00 | 450.00 | 119250.00 | 600.00 | 159000.00 | 405.00 | 107325.00 | 350.00 | 92750.00 | 92750.00 | S.R.CONSTRUCTIONS
63.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter | 450.00 | metre | 10.00 | 374.00 | 168300.00 | 450.00 | 202500.00 | 450.00 | 202500.00 | 300.00 | 135000.00 | 292.00 | 131400.00 | 400.00 | 180000.00 | 131400.00 | srinivasulu p
64.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :150 mm diameter | 450.00 | metre | 10.00 | 253.00 | 113850.00 | 800.00 | 360000.00 | 750.00 | 337500.00 | 600.00 | 270000.00 | 490.00 | 220500.00 | 800.00 | 360000.00 | 113850.00 | Monaarc Corporation Pvt Ltd
65.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 46.00 | Each | 10.00 | 2358.00 | 108468.00 | 2100.00 | 96600.00 | 1800.00 | 82800.00 | 1600.00 | 73600.00 | 1950.00 | 89700.00 | 2000.00 | 92000.00 | 73600.00 | prime constructions
66.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality L D- 2.5 Rectangular shape 600x450 mm internal dimensions | 40.00 | Each | 10.00 | 2415.00 | 96600.00 | 1225.00 | 49000.00 | 1100.00 | 44000.00 | 860.00 | 34400.00 | 1500.00 | 60000.00 | 1000.00 | 40000.00 | 34400.00 | prime constructions
67.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality H D - 20 Circular shape 560 mm internal diameter | 22.00 | Each | 10.00 | 1639.00 | 36058.00 | 1470.00 | 32340.00 | 1300.00 | 28600.00 | 1100.00 | 24200.00 | 1500.00 | 33000.00 | 1500.00 | 33000.00 | 24200.00 | prime constructions
68.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound@ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b)Second layer of slurry of cement @ 0.242 kg/sqm mixed with waterproofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 117.00 | Sqm | 10.00 | 575.00 | 67275.00 | 460.00 | 53820.00 | 500.00 | 58500.00 | 460.00 | 53820.00 | 432.00 | 50544.00 | 800.00 | 93600.00 | 50544.00 | srinivasulu p
69.00 | Providing and laying Glazed Vitrified floor tiles of double charged variant (thickness to be specified by the manufacturer) with water absorption less than 0.08% andconforming to IS: 15622, of approved make, in all colours and shades, laid With cement based High polymer modified quick set tile adhesive(water based) conforming to IS:15477,in average 3mm thickness, including grouting the joints with white cement and matching pigments etc., complete. Size of tile 600mm x 600mm | 1185.00 | Sqm | 10.00 | 1097.00 | 1299945.00 | 1000.00 | 1185000.00 | 1200.00 | 1422000.00 | 1080.00 | 1279800.00 | 1060.00 | 1256100.00 | 1125.00 | 1333125.00 | 1185000.00 | M/S SAI VISHNU CONSTRUCTIONS
70.00 | Providing and laying Matt Finished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of tile 600mm x 600mm | 202.00 | Sqm | 10.00 | 1108.00 | 223816.00 | 1100.00 | 222200.00 | 1400.00 | 282800.00 | 1080.00 | 218160.00 | 1150.00 | 232300.00 | 1150.00 | 232300.00 | 218160.00 | prime constructions
71.00 | Providing and fixing bright finished brass cylindrical lock with key of Godrej make or equivalent with necessary screws etc. complete for flush door shutters. | 53.00 | Each | 10.00 | 1044.00 | 55332.00 | 1640.00 | 86920.00 | 1300.00 | 68900.00 | 400.00 | 21200.00 | 905.00 | 47965.00 | 1450.00 | 76850.00 | 21200.00 | prime constructions
72.00 | Providing and fixing bright finished stainless steel tower bolts (barrel type) with necessary screws etc. complete : 200x10 mm | 318.00 | Each | 10.00 | 377.00 | 119886.00 | 280.00 | 89040.00 | 300.00 | 95400.00 | 60.00 | 19080.00 | 165.00 | 52470.00 | 200.00 | 63600.00 | 19080.00 | prime constructions
73.00 | Providing and fixing bright finished stainless steel hanging type floor door stopper with necessary screws, etc. complete 125mm | 159.00 | Each | 10.00 | 201.00 | 31959.00 | 100.00 | 15900.00 | 100.00 | 15900.00 | 60.00 | 9540.00 | 85.00 | 13515.00 | 100.00 | 15900.00 | 9540.00 | prime constructions
74.00 | Providing and fixing plain mirror of 5mm thick of required size (of approved quality, Modi Guard/Saint gobain or equivalent) fixed to wall with 20 x 25mm Stainless steel studs including making necessary holes to glass and the wall and including wooden plugs etc complete as per the direction of E I C | 29.00 | Sqm | 10.00 | 2187.00 | 63423.00 | 2520.00 | 73080.00 | 2400.00 | 69600.00 | 2200.00 | 63800.00 | 1250.00 | 36250.00 | 2600.00 | 75400.00 | 36250.00 | srinivasulu p
75.00 | Provding and fixing white vitrieous china single piece EWC cum flushing cistern with seat cover of Model : Prince and code No: C0849N/O/P of make Parryware with S trap 280/210/110mm as required with seat cover and in built fittings complete including making necessary connections cutting and making good the floors where ever required | 53.00 | Each | 10.00 | 10812.00 | 573036.00 | 12000.00 | 636000.00 | 10900.00 | 577700.00 | 13500.00 | 715500.00 | 11200.00 | 593600.00 | 12000.00 | 636000.00 | 573036.00 | Monaarc Corporation Pvt Ltd
76.00 | Providing and fixing C.P. brass two way bib cock (Cat : F3002163) of CERA make or Equivalent 15 mm nominal bore | 53.00 | Each | 10.00 | 960.00 | 50880.00 | 1080.00 | 57240.00 | 1200.00 | 63600.00 | 1200.00 | 63600.00 | 1450.00 | 76850.00 | 950.00 | 50350.00 | 50350.00 | S.R.CONSTRUCTIONS
77.00 | Providing and fixing Health Faucet ABS body with wall hock and 1 metre long chrome plated PVC hose pipe (Cat : F8030103 of Cera or equivalent | 53.00 | Each | 10.00 | 643.00 | 34079.00 | 570.00 | 30210.00 | 700.00 | 37100.00 | 1100.00 | 58300.00 | 1090.00 | 57770.00 | 500.00 | 26500.00 | 26500.00 | S.R.CONSTRUCTIONS
78.00 | Providing and fixing white vitreous china wall hung Canton wash basin of size 615 x510mm (Cat No: S2040122) with full Pedestal (Cat No.S2090107) of CERA make or equivalent | 53.00 | Each | 10.00 | 4381.00 | 232193.00 | 5440.00 | 288320.00 | 4800.00 | 254400.00 | 9000.00 | 477000.00 | 10200.00 | 540600.00 | 4900.00 | 259700.00 | 232193.00 | Monaarc Corporation Pvt Ltd
79.00 | Providing and fixing Ormond soap Dish Holder (Cat No: F5003106) of CERA maka or equivalent with concealed fitting arrangements etc complete as per direction of EIC. | 106.00 | Each | 10.00 | 488.00 | 51728.00 | 620.00 | 65720.00 | 580.00 | 61480.00 | 680.00 | 72080.00 | 855.00 | 90630.00 | 500.00 | 53000.00 | 51728.00 | Monaarc Corporation Pvt Ltd
80.00 | Providing and fixing CP Brass wall mixer with bend CP pipe for Overhead shower with built-in non return valve (Cat No: F2008402) of CERA make or equilvant complete as per the direction of Engineer in charge. | 53.00 | Each | 10.00 | 3645.00 | 193185.00 | 4400.00 | 233200.00 | 3900.00 | 206700.00 | 4800.00 | 254400.00 | 6150.00 | 325950.00 | 4500.00 | 238500.00 | 193185.00 | Monaarc Corporation Pvt Ltd
81.00 | Providing and fixing C.P. brass Overhead shower rose 95mm dia with 3 flow (Cat No: F7020302) with Overhead Shower Arm 305mm with wall flange (Cat No: F704104) complete as per direction of EIC | 53.00 | Each | 10.00 | 1255.00 | 66515.00 | 1635.00 | 86655.00 | 1400.00 | 74200.00 | 1100.00 | 58300.00 | 1225.00 | 64925.00 | 1300.00 | 68900.00 | 58300.00 | prime constructions
82.00 | Providing and fixing CP brass Drain Square Hinged hole for waste pipe of Viking make Category No: 41719 or equivalent. 100 mm dia | 265.00 | Each | 10.00 | 257.00 | 68105.00 | 255.00 | 67575.00 | 200.00 | 53000.00 | 100.00 | 26500.00 | 125.00 | 33125.00 | 100.00 | 26500.00 | 26500.00 | S.R.CONSTRUCTIONS, prime constructions
83.00 | Providing and fixing WPC Door Frame ( Two Nos. of jamb post vertical post and one no. head picece horizontial piece of the door frame) with GI Angle plate of 1.5mm thickness ( Two slots of 35mm full thread and 75mm full thread head screws), Installution using fasteners scres made of Brass of 125mm with PVC case grip in which the screws is fitted as per the direction EIC | 215.00 | metre | 10.00 | 518.00 | 111370.00 | 800.00 | 172000.00 | 700.00 | 150500.00 | 1000.00 | 215000.00 | 750.00 | 161250.00 | 700.00 | 150500.00 | 111370.00 | Monaarc Corporation Pvt Ltd
84.00 | Providing and fixing WPC Door shutter having density 550 of thickness 28mm including Stainless Steel butt hinges with necessary screws | 446.00 | sqm | 10.00 | 3105.00 | 1384830.00 | 2400.00 | 1070400.00 | 1800.00 | 802800.00 | 2800.00 | 1248800.00 | 2300.00 | 1025800.00 | 2500.00 | 1115000.00 | 802800.00 | Srinivas Gannamaneni
85.00 | Providing and fixing of tank nipple of 25mm dia for new Over head water tanks at inlet, outlet, overflow and Drainout etc as per direction of Engineer-in-charge. | 212.00 | Each | 10.00 | 173.00 | 36676.00 | 270.00 | 57240.00 | 150.00 | 31800.00 | 100.00 | 21200.00 | 105.00 | 22260.00 | 200.00 | 42400.00 | 21200.00 | prime constructions
86.00 | Credit for taking away of existing Flush door with sliding blot, tower bolt etc under itme no : 28 (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 106.00 | Each | 10.00 | 50.00 | 5300.00 | 1.00 | 106.00 | 52.00 | 5512.00 | 50.00 | 5300.00 | 300.00 | 31800.00 | 200.00 | 21200.00 | 106.00 | M/S SAI VISHNU CONSTRUCTIONS
87.00 | Credit for taking away of existing MS Windows and Ventilator including Glass as per direction of EIC under itme no : 27 (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 3282.00 | Kgs | 10.00 | 15.00 | 49230.00 | 1.00 | 3282.00 | 10.00 | 32820.00 | 10.00 | 32820.00 | 20.00 | 65640.00 | 20.00 | 65640.00 | 3282.00 | M/S SAI VISHNU CONSTRUCTIONS
88.00 | Credit for taking away of existing Wooden window as per direction of EIC under itme no : 27 (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 54.00 | Each | 10.00 | 50.00 | 2700.00 | 1.00 | 54.00 | 100.00 | 5400.00 | 50.00 | 2700.00 | 150.00 | 8100.00 | 100.00 | 5400.00 | 54.00 | M/S SAI VISHNU CONSTRUCTIONS
89.00 | Credit for taking away of existing G.I Pipe as per direction of EIC under itme no : 30 (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 732.00 | Kgs | 10.00 | 15.00 | 10980.00 | 1.00 | 732.00 | 10.00 | 7320.00 | 10.00 | 7320.00 | 20.00 | 14640.00 | 15.00 | 10980.00 | 732.00 | M/S SAI VISHNU CONSTRUCTIONS
| Total in Figures |  |  |  |  | 21357664.00 |  | 21659802.00 |  | 19237565.00 |  | 21029960.00 |  | 20439728.00 |  | 19996685.00
Lowest Amount Quoted BY: Srinivas Gannamaneni(19237565.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of C-Type Quarters at Begumpet Airport Colony, Hyderabad. Tender ID: 2022_AAI_104849_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Srinivas Gannamaneni | 19237565.00 | L1
| 2 | S.R.CONSTRUCTIONS | 19996685.00 | L2
| 3 | srinivasulu p | 20439728.00 | L3
| 4 | prime constructions | 21029960.00 | L4
| 5 | Monaarc Corporation Pvt Ltd | 21357664.00 | L5
| 6 | M/S SAI VISHNU CONSTRUCTIONS | 21659802.00 | L6