## BoQ1
Government eProcurement System Created By: V SHOWJENDRA KUMAR REDDY Created Date/Time: 18-Mar-2022 01:16 PM Tender Title: ARMO of EM Installations at Tirupati Airport for the year 2021 to 22. Sub head Maintenance and Monitoring contract of 150KLD Sewage Treatment Plant for the period of 2 (Two) years at Tirupati Airport Year 2022 to 2023 and 2023 to 2024 Tender ID: 2022_AAI_105079_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
NAME OF WORK: ARMO of E&M Installations at Tirupati Airport for the year 2021-22. Sub Head:- Maintenance & Monitoring contract of 150KLD Sewage Treatment Plant for the period of 2 (Two) years at Tirupati Airport - Year 2022-2023 & 2023-2024
Contract No: AAI/TPT/ENGG(E)/M-08/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | AQUAFLOW SYSTEMS(GSTN-36AGPPJ1454L1Z1) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head I : O&M Contract of 150KLD Sewage treatment plant.
1.01 | Job contract for Operation and Maintenance of 150KLD Sewage Treatment Plant (both preventive and breakdown) on all days including Sundays and public holidays and in shifts of operation as detailed in special conditions, Particular/Technical specification complete as required. | 24.00 | Month |  | 112923.00 | 2710152.00 | 114500.00 | 2748000.00 | 109000.00 | 2616000.00 | 2616000.00 | Techno Electricals
2.00 | Supply of following Chemicals for day to day operation of Sewage Treatment Plant & as and when required.
2.01 | Liquid Chlorine | 2160.00 | Ltrs |  | 30.00 | 64800.00 | 23.00 | 49680.00 | 17.00 | 36720.00 | 36720.00 | Techno Electricals
2.02 | Bleaching powder | 240.00 | Kg |  | 30.00 | 7200.00 | 58.00 | 13920.00 | 50.00 | 12000.00 | 7200.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.03 | Polyelectrolyte (PE) | 240.00 | Kg |  | 142.00 | 34080.00 | 291.00 | 69840.00 | 250.00 | 60000.00 | 34080.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.00 | Sub Head III : Miscellaneous works.
3.01 | Testing of treated water sample for PH, Total Suspended solids(in mg/L), Biochemical Oxygen Demand(BOD) (in mg/L), Chemical Oxygen Demand(COD) (in mg/L), Oil & Grease (in mg/L) and Total Residual chlorine(Cl2) (in mg/L) from NABL Accredited testing lab and submission of test analysis reports as per norms of statutatory authority as required. | 24.00 | Job |  | 1500.00 | 36000.00 | 1450.00 | 34800.00 | 2000.00 | 48000.00 | 34800.00 | AQUAFLOW SYSTEMS
3.02 | Carrying out cleaning of following tanks including providing of cleaning agents / materials / consumables and with special tools & tackles on quarterly basis complete as required. "Pre final tank (or) Final tank (or) Soft water tank" [3 Tanks x 8 Quarters = 24 job] . | 24.00 | Job |  | 2000.00 | 48000.00 | 2000.00 | 48000.00 | 3500.00 | 84000.00 | 48000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, AQUAFLOW SYSTEMS
3.03 | Supply & fixing of Electromagnetic flow meter, class B, nominal working pressure rating of PN 16, flanged type, Mild steel body, Max.reading capacity 999999, minimum pressure loss suitable to work on 230 volts 50 HZ AC supply, complete with all type of plumbing and electrical connections, accessories, wiring, conduits & supports complete with all respect. 50 mm dia | 1.00 | Each |  | 12000.00 | 12000.00 | 34950.00 | 34950.00 | 3500.00 | 3500.00 | 3500.00 | Techno Electricals
3.04 | Supply & fixing of Electromagnetic flow meter, class B, nominal working pressure rating of PN 16, flanged type, Mild steel body, Max.reading capacity 999999, minimum pressure loss suitable to work on 230 volts 50 HZ AC supply, complete with all type of plumbing and electrical connections, accessories, wiring, conduits & supports complete with all respect. 100 mm dia | 1.00 | Each |  | 15000.00 | 15000.00 | 46500.00 | 46500.00 | 4000.00 | 4000.00 | 4000.00 | Techno Electricals
3.05 | Providing and fixing of 100mm dia Stainless Steel Y - strainer. | 1.00 | Job |  | 10000.00 | 10000.00 | 22000.00 | 22000.00 | 5000.00 | 5000.00 | 5000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 2937232.00 |  | 3067690.00 |  | 2869220.00
Lowest Amount Quoted BY: Techno Electricals(2869220.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EM Installations at Tirupati Airport for the year 2021 to 22. Sub head Maintenance and Monitoring contract of 150KLD Sewage Treatment Plant for the period of 2 (Two) years at Tirupati Airport Year 2022 to 2023 and 2023 to 2024 Tender ID: 2022_AAI_105079_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 2869220.00 | L1
| 2 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 2937232.00 | L2
| 3 | AQUAFLOW SYSTEMS | 3067690.00 | L3