## BoQ1
Government eProcurement System Created By: VENKATRAM GANDARAPU Created Date/Time: 11-Mar-2022 12:59 PM Tender Title: Construction of Domestic Air Cargo Terminal Building and associated works at Raja Bhoj Airport, Bhopal. Civil Elect Works Tender ID: 2022_AAI_105193_1
Tender Inviting Authority: SM ENGG-CIVIL RAJA BHOJ AIRPORT BHOPAL
Name of Work: Construction of Domestic Air Cargo terminal building and associated works at Raja Bhoj Airport, Bhopal.
Contract No: AAI/BPL/ENGG(C)W-27/21-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sr39 engineers pvt ltd(GSTN-07AATCS0376H1ZY) |  | S G CONSTRUCTIONS(GSTN-07ABMPS3920J1ZB) |  | EPACK POLYMERS PRIVATE LIMITED(GSTN-09AAACE5175D3ZQ) |  | J S KANAKAM(GSTN-27AHDPK8546R1ZI) |  | M/s. Shapers Constructions Limited(GSTN-23AACCS0392J1ZG) |  | prime constructions(GSTN-27AABFP2480L1Z1) |  | Bhasha Associate(GSTN-23ACXPC3844K2ZA) |  | Rajpati Construction(GSTN-23AAPFR1193J1ZX) |  | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED(GSTN-NA) |  | M/s Vijay Pratap Sharma(GSTN-NA) |  | SWAGATAMA ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 121.00 | Cum | 100.00 | 150.00 | 18150.00 | 180.00 | 21780.00 | 141.25 | 17091.25 | 90.00 | 10890.00 | 190.00 | 22990.00 | 144.00 | 17424.00 | 90.00 | 10890.00 | 120.00 | 14520.00 | 240.00 | 29040.00 | 194.00 | 23474.00 | 80.00 | 9680.00 | 9680.00 | SWAGATAMA ENTERPRISES
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth within airport premises upto one Km lead as per the direction of Engineer-in-charge. All kinds of soil | 3291.00 | Cum | 100.00 | 150.00 | 493650.00 | 135.00 | 444285.00 | 145.49 | 478807.59 | 100.00 | 329100.00 | 120.00 | 394920.00 | 144.00 | 473904.00 | 325.00 | 1069575.00 | 98.00 | 322518.00 | 240.00 | 789840.00 | 200.00 | 658200.00 | 80.00 | 263280.00 | 263280.00 | SWAGATAMA ENTERPRISES
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.Ordinary rock | 615.00 | Cum | 10.00 | 275.00 | 169125.00 | 360.00 | 221400.00 | 163.85 | 100767.75 | 150.00 | 92250.00 | 215.00 | 132225.00 | 684.00 | 420660.00 | 450.00 | 276750.00 | 135.00 | 83025.00 | 240.00 | 147600.00 | 200.00 | 123000.00 | 80.00 | 49200.00 | 49200.00 | SWAGATAMA ENTERPRISES
4.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and nsolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres | 2215.00 | Sqm | 10.00 | 130.00 | 287950.00 | 72.00 | 159480.00 | 50.85 | 112632.75 | 18.00 | 39870.00 | 85.00 | 188275.00 | 36.00 | 79740.00 | 2200.00 | 4873000.00 | 80.00 | 177200.00 | 130.00 | 287950.00 | 156.75 | 347201.25 | 117.00 | 259155.00 | 39870.00 | J S KANAKAM
5.00 | Supplying and Filling suitable moorum/Good earth obtained from approved quarry in trenches, plinth, sides of foundations in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, for all leads and lifts to the satisfactionof the Engineer in charge. (The item shall include cost of work, payment of necessary royalty, carriage of suitable earth upto work site for all leads & lifts involved from all sources arranged by contractor) | 782.00 | Cum | 10.00 | 700.00 | 547400.00 | 540.00 | 422280.00 | 960.50 | 751111.00 | 500.00 | 391000.00 | 550.00 | 430100.00 | 585.00 | 457470.00 | 450.00 | 351900.00 | 590.00 | 461380.00 | 600.00 | 469200.00 | 219.65 | 171766.30 | 242.00 | 189244.00 | 171766.30 | M/s Vijay Pratap Sharma
6.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineerin- Charge. With material conforming to Grade-III (size range 26.5 mm to 0.075 mm ) having CBR Value-20. | 410.00 | Cum | 10.00 | 2100.00 | 861000.00 | 1269.00 | 520290.00 | 1461.80 | 599338.00 | 600.00 | 246000.00 | 900.00 | 369000.00 | 1593.00 | 653130.00 | 580.00 | 237800.00 | 1950.00 | 799500.00 | 2600.00 | 1066000.00 | 1700.00 | 697000.00 | 1800.00 | 738000.00 | 237800.00 | Bhasha Associate
7.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 308.00 | Cum | 10.00 | 2200.00 | 677600.00 | 1440.00 | 443520.00 | 1783.42 | 549293.36 | 550.00 | 169400.00 | 1200.00 | 369600.00 | 1593.00 | 490644.00 | 370.00 | 113960.00 | 2100.00 | 646800.00 | 2600.00 | 800800.00 | 1750.00 | 539000.00 | 2000.00 | 616000.00 | 113960.00 | Bhasha Associate
8.00 | Providing and laying polythene sheet of 400 microns on the base course with overlaps of not less than 75 mm longitudinally and 75mm transversely and as directed by the Engineer in charge. | 2050.00 | Sqm | 10.00 | 60.00 | 123000.00 | 63.00 | 129150.00 | 62.15 | 127407.50 | 40.00 | 82000.00 | 85.00 | 174250.00 | 27.00 | 55350.00 | 2150.00 | 4407500.00 | 41.00 | 84050.00 | 120.00 | 246000.00 | 12.00 | 24600.00 | 100.00 | 205000.00 | 24600.00 | M/s Vijay Pratap Sharma
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering .All work up to plinth level : 1:4:8 (1 cement : 4 Course sand (Zone-III) : 8 graded stone aggregate 40 mm nominal size) | 338.00 | Cum | 10.00 | 4800.00 | 1622400.00 | 3267.00 | 1104246.00 | 4802.50 | 1623245.00 | 2755.00 | 931190.00 | 4100.00 | 1385800.00 | 4050.00 | 1368900.00 | 3700.00 | 1250600.00 | 2800.00 | 946400.00 | 6900.00 | 2332200.00 | 4457.00 | 1506466.00 | 5500.00 | 1859000.00 | 931190.00 | J S KANAKAM
10.00 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints ( 10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineerin- charge (Item of joint fillers & sealants to be paid separately). Note:- Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately. (a) Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer | 387.00 | Cum | 10.00 | 7200.00 | 2786400.00 | 6372.00 | 2465964.00 | 5989.00 | 2317743.00 | 6300.00 | 2438100.00 | 5000.00 | 1935000.00 | 6750.00 | 2612250.00 | 5450.00 | 2109150.00 | 7300.00 | 2825100.00 | 8200.00 | 3173400.00 | 6300.00 | 2438100.00 | 9600.00 | 3715200.00 | 1935000.00 | M/s. Shapers Constructions Limited
11.00 | Providing and laying at or near ground level factory made kerb stone of M25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 24.00 | Cum | 10.00 | 8200.00 | 196800.00 | 7731.00 | 185544.00 | 7684.00 | 184416.00 | 5200.00 | 124800.00 | 6500.00 | 156000.00 | 7380.00 | 177120.00 | 600.00 | 14400.00 | 7000.00 | 168000.00 | 8200.00 | 196800.00 | 7200.00 | 172800.00 | 6000.00 | 144000.00 | 14400.00 | Bhasha Associate
12.00 | Providing and laying in position ready mixed M-30 grade concrete for reinforced cement concrete work, using cement content as per approveddesign mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitatedmixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer in - charge. (Note :- Cement content considered in this item is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately). All works upto plinth level | 450.00 | Cum | 10.00 | 6600.00 | 2970000.00 | 6021.00 | 2709450.00 | 6215.00 | 2796750.00 | 5700.00 | 2565000.00 | 5000.00 | 2250000.00 | 6120.00 | 2754000.00 | 5100.00 | 2295000.00 | 6900.00 | 3105000.00 | 8200.00 | 3690000.00 | 6300.00 | 2835000.00 | 9300.00 | 4185000.00 | 2250000.00 | M/s. Shapers Constructions Limited
13.00 | Providing and laying in position ready mixed M-30 grade concrete for reinforced cement concrete work, using cement content as per approveddesign mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitatedmixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer in - charge. (Note :- Cement content considered in this item is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately). (a) All works above plinth level up to floor V level | 214.00 | Cum | 10.00 | 7200.00 | 1540800.00 | 6255.00 | 1338570.00 | 6288.45 | 1345728.30 | 6000.00 | 1284000.00 | 6000.00 | 1284000.00 | 6120.00 | 1309680.00 | 5100.00 | 1091400.00 | 7400.00 | 1583600.00 | 8200.00 | 1754800.00 | 6800.00 | 1455200.00 | 9000.00 | 1926000.00 | 1091400.00 | Bhasha Associate
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe 500 D or more | 45000.00 | Kg | 10.00 | 75.00 | 3375000.00 | 90.00 | 4050000.00 | 77.97 | 3508650.00 | 77.55 | 3489750.00 | 68.00 | 3060000.00 | 87.30 | 3928500.00 | 68.00 | 3060000.00 | 83.00 | 3735000.00 | 86.00 | 3870000.00 | 80.00 | 3600000.00 | 94.00 | 4230000.00 | 3060000.00 | Bhasha Associate, M/s. Shapers Constructions Limited
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding (b) above plinth level. Thermo-Mechanically Treated bars of grade Fe 500 D or more | 25680.00 | Kg | 10.00 | 75.00 | 1926000.00 | 90.00 | 2311200.00 | 79.53 | 2042330.40 | 77.55 | 1991484.00 | 68.00 | 1746240.00 | 87.30 | 2241864.00 | 68.00 | 1746240.00 | 83.00 | 2131440.00 | 86.00 | 2208480.00 | 80.00 | 2054400.00 | 94.00 | 2413920.00 | 1746240.00 | Bhasha Associate, M/s. Shapers Constructions Limited
16.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases of columns, etc. for mass concrete | 459.00 | Sqm | 10.00 | 200.00 | 91800.00 | 225.00 | 103275.00 | 339.00 | 155601.00 | 250.00 | 114750.00 | 175.00 | 80325.00 | 387.00 | 177633.00 | 475.00 | 218025.00 | 230.00 | 105570.00 | 560.00 | 257040.00 | 219.00 | 100521.00 | 120.00 | 55080.00 | 55080.00 | SWAGATAMA ENTERPRISES
17.00 | Centering and shuttering including strutting, propping etc. and emoval of form work for : Columns, Pillars, Piers, Abutments, Posts and Struts | 433.00 | Sqm | 10.00 | 500.00 | 216500.00 | 324.00 | 140292.00 | 576.30 | 249537.90 | 300.00 | 129900.00 | 400.00 | 173200.00 | 387.00 | 167571.00 | 425.00 | 184025.00 | 350.00 | 151550.00 | 560.00 | 242480.00 | 564.00 | 244212.00 | 120.00 | 51960.00 | 51960.00 | SWAGATAMA ENTERPRISES
18.00 | Centering and shuttering including strutting, propping etc. and emoval of form work for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 245.00 | Sqm | 10.00 | 450.00 | 110250.00 | 324.00 | 79380.00 | 497.20 | 121814.00 | 300.00 | 73500.00 | 300.00 | 73500.00 | 387.00 | 94815.00 | 425.00 | 104125.00 | 350.00 | 85750.00 | 560.00 | 137200.00 | 425.00 | 104125.00 | 120.00 | 29400.00 | 29400.00 | SWAGATAMA ENTERPRISES
19.00 | Centering and shuttering including strutting, propping etc. and emoval of form work for : Suspended floors, roofs, landings, balconies and access platform | 310.00 | Sqm | 10.00 | 450.00 | 139500.00 | 333.00 | 103230.00 | 542.40 | 168144.00 | 300.00 | 93000.00 | 350.00 | 108500.00 | 387.00 | 119970.00 | 365.00 | 113150.00 | 360.00 | 111600.00 | 560.00 | 173600.00 | 533.00 | 165230.00 | 120.00 | 37200.00 | 37200.00 | SWAGATAMA ENTERPRISES
20.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 325.00 | Kg | 10.00 | 90.00 | 29250.00 | 126.00 | 40950.00 | 118.65 | 38561.25 | 90.00 | 29250.00 | 72.00 | 23400.00 | 117.00 | 38025.00 | 95.00 | 30875.00 | 82.00 | 26650.00 | 160.00 | 52000.00 | 83.85 | 27251.25 | 100.00 | 32500.00 | 23400.00 | M/s. Shapers Constructions Limited
21.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 800.00 | Sqm | 10.00 | 1250.00 | 1000000.00 | 1008.00 | 806400.00 | 1130.00 | 904000.00 | 825.00 | 660000.00 | 1000.00 | 800000.00 | 1080.00 | 864000.00 | 685.00 | 548000.00 | 850.00 | 680000.00 | 1800.00 | 1440000.00 | 1178.00 | 942400.00 | 1200.00 | 960000.00 | 548000.00 | Bhasha Associate
22.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 36.00 | Sqm | 10.00 | 1380.00 | 49680.00 | 1062.00 | 38232.00 | 1186.50 | 42714.00 | 1070.00 | 38520.00 | 1200.00 | 43200.00 | 1170.00 | 42120.00 | 830.00 | 29880.00 | 890.00 | 32040.00 | 1600.00 | 57600.00 | 1400.00 | 50400.00 | 1300.00 | 46800.00 | 29880.00 | Bhasha Associate
23.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in in foundation and plinth in all shapes and sizes in : Cement Mortar 1:6 (1 cement : 6 coarse sand). | 52.00 | Cum | 10.00 | 5700.00 | 296400.00 | 5427.00 | 282204.00 | 6610.50 | 343746.00 | 4500.00 | 234000.00 | 4000.00 | 208000.00 | 5670.00 | 294840.00 | 4700.00 | 244400.00 | 5800.00 | 301600.00 | 7200.00 | 374400.00 | 4800.00 | 249600.00 | 2800.00 | 145600.00 | 145600.00 | SWAGATAMA ENTERPRISES
24.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement Mortar 1:6 (1 cement : 6 coarse sand). | 241.00 | Cum | 10.00 | 6800.00 | 1638800.00 | 5544.00 | 1336104.00 | 6780.00 | 1633980.00 | 4700.00 | 1132700.00 | 5200.00 | 1253200.00 | 5670.00 | 1366470.00 | 4700.00 | 1132700.00 | 5900.00 | 1421900.00 | 7200.00 | 1735200.00 | 5500.00 | 1325500.00 | 6100.00 | 1470100.00 | 1132700.00 | Bhasha Associate, J S KANAKAM
25.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 (1 cement :3 coarse sand) | 50.00 | Sqm | 10.00 | 750.00 | 37500.00 | 738.00 | 36900.00 | 734.50 | 36725.00 | 700.00 | 35000.00 | 900.00 | 45000.00 | 810.00 | 40500.00 | 525.00 | 26250.00 | 450.00 | 22500.00 | 1200.00 | 60000.00 | 956.60 | 47830.00 | 140.00 | 7000.00 | 7000.00 | SWAGATAMA ENTERPRISES
26.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 50.00 | Sqm | 10.00 | 80.00 | 4000.00 | 108.00 | 5400.00 | 62.15 | 3107.50 | 100.00 | 5000.00 | 750.00 | 37500.00 | 81.00 | 4050.00 | 62.00 | 3100.00 | 130.00 | 6500.00 | 59.89 | 2994.50 | 80.10 | 4005.00 | 75.00 | 3750.00 | 2994.50 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
27.00 | Providing and fixing precoated galvanised iron profile sheets (size,shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 1500.00 | Sqm | 10.00 | 575.00 | 862500.00 | 666.00 | 999000.00 | 768.00 | 1152000.00 | 550.00 | 825000.00 | 600.00 | 900000.00 | 630.00 | 945000.00 | 2500.00 | 3750000.00 | 850.00 | 1275000.00 | 1800.00 | 2700000.00 | 601.00 | 901500.00 | 850.00 | 1275000.00 | 825000.00 | J S KANAKAM
28.00 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporatingminimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified 2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | 60.00 | Sqm | 10.00 | 950.00 | 57000.00 | 1062.00 | 63720.00 | 1446.40 | 86784.00 | 1200.00 | 72000.00 | 400.00 | 24000.00 | 900.00 | 54000.00 | 1200.00 | 72000.00 | 1000.00 | 60000.00 | 1500.00 | 90000.00 | 1095.20 | 65712.00 | 800.00 | 48000.00 | 24000.00 | M/s. Shapers Constructions Limited
29.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc. trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.Hot finished seamless type tubes | 26000.00 | Kg | 10.00 | 110.00 | 2860000.00 | 108.00 | 2808000.00 | 120.91 | 3143660.00 | 120.65 | 3136900.00 | 150.00 | 3900000.00 | 126.00 | 3276000.00 | 150.00 | 3900000.00 | 130.00 | 3380000.00 | 150.00 | 3900000.00 | 118.00 | 3068000.00 | 113.00 | 2938000.00 | 2808000.00 | S G CONSTRUCTIONS
30.00 | Steel work welded in built up sections/ framed work, including cutting,hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 2910.00 | Kg | 10.00 | 105.00 | 305550.00 | 99.00 | 288090.00 | 120.47 | 350567.70 | 100.00 | 291000.00 | 130.00 | 378300.00 | 117.00 | 340470.00 | 150.00 | 436500.00 | 120.00 | 349200.00 | 160.00 | 465600.00 | 118.00 | 343380.00 | 98.00 | 285180.00 | 285180.00 | SWAGATAMA ENTERPRISES
31.00 | Structural steel work riveted, bolted or welded in built up sections,trusses and framed work, including cutting, hoisting, fixing in position andapplying a priming coat of approved steel primer all complete. | 1300.00 | Kg | 10.00 | 95.00 | 123500.00 | 99.00 | 128700.00 | 120.91 | 157183.00 | 120.65 | 156845.00 | 95.00 | 123500.00 | 117.00 | 152100.00 | 155.00 | 201500.00 | 99.00 | 128700.00 | 140.00 | 182000.00 | 101.75 | 132275.00 | 98.00 | 127400.00 | 123500.00 | sr39 engineers pvt ltd, M/s. Shapers Constructions Limited
32.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. (a) On steel Work | 500.00 | Sqm | 10.00 | 180.00 | 90000.00 | 180.00 | 90000.00 | 200.00 | 100000.00 | 126.00 | 63000.00 | 160.00 | 80000.00 | 144.00 | 72000.00 | 160.00 | 80000.00 | 120.00 | 60000.00 | 900.00 | 450000.00 | 189.75 | 94875.00 | 120.00 | 60000.00 | 60000.00 | SWAGATAMA ENTERPRISES, Rajpati Construction
33.00 | 6mm cement plaster of mix : 1:3 (1 cement: 3 fine sand) | 241.00 | Sqm | 10.00 | 230.00 | 55430.00 | 162.00 | 39042.00 | 203.40 | 49019.40 | 150.00 | 36150.00 | 170.00 | 40970.00 | 234.00 | 56394.00 | 110.00 | 26510.00 | 220.00 | 53020.00 | 240.00 | 57840.00 | 227.35 | 54791.35 | 180.00 | 43380.00 | 26510.00 | Bhasha Associate
34.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix: (a) 1:6 (1 cement: 6 fine sand) | 2263.00 | Sqm | 10.00 | 265.00 | 599695.00 | 216.00 | 488808.00 | 248.60 | 562581.80 | 170.00 | 384710.00 | 220.00 | 497860.00 | 234.00 | 529542.00 | 200.00 | 452600.00 | 248.00 | 561224.00 | 320.00 | 724160.00 | 292.85 | 662719.55 | 150.00 | 339450.00 | 339450.00 | SWAGATAMA ENTERPRISES
35.00 | 12 mm cement plaster: 1:6 (1 cement : 6 fine sand) | 978.00 | Sqm | 10.00 | 250.00 | 244500.00 | 180.00 | 176040.00 | 226.00 | 221028.00 | 165.00 | 161370.00 | 200.00 | 195600.00 | 234.00 | 228852.00 | 175.00 | 171150.00 | 230.00 | 224940.00 | 340.00 | 332520.00 | 254.25 | 248656.50 | 180.00 | 176040.00 | 161370.00 | J S KANAKAM
36.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 35.00 | Sqm | 10.00 | 470.00 | 16450.00 | 477.00 | 16695.00 | 734.50 | 25707.50 | 450.00 | 15750.00 | 380.00 | 13300.00 | 388.00 | 13580.00 | 220.00 | 7700.00 | 390.00 | 13650.00 | 1200.00 | 42000.00 | 465.60 | 16296.00 | 348.00 | 12180.00 | 7700.00 | Bhasha Associate
37.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in- Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 250.00 | Sqm | 10.00 | 850.00 | 212500.00 | 720.00 | 180000.00 | 1186.50 | 296625.00 | 575.00 | 143750.00 | 600.00 | 150000.00 | 810.00 | 202500.00 | 710.00 | 177500.00 | 780.00 | 195000.00 | 1050.00 | 262500.00 | 953.00 | 238250.00 | 780.00 | 195000.00 | 143750.00 | J S KANAKAM
38.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineerin-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 150.00 | meter | 10.00 | 270.00 | 40500.00 | 387.00 | 58050.00 | 271.20 | 40680.00 | 200.00 | 30000.00 | 350.00 | 52500.00 | 270.00 | 40500.00 | 500.00 | 75000.00 | 390.00 | 58500.00 | 600.00 | 90000.00 | 290.80 | 43620.00 | 300.00 | 45000.00 | 30000.00 | J S KANAKAM
39.00 | Providing and erecting 2.40 metre high temporary barricading at site; each panel of size 3.0mx2.40m made of 80x40x4mm hollow MS tube posts and 50x50x3mm horizontal members/bracings covered with 1.63mm thick MS sheet. The sheet shall be fixed with 30x5mm MS flat by suitable welding/riveting. The panels shall be made so that overall height to be of 2.40m. Suitable arrangement shall be made to fix the barricading to avoid from overturning by grouting the post in rich concrete block of size 0.4x0.4x0.5m. The work shall be executed as per drawing/direction of Engineer-in-Charge The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer-in-Charge. (Note :- One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work). | 150.00 | meter | 10.00 | 1950.00 | 292500.00 | 2475.00 | 371250.00 | 6780.00 | 1017000.00 | 1000.00 | 150000.00 | 2400.00 | 360000.00 | 1620.00 | 243000.00 | 2000.00 | 300000.00 | 2300.00 | 345000.00 | 4500.00 | 675000.00 | 1800.00 | 270000.00 | 2500.00 | 375000.00 | 150000.00 | J S KANAKAM
40.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : (a) W.C. pan with ISI marked white solid plastic seat and lid | 4.00 | Each | 10.00 | 4500.00 | 18000.00 | 4860.00 | 19440.00 | 14125.00 | 56500.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 5400.00 | 21600.00 | 3400.00 | 13600.00 | 3950.00 | 15800.00 | 6000.00 | 24000.00 | 4800.00 | 19200.00 | 5000.00 | 20000.00 | 13600.00 | Bhasha Associate
41.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P.brass pillar tap | 4.00 | Each | 10.00 | 2300.00 | 9200.00 | 2952.00 | 11808.00 | 6215.00 | 24860.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 1980.00 | 7920.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 3084.70 | 12338.80 | 2700.00 | 10800.00 | 2000.00 | 8000.00 | 6000.00 | J S KANAKAM
42.00 | Providing and fixing bottle trap (with internal partition) 32mm size with 250mm and 190mm long wall connection pipes and wall flenge (Jaquar ALD 769L250X190) with necessary fittings all complete. | 6.00 | Each | 10.00 | 1500.00 | 9000.00 | 1512.00 | 9072.00 | 1017.00 | 6102.00 | 1500.00 | 9000.00 | 285.00 | 1710.00 | 900.00 | 5400.00 | 3400.00 | 20400.00 | 350.00 | 2100.00 | 3925.00 | 23550.00 | 883.05 | 5298.30 | 2400.00 | 14400.00 | 1710.00 | M/s. Shapers Constructions Limited
43.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 3.00 | Each | 10.00 | 180.00 | 540.00 | 216.00 | 648.00 | 734.50 | 2203.50 | 500.00 | 1500.00 | 250.00 | 750.00 | 135.00 | 405.00 | 500.00 | 1500.00 | 150.00 | 450.00 | 158.55 | 475.65 | 900.00 | 2700.00 | 100.00 | 300.00 | 300.00 | SWAGATAMA ENTERPRISES
44.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: (a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 34.00 | Sqm | 10.00 | 1700.00 | 57800.00 | 2592.00 | 88128.00 | 3955.00 | 134470.00 | 1800.00 | 61200.00 | 1400.00 | 47600.00 | 2250.00 | 76500.00 | 2600.00 | 88400.00 | 1250.00 | 42500.00 | 2756.35 | 93715.90 | 1819.80 | 61873.20 | 1800.00 | 61200.00 | 42500.00 | Rajpati Construction
45.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, havingthermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls 20 mm nominal outer dia Pipes | 50.00 | Rmt | 10.00 | 460.00 | 23000.00 | 297.00 | 14850.00 | 508.50 | 25425.00 | 125.00 | 6250.00 | 300.00 | 15000.00 | 180.00 | 9000.00 | 170.00 | 8500.00 | 290.00 | 14500.00 | 306.95 | 15347.50 | 478.15 | 23907.50 | 380.00 | 19000.00 | 6250.00 | J S KANAKAM
46.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.50 mm nominal outer dia Pipes | 200.00 | Rmt | 10.00 | 680.00 | 136000.00 | 765.00 | 153000.00 | 734.50 | 146900.00 | 450.00 | 90000.00 | 650.00 | 130000.00 | 630.00 | 126000.00 | 560.00 | 112000.00 | 950.00 | 190000.00 | 791.65 | 158330.00 | 791.65 | 158330.00 | 593.00 | 118600.00 | 90000.00 | J S KANAKAM
47.00 | Providing and fixing in position 2 way bib cock with valve flange (Jaquar OPP-CHR -15041PM) with necessary fitting all complete . | 4.00 | Each | 10.00 | 1500.00 | 6000.00 | 1926.00 | 7704.00 | 2825.00 | 11300.00 | 1870.00 | 7480.00 | 250.00 | 1000.00 | 900.00 | 3600.00 | 1500.00 | 6000.00 | 450.00 | 1800.00 | 2750.00 | 11000.00 | 4000.00 | 16000.00 | 3000.00 | 12000.00 | 1000.00 | M/s. Shapers Constructions Limited
48.00 | Providing and fixing brass stop cock of approved quality : 15 mm nominal bore | 20.00 | Each | 10.00 | 450.00 | 9000.00 | 297.00 | 5940.00 | 1017.00 | 20340.00 | 960.00 | 19200.00 | 250.00 | 5000.00 | 630.00 | 12600.00 | 770.00 | 15400.00 | 450.00 | 9000.00 | 302.55 | 6051.00 | 1500.00 | 30000.00 | 225.00 | 4500.00 | 4500.00 | SWAGATAMA ENTERPRISES
49.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :15 mm nominal bore | 4.00 | Each | 10.00 | 400.00 | 1600.00 | 306.00 | 1224.00 | 1356.00 | 5424.00 | 600.00 | 2400.00 | 300.00 | 1200.00 | 450.00 | 1800.00 | 375.00 | 1500.00 | 300.00 | 1200.00 | 338.70 | 1354.80 | 2500.00 | 10000.00 | 250.00 | 1000.00 | 1000.00 | SWAGATAMA ENTERPRISES
50.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 1008.00 | 4032.00 | 1808.00 | 7232.00 | 2000.00 | 8000.00 | 750.00 | 3000.00 | 810.00 | 3240.00 | 1400.00 | 5600.00 | 680.00 | 2720.00 | 869.20 | 3476.80 | 4500.00 | 18000.00 | 680.00 | 2720.00 | 2720.00 | SWAGATAMA ENTERPRISES, Rajpati Construction
51.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. (a) Circular Tank | 8000.00 | Per Litre | 10.00 | 8.00 | 64000.00 | 9.00 | 72000.00 | 11.02 | 88160.00 | 6.50 | 52000.00 | 9.00 | 72000.00 | 9.00 | 72000.00 | 11.00 | 88000.00 | 6.50 | 52000.00 | 8.80 | 70400.00 | 8.80 | 70400.00 | 8.00 | 64000.00 | 52000.00 | J S KANAKAM, Rajpati Construction
52.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter | 400.00 | Meter | 10.00 | 480.00 | 192000.00 | 513.00 | 205200.00 | 452.00 | 180800.00 | 216.00 | 86400.00 | 425.00 | 170000.00 | 387.00 | 154800.00 | 500.00 | 200000.00 | 395.00 | 158000.00 | 450.00 | 180000.00 | 500.20 | 200080.00 | 600.00 | 240000.00 | 86400.00 | J S KANAKAM
53.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : i) 150 mm diameter S.W. Pipe | 400.00 | Meter | 10.00 | 800.00 | 320000.00 | 576.00 | 230400.00 | 621.50 | 248600.00 | 75.00 | 30000.00 | 850.00 | 340000.00 | 630.00 | 252000.00 | 700.00 | 280000.00 | 350.00 | 140000.00 | 850.00 | 340000.00 | 750.00 | 300000.00 | 900.00 | 360000.00 | 30000.00 | J S KANAKAM
54.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame o f 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay FPS (non modular) bricks of class designation 75 | 4.00 | Each | 10.00 | 2000.00 | 8000.00 | 2592.00 | 10368.00 | 1695.00 | 6780.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 1530.00 | 6120.00 | 1900.00 | 7600.00 | 1500.00 | 6000.00 | 6000.00 | 24000.00 | 2307.00 | 9228.00 | 1800.00 | 7200.00 | 4000.00 | J S KANAKAM
55.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 aggregate ). Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : (i) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 8.00 | Each | 10.00 | 10500.00 | 84000.00 | 11880.00 | 95040.00 | 9605.00 | 76840.00 | 4500.00 | 36000.00 | 9400.00 | 75200.00 | 9000.00 | 72000.00 | 9000.00 | 72000.00 | 9500.00 | 76000.00 | 16000.00 | 128000.00 | 9000.00 | 72000.00 | 8000.00 | 64000.00 | 36000.00 | J S KANAKAM
56.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. (a) 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 77.00 | Sqm | 10.00 | 2500.00 | 192500.00 | 3060.00 | 235620.00 | 3616.00 | 278432.00 | 2500.00 | 192500.00 | 2500.00 | 192500.00 | 2430.00 | 187110.00 | 2750.00 | 211750.00 | 2500.00 | 192500.00 | 5000.00 | 385000.00 | 2100.00 | 161700.00 | 4200.00 | 323400.00 | 161700.00 | M/s Vijay Pratap Sharma
57.00 | Providing and fixing ball bearing for rolling shutters | 8.00 | Each | 10.00 | 500.00 | 4000.00 | 378.00 | 3024.00 | 960.50 | 7684.00 | 3500.00 | 28000.00 | 350.00 | 2800.00 | 360.00 | 2880.00 | 3000.00 | 24000.00 | 400.00 | 3200.00 | 1106.55 | 8852.40 | 419.85 | 3358.80 | 400.00 | 3200.00 | 2800.00 | M/s. Shapers Constructions Limited
58.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 1188.00 | 4752.00 | 4520.00 | 18080.00 | 5000.00 | 20000.00 | 940.00 | 3760.00 | 900.00 | 3600.00 | 21000.00 | 84000.00 | 1000.00 | 4000.00 | 1106.55 | 4426.20 | 1106.55 | 4426.20 | 1100.00 | 4400.00 | 3600.00 | prime constructions
59.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm diaM.S. bar instead of laths as per design approved by Engineer-in- charge,(area of grill to be measured). | 21.00 | Sqm | 10.00 | 750.00 | 15750.00 | 774.00 | 16254.00 | 542.40 | 11390.40 | 900.00 | 18900.00 | 560.00 | 11760.00 | 630.00 | 13230.00 | 700.00 | 14700.00 | 550.00 | 11550.00 | 668.95 | 14047.95 | 668.95 | 14047.95 | 500.00 | 10500.00 | 10500.00 | SWAGATAMA ENTERPRISES
60.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | 102.00 | Sqm | 10.00 | 880.00 | 89760.00 | 666.00 | 67932.00 | 1186.50 | 121023.00 | 800.00 | 81600.00 | 875.00 | 89250.00 | 1080.00 | 110160.00 | 825.00 | 84150.00 | 850.00 | 86700.00 | 1030.30 | 105090.60 | 870.00 | 88740.00 | 800.00 | 81600.00 | 67932.00 | S G CONSTRUCTIONS
61.00 | Providing and laying vitrified floor tiles in different sizes thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 297.00 | Sqm | 10.00 | 1300.00 | 386100.00 | 954.00 | 283338.00 | 1243.00 | 369171.00 | 900.00 | 267300.00 | 1250.00 | 371250.00 | 1170.00 | 347490.00 | 750.00 | 222750.00 | 880.00 | 261360.00 | 1350.00 | 400950.00 | 1150.00 | 341550.00 | 1100.00 | 326700.00 | 222750.00 | Bhasha Associate
62.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 21.00 | Each | 10.00 | 850.00 | 17850.00 | 1008.00 | 21168.00 | 7910.00 | 166110.00 | 950.00 | 19950.00 | 853.00 | 17913.00 | 900.00 | 18900.00 | 2500.00 | 52500.00 | 1300.00 | 27300.00 | 1450.00 | 30450.00 | 3000.00 | 63000.00 | 750.00 | 15750.00 | 15750.00 | SWAGATAMA ENTERPRISES
63.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 8.00 | Each | 10.00 | 800.00 | 6400.00 | 1125.00 | 9000.00 | 10170.00 | 81360.00 | 1500.00 | 12000.00 | 725.00 | 5800.00 | 900.00 | 7200.00 | 4500.00 | 36000.00 | 950.00 | 7600.00 | 851.60 | 6812.80 | 851.60 | 6812.80 | 550.00 | 4400.00 | 4400.00 | SWAGATAMA ENTERPRISES
64.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 150x10 mm | 10.00 | Each | 10.00 | 250.00 | 2500.00 | 171.00 | 1710.00 | 904.00 | 9040.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 180.00 | 1800.00 | 170.00 | 1700.00 | 180.00 | 1800.00 | 231.65 | 2316.50 | 231.65 | 2316.50 | 170.00 | 1700.00 | 1700.00 | Bhasha Associate, SWAGATAMA ENTERPRISES
65.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete :100x10 mm | 8.00 | Each | 10.00 | 170.00 | 1360.00 | 153.00 | 1224.00 | 282.50 | 2260.00 | 175.00 | 1400.00 | 135.00 | 1080.00 | 90.00 | 720.00 | 165.00 | 1320.00 | 130.00 | 1040.00 | 159.65 | 1277.20 | 159.65 | 1277.20 | 100.00 | 800.00 | 720.00 | prime constructions
66.00 | Providing and fixing bright finished brass handles with screws etc. complete: 100 mm | 23.00 | Each | 10.00 | 180.00 | 4140.00 | 162.00 | 3726.00 | 203.40 | 4678.20 | 200.00 | 4600.00 | 161.00 | 3703.00 | 81.00 | 1863.00 | 165.00 | 3795.00 | 150.00 | 3450.00 | 189.45 | 4357.35 | 189.45 | 4357.35 | 120.00 | 2760.00 | 1863.00 | prime constructions
67.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture spintone/cosmos / Hexa or equivalent of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main 'T' runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross "T" of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main'T' at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross 'T' of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture (Spintone / Cosmos/hexa) in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main 'T' runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main 'T' , bottom exposed with 24 mm of all T-sections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by engineer-in-charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non - combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/m 0 KC. | 284.00 | Sqm | 10.00 | 1550.00 | 440200.00 | 1476.00 | 419184.00 | 1695.00 | 481380.00 | 1200.00 | 340800.00 | 1400.00 | 397600.00 | 1620.00 | 460080.00 | 1400.00 | 397600.00 | 1200.00 | 340800.00 | 1450.00 | 411800.00 | 1200.00 | 340800.00 | 1000.00 | 284000.00 | 284000.00 | SWAGATAMA ENTERPRISES
68.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a)For Fixed portion Anodised aluminium (Anodised transparent of died two required shade according to IS:1868, minimum anodised quoting of grade AC 15). | 804.00 | Kg | 10.00 | 410.00 | 329640.00 | 558.00 | 448632.00 | 565.00 | 454260.00 | 550.00 | 442200.00 | 360.00 | 289440.00 | 594.00 | 477576.00 | 375.00 | 301500.00 | 415.00 | 333660.00 | 650.00 | 522600.00 | 375.00 | 301500.00 | 520.00 | 418080.00 | 289440.00 | M/s. Shapers Constructions Limited
69.00 | (b) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) (i) Anodised aluminium (anodised transparent or dyed to required shade according to IS:1868, Minimum anodic coating of grade AC 15 | 194.00 | Kg | 10.00 | 460.00 | 89240.00 | 612.00 | 118728.00 | 621.50 | 120571.00 | 550.00 | 106700.00 | 450.00 | 87300.00 | 594.00 | 115236.00 | 400.00 | 77600.00 | 415.00 | 80510.00 | 650.00 | 126100.00 | 450.00 | 87300.00 | 480.00 | 93120.00 | 77600.00 | Bhasha Associate
70.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 58.00 | Sqm | 10.00 | 950.00 | 55100.00 | 1008.00 | 58464.00 | 16385.00 | 950330.00 | 600.00 | 34800.00 | 900.00 | 52200.00 | 630.00 | 36540.00 | 875.00 | 50750.00 | 915.00 | 53070.00 | 1046.90 | 60720.20 | 997.70 | 57866.60 | 800.00 | 46400.00 | 34800.00 | J S KANAKAM
71.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge (Cost of aluminium snap beading shall be paid in basic item): (a) With float glass panes of 5.50 mm thickness | 342.00 | Sqm | 10.00 | 1150.00 | 393300.00 | 1170.00 | 400140.00 | 734.50 | 251199.00 | 800.00 | 273600.00 | 1100.00 | 376200.00 | 927.00 | 317034.00 | 950.00 | 324900.00 | 1150.00 | 393300.00 | 1114.29 | 381087.18 | 750.00 | 256500.00 | 1600.00 | 547200.00 | 251199.00 | EPACK POLYMERS PRIVATE LIMITED
72.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places." | 490.00 | Sqm | 10.00 | 3850.00 | 1886500.00 | 4725.00 | 2315250.00 | 3672.00 | 1799280.00 | 2700.00 | 1323000.00 | 3500.00 | 1715000.00 | 3240.00 | 1587600.00 | 4200.00 | 2058000.00 | 2990.00 | 1465100.00 | 3600.00 | 1764000.00 | 3100.00 | 1519000.00 | 3700.00 | 1813000.00 | 1323000.00 | J S KANAKAM
73.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite of any colour and shade :Area of slab over 0.50 sqm | 6.00 | Sqm | 10.00 | 3500.00 | 21000.00 | 3303.00 | 19818.00 | 3955.00 | 23730.00 | 2400.00 | 14400.00 | 3500.00 | 21000.00 | 4230.00 | 25380.00 | 2150.00 | 12900.00 | 3900.00 | 23400.00 | 4007.65 | 24045.90 | 3500.00 | 21000.00 | 2500.00 | 15000.00 | 12900.00 | Bhasha Associate
74.00 | Providing and fixing bright finished 100 mm mortice lock with 6 leverswithout pair of handles of approved quality for aluminium door, withnecessary screws etc complete as per direction of Engineer- in-charge. | 21.00 | Each | 10.00 | 600.00 | 12600.00 | 702.00 | 14742.00 | 1582.00 | 33222.00 | 800.00 | 16800.00 | 475.00 | 9975.00 | 900.00 | 18900.00 | 650.00 | 13650.00 | 490.00 | 10290.00 | 700.00 | 14700.00 | 712.75 | 14967.75 | 500.00 | 10500.00 | 9975.00 | M/s. Shapers Constructions Limited
75.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 6.00 | Each | 10.00 | 50.00 | 300.00 | 117.00 | 702.00 | 904.00 | 5424.00 | 200.00 | 1200.00 | 35.00 | 210.00 | 45.00 | 270.00 | 450.00 | 2700.00 | 40.00 | 240.00 | 44.60 | 267.60 | 44.60 | 267.60 | 30.00 | 180.00 | 180.00 | SWAGATAMA ENTERPRISES
76.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing :(a)Rectangular shape 1500x450 mm | 4.00 | Each | 10.00 | 1800.00 | 7200.00 | 1656.00 | 6624.00 | 1017.00 | 4068.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 2400.00 | 9600.00 | 1250.00 | 5000.00 | 1786.55 | 7146.20 | 1786.55 | 7146.20 | 900.00 | 3600.00 | 3600.00 | SWAGATAMA ENTERPRISES
77.00 | Providing and fixing soil, waste and vent pipes : (a) 100 mm dia (i) Sand cast iron S&S pipe as per IS: 1729 | 20.00 | Meter | 10.00 | 900.00 | 18000.00 | 1008.00 | 20160.00 | 904.00 | 18080.00 | 1000.00 | 20000.00 | 857.00 | 17140.00 | 900.00 | 18000.00 | 900.00 | 18000.00 | 910.00 | 18200.00 | 1008.20 | 20164.00 | 1008.20 | 20164.00 | 550.00 | 11000.00 | 11000.00 | SWAGATAMA ENTERPRISES
78.00 | Providing and fixing soil, waste and vent pipes : 75 mm diameter : Sand cast iron S&S pipe as per IS: 1729 | 20.00 | Meter | 10.00 | 875.00 | 17500.00 | 882.00 | 17640.00 | 904.00 | 18080.00 | 950.00 | 19000.00 | 800.00 | 16000.00 | 900.00 | 18000.00 | 800.00 | 16000.00 | 850.00 | 17000.00 | 923.25 | 18465.00 | 923.25 | 18465.00 | 450.00 | 9000.00 | 9000.00 | SWAGATAMA ENTERPRISES
79.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : (a) 75 mm dia pipe | 6.00 | Each | 10.00 | 125.00 | 750.00 | 135.00 | 810.00 | 452.00 | 2712.00 | 150.00 | 900.00 | 100.00 | 600.00 | 90.00 | 540.00 | 275.00 | 1650.00 | 88.00 | 528.00 | 126.00 | 756.00 | 126.00 | 756.00 | 100.00 | 600.00 | 528.00 | Rajpati Construction
80.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : 100 mm dia pipe | 12.00 | Each | 10.00 | 140.00 | 1680.00 | 153.00 | 1836.00 | 678.00 | 8136.00 | 150.00 | 1800.00 | 125.00 | 1500.00 | 90.00 | 1080.00 | 275.00 | 3300.00 | 95.00 | 1140.00 | 148.45 | 1781.40 | 148.45 | 1781.40 | 100.00 | 1200.00 | 1080.00 | prime constructions
81.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. (a) 100 mm dia (i) Sand cast iron S&S as per IS - 1729 | 2.00 | Each | 10.00 | 460.00 | 920.00 | 531.00 | 1062.00 | 678.00 | 1356.00 | 500.00 | 1000.00 | 385.00 | 770.00 | 360.00 | 720.00 | 360.00 | 720.00 | 400.00 | 800.00 | 461.65 | 923.30 | 461.65 | 923.30 | 100.00 | 200.00 | 200.00 | SWAGATAMA ENTERPRISES
82.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. )75 mm da (i) Sand cast iron S&S as per IS - 1729 | 2.00 | Each | 10.00 | 370.00 | 740.00 | 414.00 | 828.00 | 565.00 | 1130.00 | 400.00 | 800.00 | 300.00 | 600.00 | 360.00 | 720.00 | 310.00 | 620.00 | 350.00 | 700.00 | 371.40 | 742.80 | 371.40 | 742.80 | 100.00 | 200.00 | 200.00 | SWAGATAMA ENTERPRISES
83.00 | Providing and fixing plain bend of required degree. (a)100 mm dia (i) Sand cast iron S&S as per IS - 1729 | 2.00 | Each | 10.00 | 380.00 | 760.00 | 414.00 | 828.00 | 734.50 | 1469.00 | 400.00 | 800.00 | 300.00 | 600.00 | 360.00 | 720.00 | 370.00 | 740.00 | 350.00 | 700.00 | 381.35 | 762.70 | 381.35 | 762.70 | 100.00 | 200.00 | 200.00 | SWAGATAMA ENTERPRISES
84.00 | Providing and fixing plain bend of required degree. 75 mm dia (i) Sand cast iron S&S as per IS -1729 | 2.00 | Each | 10.00 | 300.00 | 600.00 | 351.00 | 702.00 | 565.00 | 1130.00 | 400.00 | 800.00 | 260.00 | 520.00 | 360.00 | 720.00 | 250.00 | 500.00 | 270.00 | 540.00 | 309.85 | 619.70 | 309.85 | 619.70 | 100.00 | 200.00 | 200.00 | SWAGATAMA ENTERPRISES
85.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | 2558.00 | Kg | 10.00 | 110.00 | 281380.00 | 99.00 | 253242.00 | 141.25 | 361317.50 | 80.00 | 204640.00 | 125.00 | 319750.00 | 117.00 | 299286.00 | 140.00 | 358120.00 | 120.00 | 306960.00 | 120.00 | 306960.00 | 127.00 | 324866.00 | 130.00 | 332540.00 | 204640.00 | J S KANAKAM
86.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. G.I. pipes | 240.00 | Kg | 10.00 | 110.00 | 26400.00 | 108.00 | 25920.00 | 146.90 | 35256.00 | 98.00 | 23520.00 | 120.00 | 28800.00 | 135.00 | 32400.00 | 250.00 | 60000.00 | 110.00 | 26400.00 | 120.00 | 28800.00 | 140.00 | 33600.00 | 110.00 | 26400.00 | 23520.00 | J S KANAKAM
87.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/ sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, Galvanised M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each with zinc coating of 120 gms/sqm(both side inclusive)) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete.:66mm overall thickness Partition with 8mm thick double skin Calcium Silicate Board made with Calcareous & Siliceous materials reinforced with cellulose fiber manufactured through autoclaving process with Compressive Strength 225 kg/sq.cm,Bending Strength 100 kg./ sq.cm | 160.00 | Sqm | 10.00 | 1665.00 | 266400.00 | 1530.00 | 244800.00 | 1977.00 | 316320.00 | 1250.00 | 200000.00 | 1600.00 | 256000.00 | 1710.00 | 273600.00 | 225.00 | 36000.00 | 1350.00 | 216000.00 | 1350.00 | 216000.00 | 1400.00 | 224000.00 | 1100.00 | 176000.00 | 36000.00 | Bhasha Associate
88.00 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | 540.00 | Sqm | 10.00 | 295.00 | 159300.00 | 225.00 | 121500.00 | 310.75 | 167805.00 | 400.00 | 216000.00 | 250.00 | 135000.00 | 324.00 | 174960.00 | 230.00 | 124200.00 | 300.00 | 162000.00 | 250.00 | 135000.00 | 162.00 | 87480.00 | 250.00 | 135000.00 | 87480.00 | M/s Vijay Pratap Sharma
89.00 | Providing and submitting the structural design and drawing of Cargo building structure including foundation details for the proposed cargo building, after carrying out necessary soil investigation. The structural design and drawings goods for constructions shall be done by a structural consultant appointed by Contractor. The contractor shall submit the soil test report, structural design and drawing to Engineer-in-charge after vetting from NIT/IIT. If any clarification/alteration in design is required by the Engineer-in-charge, the same be done without any additional cost. The contractor shall submit Two sets of structure design calculation & six sets of structural drawings showing all relevant details required for execution of work, duly vetted by NIT/IIT. Note : The contractor shall appoint the consultant for soil testing and structural design with prior approval of Enginner-in-charge. The soil investigation shall be carried out as per the prevailing AAI guidelines (copy attached at Annexure A) and direction of Engineer-in-charge. | 1.00 | Job | 10.00 | 400000.00 | 400000.00 | 720000.00 | 720000.00 | 282500.00 | 282500.00 | 200008.00 | 200008.00 | 340000.00 | 340000.00 | 395000.00 | 395000.00 | 350000.00 | 350000.00 | 190000.00 | 190000.00 | 600000.00 | 600000.00 | 100000.00 | 100000.00 | 280000.00 | 280000.00 | 100000.00 | M/s Vijay Pratap Sharma
90.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator):12 way, Double door | 1.00 | Each | 10.00 | 2350.00 | 2350.00 | 2070.00 | 2070.00 | 2852.35 | 2852.35 | 9200.00 | 9200.00 | 1870.00 | 1870.00 | 1800.00 | 1800.00 | 1600.00 | 1600.00 | 1800.00 | 1800.00 | 2250.00 | 2250.00 | 2053.00 | 2053.00 | 1800.00 | 1800.00 | 1600.00 | Bhasha Associate
91.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) :4 way, Double door | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 1476.00 | 2952.00 | 4043.59 | 8087.18 | 3000.00 | 6000.00 | 996.00 | 1992.00 | 3600.00 | 7200.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 1750.00 | 3500.00 | 3068.00 | 6136.00 | 1185.00 | 2370.00 | 1992.00 | M/s. Shapers Constructions Limited
92.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) : 8 way (8 + 24), Double door | 5.00 | Each | 10.00 | 11100.00 | 55500.00 | 5661.00 | 28305.00 | 5683.34 | 28416.70 | 3500.00 | 17500.00 | 3573.00 | 17865.00 | 3600.00 | 18000.00 | 4800.00 | 24000.00 | 10000.00 | 50000.00 | 10500.00 | 52500.00 | 4601.00 | 23005.00 | 1530.00 | 7650.00 | 7650.00 | SWAGATAMA ENTERPRISES
93.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 32A | 1.00 | Each | 10.00 | 2300.00 | 2300.00 | 4428.00 | 4428.00 | 3756.46 | 3756.46 | 2000.00 | 2000.00 | 996.00 | 996.00 | 1800.00 | 1800.00 | 500.00 | 500.00 | 1800.00 | 1800.00 | 2470.00 | 2470.00 | 1927.00 | 1927.00 | 1890.00 | 1890.00 | 500.00 | Bhasha Associate
94.00 | Supplying and fixing following rating, double pole, (Triple phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63A | 7.00 | Each | 10.00 | 3000.00 | 21000.00 | 5562.00 | 38934.00 | 4764.98 | 33354.86 | 2600.00 | 18200.00 | 2496.00 | 17472.00 | 1980.00 | 13860.00 | 3500.00 | 24500.00 | 2500.00 | 17500.00 | 4270.00 | 29890.00 | 2777.00 | 19439.00 | 2660.00 | 18620.00 | 13860.00 | prime constructions
95.00 | Supplying and fixing following rating, double pole, 240 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 A | 1.00 | Each | 10.00 | 450.00 | 450.00 | 1062.00 | 1062.00 | 365.44 | 365.44 | 1000.00 | 1000.00 | 270.00 | 270.00 | 540.00 | 540.00 | 400.00 | 400.00 | 355.00 | 355.00 | 1170.00 | 1170.00 | 2095.00 | 2095.00 | 806.00 | 806.00 | 270.00 | M/s. Shapers Constructions Limited
96.00 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 7.00 | Each | 10.00 | 850.00 | 5950.00 | 945.00 | 6615.00 | 786.65 | 5506.55 | 1500.00 | 10500.00 | 650.00 | 4550.00 | 1620.00 | 11340.00 | 1900.00 | 13300.00 | 700.00 | 4900.00 | 2425.00 | 16975.00 | 839.00 | 5873.00 | 1587.00 | 11109.00 | 4550.00 | M/s. Shapers Constructions Limited
97.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Single pole | 116.00 | Each | 10.00 | 230.00 | 26680.00 | 189.00 | 21924.00 | 179.16 | 20782.56 | 150.00 | 17400.00 | 223.00 | 25868.00 | 180.00 | 20880.00 | 200.00 | 23200.00 | 230.00 | 26680.00 | 228.00 | 26448.00 | 199.00 | 23084.00 | 125.00 | 14500.00 | 14500.00 | SWAGATAMA ENTERPRISES
98.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 2.00 | Each | 10.00 | 1350.00 | 2700.00 | 1476.00 | 2952.00 | 1122.43 | 2244.86 | 1290.00 | 2580.00 | 1286.00 | 2572.00 | 1350.00 | 2700.00 | 2650.00 | 5300.00 | 1200.00 | 2400.00 | 1268.00 | 2536.00 | 1092.00 | 2184.00 | 280.00 | 560.00 | 560.00 | SWAGATAMA ENTERPRISES
99.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each | 10.00 | 30.00 | 300.00 | 13.50 | 135.00 | 23.73 | 237.30 | 30.00 | 300.00 | 19.00 | 190.00 | 18.00 | 180.00 | 50.00 | 500.00 | 20.00 | 200.00 | 50.00 | 500.00 | 800.00 | 8000.00 | 200.00 | 2000.00 | 135.00 | S G CONSTRUCTIONS
100.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 229.00 | Point | 10.00 | 975.00 | 223275.00 | 1233.00 | 282357.00 | 2195.03 | 502661.87 | 1700.00 | 389300.00 | 1080.00 | 247320.00 | 1260.00 | 288540.00 | 375.00 | 85875.00 | 650.00 | 148850.00 | 2500.00 | 572500.00 | 1213.00 | 277777.00 | 150.00 | 34350.00 | 34350.00 | SWAGATAMA ENTERPRISES
101.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 810.00 | Meter | 10.00 | 390.00 | 315900.00 | 1170.00 | 947700.00 | 386.80 | 313308.00 | 320.00 | 259200.00 | 280.00 | 226800.00 | 360.00 | 291600.00 | 365.00 | 295650.00 | 350.00 | 283500.00 | 320.00 | 259200.00 | 265.00 | 214650.00 | 70.00 | 56700.00 | 56700.00 | SWAGATAMA ENTERPRISES
102.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 825.00 | Meter | 10.00 | 325.00 | 268125.00 | 171.00 | 141075.00 | 338.15 | 278973.75 | 220.00 | 181500.00 | 169.00 | 139425.00 | 270.00 | 222750.00 | 185.00 | 152625.00 | 230.00 | 189750.00 | 230.00 | 189750.00 | 229.00 | 188925.00 | 70.00 | 57750.00 | 57750.00 | SWAGATAMA ENTERPRISES
103.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required :20mm | 400.00 | Meter | 10.00 | 175.00 | 70000.00 | 108.00 | 43200.00 | 155.43 | 62172.00 | 100.00 | 40000.00 | 68.00 | 27200.00 | 153.00 | 61200.00 | 95.00 | 38000.00 | 150.00 | 60000.00 | 145.00 | 58000.00 | 146.00 | 58400.00 | 82.00 | 32800.00 | 27200.00 | M/s. Shapers Constructions Limited
104.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required :25mm | 200.00 | Meter | 10.00 | 195.00 | 39000.00 | 144.00 | 28800.00 | 173.23 | 34646.00 | 130.00 | 26000.00 | 76.00 | 15200.00 | 180.00 | 36000.00 | 100.00 | 20000.00 | 180.00 | 36000.00 | 165.00 | 33000.00 | 165.00 | 33000.00 | 113.00 | 22600.00 | 15200.00 | M/s. Shapers Constructions Limited
105.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: 32mm | 200.00 | Meter | 10.00 | 245.00 | 49000.00 | 189.00 | 37800.00 | 196.96 | 39392.00 | 190.00 | 38000.00 | 94.00 | 18800.00 | 360.00 | 72000.00 | 150.00 | 30000.00 | 230.00 | 46000.00 | 320.00 | 64000.00 | 203.00 | 40600.00 | 150.00 | 30000.00 | 18800.00 | M/s. Shapers Constructions Limited
106.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: 40mm | 200.00 | Meter | 10.00 | 360.00 | 72000.00 | 288.00 | 57600.00 | 232.55 | 46510.00 | 220.00 | 44000.00 | 123.00 | 24600.00 | 360.00 | 72000.00 | 190.00 | 38000.00 | 350.00 | 70000.00 | 480.00 | 96000.00 | 292.00 | 58400.00 | 99.00 | 19800.00 | 19800.00 | SWAGATAMA ENTERPRISES
107.00 | Supplying and fixing following modular switch/socket on the existing modular plate including connections but excluding modular plate etc as required : 5/6 A switch | 33.00 | Each | 10.00 | 115.00 | 3795.00 | 99.00 | 3267.00 | 60.51 | 1996.83 | 35.00 | 1155.00 | 78.00 | 2574.00 | 54.00 | 1782.00 | 110.00 | 3630.00 | 150.00 | 4950.00 | 380.00 | 12540.00 | 85.00 | 2805.00 | 36.00 | 1188.00 | 1155.00 | J S KANAKAM
108.00 | Supplying and fixing following modular switch/socket on the existing modular plate including connections but excluding modular plate etc as required : 15/16 A switch | 28.00 | Each | 10.00 | 190.00 | 5320.00 | 171.00 | 4788.00 | 110.34 | 3089.52 | 65.00 | 1820.00 | 142.00 | 3976.00 | 90.00 | 2520.00 | 190.00 | 5320.00 | 180.00 | 5040.00 | 210.00 | 5880.00 | 132.00 | 3696.00 | 75.00 | 2100.00 | 1820.00 | J S KANAKAM
109.00 | Supplying and fixing following modular switch/socket on the existing modular plate including connections but excluding modular plate etc as required : 3 pin 5/6 A socket outlet | 33.00 | Each | 10.00 | 170.00 | 5610.00 | 243.00 | 8019.00 | 126.96 | 4189.68 | 70.00 | 2310.00 | 223.00 | 7359.00 | 90.00 | 2970.00 | 250.00 | 8250.00 | 150.00 | 4950.00 | 110.00 | 3630.00 | 111.00 | 3663.00 | 130.00 | 4290.00 | 2310.00 | J S KANAKAM
110.00 | Supplying and fixing following modular switch/socket on the existing modular plate including connections but excluding modular plate etc as required : 6 pin 15/16 A socket outlet | 28.00 | Each | 10.00 | 250.00 | 7000.00 | 342.00 | 9576.00 | 195.77 | 5481.56 | 102.00 | 2856.00 | 265.00 | 7420.00 | 180.00 | 5040.00 | 350.00 | 9800.00 | 250.00 | 7000.00 | 260.00 | 7280.00 | 175.00 | 4900.00 | 90.00 | 2520.00 | 2520.00 | SWAGATAMA ENTERPRISES
111.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required: 2 Module | 20.00 | Each | 10.00 | 260.00 | 5200.00 | 90.00 | 1800.00 | 177.98 | 3559.60 | 115.00 | 2300.00 | 180.00 | 3600.00 | 117.00 | 2340.00 | 110.00 | 2200.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 243.00 | 4860.00 | 60.00 | 1200.00 | 1200.00 | SWAGATAMA ENTERPRISES
112.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required: 4 Module | 40.00 | Each | 10.00 | 330.00 | 13200.00 | 126.00 | 5040.00 | 225.44 | 9017.60 | 125.00 | 5000.00 | 324.00 | 12960.00 | 180.00 | 7200.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 160.00 | 6400.00 | 287.00 | 11480.00 | 82.00 | 3280.00 | 3280.00 | SWAGATAMA ENTERPRISES
113.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required: 6 Module | 37.00 | Each | 10.00 | 415.00 | 15355.00 | 180.00 | 6660.00 | 302.56 | 11194.72 | 172.00 | 6364.00 | 423.00 | 15651.00 | 270.00 | 9990.00 | 400.00 | 14800.00 | 400.00 | 14800.00 | 240.00 | 8880.00 | 333.00 | 12321.00 | 135.00 | 4995.00 | 4995.00 | SWAGATAMA ENTERPRISES
114.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required: 8 Module | 25.00 | Each | 10.00 | 485.00 | 12125.00 | 288.00 | 7200.00 | 352.39 | 8809.75 | 225.00 | 5625.00 | 520.00 | 13000.00 | 270.00 | 6750.00 | 450.00 | 11250.00 | 450.00 | 11250.00 | 290.00 | 7250.00 | 383.00 | 9575.00 | 170.00 | 4250.00 | 4250.00 | SWAGATAMA ENTERPRISES
115.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required:Telephone socket outlet | 18.00 | Each | 10.00 | 200.00 | 3600.00 | 117.00 | 2106.00 | 188.65 | 3395.70 | 110.00 | 1980.00 | 324.00 | 5832.00 | 180.00 | 3240.00 | 200.00 | 3600.00 | 180.00 | 3240.00 | 260.00 | 4680.00 | 119.00 | 2142.00 | 75.00 | 1350.00 | 1350.00 | SWAGATAMA ENTERPRISES
116.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required: Data/ LAN outlet | 16.00 | Each | 10.00 | 490.00 | 7840.00 | 477.00 | 7632.00 | 359.51 | 5752.16 | 200.00 | 3200.00 | 460.00 | 7360.00 | 270.00 | 4320.00 | 250.00 | 4000.00 | 450.00 | 7200.00 | 950.00 | 15200.00 | 85.00 | 1360.00 | 385.00 | 6160.00 | 1360.00 | M/s Vijay Pratap Sharma
117.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required:1 run of cable | 200.00 | Meter | 10.00 | 70.00 | 14000.00 | 36.00 | 7200.00 | 48.65 | 9730.00 | 45.00 | 9000.00 | 432.00 | 86400.00 | 54.00 | 10800.00 | 20.00 | 4000.00 | 50.00 | 10000.00 | 82.00 | 16400.00 | 49.00 | 9800.00 | 55.00 | 11000.00 | 4000.00 | Bhasha Associate
118.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required:: 2 run of cable | 100.00 | Meter | 10.00 | 125.00 | 12500.00 | 36.00 | 3600.00 | 80.68 | 8068.00 | 48.00 | 4800.00 | 480.00 | 48000.00 | 90.00 | 9000.00 | 40.00 | 4000.00 | 120.00 | 12000.00 | 164.00 | 16400.00 | 82.00 | 8200.00 | 55.00 | 5500.00 | 3600.00 | S G CONSTRUCTIONS
119.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required:3 run of cable | 50.00 | Meter | 10.00 | 175.00 | 8750.00 | 45.00 | 2250.00 | 111.53 | 5576.50 | 125.00 | 6250.00 | 730.00 | 36500.00 | 144.00 | 7200.00 | 60.00 | 3000.00 | 150.00 | 7500.00 | 246.00 | 12300.00 | 114.00 | 5700.00 | 55.00 | 2750.00 | 2250.00 | S G CONSTRUCTIONS
120.00 | Supplying and drawing following pair 0.5 mm dia FRLSH PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.4 Pair | 250.00 | Meter | 10.00 | 50.00 | 12500.00 | 36.00 | 9000.00 | 46.27 | 11567.50 | 45.00 | 11250.00 | 870.00 | 217500.00 | 63.00 | 15750.00 | 20.00 | 5000.00 | 50.00 | 12500.00 | 62.00 | 15500.00 | 29.00 | 7250.00 | 32.00 | 8000.00 | 5000.00 | Bhasha Associate
121.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and 1 earth terminal, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 8.00 | Each | 10.00 | 1300.00 | 10400.00 | 1008.00 | 8064.00 | 840.04 | 6720.32 | 1100.00 | 8800.00 | 794.00 | 6352.00 | 1080.00 | 8640.00 | 3500.00 | 28000.00 | 800.00 | 6400.00 | 2250.00 | 18000.00 | 1232.00 | 9856.00 | 2500.00 | 20000.00 | 6352.00 | M/s. Shapers Constructions Limited
122.00 | Supply of wall mounted fan, 400 mm sweep suitable for operation on 240V, 50Hz A.C. supply with pull code control operations and high speed motor etc. complete as required. | 31.00 | Each | 10.00 | 2500.00 | 77500.00 | 3240.00 | 100440.00 | 2446.56 | 75843.36 | 2415.00 | 74865.00 | 3280.00 | 101680.00 | 2430.00 | 75330.00 | 3500.00 | 108500.00 | 2000.00 | 62000.00 | 2670.00 | 82770.00 | 2008.60 | 62266.60 | 2300.00 | 71300.00 | 62000.00 | Rajpati Construction
123.00 | Supply of 150 mm sweep non-matallic exhaust fan suitable for operation on 240V, 50Hz A.C. supply, 1400 rpm with all accessories including louvers, shutters etc. complete as required. | 2.00 | Each | 10.00 | 2300.00 | 4600.00 | 1818.00 | 3636.00 | 1835.52 | 3671.04 | 1150.00 | 2300.00 | 1870.00 | 3740.00 | 2700.00 | 5400.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 1750.00 | 3500.00 | 1196.80 | 2393.60 | 1200.00 | 2400.00 | 2300.00 | J S KANAKAM
124.00 | SITC of Hand Dryer with automatic ON-OFF mode by getting ON through electronic infrared detection sensor when hand approaches and switches ofwith predetermined timing,duty of continouse repeat use,sound level not more than 74 db protection level IP 23 effective air flow 61-98 m 3/hour/1017-1634/min protrusion 100mm from the wall ,indoor wall mounting by integral formed bracket, provided with sheathed 3 core flexi cable 1 mtr. length ,3 pin 15 A starderd plug top suitable for 240 v single phase ,50A AC supply . | 2.00 | Each | 10.00 | 2900.00 | 5800.00 | 17100.00 | 34200.00 | 18391.94 | 36783.88 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 18000.00 | 36000.00 | 28000.00 | 56000.00 | 2300.00 | 4600.00 | 12300.00 | 24600.00 | 23000.00 | 46000.00 | 2300.00 | 4600.00 | 4600.00 | SWAGATAMA ENTERPRISES, Rajpati Construction
125.00 | Supply of following Wattage LED street light fitting with minimum efficiency of 110 lumens/Watt suitable for 140-270 V, AC, 50 HZ, PF >= 0.95, luminaire should have High pressure die cast Aluminium /Standard alloy housing. Luminaire should have Air vents in housing for proper thermal management, Min IP protection should be IP 65. Total power consumption of fitting (including driver loss) should not more than 110 % of rated capacity of LED Light fitting, complete with all accessories as required:25 W | 18.00 | Each | 10.00 | 2400.00 | 43200.00 | 1125.00 | 20250.00 | 1747.71 | 31458.78 | 1265.00 | 22770.00 | 4870.00 | 87660.00 | 3600.00 | 64800.00 | 2600.00 | 46800.00 | 2200.00 | 39600.00 | 2550.00 | 45900.00 | 3010.70 | 54192.60 | 1600.00 | 28800.00 | 20250.00 | S G CONSTRUCTIONS
126.00 | Supply of 15 Watt round shaped surface mounted LED dowlight with AL die-cast body, finish with drop down PC diffuser to deliver low glare illumination with optimized heat sink for efficient heat dissipation complete with all accessories as required. | 26.00 | Each | 10.00 | 1050.00 | 27300.00 | 1062.00 | 27612.00 | 857.84 | 22303.84 | 790.00 | 20540.00 | 1100.00 | 28600.00 | 1260.00 | 32760.00 | 1150.00 | 29900.00 | 890.00 | 23140.00 | 1250.00 | 32500.00 | 1540.00 | 40040.00 | 700.00 | 18200.00 | 18200.00 | SWAGATAMA ENTERPRISES
127.00 | Supply of recess mounted 2 X 2 32W LED square down LED luminaries made in powder coated CRCA/Aluminium housing with opal diffuser complete with non-integral electronic drive and suitable to operate in 230V,50Hz AC supply etc, as required | 44.00 | Each | 10.00 | 5300.00 | 233200.00 | 3186.00 | 140184.00 | 2904.55 | 127800.20 | 1400.00 | 61600.00 | 5500.00 | 242000.00 | 2430.00 | 106920.00 | 2400.00 | 105600.00 | 4000.00 | 176000.00 | 1850.00 | 81400.00 | 3500.00 | 154000.00 | 1700.00 | 74800.00 | 61600.00 | J S KANAKAM
128.00 | Supply of 18 Watt BATTEN LED TUBE LIGHTS complete with all accessories as required. | 15.00 | Each | 10.00 | 590.00 | 8850.00 | 243.00 | 3645.00 | 759.36 | 11390.40 | 230.00 | 3450.00 | 600.00 | 9000.00 | 540.00 | 8100.00 | 365.00 | 5475.00 | 500.00 | 7500.00 | 730.00 | 10950.00 | 784.30 | 11764.50 | 180.00 | 2700.00 | 2700.00 | SWAGATAMA ENTERPRISES
129.00 | Supply of 80 Watt, round shape Highway LED light fitting with following Wattage with high power LEDs, system efficay not less than 120 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 3kV surge suppressor, fitting made up of high pressure die-cast aluminium housing with suitable thermal management arrangement, toughned glass with IP 65 protection, 50000 burning hours, suitable to operate on single phase AC supply, inline with technical specifications etc., complete as required. | 66.00 | Each | 10.00 | 9900.00 | 653400.00 | 5310.00 | 350460.00 | 7943.62 | 524278.92 | 4500.00 | 297000.00 | 11300.00 | 745800.00 | 9180.00 | 605880.00 | 4200.00 | 277200.00 | 9000.00 | 594000.00 | 5500.00 | 363000.00 | 12500.00 | 825000.00 | 5800.00 | 382800.00 | 277200.00 | Bhasha Associate
130.00 | Installation, testing and commissioning of pre-wired, high bay/fluorescent fitting / compact fluorescent / LED Fittings of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall with suitable size steel fastner, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 151.00 | Each | 10.00 | 150.00 | 22650.00 | 297.00 | 44847.00 | 183.91 | 27770.41 | 80.00 | 12080.00 | 95.00 | 14345.00 | 108.00 | 16308.00 | 200.00 | 30200.00 | 135.00 | 20385.00 | 750.00 | 113250.00 | 358.00 | 54058.00 | 100.00 | 15100.00 | 12080.00 | J S KANAKAM
131.00 | Installations, testing, commissioning of street light luminaire complete with all accessories on 40 mm dia (M class) GI bracket of 1.5 mtr long complete with 2 nos. 25 mm X 3mm M.S. flat iron clamps, bolts and nuts including drilling holes for steel fastener, including connection with 1.5 sq. mm mm FRLS PVC insulated, copper conductor, single core cable and earthing complete etc as required. | 18.00 | Each | 10.00 | 280.00 | 5040.00 | 477.00 | 8586.00 | 3262.88 | 58731.84 | 180.00 | 3240.00 | 260.00 | 4680.00 | 900.00 | 16200.00 | 150.00 | 2700.00 | 250.00 | 4500.00 | 3200.00 | 57600.00 | 1500.00 | 27000.00 | 100.00 | 1800.00 | 1800.00 | SWAGATAMA ENTERPRISES
132.00 | Installation, testing and commissioning of wall fan/Exhaust fan, including wiring with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 33.00 | Each | 10.00 | 150.00 | 4950.00 | 414.00 | 13662.00 | 177.98 | 5873.34 | 80.00 | 2640.00 | 560.00 | 18480.00 | 180.00 | 5940.00 | 200.00 | 6600.00 | 150.00 | 4950.00 | 800.00 | 26400.00 | 171.00 | 5643.00 | 100.00 | 3300.00 | 2640.00 | J S KANAKAM
133.00 | Supply, Installation,Testing & Commisioning of Microprocessor based 2 Loop main fire alarm control panel fully networkable with each loop capable of taking 199 devices, 8 line x 20 character alpha-numeric liquid crystal display. The panel shall be soft addressable type with in-built programmerable key pad . The panel shall be able to give pin point location of all fire/fault conditions. The panel shall be capable to automatically switch off respective control switches when ever any alarm is triggered. The panel shall have in built rectifier, Loop cards,provision for internal & external printer(if required), L C D unit to indicate Fire/Fault Signal with address and analog output, complete in all respects, integral SMF lead acid batteries with sealed cells of 24 V capable of running for a minimum of 24 hours with integral battery charger complete in normal conditions and 30 minutes in alarm condition as required and as per specification. (Make: Honeywell or approved make) | 1.00 | Job | 10.00 | 210000.00 | 210000.00 | 47250.00 | 47250.00 | 342853.41 | 342853.41 | 106920.00 | 106920.00 | 150000.00 | 150000.00 | 81000.00 | 81000.00 | 275000.00 | 275000.00 | 158000.00 | 158000.00 | 500000.00 | 500000.00 | 201000.00 | 201000.00 | 8000.00 | 8000.00 | 8000.00 | SWAGATAMA ENTERPRISES
134.00 | Supply installation testing and commissioning of UL Listed/ EN54 listed, Vds approved analog addressable intelligent automatic adaptable to varing environment conditions, multicriteria Photo +heat detector advanced decentralize intelligence,CPU failure mode,alarm & operating data memory with inbuilt fault isolator complete with base, self adhesive sticker indicating loop number and address etc. to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required. | 60.00 | Set | 10.00 | 3000.00 | 180000.00 | 5310.00 | 318600.00 | 3113.38 | 186802.80 | 2484.00 | 149040.00 | 2780.00 | 166800.00 | 1980.00 | 118800.00 | 2200.00 | 132000.00 | 2600.00 | 156000.00 | 3815.00 | 228900.00 | 2846.00 | 170760.00 | 1700.00 | 102000.00 | 102000.00 | SWAGATAMA ENTERPRISES
135.00 | Supply, installation testing and commissioning of UL Listed/ EN54 listed, Vds approved soft addressable type manual call point 1 stage (break glass type) with in built LED lighting up automatically to confirm its actuation complete as per specification as required. | 3.00 | Set | 10.00 | 3500.00 | 10500.00 | 4725.00 | 14175.00 | 3784.94 | 11354.82 | 3564.00 | 10692.00 | 3890.00 | 11670.00 | 2700.00 | 8100.00 | 2400.00 | 7200.00 | 2500.00 | 7500.00 | 9000.00 | 27000.00 | 3859.00 | 11577.00 | 400.00 | 1200.00 | 1200.00 | SWAGATAMA ENTERPRISES
136.00 | Supply, installation testing and commissioning of UL Listed/ EN54 listed, Vds approved beam detectors refelection type s with soft addressable intelligent monitor module including powe supply unit & other accessorie complete as required as per specification. | 3.00 | Set | 10.00 | 35600.00 | 106800.00 | 4725.00 | 14175.00 | 80029.43 | 240088.29 | 40500.00 | 121500.00 | 38700.00 | 116100.00 | 24300.00 | 72900.00 | 2500.00 | 7500.00 | 30000.00 | 90000.00 | 45000.00 | 135000.00 | 3560.00 | 10680.00 | 1000.00 | 3000.00 | 3000.00 | SWAGATAMA ENTERPRISES
137.00 | Supply, Installation, Testing & Commissioning of UL Listed/ EN54 listed, Vds approved Addressable Loop powered hooter with strobe (85 dba) complete as required. | 3.00 | Set | 10.00 | 7200.00 | 21600.00 | 4725.00 | 14175.00 | 8673.32 | 26019.96 | 4536.00 | 13608.00 | 4300.00 | 12900.00 | 6300.00 | 18900.00 | 3000.00 | 9000.00 | 6500.00 | 19500.00 | 6200.00 | 18600.00 | 568.00 | 1704.00 | 1000.00 | 3000.00 | 1704.00 | M/s Vijay Pratap Sharma
138.00 | Supply, Installation,Testing & Commisioning of UL Listed/ EN54 listed, Vds approved Addressable transponder/ Control Modules programmable required for tripping , pressurisation fans, Exhaust fans etc. This shall include all accessories like power supply, relays etc complete as required. | 10.00 | Set | 10.00 | 5600.00 | 56000.00 | 2124.00 | 21240.00 | 5007.03 | 50070.30 | 4104.00 | 41040.00 | 4380.00 | 43800.00 | 2700.00 | 27000.00 | 2650.00 | 26500.00 | 5000.00 | 50000.00 | 5500.00 | 55000.00 | 868.00 | 8680.00 | 1000.00 | 10000.00 | 8680.00 | M/s Vijay Pratap Sharma
139.00 | Supply, installation, testing and commissioning of Response Indicators outside the rooms for getting fire indications of detectors installed above false ceiling area interconnecting to loop cable complete as required. | 30.00 | Set | 10.00 | 240.00 | 7200.00 | 477.00 | 14310.00 | 240.86 | 7225.80 | 270.00 | 8100.00 | 175.00 | 5250.00 | 180.00 | 5400.00 | 2500.00 | 75000.00 | 200.00 | 6000.00 | 550.00 | 16500.00 | 263.00 | 7890.00 | 600.00 | 18000.00 | 5250.00 | M/s. Shapers Constructions Limited
140.00 | Supply of 2 X 1.5 Sq. mm stranded copper conductor, flexible, PVC insulated, PVC sheathed, round flexible cable of 1.1KV grade conforming to the relavent IS standard for control cabling of all fire detection and alarm devices and interconnecting them. | 520.00 | Mtrs | 10.00 | 53.00 | 27560.00 | 207.00 | 107640.00 | 199.33 | 103651.60 | 62.00 | 32240.00 | 78.00 | 40560.00 | 126.00 | 65520.00 | 100.00 | 52000.00 | 50.00 | 26000.00 | 140.00 | 72800.00 | 189.00 | 98280.00 | 32.00 | 16640.00 | 16640.00 | SWAGATAMA ENTERPRISES
141.00 | Laying of 2 X 1.5 Sq. mm stranded copper conductor, flexible, PVC insulated, shielded Type round flexible cable in the existing conduit as required | 520.00 | Mtrs | 10.00 | 22.00 | 11440.00 | 207.00 | 107640.00 | 47.46 | 24679.20 | 37.00 | 19240.00 | 16.00 | 8320.00 | 90.00 | 46800.00 | 100.00 | 52000.00 | 20.00 | 10400.00 | 125.00 | 65000.00 | 72.00 | 37440.00 | 65.00 | 33800.00 | 8320.00 | M/s. Shapers Constructions Limited
142.00 | Supply and laying of 20 mm dia. Flexible GI spiral steel conduits with GI clamps, fittings / couplers and saddles for drawing detector control cables from surface to below false ceiling etc. | 50.00 | Mtrs | 10.00 | 70.00 | 3500.00 | 162.00 | 8100.00 | 65.26 | 3263.00 | 37.00 | 1850.00 | 65.00 | 3250.00 | 63.00 | 3150.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 625.00 | 31250.00 | 52.00 | 2600.00 | 32.00 | 1600.00 | 1600.00 | SWAGATAMA ENTERPRISES
| Total in Figures |  |  |  |  | 36063905.00 |  | 35144073.00 |  | 38309332.06 |  | 28876482.00 |  | 32197045.00 |  | 34827208.00 |  | 43273845.00 |  | 34237475.00 |  | 45820256.93 |  | 34063395.35 |  | 36734377.00
Lowest Amount Quoted BY: J S KANAKAM(28876482.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Domestic Air Cargo Terminal Building and associated works at Raja Bhoj Airport, Bhopal. Civil Elect Works Tender ID: 2022_AAI_105193_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | J S KANAKAM | 28876482.00 | L1
| 2 | M/s. Shapers Constructions Limited | 32197045.00 | L2
| 3 | M/s Vijay Pratap Sharma | 34063395.35 | L3
| 4 | Rajpati Construction | 34237475.00 | L4
| 5 | prime constructions | 34827208.00 | L5
| 6 | S G CONSTRUCTIONS | 35144073.00 | L6
| 7 | sr39 engineers pvt ltd | 36063905.00 | L7
| 8 | SWAGATAMA ENTERPRISES | 36734377.00 | L8
| 9 | EPACK POLYMERS PRIVATE LIMITED | 38309332.06 | L9
| 10 | Bhasha Associate | 43273845.00 | L10
| 11 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED | 45820256.93 | L11