## BoQ1
Government eProcurement System Created By: md ansari Created Date/Time: 14-Mar-2022 11:55 AM Tender Title: Annual Comprehensive Maintenance and Operation of window split AC and water coolers RO units at Pantnagar Airport for the year 2021-22 Tender ID: 2022_AAI_105236_1
Tender Inviting Authority: Airports Authority of India, Pantnagar Airport, Pantnagar.
Name of Work: Misc. Annual Comprehensive Maintenance & Operation of Window/Split AC & Water Coolers/RO Units at Pantnagar Airport for the year 2021-22.
Contract No: AAI/PNT/ELECT/ACMC/21-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHREEJEECOOLINGSERVICE(GSTN-06CWDPS5601Q1Z1) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I:Maintenance of split/window/cassatte type Airconditioner
1.10 | Annual Comprehensive maintenance of capacity 1.5TR window Air Conditioners of different makes i/c providing reparing/replacement of defective compressor by same company compressor & replacement of other defective components like relay & switches, capacitor etc. with original components i/c repair & maintenance of stabilizer etc. complete as required | 9.00 | Each | 4629.13 | 4350.00 | 39150.00 | 1820.00 | 16380.00 | 3010.00 | 27090.00 | 4000.00 | 36000.00 | 16380.00 | Anoop Refrigeration
1.20 | Annual Comprehensive maintenance of capacity 1.5/2.0TR Split& cassette type Air Conditioners of different makes i/c providing reparing/replacement of defective compressor by same company compressor & replacement of other defective components like relay & switches, capacitor etc. with original components i/c repair & maintenance of stabilizer etc. complete as required | 42.00 | Each | 5723.37 | 4650.00 | 195300.00 | 2478.00 | 104076.00 | 3490.00 | 146580.00 | 4111.00 | 172662.00 | 104076.00 | Anoop Refrigeration
2.00 | SH II:Maintenance of Water cooler and RO System.
2.10 | Annual Comprehensive maintenance of different capacity 40/80 & 60/120 ltr capacity water cooler i/c providing reparing/replacement of defective compressor by same company compressor & replacement of other defective components with original components i/c repair & maintenance of voltage stabilizer etc. complete as required | 5.00 | Each | 6666.00 | 2200.00 | 11000.00 | 5000.00 | 25000.00 | 3500.00 | 17500.00 | 2500.00 | 12500.00 | 11000.00 | SHREEJEECOOLINGSERVICE
2.20 | Annual Comprehensive maintenance Contract of Reverse Osmosis(RO) System of Acquafresh make having capacity 50 LPH i/c supply & replacement of all spares & part except pump & membranes as per EIC | 3.00 | Each | 9595.00 | 4250.00 | 12750.00 | 22500.00 | 67500.00 | 5500.00 | 16500.00 | 3000.00 | 9000.00 | 9000.00 | SAURABH ENTERPRISES
2.30 | Annual Comprehensive maintenance Contract of Reverse Osmosis System Model-Zero B commercial 25 LPH i/c supply & replacement of all spares & part except pump & membranes as per EIC | 2.00 | Each | 7575.00 | 3050.00 | 6100.00 | 16000.00 | 32000.00 | 5908.00 | 11816.00 | 3000.00 | 6000.00 | 6000.00 | SAURABH ENTERPRISES
2.40 | Supply of 01 no. memberane of reverse osmosis system of Acquafresh make of 50 LPH capacity as and when required | 12.00 | Nos | 1599.13 | 3500.00 | 42000.00 | 2052.00 | 24624.00 | 3300.00 | 39600.00 | 1400.00 | 16800.00 | 16800.00 | SAURABH ENTERPRISES
2.50 | Supply of 01 no. memberane of revrse osmosis system of Ion Exchange make of 25 LPH capacity as and when required | 8.00 | Nos | 1171.60 | 2250.00 | 18000.00 | 2700.00 | 21600.00 | 3000.00 | 24000.00 | 1400.00 | 11200.00 | 11200.00 | SAURABH ENTERPRISES
2.60 | Supply of pump for reverse osmosis system of Zero-B make of having 25 LPH capacity as and when required | 4.00 | Nos | 2878.50 | 1500.00 | 6000.00 | 4309.00 | 17236.00 | 3400.00 | 13600.00 | 2500.00 | 10000.00 | 6000.00 | SHREEJEECOOLINGSERVICE
2.70 | Supply of pump for reverse osmosis system of Acquafresh make of having capacity of 50 LPH as and when required | 4.00 | Nos | 4470.97 | 1834.72 | 7338.88 | 3780.00 | 15120.00 | 3400.00 | 13600.00 | 5000.00 | 20000.00 | 7338.88 | SHREEJEECOOLINGSERVICE
2.80 | Installation , testing and commissioning of capacity 1.5/2.0 TR all type make high wall split/cassette air conditoner unit including supply & fixing of refigerant pipe with insulation & suitable flexible copper condutor cable between evaporator and condensor units (upto4 mtr) topping up suitable refrigerant gas etc complete as required as per direction of EIC. | 5.00 | Job | 2861.63 | 2250.00 | 11250.00 | 1100.00 | 5500.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 5000.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 348888.88 |  | 329036.00 |  | 322786.00 |  | 299162.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(299162.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance and Operation of window split AC and water coolers RO units at Pantnagar Airport for the year 2021-22 Tender ID: 2022_AAI_105236_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 299162.00 | L1
| 2 | M K ENTERPRISES | 322786.00 | L2
| 3 | Anoop Refrigeration | 329036.00 | L3
| 4 | SHREEJEECOOLINGSERVICE | 348888.88 | L4