## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 13-May-2022 06:37 PM Tender Title: operation of 3x390 TR Tender ID: 2022_AAI_105347_1
Tender Inviting Authority: Asst. General Manager Engg ( E ) -1, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Operation & routine Maintenance contract for 3 x390 TR Air-conditioning Plant of T1 building, 3 x 110 TR Air-conditioning plant of T2 Building including ancillary installations like AHU, Cooling tower etc. & Comprehensive maintenance of Split and Ductable Acs & water cooler etc. at B.P.I Airport, Bhubaneswar.
Contract No: 2022_AAI_105347_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | SUVIDHA ENGINEERS INDIA PVT LTD(GSTN-19AABCS7831B1ZH) |  | VOLTAS LIMITED(GSTN-21AAACV2809D1ZY) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I:Operation & daily maintenance of HVAC plant: Operation and daily maintenance of HVAC plant of 3X390TR I/C 3nos cooling tower, Primary/secondary pumps ,AHUs,Ventilating inline fans, Main HVAC panels with VFDs and all starter panels, BMS & air curtain in NTB(T-1) and service block area with maintaining of records /documents on all days in three shifts including Sundays and holidays as required, as per detailed specification of terms and condition and as per direction of EIC as specified. | 24.00 | Month |  | 312000.00 | 7488000.00 | 303100.00 | 7274400.00 | 400000.00 | 9600000.00 | 267840.00 | 6428160.00 | 275000.00 | 6600000.00 | 6428160.00 | Anoop Refrigeration
2.00 | Operation of 3X110TR Central AC Plant including maintenance of records /documents on all days in two shifts (16 Hrs) including Sundays and Holidays as required as per AAI specification, terms & conditions. | 24.00 | Month |  | 162000.00 | 3888000.00 | 137810.00 | 3307440.00 | 87534.00 | 2100816.00 | 130251.00 | 3126024.00 | 145000.00 | 3480000.00 | 2100816.00 | VOLTAS LIMITED
3.00 | SH-II:CMC of Split AC: Annual comprehensive maintenance of 1.5 ton Split type air-conditioning units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 147.00 | Each |  | 5921.00 | 870387.00 | 8500.00 | 1249500.00 | 2000.00 | 294000.00 | 7923.00 | 1164681.00 | 4500.00 | 661500.00 | 294000.00 | VOLTAS LIMITED
4.00 | Annual comprehensive maintenance of 2.0 ton Split type air-conditioning units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 50.00 | Each |  | 6421.00 | 321050.00 | 11000.00 | 550000.00 | 1850.00 | 92500.00 | 10564.00 | 528200.00 | 4500.00 | 225000.00 | 92500.00 | VOLTAS LIMITED
5.00 | Annual comprehensive maintenance of 3.0 ton Split type air-conditioning (Cassette/Floormounted/Highwall/MRU) units of all makes installed at various locations including, repair / replacement of defective compressors / motors /PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 19.00 | Each |  | 7521.00 | 142899.00 | 16500.00 | 313500.00 | 2150.00 | 40850.00 | 15846.00 | 301074.00 | 5500.00 | 104500.00 | 40850.00 | VOLTAS LIMITED
6.00 | Annual comprehensive maintenance of 4.0 ton Split type air-conditioning (Cassette/Floormounted/Highwall) units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 3.00 | Each |  | 7921.00 | 23763.00 | 22000.00 | 66000.00 | 7500.00 | 22500.00 | 21128.00 | 63384.00 | 7500.00 | 22500.00 | 22500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, VOLTAS LIMITED
7.00 | Annual comprehensive maintenance of 5.5 ton Ductable Split air-conditioning units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 4.00 | Each |  | 10421.00 | 41684.00 | 30000.00 | 120000.00 | 7000.00 | 28000.00 | 29051.00 | 116204.00 | 10000.00 | 40000.00 | 28000.00 | VOLTAS LIMITED
8.00 | Annual comprehensive maintenance of 40/80 ltr WaterCooler units of all makes installed at various locations including, repair / replacement of defective compressors / motors /PCB/ spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 18.00 | Each |  | 10421.00 | 187578.00 | 3000.00 | 54000.00 | 6500.00 | 117000.00 | 10036.00 | 180648.00 | 7000.00 | 126000.00 | 54000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
9.00 | Annual comprehensive maintenance of 150/150 ltr WaterCooler units of all makes installed at various locations including, repair / replacement of defective compressors / motors / PCB/spares / consumables etc. of complete air-conditioning system as per tender specifications, terms & conditions etc. complete as required for two years. | 4.00 | Each |  | 9321.00 | 37284.00 | 5000.00 | 20000.00 | 7500.00 | 30000.00 | 20072.00 | 80288.00 | 15000.00 | 60000.00 | 20000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
10.00 | Supply and fixing of copper refrigerant piping of following size comprising suction and discharge pipes complete with suitable size PVC FR Cu wire & nitrile rubber insulation sleeves, brazing including providing of clamps etc.
10.01 | Size 1/2" & 1/4" for 1.5 TR Air-conditioning complete as required. | 120.00 | Mtr |  | 850.00 | 102000.00 | 328.00 | 39360.00 | 220.00 | 26400.00 | 900.00 | 108000.00 | 500.00 | 60000.00 | 26400.00 | VOLTAS LIMITED
10.02 | Size 5/8" & 3/8" for 2.0/3.0 TR Air-conditioning complete as required. | 120.00 | Mtr |  | 950.00 | 114000.00 | 490.00 | 58800.00 | 280.00 | 33600.00 | 900.00 | 108000.00 | 500.00 | 60000.00 | 33600.00 | VOLTAS LIMITED
11.00 | Supply and fixing of 25 mm PVC drain pipe connection from indoor to outside of wall including bends,water seal materials & necessary accessories on surface / recess for drain water outlets of AC units etc. complete as required. | 100.00 | Mtr |  | 50.00 | 5000.00 | 44.00 | 4400.00 | 100.00 | 10000.00 | 250.00 | 25000.00 | 50.00 | 5000.00 | 4400.00 | SUVIDHA ENGINEERS INDIA PVT LTD
12.00 | Dismentalling of 1.5/2.0 ton split A/Cs of different make and handedover to AAI store/ shift to other location within Airport permises in good condition etc complete as required. | 80.00 | Job |  | 5921.00 | 473680.00 | 10.00 | 800.00 | 200.00 | 16000.00 | 2500.00 | 200000.00 | 1500.00 | 120000.00 | 800.00 | SUVIDHA ENGINEERS INDIA PVT LTD
13.00 | Installation ,testing and commissioning of 1.5/2.0 ton split A/Cs of Different make including gas charging, pressure testing and minor civil works etc complete as required | 80.00 | Job |  | 6421.00 | 513680.00 | 10.00 | 800.00 | 200.00 | 16000.00 | 2800.00 | 224000.00 | 2500.00 | 200000.00 | 800.00 | SUVIDHA ENGINEERS INDIA PVT LTD
| Total in Figures |  |  |  |  | 14209005.00 |  | 13059000.00 |  | 12427666.00 |  | 12653663.00 |  | 11764500.00
Lowest Amount Quoted BY: CIS GLOBAL INFRATECH PRIVATE LIMITED(11764500.00)

## BOQ Summary
BOQ Summary Details Tender Title: operation of 3x390 TR Tender ID: 2022_AAI_105347_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 11764500.00 | L1
| 2 | VOLTAS LIMITED | 12427666.00 | L2
| 3 | Anoop Refrigeration | 12653663.00 | L3
| 4 | SUVIDHA ENGINEERS INDIA PVT LTD | 13059000.00 | L4
| 5 | Supertech Engineers | 14209005.00 | L5