## BoQ1
Government eProcurement System Created By: NANDKUMAR KUNDALE Created Date/Time: 25-Mar-2022 05:29 PM Tender Title: Repairing of 11KV, 800A three VCB HT Panel installed at New Airport colony, Mumbai Tender ID: 2022_AAI_105397_1
Tender Inviting Authority: AGM(E-E)
Name of Work: Repairing of 11KV, 800A three VCB HT Panel installed at New Airport Colony, Mumbai.
Contract No: 2022_AAI_105397_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ALFA DEAL PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Repairing of 11 KV, 800 A, Three VCB HT panel by supply and fixing of following required spares including testing and commissioning HT panel complete etc. as required. a) VCB Bushing suitable for 800 Amp VCB (Make: ABB, Model: VD4) - 18 Nos. b) Contact Gattu/Spouts of Bushing Terminal suitable for 800 Amp VCB (Make: ABB, Model: VD4) - 18 Nos. c) Aluminium nut plate for Bushing - 18 Nos. d) 11kV Insulator - 13 Nos. e) Heater with Necessary Wiring - 15 Nos. f) 11KV Cast Resin Current Transformer of ratio 50/5/5 A (Core-1), 100/50/5A (Core-2), 15VA, B class insulation, Class 1 (Core-1), class 5P 10 (Core-2) (Make: M/s. Star Electrical company or its equivalent) - 1 No. g)11 KV Cast Resin type Potential Transformer of ratio, 11000 /√3/ 110/√3 V, 50 VA Burden, I. Level 12/28/75 KV, A. Class 1, 50 HZ (Make: M/s. Star Electrical company or its equivalent) - 1 no. h) Protection Relay (Make: L&T, Model: MC 31/ ABB (REJ601) or its equivalent) - 1 No. i) TNS Switch - 3 Nos. j) Ammeter Switch Control Fuse bases and Links- 3 Nos. k) Voltmeter Switch Control Fuse bases and Links - 3 Nos. | 1.00 | JOB | 515862.00 | 509000.00 | 509000.00 | 723060.00 | 723060.00 | 509000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 509000.00 |  | 723060.00
Lowest Amount Quoted BY: Manish Electricals(509000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairing of 11KV, 800A three VCB HT Panel installed at New Airport colony, Mumbai Tender ID: 2022_AAI_105397_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 509000.00 | L1
| 2 | ALFA DEAL PRIVATE LIMITED | 723060.00 | L2