## BoQ1
Government eProcurement System Created By: Jagannath singh Deshmukh Created Date/Time: 11-Mar-2022 12:51 PM Tender Title: Annual Operation and Maintenance Contract for E and M Installations at C. A. Rajkot. For 1 year (Yr 2022-23) Tender ID: 2022_AAI_105428_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: Annual Operation & Maintenance Contract for E & M Installations at C. A. Rajkot. [ For 1 year (Yr 2022-23)].
Contract No: AAI/RAJ/SM(E-E)/NIT-10/21-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of Electrical & Mechanical Installations of operational & non-operational areas of the Airport including GLF, CCR Panels, conveyor belts involving operation of conveyors, pump sets involving operation of pumps and minor repairing as per specification & conditions attached, attending to complaints / faults / breakdowns ensuring serviceability, satisfactory working condition of the system / preventive maintenance, maintenance of records/ documentation etc. as per the detailed specification terms & condition on all days including Sundays and holidays in 03 (three) shift basis and also as & when required basis etc as required. (Highly Skilled-2; Skilled-5; Semi-Skilled-6; Un-Skilled-6. The above mentioned minimum strength of labour is exclusive of reliever. Reliever as per site requirement shall be considered in addition to the minimum strength while quoting rate for this item.) | 12.00 | Months |  | 399000.00 | 4788000.00 | 402827.17 | 4833926.00 | 397000.00 | 4764000.00 | 394999.00 | 4739988.00 | 385905.00 | 4630860.00 | 390000.00 | 4680000.00 | 389479.00 | 4673748.00 | 50000.00 | 600000.00 | 600000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
2.00 | Providing services for office assistance including computer operating, up keeping of records, etc. on all days excluding Sundays and holidays also as and when required. (Highly Skilled-1; Un-Skilled-1) | 12.00 | Months |  | 39000.00 | 468000.00 | 38362.27 | 460347.28 | 37000.00 | 444000.00 | 37500.00 | 450000.00 | 36645.00 | 439740.00 | 30000.00 | 360000.00 | 38727.00 | 464724.00 | 100000.00 | 1200000.00 | 360000.00 | Rudraksha Enterprise
3.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Supervisor (Highly Skilled) | 25.00 | Months |  | 100.00 | 2500.00 | 100.00 | 2500.00 | 100.00 | 2500.00 | 99.40 | 2485.00 | 108.00 | 2700.00 | 30.00 | 750.00 | 107.00 | 2675.00 | 20000.00 | 500000.00 | 750.00 | Rudraksha Enterprise
4.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Electrician (Skilled) | 75.00 | Months |  | 95.00 | 7125.00 | 90.00 | 6750.00 | 90.00 | 6750.00 | 90.50 | 6787.50 | 102.00 | 7650.00 | 30.00 | 2250.00 | 98.00 | 7350.00 | 10000.00 | 750000.00 | 2250.00 | Rudraksha Enterprise
5.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Operator (Semi skilled) | 25.00 | Months |  | 95.00 | 2375.00 | 80.00 | 2000.00 | 80.00 | 2000.00 | 77.15 | 1928.75 | 90.00 | 2250.00 | 30.00 | 750.00 | 83.00 | 2075.00 | 5000.00 | 125000.00 | 750.00 | Rudraksha Enterprise
6.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Helper (Un skilled) | 75.00 | Job |  | 75.00 | 5625.00 | 136.00 | 10200.00 | 60.00 | 4500.00 | 68.26 | 5119.50 | 82.00 | 6150.00 | 30.00 | 2250.00 | 74.00 | 5550.00 | 1000.00 | 75000.00 | 2250.00 | Rudraksha Enterprise
7.00 | Inspection, servicing and testing of 3 Pole, 800A, 26.3 KA, 11KV, HT Vaccum circuit Breakers (1 No. Incoming + 02 Nos. Outgoing) (Make: Sudhir Power .Ltd.) installed at power house at Rajkot Airport inlcuding carrying out the following tests & preventive maintenance alongwith submission of the test reports from the authorised service dealer of Sudhir/Kirloskar /L&T /Simens / Areva / Jyoti complete as per site requirement. (a) General inspection (b) Wiring check including control cirucuit and indications (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts (f) Resistance measurement of tripping coil (g) Closing, tripping and inter- locking testing (h) Tripping through relay operation (i) Insection, servicing and testing of CT & PT | 1.00 | Job |  | 10000.00 | 10000.00 | 4000.00 | 4000.00 | 20000.00 | 20000.00 | 7000.00 | 7000.00 | 21000.00 | 21000.00 | 25000.00 | 25000.00 | 25480.00 | 25480.00 | 1000.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.00 | Inspection, Servicing and Testing of C&S Make Type CSENEX- I 250, O/C + E/F with IDMT & RS485 PORT relay Installed at HT Panel of power house at Rajkot Airport from NABL accrediated labs including carrying out the following and submitting test reports complete as per the site requirement. (a) General inspection (b) Wiring check (c) IR value test (d) Continuity of plug shifting taps and plug bridge shorting contacts (e) Secondary injection test including pick up current of IDMT element etc. | 3.00 | Set |  | 2000.00 | 6000.00 | 3800.00 | 11400.00 | 4000.00 | 12000.00 | 3500.00 | 10500.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 4160.00 | 12480.00 | 1000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
9.00 | Inspection, servicing and Testing of auxiliary and tripping relays (Control, alarm, indication and other auxiliary duties in ac or dc systems) at power house (HT Panel) at Rajkot Airport from NABL accrediated labs including carrying out the following and submitting test reports complete as per the site requirement. (a) General inspection (b) Wiring check (c) IR value test (d) Tripping check | 3.00 | Set |  | 2500.00 | 7500.00 | 3800.00 | 11400.00 | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 1000.00 | 3000.00 | 5000.00 | 15000.00 | 3120.00 | 9360.00 | 1000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Manish Electricals
10.00 | Inspection, Servicing & Testing of L&T/ Schneider Make Air circuit breakers ( 800 Amp) at Power House at Rajkot Airport from authorized service dealer of Sudhir/Kirloskar /L&T /Schneider/Simens / Areva / Jyoti including carrying out the following and submitting test reports complete as per the site requirement. (a) General inspection (b) Wiring cheking including control and indications (c) IR test between poles to poles and poles to earth. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts (f) Resistance measurement of tripping coil (g) Closing, tripping and inter- locking testing (h) Tripping through relay operation (i) Secondary injection test of In-bult thermal and magnetic release and calibration of the same | 10.00 | Job |  | 2000.00 | 20000.00 | 900.00 | 9000.00 | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 3500.00 | 35000.00 | 5000.00 | 50000.00 | 1560.00 | 15600.00 | 1000.00 | 10000.00 | 9000.00 | Ascent Electrification Engineers
11.00 | Dehydration and filtration of transformer oil at AAI site includnig testing the BDV and acidity before and after testing and submission of test reports etc. as required for following Transformes. 630 KVA Transformer (Make: Sudhir) | 2.00 | Job |  | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 7280.00 | 14560.00 | 1000.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.00 | Supply and topping of transformer oil complete as per the site requirement. | 100.00 | Ltr |  | 152.00 | 15200.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 115.00 | 11500.00 | 160.00 | 16000.00 | 120.00 | 12000.00 | 114.40 | 11440.00 | 1000.00 | 100000.00 | 10000.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING
13.00 | Annual Servicing i.e healthcheckup of CCR of 4KW to 20 KW capacity of NASU make by OEM.The scope of item includes inspection of all lthe parts of CCR, servicing , checking of wiring for healthiness etc. and submission of test reports complete as per site requirement. | 10.00 | Each |  | 4250.00 | 42500.00 | 5000.00 | 50000.00 | 4000.00 | 40000.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 8000.00 | 80000.00 | 10400.00 | 104000.00 | 1000.00 | 10000.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, INTEGER INFRATECH PRIVATE LIMITED
14.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Digital Lux meter,Make-Mextech LX-1010B,Range-2000-50000 lux | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 520.00 | 520.00 | 1000.00 | 1000.00 | 500.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING, Rudraksha Enterprise
15.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Electronic Digital Micrometre, Make- Aerospace, Range-0-25 mm, Acuuracy-0.001mm | 1.00 | Each |  | 800.00 | 800.00 | 500.00 | 500.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 468.00 | 468.00 | 1000.00 | 1000.00 | 468.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Digital vernier caliper, Make-Yuri, Range-200x.01mm | 1.00 | Each |  | 800.00 | 800.00 | 500.00 | 500.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 312.00 | 312.00 | 1000.00 | 1000.00 | 312.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Digital Earth resistance tester | 1.00 | Each |  | 800.00 | 800.00 | 500.00 | 500.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 416.00 | 416.00 | 1000.00 | 1000.00 | 416.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Celling Fans 36"/48"/56", 230V | 30.00 | Each |  | 400.00 | 12000.00 | 500.00 | 15000.00 | 350.00 | 10500.00 | 400.00 | 12000.00 | 500.00 | 15000.00 | 100.00 | 3000.00 | 320.00 | 9600.00 | 1000.00 | 30000.00 | 3000.00 | Rudraksha Enterprise
19.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Wall fans 60-100W, 230V | 10.00 | Each |  | 700.00 | 7000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 700.00 | 7000.00 | 300.00 | 3000.00 | 100.00 | 1000.00 | 300.00 | 3000.00 | 1000.00 | 10000.00 | 1000.00 | Rudraksha Enterprise
20.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Exhaust Fans/ Air cooler Fans | 10.00 | Each |  | 750.00 | 7500.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 1200.00 | 12000.00 | 700.00 | 7000.00 | 100.00 | 1000.00 | 450.00 | 4500.00 | 1000.00 | 10000.00 | 1000.00 | Rudraksha Enterprise
21.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. 1-2 HP Motor all category (pump, kitchen utensil etc.) | 2.00 | Each |  | 750.00 | 1500.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 1800.00 | 3600.00 | 1000.00 | 2000.00 | 1000.00 | Ascent Electrification Engineers
22.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. 5HP Horizontal/ Vertical Submersible Pump Motor | 2.00 | Each |  | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 7500.00 | 15000.00 | 7000.00 | 14000.00 | 1800.00 | 3600.00 | 3500.00 | 7000.00 | 1000.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. 7.5HP Horizontal/ Vertical Submersible Pump Motor | 4.00 | Each |  | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 3500.00 | 14000.00 | 9500.00 | 38000.00 | 7000.00 | 28000.00 | 1800.00 | 7200.00 | 4500.00 | 18000.00 | 1000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
24.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Siron Motor / Grass cutting motor (Upto 2.5 HP) | 1.00 | Each |  | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 2200.00 | 2200.00 | 3200.00 | 3200.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Ascent Electrification Engineers
25.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. 50 mm Gl pipe pole of length not exceeding 3 Mt. | 40.00 | Each |  | 200.00 | 8000.00 | 200.00 | 8000.00 | 120.00 | 4800.00 | 800.00 | 32000.00 | 180.00 | 7200.00 | 80.00 | 3200.00 | 450.00 | 18000.00 | 1000.00 | 40000.00 | 3200.00 | Rudraksha Enterprise
26.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Tubular street light poles of length not exceeding 10 Mt. | 46.00 | Each |  | 300.00 | 13800.00 | 400.00 | 18400.00 | 500.00 | 23000.00 | 1300.00 | 59800.00 | 380.00 | 17480.00 | 180.00 | 8280.00 | 850.00 | 39100.00 | 1000.00 | 46000.00 | 8280.00 | Rudraksha Enterprise
27.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Lattice type flood light mast of length not exceeding 16 Mt. | 2.00 | Each |  | 3500.00 | 7000.00 | 1500.00 | 3000.00 | 1700.00 | 3400.00 | 2500.00 | 5000.00 | 3200.00 | 6400.00 | 1500.00 | 3000.00 | 1100.00 | 2200.00 | 1000.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
28.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Lattice type DG silencer support of length not exceeding 7 Mt. | 2.00 | Each |  | 1250.00 | 2500.00 | 400.00 | 800.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 350.00 | 700.00 | 1500.00 | 3000.00 | 750.00 | 1500.00 | 1000.00 | 2000.00 | 700.00 | Manish Electricals
29.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Perimeter lighting pole 75mm dia up to 3Mt. | 150.00 | Each |  | 225.00 | 33750.00 | 200.00 | 30000.00 | 120.00 | 18000.00 | 825.00 | 123750.00 | 170.00 | 25500.00 | 80.00 | 12000.00 | 450.00 | 67500.00 | 1000.00 | 150000.00 | 12000.00 | Rudraksha Enterprise
30.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. H - indicator | 2.00 | Each |  | 1750.00 | 3500.00 | 500.00 | 1000.00 | 1700.00 | 3400.00 | 120.00 | 240.00 | 900.00 | 1800.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 240.00 | INTEGER INFRATECH PRIVATE LIMITED
31.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. PAPI Units. | 8.00 | Each |  | 300.00 | 2400.00 | 100.00 | 800.00 | 600.00 | 4800.00 | 100.00 | 800.00 | 300.00 | 2400.00 | 400.00 | 3200.00 | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 800.00 | Ascent Electrification Engineers, INTEGER INFRATECH PRIVATE LIMITED
32.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. Runway/ Taxi Elevated Light | 192.00 | Each |  | 55.00 | 10560.00 | 50.00 | 9600.00 | 80.00 | 15360.00 | 100.00 | 19200.00 | 50.00 | 9600.00 | 100.00 | 19200.00 | 60.00 | 11520.00 | 1000.00 | 192000.00 | 9600.00 | Ascent Electrification Engineers, Manish Electricals
33.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. Elevated SAPL Light | 43.00 | Each |  | 85.00 | 3655.00 | 50.00 | 2150.00 | 90.00 | 3870.00 | 80.00 | 3440.00 | 50.00 | 2150.00 | 100.00 | 4300.00 | 90.00 | 3870.00 | 1000.00 | 43000.00 | 2150.00 | Ascent Electrification Engineers, Manish Electricals
34.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. Windcone pole and arm | 1.00 | Each |  | 1250.00 | 1250.00 | 200.00 | 200.00 | 250.00 | 250.00 | 300.00 | 300.00 | 900.00 | 900.00 | 400.00 | 400.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 200.00 | Ascent Electrification Engineers
35.00 | Spray Painting of sheet metal enclosures of electrical panels inside the power house, Pump room & ATC building & terminal building including cleaning the surface and one coats of grey or any other colour of make (Asian / Berger) including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 75.00 | Square Meter |  | 125.00 | 9375.00 | 100.00 | 7500.00 | 80.00 | 6000.00 | 175.00 | 13125.00 | 210.00 | 15750.00 | 80.00 | 6000.00 | 90.00 | 6750.00 | 1000.00 | 75000.00 | 6000.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise
36.00 | Painting of sheet metal enclosures of electrical equipments such as feeder pilars, distribution boards, electrical panel, frame etc. including cleaning the surface and two coats of grey or any other colour of make (Asian / Berger) including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 75.00 | Square Meter |  | 125.00 | 9375.00 | 100.00 | 7500.00 | 80.00 | 6000.00 | 175.00 | 13125.00 | 225.00 | 16875.00 | 80.00 | 6000.00 | 90.00 | 6750.00 | 1000.00 | 75000.00 | 6000.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise
37.00 | Painting of Exhaust fan up to 450 mm dia. etc. including cleaning the surface and two coats of grey or any other colour of make (Asian / Berger) including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 40.00 | Each |  | 200.00 | 8000.00 | 100.00 | 4000.00 | 40.00 | 1600.00 | 200.00 | 8000.00 | 120.00 | 4800.00 | 40.00 | 1600.00 | 150.00 | 6000.00 | 1000.00 | 40000.00 | 1600.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise
38.00 | Maintenance of two pole HT structure (11 KV) located in city side area of Rajkot Airport i/c. cleaning of terminals, tighting of nut bolts, to check status of HT fuse and leakage of Insulator, replacing minor spares etc. complete as required as per actual site requirement. | 1.00 | Each |  | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 15600.00 | 15600.00 | 1000.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, INTEGER INFRATECH PRIVATE LIMITED
39.00 | Job for CEA inspection of Electrical Installation at Rajkot Airport and submit report to AAI (Installations are VCB, Transformer, DG Set, and Panels) | 1.00 | Job |  | 7500.00 | 7500.00 | 35000.00 | 35000.00 | 12000.00 | 12000.00 | 5000.00 | 5000.00 | 40000.00 | 40000.00 | 15000.00 | 15000.00 | 15600.00 | 15600.00 | 1000.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
40.00 | Repairing of Ground Flood Light stand (job includes welding, cleaning the surface and painting etc. as required) | 1.00 | Job |  | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 1500.00 | 1500.00 | 500.00 | 500.00 | 10000.00 | 10000.00 | 5200.00 | 5200.00 | 1000.00 | 1000.00 | 500.00 | Manish Electricals
41.00 | Repairing of Hand Dryer (Job includes PCB replacement and all other parts for smooth functioning) | 3.00 | Job |  | 2000.00 | 6000.00 | 5000.00 | 15000.00 | 1700.00 | 5100.00 | 2500.00 | 7500.00 | 6000.00 | 18000.00 | 2000.00 | 6000.00 | 4160.00 | 12480.00 | 1000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
42.00 | Maintenance, servicing & upkeeping of automatic air curtains i/c minor repairs, replacement of faulty spares parts (to be supplied by AAI) painting all as reqd. & as specified (Total no. of aircurtains = 10 nos.) | 12.00 | Months |  | 1000.00 | 12000.00 | 1500.00 | 18000.00 | 800.00 | 9600.00 | 7000.00 | 84000.00 | 8000.00 | 96000.00 | 2000.00 | 24000.00 | 7280.00 | 87360.00 | 1000.00 | 12000.00 | 9600.00 | CENTRE TAP ENGINEERING
43.00 | Annual Maintenance of platform type electronic weighing scale, i/c remote display unit installed at departure area by attending any numbers of breakdown calls including carring out of Government stamping/ Calibration, repairing/ replacement of PCB, Repair or Replacement of working parts, necessitated by fair wear and tear such as Key sheets, Rubber legs, "O" Rings, Fasteners, Electronic components, Transformer, adaptor, Solenoid coil and cables etc, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract (Each one job/set per year). | 7.00 | Each |  | 4750.00 | 33250.00 | 1000.00 | 7000.00 | 1000.00 | 7000.00 | 5000.00 | 35000.00 | 4000.00 | 28000.00 | 2000.00 | 14000.00 | 9880.00 | 69160.00 | 1000.00 | 7000.00 | 7000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Ascent Electrification Engineers, CENTRE TAP ENGINEERING
44.00 | Complete items of CPWD SCHEDULE OF RATES (ELECTRICAL)-PART I & II, DSR-2018 as and when required as per site. (Rates Shall be quoted in multiples e.g. 0.99 or 1.01% Below / Above, correspondingly amount shall be 2,00,000 x 0.99 = 1,98,000 or 2,00,000 x 1.01 = 2,02,000) | 200000.00 | Rs. |  | .78 | 156000.00 | .70 | 140000.00 | 1.00 | 200000.00 | .90 | 180000.00 | .90 | 180000.00 | 1.00 | 200000.00 | .90 | 180000.00 | 1000.00 | 200000000.00 | 140000.00 | Ascent Electrification Engineers
45.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. 6 sq.mm. (R/1,B/1,Y/1) | 270.00 | Mtr |  | 70.00 | 18900.00 | 53.00 | 14310.00 | 35.00 | 9450.00 | 56.00 | 15120.00 | 90.00 | 24300.00 | 58.00 | 15660.00 | 59.28 | 16005.60 | 1000.00 | 270000.00 | 9450.00 | CENTRE TAP ENGINEERING
46.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. 4 sq.mm. (R/2,Y/1,B/1) | 360.00 | Mtr |  | 46.00 | 16560.00 | 37.00 | 13320.00 | 25.00 | 9000.00 | 34.52 | 12427.20 | 70.00 | 25200.00 | 40.00 | 14400.00 | 39.52 | 14227.20 | 1000.00 | 360000.00 | 9000.00 | CENTRE TAP ENGINEERING
47.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. 2.5 sq.mm. (R/3,Y/3,B/3,G/1) | 540.00 | Mtr |  | 30.00 | 16200.00 | 26.00 | 14040.00 | 17.00 | 9180.00 | 25.60 | 13824.00 | 40.00 | 21600.00 | 22.00 | 11880.00 | 27.04 | 14601.60 | 1000.00 | 540000.00 | 9180.00 | CENTRE TAP ENGINEERING
48.00 | Supply of following size single core copper conductor PVC insulated, flexible, heat resistant flame retardent grade wires suitable for 1100 volts confirming to IS-694 and up to date amendments. 1.5 sq.mm. (R/2,Y/2,B/2) | 540.00 | Mtr |  | 20.00 | 10800.00 | 18.00 | 9720.00 | 11.00 | 5940.00 | 15.30 | 8262.00 | 22.00 | 11880.00 | 19.00 | 10260.00 | 16.64 | 8985.60 | 1000.00 | 540000.00 | 5940.00 | CENTRE TAP ENGINEERING
49.00 | Supply of following size stranded copper conductor PVC insulated, PVC sheathed flexible wire suitable for 1100 volts confirming to IS-694 and up to date amendments. 3C x 2.5 sq.mm. | 100.00 | Mtr |  | 100.00 | 10000.00 | 100.00 | 10000.00 | 50.00 | 5000.00 | 87.00 | 8700.00 | 160.00 | 16000.00 | 78.00 | 7800.00 | 98.80 | 9880.00 | 1000.00 | 100000.00 | 5000.00 | CENTRE TAP ENGINEERING
50.00 | Supply of following size stranded copper conductor PVC insulated, PVC sheathed flexible wire suitable for 1100 volts confirming to IS-694 and up to date amendments. 3C x 1.5 sq.mm. | 100.00 | Mtr |  | 65.00 | 6500.00 | 78.00 | 7800.00 | 30.00 | 3000.00 | 51.90 | 5190.00 | 120.00 | 12000.00 | 45.00 | 4500.00 | 62.40 | 6240.00 | 1000.00 | 100000.00 | 3000.00 | CENTRE TAP ENGINEERING
51.00 | Supply of conductive aluminium lugs with coated finish and standard stud hole size for following cable sizes 25 sq.mm. | 16.00 | Each |  | 10.00 | 160.00 | 75.00 | 1200.00 | 8.00 | 128.00 | 4.39 | 70.24 | 10.00 | 160.00 | 10.00 | 160.00 | 4.16 | 66.56 | 1000.00 | 16000.00 | 66.56 | ABHISHEK INTEGRATIONS LIMITED
52.00 | Supply of conductive aluminium lugs with coated finish and standard stud hole size for following cable sizes 70 sq.mm. | 8.00 | Each |  | 20.00 | 160.00 | 20.00 | 160.00 | 12.00 | 96.00 | 15.24 | 121.92 | 35.00 | 280.00 | 12.00 | 96.00 | 16.64 | 133.12 | 1000.00 | 8000.00 | 96.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise
53.00 | Supply of conductive aluminium lugs with coated finish and standard stud hole size for following cable sizes 120 sq.mm. | 8.00 | Each |  | 28.00 | 224.00 | 20.00 | 160.00 | 15.00 | 120.00 | 24.24 | 193.92 | 60.00 | 480.00 | 15.00 | 120.00 | 29.12 | 232.96 | 1000.00 | 8000.00 | 120.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise
54.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. SPMCB 06 AMP,10KA (C series) | 20.00 | Each |  | 100.00 | 2000.00 | 130.00 | 2600.00 | 70.00 | 1400.00 | 121.92 | 2438.40 | 210.00 | 4200.00 | 110.00 | 2200.00 | 117.52 | 2350.40 | 1000.00 | 20000.00 | 1400.00 | CENTRE TAP ENGINEERING
55.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. SPMCB 16 AMP,10KA (C series) | 15.00 | Each |  | 100.00 | 1500.00 | 130.00 | 1950.00 | 70.00 | 1050.00 | 121.92 | 1828.80 | 210.00 | 3150.00 | 110.00 | 1650.00 | 117.52 | 1762.80 | 1000.00 | 15000.00 | 1050.00 | CENTRE TAP ENGINEERING
56.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. SPMCB 20 AMP,10KA (C series) | 12.00 | Each |  | 100.00 | 1200.00 | 130.00 | 1560.00 | 70.00 | 840.00 | 121.92 | 1463.04 | 210.00 | 2520.00 | 30.00 | 360.00 | 117.52 | 1410.24 | 1000.00 | 12000.00 | 360.00 | Rudraksha Enterprise
57.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. DPMCB 32 AMP,10KA (C series) | 4.00 | Each |  | 400.00 | 1600.00 | 130.00 | 520.00 | 200.00 | 800.00 | 427.20 | 1708.80 | 320.00 | 1280.00 | 320.00 | 1280.00 | 366.08 | 1464.32 | 1000.00 | 4000.00 | 520.00 | Ascent Electrification Engineers
58.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. FPMCB 63 AMP,10KA (C series) | 4.00 | Each |  | 1260.00 | 5040.00 | 1247.40 | 4989.60 | 650.00 | 2600.00 | 1264.50 | 5058.00 | 1200.00 | 4800.00 | 900.00 | 3600.00 | 1144.00 | 4576.00 | 1000.00 | 4000.00 | 2600.00 | CENTRE TAP ENGINEERING
59.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. TPN MCB 16 AMP,10KA (C series) | 5.00 | Each |  | 800.00 | 4000.00 | 855.80 | 4279.00 | 550.00 | 2750.00 | 805.50 | 4027.50 | 1000.00 | 5000.00 | 900.00 | 4500.00 | 798.72 | 3993.60 | 1000.00 | 5000.00 | 2750.00 | CENTRE TAP ENGINEERING
60.00 | Supply of MCBs having fixed time/current characteristics (C-curve) for use on 240 V / 415 V, 50 Hz, AC supply as required. TPN MCB 63 AMP,10KA (C series) | 5.00 | Each |  | 1160.00 | 5800.00 | 1247.40 | 6237.00 | 750.00 | 3750.00 | 1165.50 | 5827.50 | 1000.00 | 5000.00 | 1100.00 | 5500.00 | 1144.00 | 5720.00 | 1000.00 | 5000.00 | 3750.00 | CENTRE TAP ENGINEERING
61.00 | Supply of following rating DP, 240V 2-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 DP RCCB 25 AMP | 4.00 | Each |  | 1478.00 | 5912.00 | 1416.80 | 5667.20 | 850.00 | 3400.00 | 1636.72 | 6546.88 | 3200.00 | 12800.00 | 1300.00 | 5200.00 | 1324.96 | 5299.84 | 1000.00 | 4000.00 | 3400.00 | CENTRE TAP ENGINEERING
62.00 | Supply of following rating DP, 240V 2-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 DP DP RCCB 40 AMP | 4.00 | Each |  | 1520.00 | 6080.00 | 1540.00 | 6160.00 | 900.00 | 3600.00 | 1762.80 | 7051.20 | 3200.00 | 12800.00 | 1300.00 | 5200.00 | 1483.04 | 5932.16 | 1000.00 | 4000.00 | 3600.00 | CENTRE TAP ENGINEERING
63.00 | Supply of following rating FP, 415V 4-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 FP RCCB 40 AMP | 4.00 | Each |  | 1950.00 | 7800.00 | 2365.00 | 9460.00 | 1200.00 | 4800.00 | 2091.00 | 8364.00 | 4000.00 | 16000.00 | 1800.00 | 7200.00 | 1765.92 | 7063.68 | 1000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
64.00 | Supply of following rating FP, 415V 4-module RCCB having a sensitivity current of 30mA conforming to IS 12640 (Part 1) / IEC 61008-1 FP FP RCCB 63 AMP | 4.00 | Each |  | 2200.00 | 8800.00 | 2823.70 | 11294.80 | 1500.00 | 6000.00 | 2173.00 | 8692.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 1999.92 | 7999.68 | 1000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
65.00 | Supply of following 4-pole MCCBs of L&T make having fixed time/current characteristics use on 240V / 415V, 50Hz, AC supply as required. MCCB 100 AMP,10KA (C series) Make : L&T Electrical (Catalog No:CM97919OOK2OG) | 4.00 | Each |  | 2100.00 | 8400.00 | 6000.00 | 24000.00 | 3500.00 | 14000.00 | 6396.00 | 25584.00 | 7500.00 | 30000.00 | 5500.00 | 22000.00 | 5321.68 | 21286.72 | 1000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
66.00 | Supply of following 4-pole MCCBs of L&T make having fixed time/current characteristics use on 240V / 415V, 50Hz, AC supply as required. MCCB 125 AMP,10KA (C series) Make : L&T Electrical (Catalog No:CM90681OOLOOG) | 3.00 | Each |  | 9500.00 | 28500.00 | 6000.00 | 18000.00 | 4500.00 | 13500.00 | 7423.00 | 22269.00 | 4000.00 | 12000.00 | 7400.00 | 22200.00 | 6175.52 | 18526.56 | 1000.00 | 3000.00 | 3000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
67.00 | Supply of following 4-pole MCCBs of L&T make having fixed time/current characteristics use on 240V / 415V, 50Hz, AC supply as required. MCCB 250 AMP,10KA (C series) Make : L&T Electrical (Catalog No:CM90642OOPO) | 1.00 | Each |  | 2100.00 | 2100.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 15639.00 | 15639.00 | 4000.00 | 4000.00 | 14000.00 | 14000.00 | 13011.44 | 13011.44 | 1000.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
68.00 | Supply of 63 A four pole contactor conforming to IS / IEC 60947-4-1 & IEC 60947-4-1; suitable for 415 V, 50 Hz; without auxilliary contact as required. | 2.00 | Each |  | 5800.00 | 11600.00 | 2235.00 | 4470.00 | 1500.00 | 3000.00 | 1735.00 | 3470.00 | 6500.00 | 13000.00 | 3000.00 | 6000.00 | 2975.44 | 5950.88 | 1000.00 | 2000.00 | 2000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
69.00 | Supply of 16A analog daily programmable timer with a shortest switching time of 30min or less; accuracy of +/- 1.5 s/day or better; -10 degree C to +55 degree C operating temperature; suitable for 240 V, 50 Hz, AC supply as required. | 10.00 | Each |  | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1100.00 | 11000.00 | 2070.00 | 20700.00 | 2500.00 | 25000.00 | 1700.00 | 17000.00 | 925.60 | 9256.00 | 1000.00 | 10000.00 | 9256.00 | ABHISHEK INTEGRATIONS LIMITED
70.00 | Supply of Basic multifunctional meter with LCD display and features like input voltage range 50-520VAC, CT/PT programmable; selectable parameters V, A, F, PF, KW, KVA; auto scaling kilo giga,mega with acuuracy class 0.5 | 4.00 | Each |  | 4000.00 | 16000.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 7800.00 | 31200.00 | 2000.00 | 8000.00 | 2300.00 | 9200.00 | 7141.68 | 28566.72 | 1000.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
71.00 | Supply of SINGLE PHASE LCD-display digital energy meter with box 5A to 30A with accuracy class 1.0. | 10.00 | Each |  | 1200.00 | 12000.00 | 738.50 | 7385.00 | 800.00 | 8000.00 | 1850.00 | 18500.00 | 2648.00 | 26480.00 | 1200.00 | 12000.00 | 1435.20 | 14352.00 | 1000.00 | 10000.00 | 7385.00 | Ascent Electrification Engineers
72.00 | 20A MCB protected metal Industrial type socket box with plug top combined; | 10.00 | Each |  | 650.00 | 6500.00 | 1000.00 | 10000.00 | 600.00 | 6000.00 | 1315.00 | 13150.00 | 650.00 | 6500.00 | 1000.00 | 10000.00 | 208.00 | 2080.00 | 1000.00 | 10000.00 | 2080.00 | ABHISHEK INTEGRATIONS LIMITED
73.00 | 25mm fire retardant polypropylene corrugated flexible conduit pipe | 100.00 | Mtr |  | 32.00 | 3200.00 | 20.00 | 2000.00 | 15.00 | 1500.00 | 35.00 | 3500.00 | 650.00 | 65000.00 | 25.00 | 2500.00 | 15.60 | 1560.00 | 1000.00 | 100000.00 | 1500.00 | CENTRE TAP ENGINEERING
74.00 | 25x16mm uPVC mini trunking; color : white | 90.00 | Mtr |  | 42.00 | 3780.00 | 30.00 | 2700.00 | 15.00 | 1350.00 | 45.00 | 4050.00 | 250.00 | 22500.00 | 25.00 | 2250.00 | 31.20 | 2808.00 | 1000.00 | 90000.00 | 1350.00 | CENTRE TAP ENGINEERING
75.00 | 25x16mm uPVC mini trunking elbow; color : white | 20.00 | Each |  | 10.00 | 200.00 | 5.00 | 100.00 | 5.00 | 100.00 | 12.00 | 240.00 | 250.00 | 5000.00 | 5.00 | 100.00 | 4.16 | 83.20 | 1000.00 | 20000.00 | 83.20 | ABHISHEK INTEGRATIONS LIMITED
76.00 | 25x16mm uPVC mini trunking internal bend; color : white | 10.00 | Each |  | 10.00 | 100.00 | 5.00 | 50.00 | 5.00 | 50.00 | 5.00 | 50.00 | 250.00 | 2500.00 | 3.00 | 30.00 | 4.16 | 41.60 | 1000.00 | 10000.00 | 30.00 | Rudraksha Enterprise
77.00 | 25x16mm uPVC mini trunking external bend; color : white | 10.00 | Each |  | 10.00 | 100.00 | 5.00 | 50.00 | 5.00 | 50.00 | 5.00 | 50.00 | 250.00 | 2500.00 | 5.00 | 50.00 | 6.24 | 62.40 | 1000.00 | 10000.00 | 50.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING, INTEGER INFRATECH PRIVATE LIMITED, Rudraksha Enterprise
78.00 | 38x25mm uPVC mini trunking; color : white | 90.00 | Mtr |  | 66.00 | 5940.00 | 45.00 | 4050.00 | 50.00 | 4500.00 | 55.00 | 4950.00 | 300.00 | 27000.00 | 75.00 | 6750.00 | 78.00 | 7020.00 | 1000.00 | 90000.00 | 4050.00 | Ascent Electrification Engineers
79.00 | 38x25mm uPVC mini trunking elbow; color : white | 20.00 | Each |  | 12.00 | 240.00 | 5.00 | 100.00 | 5.00 | 100.00 | 15.00 | 300.00 | 300.00 | 6000.00 | 10.00 | 200.00 | 7.28 | 145.60 | 1000.00 | 20000.00 | 100.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING
80.00 | 38x25mm uPVC mini trunking internal bend; color : white | 20.00 | Each |  | 12.00 | 240.00 | 5.00 | 100.00 | 5.00 | 100.00 | 7.00 | 140.00 | 300.00 | 6000.00 | 10.00 | 200.00 | 7.28 | 145.60 | 1000.00 | 20000.00 | 100.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING
81.00 | 38x25mm uPVC mini trunking external bend; color : white | 10.00 | Each |  | 12.00 | 120.00 | 5.00 | 50.00 | 5.00 | 50.00 | 7.00 | 70.00 | 300.00 | 3000.00 | 11.00 | 110.00 | 9.36 | 93.60 | 1000.00 | 10000.00 | 50.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING
82.00 | 25mm Round conduit MMS (medium mechanical stress) uPVC pipe (socketed); color : white | 90.00 | Mtr |  | 40.00 | 3600.00 | 30.00 | 2700.00 | 20.00 | 1800.00 | 35.00 | 3150.00 | 110.00 | 9900.00 | 40.00 | 3600.00 | 36.40 | 3276.00 | 1000.00 | 90000.00 | 1800.00 | CENTRE TAP ENGINEERING
83.00 | 25mm uPVC round conduit slip bend; color : white | 30.00 | Each |  | 15.00 | 450.00 | 5.00 | 150.00 | 10.00 | 300.00 | 5.00 | 150.00 | 110.00 | 3300.00 | 16.00 | 480.00 | 12.48 | 374.40 | 1000.00 | 30000.00 | 150.00 | Ascent Electrification Engineers, INTEGER INFRATECH PRIVATE LIMITED
84.00 | 25mm uPVC round elbow; color : white | 30.00 | Each |  | 12.00 | 360.00 | 5.00 | 150.00 | 5.00 | 150.00 | 8.00 | 240.00 | 110.00 | 3300.00 | 10.00 | 300.00 | 9.36 | 280.80 | 1000.00 | 30000.00 | 150.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING
85.00 | 25mm GI saddle strap | 100.00 | Each |  | 5.00 | 500.00 | 8.00 | 800.00 | 5.00 | 500.00 | 3.00 | 300.00 | 230.00 | 23000.00 | 8.00 | 800.00 | 5.20 | 520.00 | 1000.00 | 100000.00 | 300.00 | INTEGER INFRATECH PRIVATE LIMITED
86.00 | Supply of 6A, 1way switch suitable for 240V~50Hz Make : Anchor PENTA (Code : 14111) or equivelant. | 25.00 | Each |  | 17.00 | 425.00 | 40.00 | 1000.00 | 10.00 | 250.00 | 11.55 | 288.75 | 25.00 | 625.00 | 15.00 | 375.00 | 11.44 | 286.00 | 1000.00 | 25000.00 | 250.00 | CENTRE TAP ENGINEERING
87.00 | Supply of 6A, socket suitable for 240V~50Hz Make : Anchor PENTA (Code : 14302) or equivelant. | 25.00 | Each |  | 55.00 | 1375.00 | 75.00 | 1875.00 | 20.00 | 500.00 | 28.05 | 701.25 | 80.00 | 2000.00 | 40.00 | 1000.00 | 38.48 | 962.00 | 1000.00 | 25000.00 | 500.00 | CENTRE TAP ENGINEERING
88.00 | Supply of 100W fan regulator , suitable for 240V~50Hz Make : Anchor PENTA (Code : 14502) or equivelant. | 20.00 | Each |  | 325.00 | 6500.00 | 200.00 | 4000.00 | 120.00 | 2400.00 | 168.85 | 3377.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 166.40 | 3328.00 | 1000.00 | 20000.00 | 2400.00 | CENTRE TAP ENGINEERING
89.00 | Supply of 20A, 1way switch suitable for 240V~50Hz Make : Anchor PENTA (Code : 14401) or equivelant. | 12.00 | Each |  | 40.00 | 480.00 | 75.00 | 900.00 | 45.00 | 540.00 | 58.85 | 706.20 | 560.00 | 6720.00 | 70.00 | 840.00 | 62.40 | 748.80 | 1000.00 | 12000.00 | 480.00 | Techno Electricals
90.00 | Supply of 6A/16A Uni socket, suitable for 240V~50Hz Make : Anchor PENTA (Code : 14307) or equivelant. | 12.00 | Each |  | 65.00 | 780.00 | 125.00 | 1500.00 | 50.00 | 600.00 | 65.45 | 785.40 | 100.00 | 1200.00 | 80.00 | 960.00 | 67.60 | 811.20 | 1000.00 | 12000.00 | 600.00 | CENTRE TAP ENGINEERING
91.00 | Supply of 6A/16A, 5-in-1 switch-socket box with 4 fixing holes; complete with indicator fuse etc. suitable for 240V~50Hz Make : Anchor PENTA (Code : 14620) or equivelant. | 10.00 | Each |  | 35.00 | 350.00 | 200.00 | 2000.00 | 120.00 | 1200.00 | 154.55 | 1545.50 | 350.00 | 3500.00 | 200.00 | 2000.00 | 228.80 | 2288.00 | 1000.00 | 10000.00 | 350.00 | Techno Electricals
92.00 | Supply of 6A, pendent holder with plastic ring suitable for 240V~50Hz Make : Anchor PENTA (Code : 14706, color : white) or equivelant. | 10.00 | Each |  | 25.00 | 250.00 | 100.00 | 1000.00 | 20.00 | 200.00 | 22.55 | 225.50 | 30.00 | 300.00 | 25.00 | 250.00 | 24.96 | 249.60 | 1000.00 | 10000.00 | 200.00 | CENTRE TAP ENGINEERING
93.00 | Supply of 6A, Angle lamp holder with metal ring suitable for 240V~50Hz Make : Anchor PENTA (Code : 51169, color : white) or equivelant. | 20.00 | Each |  | 25.00 | 500.00 | 100.00 | 2000.00 | 20.00 | 400.00 | 24.75 | 495.00 | 50.00 | 1000.00 | 30.00 | 600.00 | 26.00 | 520.00 | 1000.00 | 20000.00 | 400.00 | CENTRE TAP ENGINEERING
94.00 | Supply of domestic surface mounting box; 3 gang box Make : Anchor PENTA (Code : 7032, color : white) or equivelant. | 20.00 | Each |  | 55.00 | 1100.00 | 50.00 | 1000.00 | 20.00 | 400.00 | 24.20 | 484.00 | 20.00 | 400.00 | 28.00 | 560.00 | 38.48 | 769.60 | 1000.00 | 20000.00 | 400.00 | CENTRE TAP ENGINEERING, Manish Electricals
95.00 | Supply of domestic surface mounting box; 2 gang box Make : Anchor PENTA (Code : 7112, color : white) or equivelant. | 20.00 | Each |  | 55.00 | 1100.00 | 40.00 | 800.00 | 15.00 | 300.00 | 19.25 | 385.00 | 30.00 | 600.00 | 24.00 | 480.00 | 31.20 | 624.00 | 1000.00 | 20000.00 | 300.00 | CENTRE TAP ENGINEERING
96.00 | Supply of domestic surface mounting box; 4 gang box (Double Domestic) Make : Anchor PENTA (Code : 7203, color : white) or equivelant. | 5.00 | Each |  | 100.00 | 500.00 | 100.00 | 500.00 | 30.00 | 150.00 | 39.05 | 195.25 | 50.00 | 250.00 | 50.00 | 250.00 | 61.36 | 306.80 | 1000.00 | 5000.00 | 150.00 | CENTRE TAP ENGINEERING
97.00 | Supply of domestic surface mounting box; 6 gang box (Double Domestic) Make : Anchor PENTA (Code : 7393, color : white) or equivelant. | 5.00 | Each |  | 100.00 | 500.00 | 100.00 | 500.00 | 30.00 | 150.00 | 47.85 | 239.25 | 70.00 | 350.00 | 60.00 | 300.00 | 75.92 | 379.60 | 1000.00 | 5000.00 | 150.00 | CENTRE TAP ENGINEERING
98.00 | Supply of 6AX, 1way switch suitable for 240V~50Hz Make : Havells Crabtree VERONA (Code : ACVSXXW061) | 30.00 | Each |  | 55.00 | 1650.00 | 70.00 | 2100.00 | 25.00 | 750.00 | 46.15 | 1384.50 | 60.00 | 1800.00 | 45.00 | 1350.00 | 33.23 | 996.84 | 1000.00 | 30000.00 | 750.00 | CENTRE TAP ENGINEERING
99.00 | Supply of 6A, 3Pin shuttered socket with ISI marking suitable for 240V~50Hz Make : Crabtree VERONA (Code : ACVKSWW063) | 60.00 | Each |  | 55.00 | 3300.00 | 115.00 | 6900.00 | 60.00 | 3600.00 | 105.95 | 6357.00 | 150.00 | 9000.00 | 100.00 | 6000.00 | 76.28 | 4577.04 | 1000.00 | 60000.00 | 3300.00 | Techno Electricals
100.00 | Supply of 100W 2M fan regulator , suitable for 240V~50Hz Make : Havells Crabtree VERONA (Code : ACVRFHW008) | 30.00 | Each |  | 225.00 | 6750.00 | 375.00 | 11250.00 | 200.00 | 6000.00 | 369.85 | 11095.50 | 350.00 | 10500.00 | 320.00 | 9600.00 | 266.24 | 7987.20 | 1000.00 | 30000.00 | 6000.00 | CENTRE TAP ENGINEERING
101.00 | Supply of 16AX, 1way switch suitable for 240V~50Hz Make : Havells Crabtree VERONA (Code : ACVSXXW161) | 60.00 | Each |  | 55.00 | 3300.00 | 115.00 | 6900.00 | 60.00 | 3600.00 | 110.50 | 6630.00 | 130.00 | 7800.00 | 110.00 | 6600.00 | 80.08 | 4804.80 | 1000.00 | 60000.00 | 3300.00 | Techno Electricals
102.00 | Supply of 6A/16A, 3pin shuttered socket with ISI marking suitable for 240V~50Hz Make : Havells Crabtree VERONA (Code : ACVKCWW163) | 40.00 | Each |  | 125.00 | 5000.00 | 160.00 | 6400.00 | 90.00 | 3600.00 | 163.15 | 6526.00 | 180.00 | 7200.00 | 150.00 | 6000.00 | 117.52 | 4700.80 | 1000.00 | 40000.00 | 3600.00 | CENTRE TAP ENGINEERING
103.00 | Supply of 6A, SP, 1 way, 1 module switch with indicator suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 01) | 20.00 | Each |  | 125.00 | 2500.00 | 70.00 | 1400.00 | 150.00 | 3000.00 | 210.60 | 4212.00 | 140.00 | 2800.00 | 280.00 | 5600.00 | 230.88 | 4617.60 | 1000.00 | 20000.00 | 1400.00 | Ascent Electrification Engineers
104.00 | Supply of 6A, 2 module, 3-pin shuttered socket suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 70) | 20.00 | Each |  | 250.00 | 5000.00 | 115.00 | 2300.00 | 150.00 | 3000.00 | 247.00 | 4940.00 | 120.00 | 2400.00 | 240.00 | 4800.00 | 174.72 | 3494.40 | 1000.00 | 20000.00 | 2300.00 | Ascent Electrification Engineers
105.00 | Supply of 100W, 2 module fan step regulator, suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 63) | 15.00 | Each |  | 225.00 | 3375.00 | 375.00 | 5625.00 | 450.00 | 6750.00 | 802.10 | 12031.50 | 250.00 | 3750.00 | 800.00 | 12000.00 | 564.72 | 8470.80 | 1000.00 | 15000.00 | 3375.00 | Techno Electricals
106.00 | Supply of 2400mA, 2 module USB charger, suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 22) | 2.00 | Each |  | 175.00 | 350.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1744.60 | 3489.20 | 720.00 | 1440.00 | 1600.00 | 3200.00 | 1228.24 | 2456.48 | 1000.00 | 2000.00 | 350.00 | Techno Electricals
107.00 | Supply of 20A, SP, 1 way, 1 module switch with indicator suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5720 63) | 20.00 | Each |  | 102.00 | 2040.00 | 115.00 | 2300.00 | 150.00 | 3000.00 | 254.80 | 5096.00 | 90.00 | 1800.00 | 230.00 | 4600.00 | 178.88 | 3577.60 | 1000.00 | 20000.00 | 1800.00 | Manish Electricals
108.00 | Supply of 6A/16A, 2 module, 3-pin shuttered socket suitable for 240V~50Hz Make : Legrand ARTEOR (Code : 5734 71) | 20.00 | Each |  | 65.00 | 1300.00 | 160.00 | 3200.00 | 200.00 | 4000.00 | 327.60 | 6552.00 | 150.00 | 3000.00 | 340.00 | 6800.00 | 230.88 | 4617.60 | 1000.00 | 20000.00 | 1300.00 | Techno Electricals
109.00 | 16A 3pin plug top; ISI marked; suitable for 230V, 50Hz power supply; color : white | 20.00 | Each |  | 40.00 | 800.00 | 120.00 | 2400.00 | 40.00 | 800.00 | 96.00 | 1920.00 | 100.00 | 2000.00 | 60.00 | 1200.00 | 62.40 | 1248.00 | 1000.00 | 20000.00 | 800.00 | Techno Electricals, CENTRE TAP ENGINEERING
110.00 | 6A 3pin plug top; ISI marked; suitable for 230V, 50Hz power supply; color : white | 20.00 | Each |  | 35.00 | 700.00 | 120.00 | 2400.00 | 30.00 | 600.00 | 50.00 | 1000.00 | 50.00 | 1000.00 | 48.00 | 960.00 | 41.60 | 832.00 | 1000.00 | 20000.00 | 600.00 | CENTRE TAP ENGINEERING
111.00 | Supply of 2.5 mfd fan capacitor conforming to IS 1709:1984, etc. as required | 120.00 | Each |  | 45.00 | 5400.00 | 50.00 | 6000.00 | 15.00 | 1800.00 | 50.00 | 6000.00 | 35.00 | 4200.00 | 28.00 | 3360.00 | 62.40 | 7488.00 | 1000.00 | 120000.00 | 1800.00 | CENTRE TAP ENGINEERING
112.00 | Tubelight holder for 20W LED tubelight | 150.00 | Each |  | 50.00 | 7500.00 | 50.00 | 7500.00 | 10.00 | 1500.00 | 160.00 | 24000.00 | 35.00 | 5250.00 | 20.00 | 3000.00 | 31.20 | 4680.00 | 1000.00 | 150000.00 | 1500.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 6096131.00 |  | 6111305.88 |  | 5942074.00 |  | 6372567.95 |  | 6362720.00 |  | 5956401.00 |  | 6291257.64 |  | 207641000.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(5942074.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for E and M Installations at C. A. Rajkot. For 1 year (Yr 2022-23) Tender ID: 2022_AAI_105428_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 5942074.00 | L1
| 2 | Rudraksha Enterprise | 5956401.00 | L2
| 3 | Techno Electricals | 6096131.00 | L3
| 4 | Ascent Electrification Engineers | 6111305.88 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 6291257.64 | L5
| 6 | Manish Electricals | 6362720.00 | L6
| 7 | INTEGER INFRATECH PRIVATE LIMITED | 6372567.95 | L7
| 8 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 207641000.00 | L8