## BoQ1
Government eProcurement System Created By: UMESH CHAURASIA Created Date/Time: 23-Mar-2022 04:56 PM Tender Title: Rewiring of Residential Quarters of AAI Colony including replacement of switch boards, switch, socket, fan regulator, holder etc. at Raja Bhoj Airport, Bhopal Tender ID: 2022_AAI_106052_1
Tender Inviting Authority: SM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Rewiring of Residential Quarters of AAI Colony including replacement of switch boards, switch, socket, fan regulator, holder etc. at Raja Bhoj Airport, Bhopal.
Contract No: AAI/BPL/ENGG(E)/NIT-14/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S S Electricals(GSTN-23ADFFS7417K1ZV) |  | TECHNOSWIFT ENGINEERING SERVICES(GSTN-23AALFT6969J1ZH) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | Messers Rajesh Gawde(GSTN-23AFHPG7133A1Z4) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
1.01 | 6 way, Double door | 12.00 | Each |  | 1050.00 | 12600.00 | 670.00 | 8040.00 | 2100.00 | 25200.00 | 930.00 | 11160.00 | 1113.84 | 13366.08 | 1240.00 | 14880.00 | 8040.00 | TECHNOSWIFT ENGINEERING SERVICES
1.02 | 8 way, Double door | 54.00 | Each |  | 1200.00 | 64800.00 | 770.00 | 41580.00 | 2400.00 | 129600.00 | 1010.00 | 54540.00 | 1193.40 | 64443.60 | 1350.00 | 72900.00 | 41580.00 | TECHNOSWIFT ENGINEERING SERVICES
1.03 | 12 way, Double door | 3.00 | Each |  | 1550.00 | 4650.00 | 965.00 | 2895.00 | 4200.00 | 12600.00 | 1250.00 | 3750.00 | 1438.20 | 4314.60 | 1670.00 | 5010.00 | 2895.00 | TECHNOSWIFT ENGINEERING SERVICES
2.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 12), Double door | 1.00 | Each |  | 2950.00 | 2950.00 | 1500.00 | 1500.00 | 5500.00 | 5500.00 | 2250.00 | 2250.00 | 2238.90 | 2238.90 | 3000.00 | 3000.00 | 1500.00 | TECHNOSWIFT ENGINEERING SERVICES
3.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
3.01 | Single pole | 420.00 | Each |  | 132.00 | 55440.00 | 100.00 | 42000.00 | 125.00 | 52500.00 | 120.00 | 50400.00 | 168.30 | 70686.00 | 175.00 | 73500.00 | 42000.00 | TECHNOSWIFT ENGINEERING SERVICES
3.02 | Single pole and neutral | 70.00 | Each |  | 435.00 | 30450.00 | 222.00 | 15540.00 | 400.00 | 28000.00 | 400.00 | 28000.00 | 448.80 | 31416.00 | 500.00 | 35000.00 | 15540.00 | TECHNOSWIFT ENGINEERING SERVICES
3.03 | Triple pole and neutral | 1.00 | Each |  | 1405.00 | 1405.00 | 666.00 | 666.00 | 780.00 | 780.00 | 1200.00 | 1200.00 | 7291.00 | 7291.00 | 1050.00 | 1050.00 | 666.00 | TECHNOSWIFT ENGINEERING SERVICES
4.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. Group C | 196.00 | Point |  | 150.00 | 29400.00 | 1150.00 | 225400.00 | 600.00 | 117600.00 | 325.00 | 63700.00 | 275.40 | 53978.40 | 700.00 | 137200.00 | 29400.00 | S S Electricals
5.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 786.00 | Point |  | 1350.00 | 1061100.00 | 1200.00 | 943200.00 | 1200.00 | 943200.00 | 995.00 | 782070.00 | 1071.00 | 841806.00 | 1200.00 | 943200.00 | 782070.00 | surbhi association
6.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 4 sq. mm | 170.00 | Meter |  | 100.00 | 17000.00 | 200.00 | 34000.00 | 200.00 | 34000.00 | 140.00 | 23800.00 | 94.00 | 15980.00 | 175.00 | 29750.00 | 15980.00 | Messers Rajesh Gawde
7.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 680.00 | Meter |  | 350.00 | 238000.00 | 277.00 | 188360.00 | 325.00 | 221000.00 | 260.00 | 176800.00 | 215.00 | 146200.00 | 290.00 | 197200.00 | 146200.00 | Messers Rajesh Gawde
8.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 2.5 sq. mm | 614.00 | Meter |  | 80.00 | 49120.00 | 120.00 | 73680.00 | 142.00 | 87188.00 | 125.00 | 76750.00 | 36.00 | 22104.00 | 125.00 | 76750.00 | 22104.00 | Messers Rajesh Gawde
9.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 2456.00 | Meter |  | 190.00 | 466640.00 | 168.00 | 412608.00 | 225.00 | 552600.00 | 230.00 | 564880.00 | 108.00 | 265248.00 | 220.00 | 540320.00 | 265248.00 | Messers Rajesh Gawde
10.00 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | 447.00 | Each |  | 32.00 | 14304.00 | 37.00 | 16539.00 | 55.00 | 24585.00 | 40.00 | 17880.00 | 48.00 | 21456.00 | 40.00 | 17880.00 | 14304.00 | S S Electricals
11.00 | Supplying and fixing PVC batten/ angle holder metal ring including connection etc. as required. | 665.00 | Each |  | 34.00 | 22610.00 | 49.00 | 32585.00 | 55.00 | 36575.00 | 45.00 | 29925.00 | 58.00 | 38570.00 | 70.00 | 46550.00 | 22610.00 | S S Electricals
12.00 | Supplying and fixing metal box of 150mm X 75mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in FRLSont including providing and fixing 3 pin 5/6 amps socket outlet and 5/6 amps piano type switch, connection, painting etc. as required. | 224.00 | Each |  | 320.00 | 71680.00 | 400.00 | 89600.00 | 600.00 | 134400.00 | 210.00 | 47040.00 | 298.00 | 66752.00 | 280.00 | 62720.00 | 47040.00 | surbhi association
13.00 | Supplying and fixing metal box of 180mm X 100mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in FRLSont including providing and fixing 6 pin 5/6 & 15/16 amps socket outlet and 15/16 amps piano type switch, connection, painting etc. as required. | 79.00 | Each |  | 480.00 | 37920.00 | 555.00 | 43845.00 | 850.00 | 67150.00 | 280.00 | 22120.00 | 348.00 | 27492.00 | 400.00 | 31600.00 | 22120.00 | surbhi association
14.00 | Supplying and fixing two module stepped type electronic non modular fan regulator on the existing switch box including connections etc. as required. | 181.00 | Each |  | 320.00 | 57920.00 | 200.00 | 36200.00 | 350.00 | 63350.00 | 200.00 | 36200.00 | 250.00 | 45250.00 | 225.00 | 40725.00 | 36200.00 | TECHNOSWIFT ENGINEERING SERVICES, surbhi association
15.00 | Supply of wall mounted fan, 400 mm sweep suitable for operation on 240V, 50Hz A.C. supply with pull code control operations and high speed motor etc. complete as required. | 10.00 | Each |  | 2450.00 | 24500.00 | 2150.00 | 21500.00 | 2890.00 | 28900.00 | 2000.00 | 20000.00 | 1958.00 | 19580.00 | 2400.00 | 24000.00 | 19580.00 | Messers Rajesh Gawde
16.00 | Supply of energy efficient 5 star rated double ball bearing ceiling fan, 1200 mm sweep suitable for operation on 240V, 50Hz A.C. supply with down rod canopies etc. complete as required. | 201.00 | Each |  | 1450.00 | 291450.00 | 1475.00 | 296475.00 | 2200.00 | 442200.00 | 2300.00 | 462300.00 | 2998.00 | 602598.00 | 3100.00 | 623100.00 | 291450.00 | S S Electricals
17.00 | Supply of 90 Wattage LED street light fitting with minimum efficiency of 110 lumens/Watt suitable for 140-270 V, AC, 50 HZ, PF >= 0.95, luminaire should have High pressure die cast Aluminium /Standard alloy housing. Luminaire should have Air vents in housing for proper thermal management, Min IP protection should be IP 65. Total power consumption of fitting (including driver loss) should not more than 110 % of rated capacity of LED Light fitting, complete with all accessories as per Technical Specifications as required. | 10.00 | Each |  | 3750.00 | 37500.00 | 3750.00 | 37500.00 | 6500.00 | 65000.00 | 3800.00 | 38000.00 | 3733.00 | 37330.00 | 2800.00 | 28000.00 | 28000.00 | Manish Electricals
18.00 | Supply of 18 Watt BATTEN LED TUBE LIGHTS complete with all accessories as required. | 215.00 | Each |  | 200.00 | 43000.00 | 190.00 | 40850.00 | 280.00 | 60200.00 | 320.00 | 68800.00 | 296.00 | 63640.00 | 250.00 | 53750.00 | 40850.00 | TECHNOSWIFT ENGINEERING SERVICES
19.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent / LED Fittings of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 165.00 | Each |  | 65.00 | 10725.00 | 150.00 | 24750.00 | 150.00 | 24750.00 | 50.00 | 8250.00 | 153.00 | 25245.00 | 150.00 | 24750.00 | 8250.00 | surbhi association
20.00 | Installations, testing, commissioning of street light luminaire complete with all accessories on 40 mm dia (M class) GI bracket of 1.5 mtr long complete with 2 nos. 25 mm X 3mm M.S. flat iron clamps, bolts and nuts including drilling holes for steel fastener, including connection with 1.5 sq. mm mm FRLS PVC insulated, copper conductor, single core cable and earthing complete etc as required. | 10.00 | Each |  | 650.00 | 6500.00 | 370.00 | 3700.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 2550.00 | 25500.00 | 300.00 | 3000.00 | 1500.00 | Techno Electricals, surbhi association
21.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 181.00 | Each |  | 180.00 | 32580.00 | 200.00 | 36200.00 | 150.00 | 27150.00 | 60.00 | 10860.00 | 153.00 | 27693.00 | 150.00 | 27150.00 | 10860.00 | surbhi association
22.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia (Drilling of 300 mm dia, 4.5 Mtr deep by using Borewell machine) including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (with charcoal/ coke and salt ) as required. | 5.00 | Set |  | 12200.00 | 61000.00 | 15000.00 | 75000.00 | 6500.00 | 32500.00 | 4000.00 | 20000.00 | 16830.00 | 84150.00 | 7000.00 | 35000.00 | 20000.00 | surbhi association
23.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 50.00 | Meter |  | 235.00 | 11750.00 | 300.00 | 15000.00 | 250.00 | 12500.00 | 160.00 | 8000.00 | 22.00 | 1100.00 | 180.00 | 9000.00 | 1100.00 | Messers Rajesh Gawde
24.00 | Supply of 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles.
24.01 | Single pole | 50.00 | Each |  | 115.00 | 5750.00 | 90.00 | 4500.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 141.00 | 7050.00 | 175.00 | 8750.00 | 4500.00 | TECHNOSWIFT ENGINEERING SERVICES
24.02 | Single pole and neutral | 10.00 | Each |  | 415.00 | 4150.00 | 222.00 | 2220.00 | 225.00 | 2250.00 | 400.00 | 4000.00 | 311.00 | 3110.00 | 540.00 | 5400.00 | 2220.00 | TECHNOSWIFT ENGINEERING SERVICES
24.03 | Triple pole and neutral | 1.00 | Each |  | 1295.00 | 1295.00 | 666.00 | 666.00 | 350.00 | 350.00 | 1200.00 | 1200.00 | 767.00 | 767.00 | 1226.00 | 1226.00 | 350.00 | Techno Electricals
25.00 | Supply of 5/6 A, 230 V, 5 pin socket piano type. | 100.00 | Each |  | 45.00 | 4500.00 | 61.00 | 6100.00 | 35.00 | 3500.00 | 25.00 | 2500.00 | 28.56 | 2856.00 | 27.00 | 2700.00 | 2500.00 | surbhi association
26.00 | Supply of 5/6 A, 230 V, 1 way switch piano type. | 100.00 | Each |  | 20.00 | 2000.00 | 30.00 | 3000.00 | 35.00 | 3500.00 | 12.00 | 1200.00 | 16.32 | 1632.00 | 15.00 | 1500.00 | 1200.00 | surbhi association
27.00 | Supply of 5/6 A, 230 V, Call Bell switch piano type. | 10.00 | Each |  | 75.00 | 750.00 | 48.00 | 480.00 | 35.00 | 350.00 | 25.00 | 250.00 | 29.58 | 295.80 | 25.00 | 250.00 | 250.00 | surbhi association, Manish Electricals
28.00 | Supply of 15/16 A, 230 V, 5 pin socket piano type. | 50.00 | Each |  | 115.00 | 5750.00 | 100.00 | 5000.00 | 65.00 | 3250.00 | 80.00 | 4000.00 | 55.00 | 2750.00 | 70.00 | 3500.00 | 2750.00 | Messers Rajesh Gawde
29.00 | Supply of 15/16 A, 230 V, 1 way switch piano type. | 50.00 | Each |  | 70.00 | 3500.00 | 60.00 | 3000.00 | 65.00 | 3250.00 | 80.00 | 4000.00 | 78.50 | 3925.00 | 75.00 | 3750.00 | 3000.00 | TECHNOSWIFT ENGINEERING SERVICES
30.00 | Supply of PVC batten/ angle holder. | 60.00 | Each |  | 30.00 | 1800.00 | 38.00 | 2280.00 | 30.00 | 1800.00 | 35.00 | 2100.00 | 33.66 | 2019.60 | 40.00 | 2400.00 | 1800.00 | S S Electricals, Techno Electricals
31.00 | Supply of two module stepped type electronic non modular fan regulator. | 50.00 | Each |  | 233.00 | 11650.00 | 189.00 | 9450.00 | 220.00 | 11000.00 | 200.00 | 10000.00 | 224.00 | 11200.00 | 230.00 | 11500.00 | 9450.00 | TECHNOSWIFT ENGINEERING SERVICES
32.00 | Supply of 2.5 MFD condensor/capacitor for Ceiling fan. | 100.00 | Each |  | 25.00 | 2500.00 | 250.00 | 25000.00 | 40.00 | 4000.00 | 25.00 | 2500.00 | 27.50 | 2750.00 | 26.00 | 2600.00 | 2500.00 | S S Electricals, surbhi association
33.00 | Supply of 4.0 MFD condensor/capacitor for Air - Cooler. | 20.00 | Each |  | 37.00 | 740.00 | 250.00 | 5000.00 | 50.00 | 1000.00 | 35.00 | 700.00 | 34.60 | 692.00 | 32.00 | 640.00 | 640.00 | Manish Electricals
34.00 | Supply of single core FRLS PVC insulated industrial grade copper conductor (unsheathed) flexible cables, 1.1 kV conforming to IS: 694 (1990) with upto date amendments of following size.
34.01 | 1.5 Sq. mm (90 Mtr. Coil) | 10.00 | Coil |  | 2058.00 | 20580.00 | 1600.00 | 16000.00 | 2000.00 | 20000.00 | 1450.00 | 14500.00 | 1548.00 | 15480.00 | 2100.00 | 21000.00 | 14500.00 | surbhi association
34.02 | 2.5 Sq. mm (90 Mtr. Coil) | 3.00 | Coil |  | 3255.00 | 9765.00 | 2430.00 | 7290.00 | 3200.00 | 9600.00 | 2400.00 | 7200.00 | 2578.00 | 7734.00 | 3356.00 | 10068.00 | 7200.00 | surbhi association
34.03 | 4.0 Sq. mm (90 Mtr. Coil) | 5.00 | Coil |  | 4718.00 | 23590.00 | 3600.00 | 18000.00 | 4500.00 | 22500.00 | 3350.00 | 16750.00 | 3990.00 | 19950.00 | 4820.00 | 24100.00 | 16750.00 | surbhi association
35.00 | Supply of 9 W LED bulb (B22 type) suitable for operation on, 230 V, 50 Hz AC supply. | 100.00 | Each |  | 88.00 | 8800.00 | 95.00 | 9500.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 76.50 | 7650.00 | 75.00 | 7500.00 | 7500.00 | Manish Electricals
| Total in Figures |  |  |  |  | 2864114.00 |  | 2876699.00 |  | 3332878.00 |  | 2716075.00 |  | 2715289.98 |  | 3263869.00
Lowest Amount Quoted BY: Messers Rajesh Gawde(2715289.98)

## BOQ Summary
BOQ Summary Details Tender Title: Rewiring of Residential Quarters of AAI Colony including replacement of switch boards, switch, socket, fan regulator, holder etc. at Raja Bhoj Airport, Bhopal Tender ID: 2022_AAI_106052_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Messers Rajesh Gawde | 2715289.98 | L1
| 2 | surbhi association | 2716075.00 | L2
| 3 | S S Electricals | 2864114.00 | L3
| 4 | TECHNOSWIFT ENGINEERING SERVICES | 2876699.00 | L4
| 5 | Manish Electricals | 3263869.00 | L5
| 6 | Techno Electricals | 3332878.00 | L6