## BoQ1
Government eProcurement System Created By: UMESH CHAURASIA Created Date/Time: 28-Mar-2022 05:22 PM Tender Title: Provision of Perimeter Lighting in Balance Portion of Available Perimeter Wall at R. B. Airport, Bhopal. Tender ID: 2022_AAI_106054_1
Tender Inviting Authority: SM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Provision of Perimeter Lighting in Balance Portion of Available Perimeter Wall at R. B. Airport, Bhopal.
Contract No: AAI/BPL/ENGG(E)/NIT-15/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ENERGYGREEN TECHNOPOWER PVT LTD(GSTN-23AAECE7344J1ZM) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Choubay And Co.(Agencies) Pvt.Ltd.(GSTN-09AAACC6073E1ZT) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | HPL Electric and Power Limited(GSTN-06AAACH0165J2ZT) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | S S Electricals(GSTN-23ADFFS7417K1ZV) |  | Bhasha Associate(GSTN-23ACXPC3844K2ZA) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | RANJIT SALES CORPORATION(GSTN-NA) |  | JAI ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of dust, damp and vermin proof cubicle free floor, outdoor type, double door, factory built sheet steel enclosed modular bolted construction feeder piller, suitable for operation on 415 ±10% volts, 50 Hz AC 3 phase 4 wire supply system fabricated out of CRCA sheet steel of 2.0 mm thick for frame work and 2.0 mm thick for doors/ covers, 3mm thick for gland plates i/c cleaning & finishing complete with powder coating in approved shade, having TPN Aluminium bus bars of high conductivity, DMC/SMC bus bar supports, bottom base channel of section not less than ISMC 75mm, entire panel shall have a common copper earth bar of suitable size with 2 nos earth studs, including control wiring with 1.5sqmm. PVC insulated FRLS copper conductor Single Core cable for voltage & 2.5 sq.mm for current circuits, cable alleys, cable gland plates, danger notice plates, etc. necessary metering protections & indications and mounted with the following switch gears INCOMER i) 100 Amps. 4P , MCCB '36KA, (Ics = Icu= 36KA) with thermal magnetic release having O/L & S/C protection equiped with extendable rotary Handle and Spreader Terminals - 1 Set ON‐OFF indication lamps (LED type) with 2 Amp control MCBs. - 1 Set (three numbers) ii) 3 Nos. Phase indication LED lamps with 2Amp MCB, 'ON/OFF' indicating light with 2A MCB. iii) Multifunction meter, class 0.5 with LCD Display shown V,A,Hz & PF - 1 Nos. iv) Current Transformer CT 100/5A , CL-1 , 5 VA - 3 Nos. BUS-BAR : TPN aluminium main bus bars of minimum of 100 Amp capacity with heat shrinkable coloured sleeves and i/c DMC/SMC bus bars supports at required intervals complete. OUTGOING 32 Amps. 4P, MCCB '36KA, (Ics = Icu= 36KA) with thermal magnetic release having O/L & S/C protection equiped extendable rotary Handle and Spreader Terminals - 03 Set ON‐OFF indication lamps (LED type) with 2 Amp control MCBs. - 3 Set Astro timer - 1 No. Contactor MNX50 (or equivalent) - 01 No. | 6.00 | JOB |  | 181500.00 | 1089000.00 | 365000.00 | 2190000.00 | 156000.00 | 936000.00 | 125000.00 | 750000.00 | 95490.00 | 572940.00 | 105000.00 | 630000.00 | 124890.00 | 749340.00 | 110000.00 | 660000.00 | 285000.00 | 1710000.00 | 105000.00 | 630000.00 | 150000.00 | 900000.00 | 150000.00 | 900000.00 | 100000.00 | 600000.00 | 572940.00 | HPL Electric and Power Limited
2.00 | Supply, Installation, Testing and Commissioning of 3 KVA, single phase UPS system with input voltage 150 - 280 volt and output 230 volt + 1%, 50 Hz + 5 Hz., voltage regulation from no load to full load will be within + 1% in both the case. UPS will withstand 10% overload for 10 minutes and 50 % over load for 10 seconds. The UPS should have auto and manual bypass arrangements. The UPS should be provided to withstand 15 minutes battery backup on full load with suitable rating sealed maintenance free battery i/c interlinks complete etc. as required. | 1.00 | Each |  | 90980.00 | 90980.00 | 285000.00 | 285000.00 | 70000.00 | 70000.00 | 66000.00 | 66000.00 | 65000.00 | 65000.00 | 38000.00 | 38000.00 | 51790.00 | 51790.00 | 125000.00 | 125000.00 | 125000.00 | 125000.00 | 51000.00 | 51000.00 | 75869.00 | 75869.00 | 75000.00 | 75000.00 | 125000.00 | 125000.00 | 38000.00 | Manish Electricals
3.00 | Supply of LED street light luminaire of maximum 25 system wattage (approx) having LED light output minimum 3000 lumens with lenses consisting of pressure die cast/extruded aluminum housing, heat resistant toughened glass/ polycarbonate cover, IP65/66 with surge protection suitable for operation on 230V ± 10 %, 50 Hz AC supply with all accessories complete as required & as per specifications. | 100.00 | Each |  | 1590.00 | 159000.00 | 2100.00 | 210000.00 | 1200.00 | 120000.00 | 1200.00 | 120000.00 | 1100.00 | 110000.00 | 1150.00 | 115000.00 | 1500.00 | 150000.00 | 2500.00 | 250000.00 | 1225.00 | 122500.00 | 1580.00 | 158000.00 | 2169.00 | 216900.00 | 5000.00 | 500000.00 | 1200.00 | 120000.00 | 110000.00 | HPL Electric and Power Limited
4.00 | Supply of cables armoured 1.1 KV grade aluminium conductor XLPE insulated PVC sheathed as per IS 7098 as amended upto date as per site requirement: 3.5 core 120 Sq.mm | 3000.00 | Meter |  | 877.00 | 2631000.00 | 1000.00 | 3000000.00 | 630.00 | 1890000.00 | 600.00 | 1800000.00 | 719.00 | 2157000.00 | 743.00 | 2229000.00 | 840.00 | 2520000.00 | 685.00 | 2055000.00 | 950.00 | 2850000.00 | 725.00 | 2175000.00 | 641.00 | 1923000.00 | 550.00 | 1650000.00 | 930.00 | 2790000.00 | 1650000.00 | RANJIT SALES CORPORATION
5.00 | Supply of cables armoured 1.1 KV grade aluminium conductor XLPE insulated PVC sheathed as per IS 7098 as amended upto date as per site requirement: 4 core 16 Sq.mm | 8500.00 | Meter |  | 177.00 | 1504500.00 | 225.00 | 1912500.00 | 147.00 | 1249500.00 | 150.00 | 1275000.00 | 162.00 | 1377000.00 | 177.00 | 1504500.00 | 202.00 | 1717000.00 | 170.00 | 1445000.00 | 228.00 | 1938000.00 | 179.00 | 1521500.00 | 139.00 | 1181500.00 | 150.00 | 1275000.00 | 240.00 | 2040000.00 | 1181500.00 | Techno Electricals
6.00 | Supply of GI pipes of 65 mm dia, ISI marked, medium class sizes as per site requirment | 24.00 | Meter |  | 908.00 | 21792.00 | 700.00 | 16800.00 | 870.00 | 20880.00 | 950.00 | 22800.00 | 1050.00 | 25200.00 | 975.00 | 23400.00 | 780.00 | 18720.00 | 500.00 | 12000.00 | 950.00 | 22800.00 | 785.00 | 18840.00 | 850.00 | 20400.00 | 700.00 | 16800.00 | 410.00 | 9840.00 | 9840.00 | JAI ENTERPRISES
7.00 | Supply of GI pipes of 125 mm dia, ISI marked, medium class sizes as per site requirment | 15.00 | Meter |  | 1876.00 | 28140.00 | 1400.00 | 21000.00 | 1150.00 | 17250.00 | 2500.00 | 37500.00 | 2527.00 | 37905.00 | 2350.00 | 35250.00 | 1810.00 | 27150.00 | 1020.00 | 15300.00 | 1500.00 | 22500.00 | 1985.00 | 29775.00 | 1800.00 | 27000.00 | 1200.00 | 18000.00 | 1800.00 | 27000.00 | 15300.00 | Bhasha Associate
8.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 6740.00 | Meter |  | 136.00 | 916640.00 | 152.00 | 1024480.00 | 150.00 | 1011000.00 | 125.00 | 842500.00 | 171.00 | 1152540.00 | 135.00 | 909900.00 | 130.00 | 876200.00 | 150.00 | 1011000.00 | 110.00 | 741400.00 | 175.00 | 1179500.00 | 210.00 | 1415400.00 | 150.00 | 1011000.00 | 120.00 | 808800.00 | 741400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 125 mm dia | 2500.00 | Meter |  | 220.00 | 550000.00 | 197.00 | 492500.00 | 215.00 | 537500.00 | 200.00 | 500000.00 | 257.00 | 642500.00 | 160.00 | 400000.00 | 270.00 | 675000.00 | 200.00 | 500000.00 | 225.00 | 562500.00 | 252.00 | 630000.00 | 350.00 | 875000.00 | 225.00 | 562500.00 | 216.00 | 540000.00 | 400000.00 | Manish Electricals
10.00 | Supply and installation of High Hot dip galvanised 3Mtr octagonal pole made of 3mm thick HT Sheet with Top dia 70mm A/f (min) & bottom dia 130 mm (min), base plate 200x200x12mm, weatherproof reinforced door opening suitable for inbuilt MCB, Mica sheet (275x75x4mm) and Stud Terminal. It's includes single arm 0.25Mtr long customised bracket with 45 digree tilting angle made of 40mm dia and 4Nos J-Type M-16X450mm long EN8 grade foundation Bolts with 3mm thick Template and all complete as per approved drawing by EIC. It's also includes wiring material from MCB to Luminaries and single pole 6A MCB. | 331.00 | Each |  | 6413.00 | 2122703.00 | 6890.00 | 2280590.00 | 6050.00 | 2002550.00 | 5500.00 | 1820500.00 | 5783.00 | 1914173.00 | 6100.00 | 2019100.00 | 6750.00 | 2234250.00 | 7500.00 | 2482500.00 | 5250.00 | 1737750.00 | 8500.00 | 2813500.00 | 8000.00 | 2648000.00 | 6000.00 | 1986000.00 | 7500.00 | 2482500.00 | 1737750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.00 | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) RCC foundation of size 0.60 X 0.60 X 0.60 Metre Cube with proper size of foundation bolts including excavation, refilling and fixing of bracket etc. as required. Upto 4.5 Meter | 331.00 | Each |  | 5445.00 | 1802295.00 | 1450.00 | 479950.00 | 2000.00 | 662000.00 | 2500.00 | 827500.00 | 3800.00 | 1257800.00 | 1250.00 | 413750.00 | 1840.00 | 609040.00 | 3500.00 | 1158500.00 | 4400.00 | 1456400.00 | 2900.00 | 959900.00 | 4000.00 | 1324000.00 | 500.00 | 165500.00 | 2400.00 | 794400.00 | 165500.00 | RANJIT SALES CORPORATION
12.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3½ X 120 sq. mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 1.00 | Each |  | 9680.00 | 9680.00 | 2800.00 | 2800.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 9330.00 | 9330.00 | 3500.00 | 3500.00 | 4010.00 | 4010.00 | 3000.00 | 3000.00 | 2300.00 | 2300.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 500.00 | 500.00 | 6000.00 | 6000.00 | 500.00 | RANJIT SALES CORPORATION
13.00 | ITC of Light fitting on street light pole bracket including wiring with 3C X 1.5sqmm flexible FR PVC copper cable including connection, providing & fixing of 6-32A SP MCB C series with connectors & DIN rail etc complete as required. | 331.00 | Each |  | 605.00 | 200255.00 | 100.00 | 33100.00 | 400.00 | 132400.00 | 500.00 | 165500.00 | 793.00 | 262483.00 | 185.00 | 61235.00 | 688.00 | 227728.00 | 1000.00 | 331000.00 | 500.00 | 165500.00 | 150.00 | 49650.00 | 375.00 | 124125.00 | 1000.00 | 331000.00 | 150.00 | 49650.00 | 33100.00 | jaydeep agency corporation
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size of 3.5 x 120 sq.mm (45 mm) PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 4.00 | Set |  | 460.00 | 1840.00 | 1100.00 | 4400.00 | 600.00 | 2400.00 | 650.00 | 2600.00 | 860.00 | 3440.00 | 800.00 | 3200.00 | 593.00 | 2372.00 | 1000.00 | 4000.00 | 400.00 | 1600.00 | 450.00 | 1800.00 | 650.00 | 2600.00 | 2000.00 | 8000.00 | 750.00 | 3000.00 | 1600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4 X 16 sq. mm (28 mm) size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade as required. | 662.00 | Each |  | 218.00 | 144316.00 | 152.00 | 100624.00 | 300.00 | 198600.00 | 200.00 | 132400.00 | 219.00 | 144978.00 | 550.00 | 364100.00 | 170.00 | 112540.00 | 400.00 | 264800.00 | 200.00 | 132400.00 | 190.00 | 125780.00 | 300.00 | 198600.00 | 1000.00 | 662000.00 | 210.00 | 139020.00 | 100624.00 | jaydeep agency corporation
16.00 | Laying of following size. "B" class GI pipe across the nallah / drainage & road crossing / in pavement at a depth of approx. 0.5 mtr including making trench by cutting the road / pavement, excavation and refilling the trench, consolidation and making good the surface excluding PCC work complete etc. as required. Upto 125 mm dia. GI pipe. | 30.00 | Meter |  | 968.00 | 29040.00 | 200.00 | 6000.00 | 500.00 | 15000.00 | 300.00 | 9000.00 | 2000.00 | 60000.00 | 200.00 | 6000.00 | 991.00 | 29730.00 | 200.00 | 6000.00 | 2500.00 | 75000.00 | 250.00 | 7500.00 | 600.00 | 18000.00 | 150.00 | 4500.00 | 210.00 | 6300.00 | 4500.00 | RANJIT SALES CORPORATION
17.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE/DWC pipe as required. Upto 35 sqmm | 6740.00 | Meter |  | 36.00 | 242640.00 | 25.00 | 168500.00 | 30.00 | 202200.00 | 20.00 | 134800.00 | 39.00 | 262860.00 | 22.00 | 148280.00 | 37.00 | 249380.00 | 50.00 | 337000.00 | 35.00 | 235900.00 | 40.00 | 269600.00 | 27.00 | 181980.00 | 100.00 | 674000.00 | 30.00 | 202200.00 | 134800.00 | DOSHI ELECTRIC ENGG. CO.
18.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 100.00 | Meter |  | 54.00 | 5400.00 | 35.00 | 3500.00 | 100.00 | 10000.00 | 125.00 | 12500.00 | 72.00 | 7200.00 | 110.00 | 11000.00 | 124.00 | 12400.00 | 60.00 | 6000.00 | 120.00 | 12000.00 | 135.00 | 13500.00 | 75.00 | 7500.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 3500.00 | jaydeep agency corporation
19.00 | Cement concrete work with 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) for foundations/repairs/ making good the damages as per site requirement, directions of E-I-C | 1.00 | CUM |  | 18150.00 | 18150.00 | 6500.00 | 6500.00 | 8250.00 | 8250.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 5500.00 | 5500.00 | 4770.00 | 4770.00 | 6000.00 | 6000.00 | 6580.00 | 6580.00 | 6500.00 | 6500.00 | 7000.00 | 7000.00 | 3000.00 | 3000.00 | 7500.00 | 7500.00 | 3000.00 | RANJIT SALES CORPORATION
20.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 11500.00 | Meter |  | 218.00 | 2507000.00 | 38.00 | 437000.00 | 30.00 | 345000.00 | 25.00 | 287500.00 | 24.00 | 276000.00 | 25.00 | 287500.00 | 30.00 | 345000.00 | 25.00 | 287500.00 | 22.00 | 253000.00 | 21.00 | 241500.00 | 25.00 | 287500.00 | 8.00 | 92000.00 | 30.00 | 345000.00 | 92000.00 | RANJIT SALES CORPORATION
21.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 45.00 | Meter |  | 4598.00 | 206910.00 | 258.00 | 11610.00 | 100.00 | 4500.00 | 225.00 | 10125.00 | 374.00 | 16830.00 | 300.00 | 13500.00 | 232.00 | 10440.00 | 300.00 | 13500.00 | 155.00 | 6975.00 | 210.00 | 9450.00 | 250.00 | 11250.00 | 15.00 | 675.00 | 126.00 | 5670.00 | 675.00 | RANJIT SALES CORPORATION
22.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required | 10.00 | Each |  | 10400.00 | 104000.00 | 5950.00 | 59500.00 | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 7649.00 | 76490.00 | 5786.00 | 57860.00 | 11500.00 | 115000.00 | 5000.00 | 50000.00 | 5500.00 | 55000.00 | 8000.00 | 80000.00 | 7500.00 | 75000.00 | 10000.00 | 100000.00 | 7500.00 | 75000.00 | 45000.00 | DOSHI ELECTRIC ENGG. CO.
| Total in Figures |  |  |  |  | 14385281.00 |  | 12746354.00 |  | 9488030.00 |  | 8870225.00 |  | 10441669.00 |  | 9279575.00 |  | 10741860.00 |  | 11023100.00 |  | 12235105.00 |  | 10975795.00 |  | 11524624.00 |  | 10045475.00 |  | 11185880.00
Lowest Amount Quoted BY: DOSHI ELECTRIC ENGG. CO.(8870225.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter Lighting in Balance Portion of Available Perimeter Wall at R. B. Airport, Bhopal. Tender ID: 2022_AAI_106054_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DOSHI ELECTRIC ENGG. CO. | 8870225.00 | L1
| 2 | Manish Electricals | 9279575.00 | L2
| 3 | Choubay And Co.(Agencies) Pvt.Ltd. | 9488030.00 | L3
| 4 | RANJIT SALES CORPORATION | 10045475.00 | L4
| 5 | HPL Electric and Power Limited | 10441669.00 | L5
| 6 | S S Electricals | 10741860.00 | L6
| 7 | Awasthi Electric Works | 10975795.00 | L7
| 8 | Bhasha Associate | 11023100.00 | L8
| 9 | JAI ENTERPRISES | 11185880.00 | L9
| 10 | Techno Electricals | 11524624.00 | L10
| 11 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 12235105.00 | L11
| 12 | jaydeep agency corporation | 12746354.00 | L12
| 13 | ENERGYGREEN TECHNOPOWER PVT LTD | 14385281.00 | L13