## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 28-Mar-2022 04:02 PM Tender Title: Annual operation and maintenance of power supply system at sub station (phase-I and II) including spare at SGRDJI Airport Amritsar (for 2022-2024, 02 years). Tender ID: 2022_AAI_106077_1
Tender Inviting Authority: <Jt. General Manager, Engg.(Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Annual operation & maintenance of power supply system at Sub-station (phase-I & II) including spares at SGRDJI Airport Amritsar. (For 2022-2024, 02 years).>
Contract No: <AAI/ASR/ENGG-E/eNIT-17/2021-22>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Brady Services Pvt. Ltd.(GSTN-07AABCB4175F1ZW) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical maintenance and operation of Power supply equipment , DG Sets & Sub Station Equipments, UPS installed at New Power House Phase I & Phase II and other LT/HT network at the Airport, involving operation, repair, maintenance, attending to complaints/fault/break downs and taking rectification action, ensuring serviceability/satisfactory working condition of the system, Preventive maintenance of System and maintenance of records/documentation etc. as per detailed specification, terms and condition covered under this contract on all days i/c Sundays and Holidays. | 24.00 | Months |  | 568273.00 | 13638552.00 | 560000.00 | 13440000.00 | 13440000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Operation & Maintenance of Roof top Solar power plant of total capacity 400 kWp with plants of varying capacities installed at roof tops of different buildings (city side/operational area) including proper cleaning of solar PV modules, tightening of module mounting structure, maintenance of electrical equipment, logging of data, recharging of all SIM cards of Wi-Fi system (including its maintenance) for remote monitoring, maintenance of lightning arrestor system and earthing system. | 24.00 | Months |  | 39000.00 | 936000.00 | 30000.00 | 720000.00 | 720000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Repair of earth pits including supply of funnel, CI / MS cover plate, reducer & masonary work as required and marking with paint on earth pits as directed by AAI i/c continuty check and recording the earth resistance value of earth electrodes as required complete in all respect and submitting test report to AAI. | 32.00 | Nos. |  | 200.00 | 6400.00 | 650.00 | 20800.00 | 6400.00 | Brady Services Pvt. Ltd.
4.00 | Supply and dehydration of transformer oil for transformers installed at site as and when required.
4.01 | Supply of transformer oil suitable for transformers ranging from 63 kVA to 2000 kVA and conforming to relavant specifications. | 210.00 | Ltr. |  | 105.00 | 22050.00 | 100.00 | 21000.00 | 21000.00 | JCC ENGINEERS PRIVATE LIMITED
4.02 | Dehydration and filtration of transformer oil at site including testing the BDV, Dielectric strength prior and after testing at site including topping up if required and submission of test report. (Transformer oil for toping up will be supplied by department). | 14270.00 | Ltr. |  | 14.00 | 199780.00 | 10.00 | 142700.00 | 142700.00 | JCC ENGINEERS PRIVATE LIMITED
5.00 | Complete items of CPWD Schedule of Rates (DSR) electrical 2018 (Rates shall be quoted in multiples eg. 0.99 or 1.01 for below/above. (Item includes Labour Cess, operational area charges but excludes GST). | 424200.00 | Rs. |  | .75 | 318150.00 | .50 | 212100.00 | 212100.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Supply of Electrical Spares for power supply installations as and when required.
6.01 | Silica Gel | 20.00 | Kg |  | 280.00 | 5600.00 | 300.00 | 6000.00 | 5600.00 | Brady Services Pvt. Ltd.
6.02 | LED type Digital Ammeter make L&T WL111010OOOO or equivalent | 14.00 | Nos. |  | 725.00 | 10150.00 | 1000.00 | 14000.00 | 10150.00 | Brady Services Pvt. Ltd.
6.03 | LED type Digital Voltmeter make L&T WL1120 or equivalent | 4.00 | Nos. |  | 725.00 | 2900.00 | 1000.00 | 4000.00 | 2900.00 | Brady Services Pvt. Ltd.
7.00 | Service charges for locating/ pin pointing of fault in LT 1.1 kV grade underground power cables i/c carrying out the high potential test after each fault finding etc. as & when required. Route tracer, if required, to trace the route of the cable will be in scope of this item and nothing shall be paid extra. | 24.00 | Each |  | 7000.00 | 168000.00 | 7000.00 | 168000.00 | 168000.00 | Brady Services Pvt. Ltd., JCC ENGINEERS PRIVATE LIMITED
8.00 | Service charges for locating/ pin pointing of fault in HT 11 kV grade underground power cables i/c carrying out the high potential test after each fault finding etc. as & when required. Route tracer, if required, to trace the route of the cable will be in scope of this item and nothing shall be paid extra. | 6.00 | Each |  | 10000.00 | 60000.00 | 7000.00 | 42000.00 | 42000.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 kV grade as required:
9.01 | 35 sq. mm | 1.00 | Job |  | 2850.00 | 2850.00 | 100.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
9.02 | 185 sq. mm | 1.00 | Job |  | 5000.00 | 5000.00 | 100.00 | 100.00 | 100.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 kV grade as required:
10.01 | 35 sq. mm | 8.00 | Job |  | 4000.00 | 32000.00 | 4000.00 | 32000.00 | 32000.00 | Brady Services Pvt. Ltd., JCC ENGINEERS PRIVATE LIMITED
10.02 | 185 sq. mm | 4.00 | Job |  | 7250.00 | 29000.00 | 1000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Servicing, Checking and Testing of the following Make & Capacity LT circuit breakers through OEM/ authorised service agency of OEM as per recommended standards and submission of test report to AAI complete as required. (Job includes checking of internal wiring of ACB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works and supply of the consumables.)
11.01 | Upto 1600 Amps. (L&T make) | 72.00 | Job |  | 300.00 | 21600.00 | 3000.00 | 216000.00 | 21600.00 | Brady Services Pvt. Ltd.
11.02 | Above 1600 Amps & Upto 2500 Amps. (L&T make) | 22.00 | Job |  | 300.00 | 6600.00 | 3000.00 | 66000.00 | 6600.00 | Brady Services Pvt. Ltd.
11.03 | Upto 1600 Amps. (Siemens Make) | 46.00 | Job |  | 300.00 | 13800.00 | 3000.00 | 138000.00 | 13800.00 | Brady Services Pvt. Ltd.
11.04 | Above 1600 Amps & Upto 2500 Amps. (Siemens Make) | 4.00 | Job |  | 300.00 | 1200.00 | 3000.00 | 12000.00 | 1200.00 | Brady Services Pvt. Ltd.
11.05 | Above 2500 Amps.& upto 3200 Amps. (Siemens Make) | 6.00 | Job |  | 300.00 | 1800.00 | 3000.00 | 18000.00 | 1800.00 | Brady Services Pvt. Ltd.
11.06 | Upto 1600 Amps. (C&S Make) | 16.00 | Job |  | 300.00 | 4800.00 | 3000.00 | 48000.00 | 4800.00 | Brady Services Pvt. Ltd.
11.07 | Upto 1600 Amps. (GE Make) | 42.00 | Job |  | 300.00 | 12600.00 | 3000.00 | 126000.00 | 12600.00 | Brady Services Pvt. Ltd.
12.00 | Servicing, Checking and Testing of the following Make & Capacity 11 KV HT circuit breakers through OEM/ authorised service agency of OEM as per recommended standards and submission of test report to AAI complete as required. (Job includes checking of internal wiring of VCB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works and supply of the consumables.)
12.01 | Upto 800 Amps. (Biecco Lawrie make) | 36.00 | Job |  | 350.00 | 12600.00 | 7000.00 | 252000.00 | 12600.00 | Brady Services Pvt. Ltd.
12.02 | Upto 800 Amps. (Kirloskar Make) | 10.00 | Job |  | 350.00 | 3500.00 | 7000.00 | 70000.00 | 3500.00 | Brady Services Pvt. Ltd.
12.03 | Upto 800 Amps. (Crompton Greaves Make) | 2.00 | Job |  | 350.00 | 700.00 | 7000.00 | 14000.00 | 700.00 | Brady Services Pvt. Ltd.
12.04 | 630 Amp. RMU with SF6 insulating medium (C&S Make) | 2.00 | Job |  | 350.00 | 700.00 | 10000.00 | 20000.00 | 700.00 | Brady Services Pvt. Ltd.
13.00 | Supply of the following spares (original) as and when required for the below listed LT circuit breakers confirming to recommended standards of the respective OEMS.
13.01 | Jaw Contacts (1 set contains a pair). (Make GE, rating 800 amp suitable for model no. USP800 as required). | 2.00 | Set |  | 4250.00 | 8500.00 | 2000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
13.02 | Pole Assembly (This should also include 1 no. fixed contact). (Make GE, rating 800 amp suitable for model no. USP800 as required). | 1.00 | No. |  | 8000.00 | 8000.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.03 | Jaw Contacts (1 set contains a pair). (Make C&S, rating 1600 amp suitable for model no. AH-16D-CS as required). | 1.00 | Set |  | 5250.00 | 5250.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.04 | Pole Assembly (This should also include 1 no. fixed contact). (Make C&S, rating 1600 amp suitable for model no. AH-16D-CS as required). | 1.00 | No. |  | 8500.00 | 8500.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.05 | Jaw Contacts (1 set contains a pair). (Make Siemens, rating 800 amp suitable for model no. 3WT8 as required.) | 2.00 | Set |  | 4250.00 | 8500.00 | 15000.00 | 30000.00 | 8500.00 | Brady Services Pvt. Ltd.
13.06 | Pole Assembly (This should also include 1 no. fixed contact). (Make Siemens, rating 800 amp suitable for model no. 3WT8 as required). | 1.00 | No. |  | 8250.00 | 8250.00 | 15000.00 | 15000.00 | 8250.00 | Brady Services Pvt. Ltd.
13.07 | Jaw Contacts (1 set contains a pair) (Make Siemens, rating 1600 amp suitable for model 3WT8 as required). | 2.00 | Set |  | 5250.00 | 10500.00 | 12000.00 | 24000.00 | 10500.00 | Brady Services Pvt. Ltd.
13.08 | Pole Assembly (This should also include 1 no. fixed contact) (Make Siemens, rating 1600 amp suitable for model 3WT8 as required). | 1.00 | No. |  | 8250.00 | 8250.00 | 15000.00 | 15000.00 | 8250.00 | Brady Services Pvt. Ltd.
13.09 | Jaw Contacts (1 set contains a pair) (Make Siemens, rating 2000 amp suitable for model 3WT8 as required) | 2.00 | Set |  | 5250.00 | 10500.00 | 2000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
13.10 | Pole Assembly (This should also include 1 no. fixed contact) (Make Siemens, rating 2000 amp suitable for model 3WT8 as required). | 1.00 | No. |  | 8350.00 | 8350.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.11 | Jaw Contacts (1 set contains a pair) (Make Siemens, rating 3200 amp model no. 3WT8 as required). | 2.00 | Set |  | 6250.00 | 12500.00 | 12500.00 | 25000.00 | 12500.00 | Brady Services Pvt. Ltd.
13.12 | Pole Assembly (This should also include 1 no. fixed contact) (Make Siemens, rating 3200 amp model no. 3WT8 as required). | 1.00 | No. |  | 9350.00 | 9350.00 | 18000.00 | 18000.00 | 9350.00 | Brady Services Pvt. Ltd.
13.13 | Jaw Contacts (1 set contains a pair) (Make L&T, rating 800 amp model no. CN-CS-800C or UW1-08N as required). | 2.00 | Set |  | 4050.00 | 8100.00 | 2000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
13.14 | Pole Assembly (This should also include 1 no. fixed contact) (Make L&T, rating 800 amp model no. CN-CS-800C or UW1-08N as required). | 1.00 | No. |  | 7750.00 | 7750.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.15 | Jaw Contacts (1 set contains a pair) (Make L&T, rating 2000 amp model no. CN-CS-2000C as required). | 2.00 | Set |  | 5250.00 | 10500.00 | 2000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
13.16 | Pole Assembly (This should also include 1 no. fixed contact) (Make L&T, rating 2000 amp model no. CN-CS-2000C as required). | 1.00 | No. |  | 8250.00 | 8250.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.17 | Jaw Contacts (1 set contains a pair) (Make L&T, rating 2500 amp model no. CN-CS-2500C or UW2-25N as required). | 2.00 | Set |  | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
13.18 | Pole Assembly (This should also include 1 no. fixed contact) (Make L&T, rating 2500 amp model no. CN-CS-2500C or UW2-25N as required). | 1.00 | No. |  | 9000.00 | 9000.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.19 | Jaw Contacts (1 set contains a pair) (Make L&T, rating 1250 amp model no. UW1-12N as required). | 1.00 | Set |  | 4900.00 | 4900.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
13.20 | Pole Assembly (This should also include 1 no. fixed contact) (Make L&T, rating 1250 amp model no. UW1-12N as required). | 1.00 | No. |  | 8000.00 | 8000.00 | 2000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Inspection, servicing, setting, testing & calibration of IDMT relays model CDG31EG001SACH & CDG11AF004SACH , make ALSTOM / AREVA (one set contains 3 O/C + 1 E/F relay) for LT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting tips & plug bridge shorting contacts. D) Secondary injection test i/c pick up current of IDMT element etc. | 20.00 | Job |  | 300.00 | 6000.00 | 2000.00 | 40000.00 | 6000.00 | Brady Services Pvt. Ltd.
15.00 | Inspection servicing, setting, testing & calibration of IDMT Relay model CDG31EG001SBCH of ALSTOM make & model CDG31EG001SDCH of Areva make (one set contains 2 O/C + 1 E/F relay) for 11 kV HT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting tips & plug bridge shorting contacts. D) Secondary injection test i/c pick up current of IDMT element etc. | 20.00 | Job |  | 300.00 | 6000.00 | 2000.00 | 40000.00 | 6000.00 | Brady Services Pvt. Ltd.
16.00 | Inspection servicing, setting, testing & calibration of Protection relays (Numerical relay) O/C & E/F (model No MC31A) & Instantaneous E/F (Model no-SC14S, make L&T (one set contains 1 O/C and E/F + 1 Instantaneous E/F relay) for LT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting tips & plug bridge shorting contacts. D) Secondary injection test i/c pick up current of Relay etc. | 8.00 | Job |  | 300.00 | 2400.00 | 2000.00 | 16000.00 | 2400.00 | Brady Services Pvt. Ltd.
17.00 | Inspection servicing, setting, testing & calibration of Protection relays (Numerical relay) O/C & E/F model MIT 113, make EASUN REYROLLE (GENESIS) for 11 KV grade HT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting tips & plug bridge shorting contacts. D) Secondary injection test i/c pick up current of relay etc. | 10.00 | Job |  | 300.00 | 3000.00 | 2000.00 | 20000.00 | 3000.00 | Brady Services Pvt. Ltd.
18.00 | Inspection servicing, setting, testing & calibration of digital Protection relays (Numerical relay) O/C & E/F model MC31A-nX, make L&T for LT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Secondary injection test i/c pick up current of relay etc. | 4.00 | Job |  | 300.00 | 1200.00 | 2000.00 | 8000.00 | 1200.00 | Brady Services Pvt. Ltd.
19.00 | Inspection servicing, setting, testing & calibration of digital Protection relays (Numerical relay) Reverse Power Relay model MRP11, make L&T for LT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Secondary injection test i/c pick up current of relay etc. | 8.00 | Job |  | 300.00 | 2400.00 | 2000.00 | 16000.00 | 2400.00 | Brady Services Pvt. Ltd.
20.00 | Inspection servicing, setting, testing & calibration of digital Protection relays (Numerical relay) model MC61A-nX (L&T) / VAJH13YF0252ABA/VAA23ZG8501FCH (Areva) / VAX31ZG8072BCH/VAJH13YF0251BBA (Alstom) (one set contains either 2 Master Trip Relay, 1 Supervision Relay 1 O/C + E/F Relay (OR) 1 Master Trip Relay, 1 Supervision Relay, 1 Auxiliary Relay, 1 O/C + E/F Relay) for 11 kV HT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Secondary injection test i/c pick up current of relay etc. | 14.00 | Job |  | 300.00 | 4200.00 | 2000.00 | 28000.00 | 4200.00 | Brady Services Pvt. Ltd.
21.00 | Inspection servicing, setting, testing & calibration of digital Protection relays (Numerical relay) model CGI 14N/CGXH1 (Crompton Greaves) / EMR 261 (Avana) (1 set contains 1 O/C + E/F relay and 1 Master Tripping Relay and 2 Auxiliary Relays) for 11 kV HT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Secondary injection test i/c pick up current of relay etc. | 2.00 | Job |  | 300.00 | 600.00 | 2000.00 | 4000.00 | 600.00 | Brady Services Pvt. Ltd.
22.00 | Replacement of faulty SMA FLX Pro 17 (3 phase 17 kW string type inverter) by supply, installation, testing and commissioning of SMA-make inverter with model no. STP20000TL or any other equivalent model at Fire Station of SGRDJ International Airport, Amritsar. | 1.00 | Job |  | 275000.00 | 275000.00 | 171755.00 | 171755.00 | 171755.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 15992082.00 |  | 16315555.00
Lowest Amount Quoted BY: Brady Services Pvt. Ltd.(15992082.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual operation and maintenance of power supply system at sub station (phase-I and II) including spare at SGRDJI Airport Amritsar (for 2022-2024, 02 years). Tender ID: 2022_AAI_106077_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Brady Services Pvt. Ltd. | 15992082.00 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 16315555.00 | L2