## BoQ1
Government eProcurement System Created By: Pushkar Pagnis Created Date/Time: 12-May-2022 11:33 AM Tender Title: ARMO of 33 KV Sub-Station i/c Internal and External Installations of NITB, Fire Fighting and Alarm System, 140 KLD STP etc. at Devi Ahilya Bai Holkar Airport, Indore, for 02 Years 2022-2024. Tender ID: 2022_AAI_106078_1
Tender Inviting Authority: <Senior Manager (Engg.-Electrical), AAI, DABH Airport, Indore.>
Name of Work: <ARMO of 33 KV Sub-Station i/c Internal & External Installation of NITB, Fire Fighting & Alarm System, 140 KLD STP etc. at DABH Airport, Indore for 02 (Two) Years for 2022-2024>
Contract No: <2022_AAI_106078_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | N L Neema(GSTN-23AAQPN1495C1ZP) |  | Brady Services Pvt. Ltd.(GSTN-07AABCB4175F1ZW) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I: O & M of E&M Installations :-
1.01 | Operation & Maintenance of 33 KV Substation , HT & LT Panels, E & M installations of NITB, 140 KLD Sewage Treatment Plant, Fire Alarm & Fire Fighting Systems etc. with associated accessories in 03 (three) shifts per day on all days including Sundays, Holidays & National Holidays . The job includes carrying out preventive / break down maintenance activities as per the scope of work mentioned in the special conditions of contract and technical specifications, complete as required.
1.02 | a) For 1st Year | 12.00 | Month | 100.00 | 823500.00 | 9882000.00 | 898800.00 | 10785600.00 | 825101.00 | 9901212.00 | 807871.12 | 9694453.44 | 811786.00 | 9741432.00 | 804996.00 | 9659952.00 | 875015.00 | 10500180.00 | 9659952.00 | ABHISHEK INTEGRATIONS LIMITED
1.03 | b) For 2nd Year | 12.00 | Month | 100.00 | 838760.00 | 10065120.00 | 898800.00 | 10785600.00 | 825101.00 | 9901212.00 | 807871.12 | 9694453.44 | 821000.00 | 9852000.00 | 804996.00 | 9659952.00 | 875015.00 | 10500180.00 | 9659952.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Deployment of following additional manpower at site for carrying out various operation and maintenance works to meet the actual site / operational requirements etc., as and when required:-
2.01 | Electrician / Operator (Skilled) | 60.00 | Day | 10.00 | 724.00 | 43440.00 | 724.00 | 43440.00 | 730.00 | 43800.00 | 932.15 | 55929.00 | 724.00 | 43440.00 | 724.00 | 43440.00 | 724.00 | 43440.00 | 43440.00 | ABHISHEK INTEGRATIONS LIMITED, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Comfort Zone, CIS GLOBAL INFRATECH PRIVATE LIMITED, Manish Electricals
2.02 | Helper (Un-Skilled) | 60.00 | Day | 10.00 | 546.00 | 32760.00 | 546.00 | 32760.00 | 550.00 | 33000.00 | 775.27 | 46516.20 | 534.00 | 32040.00 | 546.00 | 32760.00 | 546.00 | 32760.00 | 32040.00 | Manish Electricals
3.00 | SH:II : Maintenance Jobs :-
3.01 | Complete rewinding of the motor of following capacity Sewage / Drainage Submersible Pump Set of various makes & models i/c dismantling, transportation from site to work shop & work shop to site assembling, testing and commissioning etc. complete as required.
3.02 | 3 Phase, 7.5 HP
3.03 | a) For 1st Year | 2.00 | Job | 10.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 12500.00 | 25000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 2000.00 | Comfort Zone
3.04 | b) For 2nd Year | 2.00 | Job | 10.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 12500.00 | 25000.00 | 5000.00 | 10000.00 | 3200.00 | 6400.00 | 4500.00 | 9000.00 | 2000.00 | Comfort Zone
3.05 | 3 Phase, Greater than 01 HP & upto 3 HP
3.06 | a) For 1st Year | 2.00 | Job | 10.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 5500.00 | 11000.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 3000.00 | 6000.00 | 2000.00 | N L Neema
3.07 | b) For 2nd Year | 2.00 | Job | 10.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 5500.00 | 11000.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 3000.00 | 6000.00 | 2000.00 | N L Neema
3.08 | 3 Phase, Greater than 03 HP & upto 5 HP
3.09 | a) For 1st Year | 2.00 | Job | 10.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 7500.00 | 15000.00 | 3200.00 | 6400.00 | 2800.00 | 5600.00 | 3500.00 | 7000.00 | 3000.00 | N L Neema
3.10 | b) For 2nd Year | 2.00 | Job | 10.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 7500.00 | 15000.00 | 3200.00 | 6400.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 3000.00 | N L Neema
3.11 | 3 Phase, Greater than 05 HP & upto 7.5 HP
3.12 | a) For 1st Year | 2.00 | Job | 10.00 | 3500.00 | 7000.00 | 2200.00 | 4400.00 | 1500.00 | 3000.00 | 9500.00 | 19000.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 3000.00 | N L Neema
3.13 | b) For 2nd Year | 2.00 | Job | 10.00 | 3800.00 | 7600.00 | 2200.00 | 4400.00 | 1500.00 | 3000.00 | 9500.00 | 19000.00 | 4500.00 | 9000.00 | 3800.00 | 7600.00 | 5000.00 | 10000.00 | 3000.00 | N L Neema
4.00 | Complete rewinding of the motor of 3 Phase 7.5 HP Vertical Inline Multi Stage Hydro Pneumatic Centrifugal Pump Set of various makes & models i/c dismantling, transportation from site to work shop & work shop to site, assembling, testing and commissioning etc. complete as required.
4.01 | a) For 1st Year | 1.00 | Job | 10.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 28500.00 | 28500.00 | 10000.00 | 10000.00 | 4500.00 | 4500.00 | 7000.00 | 7000.00 | 1500.00 | Comfort Zone
4.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 28500.00 | 28500.00 | 10000.00 | 10000.00 | 4800.00 | 4800.00 | 7000.00 | 7000.00 | 1500.00 | Comfort Zone
5.00 | Complete rewinding of the motor of following capacity Monoblock Pump Set of various makes & models i/c dismantling, transportation from site to work shop & work shop to site, assembling, testing and commissioning etc. complete as required.:-
5.01 | 1 Phase, upto 1 HP
5.02 | a) For 1st Year | 2.00 | Job | 10.00 | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 3500.00 | 7000.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 2500.00 | 5000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
5.03 | b) For 2nd Year | 2.00 | Job | 10.00 | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 3500.00 | 7000.00 | 700.00 | 1400.00 | 550.00 | 1100.00 | 2800.00 | 5600.00 | 1100.00 | ABHISHEK INTEGRATIONS LIMITED
5.04 | 3 Phase, upto 1 HP
5.05 | a) For 1st Year | 2.00 | Job | 10.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 3500.00 | 7000.00 | 700.00 | 1400.00 | 800.00 | 1600.00 | 3500.00 | 7000.00 | 1400.00 | Manish Electricals
5.06 | b) For 2nd Year | 2.00 | Job | 10.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 3500.00 | 7000.00 | 700.00 | 1400.00 | 850.00 | 1700.00 | 3500.00 | 7000.00 | 1400.00 | Manish Electricals
5.07 | 3 Phase, Greater than 01 HP & upto 3 HP
5.08 | a) For 1st Year | 2.00 | Job | 10.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 5500.00 | 11000.00 | 1500.00 | 3000.00 | 1750.00 | 3500.00 | 4000.00 | 8000.00 | 3000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, N L Neema, Manish Electricals
5.09 | b) For 2nd Year | 2.00 | Job | 10.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 5500.00 | 11000.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 4000.00 | 8000.00 | 3000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, N L Neema, Manish Electricals
5.10 | 3 Phase, Greater than 03 HP & upto 5 HP
5.11 | a) For 1st Year | 2.00 | Job | 10.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 1800.00 | 3600.00 | 8500.00 | 17000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 5500.00 | 11000.00 | 3600.00 | N L Neema
5.12 | b) For 2nd Year | 2.00 | Job | 10.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 1800.00 | 3600.00 | 8500.00 | 17000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 5500.00 | 11000.00 | 3600.00 | N L Neema
5.13 | 3 Phase, Greater than 05 HP & upto 7.5 HP
5.14 | a) For 1st Year | 2.00 | Job | 10.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 9500.00 | 19000.00 | 3800.00 | 7600.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 5000.00 | N L Neema
5.15 | b) For 2nd Year | 2.00 | Job | 10.00 | 3500.00 | 7000.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 9500.00 | 19000.00 | 3800.00 | 7600.00 | 3100.00 | 6200.00 | 7000.00 | 14000.00 | 5000.00 | N L Neema
5.16 | 3 Phase, 12.5 HP
5.17 | a) For 1st Year | 1.00 | Job | 10.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 18500.00 | 18500.00 | 7000.00 | 7000.00 | 6500.00 | 6500.00 | 10000.00 | 10000.00 | 3500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.18 | b) For 2nd Year | 1.00 | Job | 10.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 18500.00 | 18500.00 | 7000.00 | 7000.00 | 6500.00 | 6500.00 | 10000.00 | 10000.00 | 4000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Comfort Zone, N L Neema
5.19 | 3 Phase, 75 HP
5.20 | a) For 1st Year | 1.00 | Job | 10.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 5000.00 | 5000.00 | 89500.00 | 89500.00 | 40000.00 | 40000.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 5000.00 | N L Neema
5.21 | b) For 2nd Year | 1.00 | Job | 10.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 5000.00 | 5000.00 | 89500.00 | 89500.00 | 40000.00 | 40000.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 5000.00 | N L Neema
6.00 | Complete Servicing & overhauling of following capacity Sewage / Drainage Submersible Pump Set of various makes & models i/c replacement of defective parts, bush, bearings, mechanical seal etc., dismantling, transportation from site to work shop & work shop to site, assembling, testing and commissioning complete as required.
6.01 | 3 Phase, upto 1 HP
6.02 | a) For 1st Year | 1.00 | Job | 10.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 6500.00 | 6500.00 | 380.00 | 380.00 | 500.00 | 500.00 | 4500.00 | 4500.00 | 380.00 | Manish Electricals
6.03 | b) For 2nd Year | 1.00 | Job | 10.00 | 800.00 | 800.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 6500.00 | 6500.00 | 380.00 | 380.00 | 550.00 | 550.00 | 4500.00 | 4500.00 | 380.00 | Manish Electricals
6.04 | 3 Phase, Greater than 01 HP & upto 3 HP
6.05 | a) For 1st Year | 2.00 | Job | 10.00 | 800.00 | 1600.00 | 1500.00 | 3000.00 | 650.00 | 1300.00 | 8500.00 | 17000.00 | 480.00 | 960.00 | 750.00 | 1500.00 | 7000.00 | 14000.00 | 960.00 | Manish Electricals
6.06 | b) For 2nd Year | 2.00 | Job | 10.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 650.00 | 1300.00 | 8500.00 | 17000.00 | 480.00 | 960.00 | 850.00 | 1700.00 | 7000.00 | 14000.00 | 960.00 | Manish Electricals
6.07 | 3 Phase, Greater than 03 HP & upto 5 HP
6.08 | a) For 1st Year | 2.00 | Job | 10.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 750.00 | 1500.00 | 9500.00 | 19000.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 10000.00 | 20000.00 | 1000.00 | Manish Electricals
6.09 | b) For 2nd Year | 2.00 | Job | 10.00 | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 750.00 | 1500.00 | 9500.00 | 19000.00 | 500.00 | 1000.00 | 850.00 | 1700.00 | 10000.00 | 20000.00 | 1000.00 | Manish Electricals
6.10 | 3 Phase, Greater than 05 HP & upto 7.5 HP
6.11 | a) For 1st Year | 2.00 | Job | 10.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 800.00 | 1600.00 | 12500.00 | 25000.00 | 600.00 | 1200.00 | 1000.00 | 2000.00 | 13000.00 | 26000.00 | 1200.00 | Manish Electricals
6.12 | b) For 2nd Year | 2.00 | Job | 10.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 800.00 | 1600.00 | 12500.00 | 25000.00 | 600.00 | 1200.00 | 1200.00 | 2400.00 | 13000.00 | 26000.00 | 1200.00 | Manish Electricals
7.00 | Complete Servicing & overhauling of following capacity Vertical Inline Multi Stage Hydro Pneumatic Centrifugal Pump Set of various makes & models i/c replacement of defective parts, bush, bearings, mechanical seal etc., dismantling, transportation from site to work shop & work shop to site, assembling, testing and commissioning complete as required.:- 3 Phase 7.5 HP
7.01 | a) For 1st Year | 1.00 | Job | 10.00 | 4000.00 | 4000.00 | 2200.00 | 2200.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 3200.00 | 3200.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 1000.00 | N L Neema
7.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 4500.00 | 4500.00 | 2200.00 | 2200.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 3200.00 | 3200.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 1000.00 | N L Neema
8.00 | Complete Servicing & overhauling of following capacity Monoblock pump Sets of various makes & models i/c replacement of defective parts, bush, bearings, mechanical seal etc., dismantling, transportation from site to work shop & work shop to site, assembling, testing and commissioning complete as required.:-
8.01 | 1 Phase, upto 1 HP
8.02 | a) For 1st Year | 1.00 | Job | 10.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 5000.00 | 5000.00 | 400.00 | 400.00 | 250.00 | 250.00 | 3000.00 | 3000.00 | 250.00 | ABHISHEK INTEGRATIONS LIMITED
8.03 | b) For 2nd Year | 1.00 | Job | 10.00 | 800.00 | 800.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 5000.00 | 5000.00 | 400.00 | 400.00 | 300.00 | 300.00 | 3000.00 | 3000.00 | 300.00 | ABHISHEK INTEGRATIONS LIMITED
8.04 | 3 Phase, upto 1 HP
8.05 | a) For 1st Year | 1.00 | Job | 10.00 | 800.00 | 800.00 | 2000.00 | 2000.00 | 600.00 | 600.00 | 5000.00 | 5000.00 | 600.00 | 600.00 | 500.00 | 500.00 | 4000.00 | 4000.00 | 500.00 | ABHISHEK INTEGRATIONS LIMITED
8.06 | b) For 2nd Year | 1.00 | Job | 10.00 | 900.00 | 900.00 | 2000.00 | 2000.00 | 600.00 | 600.00 | 5000.00 | 5000.00 | 600.00 | 600.00 | 550.00 | 550.00 | 4000.00 | 4000.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
8.07 | 3 Phase, Greater than 01 HP & upto 3 HP
8.08 | a) For 1st Year | 2.00 | Job | 10.00 | 800.00 | 1600.00 | 2200.00 | 4400.00 | 800.00 | 1600.00 | 5000.00 | 10000.00 | 700.00 | 1400.00 | 700.00 | 1400.00 | 5000.00 | 10000.00 | 1400.00 | ABHISHEK INTEGRATIONS LIMITED, Manish Electricals
8.09 | b) For 2nd Year | 2.00 | Job | 10.00 | 1200.00 | 2400.00 | 2200.00 | 4400.00 | 800.00 | 1600.00 | 5000.00 | 10000.00 | 700.00 | 1400.00 | 800.00 | 1600.00 | 5000.00 | 10000.00 | 1400.00 | Manish Electricals
8.10 | 3 Phase, Greater than 03 HP & upto 5 HP
8.11 | a) For 1st Year | 2.00 | Job | 10.00 | 1500.00 | 3000.00 | 2400.00 | 4800.00 | 800.00 | 1600.00 | 5000.00 | 10000.00 | 700.00 | 1400.00 | 850.00 | 1700.00 | 6000.00 | 12000.00 | 1400.00 | Manish Electricals
8.12 | b) For 2nd Year | 2.00 | Job | 10.00 | 1800.00 | 3600.00 | 2400.00 | 4800.00 | 800.00 | 1600.00 | 5000.00 | 10000.00 | 700.00 | 1400.00 | 900.00 | 1800.00 | 6000.00 | 12000.00 | 1400.00 | Manish Electricals
8.13 | 3 Phase, Greater than 05 HP & upto 7.5 HP
8.14 | a) For 1st Year | 2.00 | Job | 10.00 | 3000.00 | 6000.00 | 2600.00 | 5200.00 | 850.00 | 1700.00 | 5000.00 | 10000.00 | 850.00 | 1700.00 | 1000.00 | 2000.00 | 9000.00 | 18000.00 | 1700.00 | N L Neema, Manish Electricals
8.15 | b) For 2nd Year | 2.00 | Job | 10.00 | 4500.00 | 9000.00 | 2600.00 | 5200.00 | 850.00 | 1700.00 | 5000.00 | 10000.00 | 850.00 | 1700.00 | 1200.00 | 2400.00 | 9000.00 | 18000.00 | 1700.00 | N L Neema, Manish Electricals
8.16 | 3 Phase, 12.5 HP
8.17 | a) For 1st Year | 1.00 | Job | 10.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 2500.00 | 2500.00 | 11000.00 | 11000.00 | 1000.00 | N L Neema, Manish Electricals
8.18 | b) For 2nd Year | 1.00 | Job | 10.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 2750.00 | 2750.00 | 11000.00 | 11000.00 | 1000.00 | N L Neema, Manish Electricals
8.19 | 3 Phase, 75 HP
8.20 | a) For 1st Year | 1.00 | Job | 10.00 | 12000.00 | 12000.00 | 12000.00 | 12000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 18000.00 | 18000.00 | 2500.00 | N L Neema
8.21 | b) For 2nd Year | 1.00 | Job | 10.00 | 12000.00 | 12000.00 | 12000.00 | 12000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 5500.00 | 5500.00 | 18000.00 | 18000.00 | 2500.00 | N L Neema
9.00 | Complete Servicing, Repairing & Overhauling of following capacity Twin Lobe Rotary Air Blower of capacity 216 cubic mtr / hour at 0.4 Kg / Sq.Cm pressure & compatible with V-belt drive of 7.5 HP, 1440 rpm 3 Phase Induction Motor i/c replacement of defective parts, bush, bearings, mechanical seal etc., dismantling, transportation from site to work shop & work shop to site, assembling, testing and commissioning complete as required. (Make - Usha, Model - UGRK-140SR)
9.01 | a) For 1st Year | 1.00 | Job | 10.00 | 6500.00 | 6500.00 | 4000.00 | 4000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 11500.00 | 11500.00 | 4000.00 | 4000.00 | 150000.00 | 150000.00 | 2500.00 | N L Neema
9.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 7500.00 | 7500.00 | 4000.00 | 4000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 4500.00 | 4500.00 | 150000.00 | 150000.00 | 2500.00 | N L Neema
10.00 | Regeneration of Water Softner Plant of STP having Brine Water Tank Capacity of 500 Ltrs, by supplying & topping up of Rock Salt / Common Salt @ 50 Kg per regeneration, on Monthly basis, or as per direction of Engineer-in-Charge, complete as required.
10.01 | a) For 1st Year | 12.00 | Job | 10.00 | 900.00 | 10800.00 | 800.00 | 9600.00 | 500.00 | 6000.00 | 7500.00 | 90000.00 | 1500.00 | 18000.00 | 1500.00 | 18000.00 | 2500.00 | 30000.00 | 6000.00 | N L Neema
10.02 | b) For 2nd Year | 12.00 | Job | 10.00 | 1200.00 | 14400.00 | 800.00 | 9600.00 | 500.00 | 6000.00 | 7500.00 | 90000.00 | 1500.00 | 18000.00 | 1500.00 | 18000.00 | 2500.00 | 30000.00 | 6000.00 | N L Neema
11.00 | Providing & fixing of Filter press cloth for 140 KLD STP plant i/c dismantling of old filter press cloth as required.
11.01 | a) For 1st Year | 1.00 | Job | 10.00 | 2800.00 | 2800.00 | 25000.00 | 25000.00 | 8500.00 | 8500.00 | 10000.00 | 10000.00 | 900.00 | 900.00 | 8000.00 | 8000.00 | 2500.00 | 2500.00 | 900.00 | Manish Electricals
11.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 3200.00 | 3200.00 | 25000.00 | 25000.00 | 8500.00 | 8500.00 | 10000.00 | 10000.00 | 900.00 | 900.00 | 8000.00 | 8000.00 | 2500.00 | 2500.00 | 900.00 | Manish Electricals
12.00 | Testing of Treated Water Sample of STP through MP Pollution Control Board / NABL accredited Laboratories and submission of Test Reports for following parameters, at regular interval of every 06(Six) months, or as per direction of Engineer-In-Charge, complete as required :- Colour, Odour, PH Value, TDS, TSS, BOD, COD, Oil & Grease etc.
12.01 | a) For 1st Year | 2.00 | Sample | 10.00 | 1400.00 | 2800.00 | 7800.00 | 15600.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 100.00 | 200.00 | 4000.00 | 8000.00 | 200.00 | ABHISHEK INTEGRATIONS LIMITED
12.02 | b) For 2nd Year | 2.00 | Sample | 10.00 | 1450.00 | 2900.00 | 7800.00 | 15600.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 100.00 | 200.00 | 4000.00 | 8000.00 | 200.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Chemical Dosing of 140 KLD STP through suitable means by providing Sodium Hypo Chlorite ,Lime Powder ,Alum Powder ,Poly Electrolite etc.to maintain the treated water as per standard parameters of pollution control board as mentioned in SCC , as per direction of Engineer -in-charge, complete as required :-
13.01 | a) For 1st Year | 12.00 | Month | 10.00 | 6500.00 | 78000.00 | 12000.00 | 144000.00 | 4000.00 | 48000.00 | 15000.00 | 180000.00 | 3500.00 | 42000.00 | 6000.00 | 72000.00 | 15000.00 | 180000.00 | 42000.00 | Manish Electricals
13.02 | b) For 2nd Year | 12.00 | Month | 10.00 | 7500.00 | 90000.00 | 12000.00 | 144000.00 | 4000.00 | 48000.00 | 15000.00 | 180000.00 | 3500.00 | 42000.00 | 6000.00 | 72000.00 | 16000.00 | 192000.00 | 42000.00 | Manish Electricals
14.00 | Rewinding, repairing and overhauling of following types of fans by using suitable gauge enamel copper wire, backing, oiling, greasing including replacement of capacitor, bush, bearing, shaft etc, complete, as required
14.01 | Ceiling fan (1200 mm to 1400mm sweep)
14.02 | a) For 1st Year | 3.00 | Each | 10.00 | 250.00 | 750.00 | 250.00 | 750.00 | 250.00 | 750.00 | 700.00 | 2100.00 | 380.00 | 1140.00 | 400.00 | 1200.00 | 350.00 | 1050.00 | 750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Comfort Zone, N L Neema
14.03 | b) For 2nd Year | 3.00 | Each | 10.00 | 250.00 | 750.00 | 250.00 | 750.00 | 250.00 | 750.00 | 700.00 | 2100.00 | 380.00 | 1140.00 | 400.00 | 1200.00 | 350.00 | 1050.00 | 750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Comfort Zone, N L Neema
14.04 | Wall Fan ( 300mm to 450 mm sweep)
14.05 | a) For 1st Year | 3.00 | Each | 10.00 | 300.00 | 900.00 | 300.00 | 900.00 | 250.00 | 750.00 | 700.00 | 2100.00 | 480.00 | 1440.00 | 450.00 | 1350.00 | 450.00 | 1350.00 | 750.00 | N L Neema
14.06 | b) For 2nd Year | 3.00 | Each | 10.00 | 300.00 | 900.00 | 300.00 | 900.00 | 250.00 | 750.00 | 700.00 | 2100.00 | 480.00 | 1440.00 | 450.00 | 1350.00 | 450.00 | 1350.00 | 750.00 | N L Neema
14.07 | Exhaust fan (300 to 450mm sweep)
14.08 | a) For 1st Year | 3.00 | Each | 10.00 | 450.00 | 1350.00 | 300.00 | 900.00 | 500.00 | 1500.00 | 700.00 | 2100.00 | 550.00 | 1650.00 | 480.00 | 1440.00 | 600.00 | 1800.00 | 900.00 | Comfort Zone
14.09 | b) For 2nd Year | 3.00 | Each | 10.00 | 450.00 | 1350.00 | 300.00 | 900.00 | 500.00 | 1500.00 | 700.00 | 2100.00 | 550.00 | 1650.00 | 480.00 | 1440.00 | 600.00 | 1800.00 | 900.00 | Comfort Zone
15.00 | Supplying and Making Straight Through cable jointing with heat shrinkable jointing kit complete with all accessories including ferruls suitable for 3 x 300 Sq.mm XLPE aluminium conductor cable of 33 KV grade as required.
15.01 | a) For 1st Year | 1.00 | Set | 10.00 | 18000.00 | 18000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 3500.00 | 3500.00 | 15000.00 | 15000.00 | 3500.00 | ABHISHEK INTEGRATIONS LIMITED
15.02 | b) For 2nd Year | 1.00 | Set | 10.00 | 22000.00 | 22000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 16000.00 | 16000.00 | 3500.00 | 3500.00 | 15000.00 | 15000.00 | 3500.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for 3 x 300 Sq.mm XLPE aluminium conductor cable of 33 kV grade, as required.
16.01 | a) For 1st Year | 1.00 | Set | 10.00 | 18000.00 | 18000.00 | 20000.00 | 20000.00 | 7500.00 | 7500.00 | 16800.00 | 16800.00 | 5000.00 | 5000.00 | 1200.00 | 1200.00 | 15000.00 | 15000.00 | 1200.00 | ABHISHEK INTEGRATIONS LIMITED
16.02 | b) For 2nd Year | 1.00 | Set | 10.00 | 22000.00 | 22000.00 | 20000.00 | 20000.00 | 7500.00 | 7500.00 | 16800.00 | 16800.00 | 5000.00 | 5000.00 | 1200.00 | 1200.00 | 15000.00 | 15000.00 | 1200.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Painting with one or more coats of spray painting with synthetic enamel paint of approved colour, brand and manufacture to give an even shade including cleaning of surface, on old work / electrical panels & installations, as required.
17.01 | a) For 1st Year | 100.00 | Sq. Mtr. | 10.00 | 110.00 | 11000.00 | 100.00 | 10000.00 | 300.00 | 30000.00 | 70.00 | 7000.00 | 100.00 | 10000.00 | 110.00 | 11000.00 | 300.00 | 30000.00 | 7000.00 | Brady Services Pvt. Ltd.
17.02 | b) For 2nd Year | 100.00 | Sq. Mtr. | 10.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 300.00 | 30000.00 | 70.00 | 7000.00 | 120.00 | 12000.00 | 110.00 | 11000.00 | 300.00 | 30000.00 | 7000.00 | Brady Services Pvt. Ltd.
18.00 | Visit charges of Service Engineer from the Manufacturer or Authorised Service Dealer or Specialised Agency for carrying out Minimum 01(One) Half Yearly Preventive Maintenance visit for satisfactory working condition of the system including providing & upgrading Software, if required (OR) Breakdown maintenance visit as and when required basis till the complete rectification of the breakdown irrespective of number of visits to attend the same breakdown (excluding cost of Spares / Hardware required, if any).
18.01 | DG Sets Synchronizing Panel comprising of Auto Load Sharing and Load Managing Panel, Main Change Over Panel, PLC etc. at NPH (Make - Zeta Industrial Corp. Pvt Ltd.)
18.02 | a) For 1st Year | 2.00 | Job | 10.00 | 18000.00 | 36000.00 | 18000.00 | 36000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 11500.00 | 23000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 10000.00 | Brady Services Pvt. Ltd.
18.03 | b) For 2nd Year | 2.00 | Job | 10.00 | 18000.00 | 36000.00 | 18000.00 | 36000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 11500.00 | 23000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 10000.00 | Brady Services Pvt. Ltd.
18.04 | Vertical Inline Multi Stage Hydro Pneumatic Centrifugal Pump Set (3No. X 7.5HP) with Electrical Panel at NPH (Make - Grundfos )
18.05 | a) For 1st Year | 2.00 | Job | 10.00 | 4500.00 | 9000.00 | 7500.00 | 15000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 8000.00 | 16000.00 | 4000.00 | N L Neema
18.06 | b) For 2nd Year | 2.00 | Job | 10.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 8000.00 | 16000.00 | 4000.00 | N L Neema
18.07 | For Fire Alarm control panel , 7 Loop intelligent analogue addressable, expandable, networkable at NITB. Work includes updating / editing / adding / disabling of devices etc complete as required. (Make- Honeywell, Model - XLS -1000):-
18.08 | a) For 1st Year | 2.00 | Job | 10.00 | 9000.00 | 18000.00 | 7500.00 | 15000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 7000.00 | 14000.00 | 10500.00 | 21000.00 | 5000.00 | 10000.00 | 5000.00 | Brady Services Pvt. Ltd.
18.09 | b) For 2nd Year | 2.00 | Job | 10.00 | 12000.00 | 24000.00 | 7500.00 | 15000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 7000.00 | 14000.00 | 10500.00 | 21000.00 | 5000.00 | 10000.00 | 5000.00 | Brady Services Pvt. Ltd.
18.10 | For Fire Alarm control panel, 2 Loop analogue addressable, at OTB (Make- Notifier, Model - NFS -3030)
18.11 | a) For 1st Year | 2.00 | Job | 10.00 | 4500.00 | 9000.00 | 7500.00 | 15000.00 | 1000.00 | 2000.00 | 2500.00 | 5000.00 | 1300.00 | 2600.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 2000.00 | N L Neema
18.12 | b) For 2nd Year | 2.00 | Job | 10.00 | 6000.00 | 12000.00 | 7500.00 | 15000.00 | 1000.00 | 2000.00 | 2500.00 | 5000.00 | 1300.00 | 2600.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 2000.00 | N L Neema
18.13 | For Fire Alarm control panel system Microprocessor based , 6 Zone control panel , with Auto Dialer Facility, installed at GP/LLZ/DVOR/NDB/TECH BLOCK (Make- Agni Suraksha / System Sensor) :-
18.14 | a) For 1st Year | 10.00 | Job | 10.00 | 7000.00 | 70000.00 | 7500.00 | 75000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 8000.00 | 80000.00 | 5000.00 | 50000.00 | 10000.00 | N L Neema
18.15 | b) For 2nd Year | 10.00 | Job | 10.00 | 9000.00 | 90000.00 | 7500.00 | 75000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 8000.00 | 80000.00 | 5000.00 | 50000.00 | 10000.00 | N L Neema
19.00 | Collection of Transformer Oil sample from Transformers of different capacities at site and testing the same from authorised testing laboratory and submission of test report for following parameters, complete as required :- (i) Acidity Test (ii) Flash Point Test
19.01 | a) For 1st Year | 4.00 | Job | 10.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 4000.00 | 16000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Manish Electricals
19.02 | b) For 2nd Year | 4.00 | Job | 10.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 4000.00 | 16000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Manish Electricals
20.00 | Dehydration & Filtration of 1600 KVA, 33/0.433 KV Transformers having oil capacity approx.2205 Ltrs at site including Testing of Transformer Oil B.D.V Test before and after Filtration for Transformers of following capacity. The job includes transportation of Filtration Machine etc. at site and submission of Test Reports, complete as required:-
20.01 | a) For 1st Year | 3.00 | Job | 10.00 | 8.00 | 24.00 | 30000.00 | 90000.00 | 11000.00 | 33000.00 | 30870.00 | 92610.00 | 12000.00 | 36000.00 | 12000.00 | 36000.00 | 22000.00 | 66000.00 | 24.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.02 | b) For 2nd Year | 3.00 | Job | 10.00 | 9.00 | 27.00 | 30000.00 | 90000.00 | 11500.00 | 34500.00 | 30870.00 | 92610.00 | 12000.00 | 36000.00 | 12000.00 | 36000.00 | 22000.00 | 66000.00 | 27.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Dehydration & Filtration of 750 KVA, 33/11 KV Transformers having oil capacity approx.1120 Ltrs at site including Testing of Transformer Oil B.D.V Test before and after Filtration for Transformers of following capacity. The job includes transportation of Filtration Machine etc. at site and submission of Test Reports, complete as required:-
21.01 | a) For 1st Year | 1.00 | Job | 10.00 | 8.00 | 8.00 | 15000.00 | 15000.00 | 5500.00 | 5500.00 | 15680.00 | 15680.00 | 7000.00 | 7000.00 | 7000.00 | 7000.00 | 11000.00 | 11000.00 | 8.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 9.00 | 9.00 | 15000.00 | 15000.00 | 5500.00 | 5500.00 | 15680.00 | 15680.00 | 7000.00 | 7000.00 | 7000.00 | 7000.00 | 11000.00 | 11000.00 | 9.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Supply of brand new Transformer oil suitable for 1600 KVA, 33 KV/11 KV Power Transformers alongwith Test Reports of oil.
22.01 | a) For 1st Year | 200.00 | Litre | 10.00 | 150.00 | 30000.00 | 350.00 | 70000.00 | 130.00 | 26000.00 | 110.00 | 22000.00 | 110.00 | 22000.00 | 140.00 | 28000.00 | 190.00 | 38000.00 | 22000.00 | Brady Services Pvt. Ltd., Manish Electricals
22.02 | b) For 2nd Year | 200.00 | Litre | 10.00 | 180.00 | 36000.00 | 350.00 | 70000.00 | 130.00 | 26000.00 | 110.00 | 22000.00 | 120.00 | 24000.00 | 140.00 | 28000.00 | 190.00 | 38000.00 | 22000.00 | Brady Services Pvt. Ltd.
23.00 | Inspection, Repairing, Servicing, Overhauling and Testing of following GE / C&S / ABB make Air Circuit Breakers from Manufacturer or Authorised Service Dealer or Specialised Agency and submission of Test Report etc., complete as required.
23.01 | 1000/1250/1600 Amps
23.02 | a) For 1st Year | 25.00 | Each | 10.00 | 1200.00 | 30000.00 | 1300.00 | 32500.00 | 2000.00 | 50000.00 | 500.00 | 12500.00 | 1300.00 | 32500.00 | 1500.00 | 37500.00 | 5000.00 | 125000.00 | 12500.00 | Brady Services Pvt. Ltd.
23.03 | b) For 2nd Year | 25.00 | Each | 10.00 | 1400.00 | 35000.00 | 1300.00 | 32500.00 | 2000.00 | 50000.00 | 500.00 | 12500.00 | 1400.00 | 35000.00 | 1500.00 | 37500.00 | 5000.00 | 125000.00 | 12500.00 | Brady Services Pvt. Ltd.
23.04 | 2500 Amps
23.05 | a) For 1st Year | 15.00 | Each | 10.00 | 1400.00 | 21000.00 | 1500.00 | 22500.00 | 2500.00 | 37500.00 | 500.00 | 7500.00 | 1500.00 | 22500.00 | 1500.00 | 22500.00 | 7500.00 | 112500.00 | 7500.00 | Brady Services Pvt. Ltd.
23.06 | b) For 2nd Year | 15.00 | Each | 10.00 | 1600.00 | 24000.00 | 1500.00 | 22500.00 | 2500.00 | 37500.00 | 500.00 | 7500.00 | 1600.00 | 24000.00 | 1500.00 | 22500.00 | 7500.00 | 112500.00 | 7500.00 | Brady Services Pvt. Ltd.
24.00 | Inspection, Servicing / Overhauling and Testing of following Jyoti Make HT Panels from Manufacturer or Authorised Service Dealer or Specialised Agency and submission of Test Report etc., as required.
24.01 | 33 KV Panel consisting of 33 KV VCB.
24.02 | a) For 1st Year | 5.00 | Each | 10.00 | 9000.00 | 45000.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 500.00 | 2500.00 | 6000.00 | 30000.00 | 9000.00 | 45000.00 | 10000.00 | 50000.00 | 2500.00 | Brady Services Pvt. Ltd.
24.03 | b) For 2nd Year | 5.00 | Each | 10.00 | 12000.00 | 60000.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 500.00 | 2500.00 | 6500.00 | 32500.00 | 9000.00 | 45000.00 | 10000.00 | 50000.00 | 2500.00 | Brady Services Pvt. Ltd.
24.04 | 11 KV Panel consisting of 11 KV VCB
24.05 | a) For 1st Year | 1.00 | Each | 10.00 | 22000.00 | 22000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 2000.00 | N L Neema
24.06 | b) For 2nd Year | 1.00 | Each | 10.00 | 24000.00 | 24000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 2000.00 | N L Neema
25.00 | Checking, Servicing, Callibration & Testing of protection relays provided on 5(Five) nos. 33 KV VCB panels from Manufacturer or Authorised Service Dealer or Specialised Agency and submisstion of Test Report etc. as required. a) IDMT O/C & Earth fault relays (3 OC + 1 EF) - 05 Set b) Master Trip Circuit relay - 05 Nos. c) Trip Ckt Supervision relay - 05 Nos. d) Under / Over Voltage Protection Relay - 01 No. e) Restricted Earth Fault relay - 04 Nos. f) Bulchhoz relay trip / alarm, Winding Temp. trip / alarm, Oil Temp. trip/alarm, OSR trip/ alarm, MOG alarm - 03 Set
25.01 | a) For 1st Year | 1.00 | Job | 10.00 | 22000.00 | 22000.00 | 6000.00 | 6000.00 | 30000.00 | 30000.00 | 5000.00 | 5000.00 | 18000.00 | 18000.00 | 22000.00 | 22000.00 | 30000.00 | 30000.00 | 5000.00 | Brady Services Pvt. Ltd.
25.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 24000.00 | 24000.00 | 6000.00 | 6000.00 | 30000.00 | 30000.00 | 5000.00 | 5000.00 | 18000.00 | 18000.00 | 22000.00 | 22000.00 | 30000.00 | 30000.00 | 5000.00 | Brady Services Pvt. Ltd.
26.00 | Checking, Servicing, Callibration & Testing of protection relays provided on 1(One) no. 11 KV VCB panels from Manufacturer or Authorised Service Dealer or Specialised Agency and submisstion of Test Report etc. as required. a) IDMT O/C & Earth fault relays (3 OC + 1 EF) - 01 Set b) Master Trip Circuit relay -1 No. c) Trip Ckt. Supervision relay -1 No. d) Auxilary relay for transformer protect -1 No. e) Aux relay for transformer neutral - 1 No.
26.01 | a) For 1st Year | 1.00 | Job | 10.00 | 22000.00 | 22000.00 | 1560.00 | 1560.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 12000.00 | 12000.00 | 35000.00 | 35000.00 | 1560.00 | Comfort Zone
26.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 24000.00 | 24000.00 | 1560.00 | 1560.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 12000.00 | 12000.00 | 35000.00 | 35000.00 | 1560.00 | Comfort Zone
27.00 | Checking, Callibration & Testing of Voltmenetr, Ammeter, Multifunction meter provided on different HT Side panels from manufacturer or Authorised Service Dealer or Specialised Agency and submisstion of Test Report etc. as required. a) Digital Ammeter -06 Nos. b) Digital Voltmeter - 02 Nos. c) Digital Multifunction Meter - 03 Nos..
27.01 | a) For 1st Year | 1.00 | Job | 10.00 | 4500.00 | 4500.00 | 4290.00 | 4290.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 4290.00 | Comfort Zone
27.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 5500.00 | 5500.00 | 4290.00 | 4290.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 4290.00 | Comfort Zone
28.00 | Checking, Callibration & Testing of Voltmenetr, Ammeter, Multifunction meter provided on different MV/LT side panels panels from manufacturer or Authorised Service Dealer or Specialised Agency and submisstion of Test Report etc. as required. a) Digital Ammeter -65 Nos. b) Digital Voltmeter - 66 Nos. c) Analog Voltmeter - 04 Nos. d) Digital Multifunction Meter - 52 Nos..
28.01 | a) For 1st Year | 1.00 | Job | 10.00 | 21000.00 | 21000.00 | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 5000.00 | 5000.00 | 54000.00 | 54000.00 | 56000.00 | 56000.00 | 30000.00 | 30000.00 | 5000.00 | Brady Services Pvt. Ltd.
28.02 | b) For 2nd Year | 1.00 | Job | 10.00 | 22000.00 | 22000.00 | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 5000.00 | 5000.00 | 60000.00 | 60000.00 | 56000.00 | 56000.00 | 30000.00 | 30000.00 | 5000.00 | Brady Services Pvt. Ltd.
29.00 | Emission Testing at site for DG sets installed at DABH Airport through NABL Lab/approved Lab by CPCB for all parameters i.e. PM, SO2,NOX, CO etc complete as required.
29.01 | a) For 1st Year | 6.00 | Job | 10.00 | 5000.00 | 30000.00 | 7500.00 | 45000.00 | 5000.00 | 30000.00 | 2000.00 | 12000.00 | 3000.00 | 18000.00 | 3500.00 | 21000.00 | 4000.00 | 24000.00 | 12000.00 | Brady Services Pvt. Ltd.
29.02 | b) For 2nd Year | 6.00 | Job | 10.00 | 6500.00 | 39000.00 | 7500.00 | 45000.00 | 5000.00 | 30000.00 | 2000.00 | 12000.00 | 3000.00 | 18000.00 | 3500.00 | 21000.00 | 4000.00 | 24000.00 | 12000.00 | Brady Services Pvt. Ltd.
30.00 | Designing, Manufacturing, Supplying & Fixing of Signage Vinyl pasting in Two Layers in approved colour & design on existing LED Signages at site including dismantling & removing the old Signages and refixing the new signage sheet, complete as required.
30.01 | a) For 1st Year | 20.00 | Sq. Mtr. | 10.00 | 3000.00 | 60000.00 | 900.00 | 18000.00 | 1500.00 | 30000.00 | 100.00 | 2000.00 | 300.00 | 6000.00 | 3500.00 | 70000.00 | 150.00 | 3000.00 | 2000.00 | Brady Services Pvt. Ltd.
30.02 | b) For 2nd Year | 20.00 | Sq. Mtr. | 10.00 | 3500.00 | 70000.00 | 900.00 | 18000.00 | 1500.00 | 30000.00 | 100.00 | 2000.00 | 300.00 | 6000.00 | 3500.00 | 70000.00 | 150.00 | 3000.00 | 2000.00 | Brady Services Pvt. Ltd.
31.00 | SH:III : (DSR 2018 )EXECUTION OF WORKS AS PER CPWD DELHI SCHEDULE OF RATES (E&M) 2018 WITH UPTO DATE SPECIFICATIONS, AS AND WHEN REQUIRED. Items as per CPWD Delhi Schedule of Rates (E&M) 2018 with upto date specifications, complete as required for a fixed amount as mentioned below:-
31.01 | a) For 1st Year ( For a Fixed amount of Rs 1,00,000/- on DSR (E&M 2018) Rates) | 1.00 | Year | 10.00 | 75000.00 | 75000.00 | 100000.00 | 100000.00 | 80000.00 | 80000.00 | 75000.00 | 75000.00 | 50000.00 | 50000.00 | 85000.00 | 85000.00 | 100000.00 | 100000.00 | 50000.00 | Manish Electricals
31.02 | b) For 2nd Year ( For a Fixed amount of Rs 1,00,000/- on DSR (E&M 2018) Rates ) | 1.00 | Year | 10.00 | 75000.00 | 75000.00 | 100000.00 | 100000.00 | 80000.00 | 80000.00 | 75000.00 | 75000.00 | 60000.00 | 60000.00 | 85000.00 | 85000.00 | 100000.00 | 100000.00 | 60000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 21711988.00 |  | 23576200.00 |  | 21123524.00 |  | 21597132.08 |  | 20926952.00 |  | 21090384.00 |  | 24010560.00
Lowest Amount Quoted BY: Manish Electricals(20926952.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of 33 KV Sub-Station i/c Internal and External Installations of NITB, Fire Fighting and Alarm System, 140 KLD STP etc. at Devi Ahilya Bai Holkar Airport, Indore, for 02 Years 2022-2024. Tender ID: 2022_AAI_106078_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 20926952.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 21090384.00 | L2
| 3 | N L Neema | 21123524.00 | L3
| 4 | Brady Services Pvt. Ltd. | 21597132.08 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 21711988.00 | L5
| 6 | Comfort Zone | 23576200.00 | L6
| 7 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 24010560.00 | L7