## BoQ1
Government eProcurement System Created By: Ashok Kumar Created Date/Time: 24-Mar-2022 04:30 PM Tender Title: Misc. Repair and Maintenance of Internal and External Install, water pumpset, desert Coolers including supply of spares etc. at CRSD, RCDU, DRC Workshop, RAU offices, FIU Hanger, allied offices and EandM Work shop offices at OA, SAP 2022-24 Tender ID: 2022_AAI_106111_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi-110003
Name of Work: Misc. Repair & Maintenance of Internal & External Installation, water pumpset, desert Coolers including supply of spares etc. at CRSD, RCDU, DRC Workshop, RAU offices, FIU Hanger, allied offices and E&M Work shop offices at Old area, Safdarjung Airport (For the year of 2022-24).
Contract No: AAI/SAP/Engg. (E)/ACMC-OA/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: Manpower
2.00 | Maintenance & operation of all External & Internal Electrical Installations on all working days i/c holidays (except Sundays) in general shift as per requirement. Contractor has to deploy following minimum staff for the work: a) Wireman -3 No. b) Helper -3 No. c) Pump Operator - 1 No. | 24.00 | Months | 0.00 | 130000.00 | 3120000.00 | 149261.00 | 3582264.00 | 3120000.00 | ANAND AND COMPANTY
3.00 | Fuel cost for running of DG set on per hour per DG set basis (contractor has to quote his running, handling & storing cost of fuel/hour/running operation of DG set which he has to assess according to the condition & capacity of the DG set mentioned below) at following sites as & when required or as per direction of E-I-C.
3.01 | CRSD - 2 x 250 KVA DG Sets (Make:Kirloskar) | 200.00 | Hours | 0.00 | 2200.00 | 440000.00 | 200.00 | 40000.00 | 40000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
4.00 | SH-II: Miscellaneous minor repair works for E&M installations.
5.00 | Servicing of Desert cooler by dismantling of fan motor & water pump motor, greasing/oiling the fan motor & refixing the motor & pump, P/F water distributing PVC pipe & elbows, 3 pin 5 amp plug top and placing the desert cooler at the desired location after servicing and testing etc. as required. | 120.00 | Job | 0.00 | 10.00 | 1200.00 | 1000.00 | 120000.00 | 1200.00 | ANAND AND COMPANTY
6.00 | Providing and fixing wood wool pads (1 set of 3 nos.) of good quality of suitable size with wire mess for holding the wood wool pad for diffrent capacity desert cooler at different locations & floors including dismantling the existing pads if required. | 120.00 | Set | 0.00 | 100.00 | 12000.00 | 500.00 | 60000.00 | 12000.00 | ANAND AND COMPANTY
7.00 | Spray painting of desert cooler/room coolers with two coats of enamel paints of approved colour on outer side and two coats of anti corrosive black paint on inner side including scrapping / cleaning before painting, dismantling & shifting of cooler for painting & reinstallation at existing location as required. | 120.00 | Each | 0.00 | 90.00 | 10800.00 | 550.00 | 66000.00 | 10800.00 | ANAND AND COMPANTY
8.00 | Spray Painting of feeder pillers and distribution panels at different location with 2 coats of approved quality grey synthetic enamel paint with cleaning as per site requirement. | 200.00 | Sq. Mtrs. | 0.00 | 90.00 | 18000.00 | 350.00 | 70000.00 | 18000.00 | ANAND AND COMPANTY
9.00 | Providing and replacement of damage/ rusted GI pipe line of submersible/ monoblock pump set as & when required of following size including threading, cutting and accessories such as flange, socket, gasket, nut - bolts, washer etc. as required (This item includes the transportation of the required material at the site of work and dismantled material shall be the property of AAI).
9.01 | 2" dia GI 'B' class Pipe | 20.00 | Meter | 0.00 | 1500.00 | 30000.00 | 750.00 | 15000.00 | 15000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
9.02 | 3" dia GI 'B' class Pipe | 20.00 | Meter | 0.00 | 50.00 | 1000.00 | 950.00 | 19000.00 | 1000.00 | ANAND AND COMPANTY
10.00 | Rewinding of the following ceiling fan, desert cooler motors etc including replacement of bush/ bearing etc. dismantling, transportation to workshop & bring back to the site and reinstallation, testing & commissioning as required (Dismantled material shall be the property of tenderer).
10.01 | Light weight ceiling fan (48"), 300mm Exhaust fan, 300-450mm Wall bracket fan | 100.00 | Each | 0.00 | 350.00 | 35000.00 | 350.00 | 35000.00 | 35000.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
10.02 | Desert cooler fan motor of all makes and models | 30.00 | Each | 0.00 | 300.00 | 9000.00 | 750.00 | 22500.00 | 9000.00 | ANAND AND COMPANTY
10.03 | Medium weight ceiling fan (56"), More than 300mm but less than 450mm Exhaust fan | 20.00 | Each | 0.00 | 10.00 | 200.00 | 450.00 | 9000.00 | 200.00 | ANAND AND COMPANTY
10.04 | More than 450mm but less thsn 600mm Exhaust fan, More than 600mm Wall bracket fan | 10.00 | Each | 10.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 3000.00 | ANAND AND COMPANTY
11.00 | Rewinding and repairing of three phase submersible motor and repairing of monoblock pump of following capacity, to and fro transportation to workshop including testing complete as required (Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer).
11.01 | 1 to 1.5 HP Single phase submersible Motor pump set | 2.00 | Job | 0.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 3000.00 | ANAND AND COMPANTY
11.02 | 5 HP three phase submersible Motor pump set | 4.00 | Job | 0.00 | 3500.00 | 14000.00 | 2500.00 | 10000.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.03 | 7.5 HP three phase submersible Motor pump set | 4.00 | Job | 0.00 | 5000.00 | 20000.00 | 5500.00 | 22000.00 | 20000.00 | ANAND AND COMPANTY
11.04 | 7.5 HP three phase submersible Sewage Motor pump set | 4.00 | Job | 10.00 | 5500.00 | 22000.00 | 6500.00 | 26000.00 | 22000.00 | ANAND AND COMPANTY
12.00 | Labour charges for lifting, dismantling of different sizes and capacity submersible motor-pump set alongwith pipe lines, cable from the existing bore well as & when required and re-installing/lowering the new/repaired motor-pump set as required at site (Charges for repairing or rectification of fault of pump/ motor will be paid separately). | 6.00 | Job | 10.00 | 4500.00 | 27000.00 | 5000.00 | 30000.00 | 27000.00 | ANAND AND COMPANTY
13.00 | Labour charges for lifting, dismantling of different sizes and capacity sewage motor-pump set alongwith pipe lines, cable from the existing bore well as & when required and re-installing/lowering the new/repaired pump/motor set as required at site (Charges for repairing or rectification of fault of pump/ motor will be paid separately). | 6.00 | Job | 10.00 | 4500.00 | 27000.00 | 6500.00 | 39000.00 | 27000.00 | ANAND AND COMPANTY
14.00 | Painting of 9 mtr. Pole alongwith two coat of aluminium paint of approved colour i/c numbring of pole etc. as reqd. | 35.00 | Job | 10.00 | 200.00 | 7000.00 | 1000.00 | 35000.00 | 7000.00 | ANAND AND COMPANTY
15.00 | Detection of LT cable fault by using LT cable fault locator machine on the route of cable laying at site & locate the fault at pin-pointing i/c excavation of soil etc as required. | 6.00 | Job | 10.00 | 6000.00 | 36000.00 | 6000.00 | 36000.00 | 36000.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
16.00 | SH-III: Supply of following items (As & when required basis)
17.00 | 5 amp Switch-Piano type | 120.00 | Each | 10.00 | 25.00 | 3000.00 | 100.00 | 12000.00 | 3000.00 | ANAND AND COMPANTY
18.00 | 20 amp Switch-Piano type | 60.00 | Each | 10.00 | 85.00 | 5100.00 | 150.00 | 9000.00 | 5100.00 | ANAND AND COMPANTY
19.00 | 20 & 10 amp Uni Socket-Piano type | 40.00 | Each | 10.00 | 100.00 | 4000.00 | 200.00 | 8000.00 | 4000.00 | ANAND AND COMPANTY
20.00 | 20 & 10 amp Uni Socket-Modular type | 10.00 | Each | 10.00 | 170.00 | 1700.00 | 250.00 | 2500.00 | 1700.00 | ANAND AND COMPANTY
21.00 | 20 amp Switch-Modular type | 20.00 | Each | 10.00 | 150.00 | 3000.00 | 125.00 | 2500.00 | 2500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | 5/6 amp Plug Top | 10.00 | Each | 10.00 | 70.00 | 700.00 | 90.00 | 900.00 | 700.00 | ANAND AND COMPANTY
23.00 | 15/16 amp Plug Top | 40.00 | Each | 10.00 | 120.00 | 4800.00 | 100.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
24.00 | 20 & 10 amp Uni Switch Socket Combined | 40.00 | Each | 10.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 6000.00 | ANAND AND COMPANTY
25.00 | 100W Mini Fan Regulator Rotary Step Type | 5.00 | Each | 10.00 | 250.00 | 1250.00 | 200.00 | 1000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.00 | Old cotton dhoti | 10.00 | Kg | 10.00 | 200.00 | 2000.00 | 750.00 | 7500.00 | 2000.00 | ANAND AND COMPANTY
27.00 | Desert cooler Motor Pump Set 18W, 1.6m Head Make: Khaitan; Model: Zolta or Equivalent | 60.00 | Each | 10.00 | 500.00 | 30000.00 | 1000.00 | 60000.00 | 30000.00 | ANAND AND COMPANTY
28.00 | 40 Amp DP 10KA C-series MCB | 10.00 | Each | 10.00 | 100.00 | 1000.00 | 550.00 | 5500.00 | 1000.00 | ANAND AND COMPANTY
29.00 | 63 Amp DP 10KA C-series MCB | 10.00 | Each | 10.00 | 100.00 | 1000.00 | 850.00 | 8500.00 | 1000.00 | ANAND AND COMPANTY
30.00 | 40 Amp TPN 10KA C-series MCB | 5.00 | Each | 10.00 | 25.00 | 125.00 | 1350.00 | 6750.00 | 125.00 | ANAND AND COMPANTY
31.00 | 63 Amp TPN 10KA C-series MCB | 30.00 | Each | 10.00 | 25.00 | 750.00 | 1550.00 | 46500.00 | 750.00 | ANAND AND COMPANTY
32.00 | 20Amp SPN SS Box for AC without MCB | 10.00 | Each | 10.00 | 750.00 | 7500.00 | 1250.00 | 12500.00 | 7500.00 | ANAND AND COMPANTY
33.00 | 06-32 Amp SP 10KA C-series MCB | 50.00 | Each | 10.00 | 200.00 | 10000.00 | 165.00 | 8250.00 | 8250.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
34.00 | 20Amp 230V SPN industrial type metal clad plug top | 20.00 | Each | 10.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.00 | 20Amp 230V SPN industrial type metal clad socket | 20.00 | Each | 10.00 | 300.00 | 6000.00 | 1250.00 | 25000.00 | 6000.00 | ANAND AND COMPANTY
36.00 | 1.5 Sqmm 3Core FR PVC Insulated & PVC Sheathed copper conductor (100 meter coil) Make: Havells or Equivalent | 3.00 | Each | 10.00 | 4100.00 | 12300.00 | 7500.00 | 22500.00 | 12300.00 | ANAND AND COMPANTY
37.00 | 2 Core having 1.5sqmm. Nominal area of conductor PVC insulated and PVC round sheated, copper conductor flexible, (100mtr Length) 1100 volts to IS 694 (Make: finolex or equivalent approved make) | 1.00 | Each | 10.00 | 5100.00 | 5100.00 | 6500.00 | 6500.00 | 5100.00 | ANAND AND COMPANTY
38.00 | 3 Core having 2.5sqmm. Nominal area of conductor PVC insulated and PVC round sheated, copper conductor flexible, (100mtr Length) 1100 volts to IS 694 (Make: finolex or equivalent approved make) | 2.00 | Each | 10.00 | 7000.00 | 14000.00 | 12500.00 | 25000.00 | 14000.00 | ANAND AND COMPANTY
39.00 | 1.5 Sqmm FRLSH PVC copper conductor (90mtr.) Make: Havells or Equivalent | 8.00 | Each | 10.00 | 1400.00 | 11200.00 | 2750.00 | 22000.00 | 11200.00 | ANAND AND COMPANTY
40.00 | 2.5 Sqmm FRLSH PVC copper conductor (90mtr.) Make: Havells or Equivalent | 5.00 | Each | 10.00 | 2000.00 | 10000.00 | 3200.00 | 16000.00 | 10000.00 | ANAND AND COMPANTY
41.00 | 4.0 Sqmm FRLSH PVC copper conductor (90mtr.) Make: Havells or Equivalent | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 6000.00 | ANAND AND COMPANTY
42.00 | 6.0 Sqmm FRLSH PVC copper conductor (90mtr.) Make:Havells or Equivalent | 2.00 | Each | 10.00 | 4800.00 | 9600.00 | 6500.00 | 13000.00 | 9600.00 | ANAND AND COMPANTY
43.00 | 3x4sqmm cu. Submersible Flat cable confirming IS 694 flexible 1100 volts to IS 694 (100 mtr.). (Make: Havless, Cat No.WHPNDSKB34X0).(Make: Havells or equivalent approved make) | 2.00 | Each | 10.00 | 9000.00 | 18000.00 | 15000.00 | 30000.00 | 18000.00 | ANAND AND COMPANTY
44.00 | 12 volt,25 plates 180 AH storage lead acid battery i/c charging Make: Exide or Equivalent | 4.00 | Each | 10.00 | 14000.00 | 56000.00 | 21000.00 | 84000.00 | 56000.00 | ANAND AND COMPANTY
45.00 | 108 Litre Capacity M. S. body powder coated sliding 3 rack Hot Case (Dim 27x14x21 inch) Make: GLARE or Equivalent | 8.00 | Each | 10.00 | 10000.00 | 80000.00 | 5500.00 | 44000.00 | 44000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
46.00 | 11 fins, Powder coated Oil Filled Room Heater Make: Havells Model: OFR11FIN or Equivalent | 2.00 | Each | 10.00 | 9000.00 | 18000.00 | 15000.00 | 30000.00 | 18000.00 | ANAND AND COMPANTY
47.00 | Heat convector Room Heater Make: Bajaj Model:RX7 or Equivalent | 6.00 | Each | 10.00 | 3000.00 | 18000.00 | 2750.00 | 16500.00 | 16500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
48.00 | Single Rod Room Heater Make: Bajaj Model: Minor room heater or Equivalent | 10.00 | Each | 10.00 | 1200.00 | 12000.00 | 1750.00 | 17500.00 | 12000.00 | ANAND AND COMPANTY
49.00 | Distilled Battery water suitable for top-up of electrolyte level in battery | 50.00 | Liter | 10.00 | 25.00 | 1250.00 | 3500.00 | 175000.00 | 1250.00 | ANAND AND COMPANTY
50.00 | Capacitor 1.20 Mfd | 50.00 | Each | 10.00 | 50.00 | 2500.00 | 75.00 | 3750.00 | 2500.00 | ANAND AND COMPANTY
51.00 | capacitor 2.25 Mfd Make - Havells or Equivalent | 20.00 | Each | 10.00 | 75.00 | 1500.00 | 150.00 | 3000.00 | 1500.00 | ANAND AND COMPANTY
52.00 | Self Adhesive HT Insulation Tape (1"x10 m) | 20.00 | Each | 10.00 | 140.00 | 2800.00 | 2000.00 | 40000.00 | 2800.00 | ANAND AND COMPANTY
53.00 | Self Adhesive PVC Insulating Tape (1.8 cm x 7.5 m), ISI Marked Make - Anchor or Equivalent | 100.00 | Each | 10.00 | 18.00 | 1800.00 | 12.00 | 1200.00 | 1200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
54.00 | Exhaust Fan 380 mm Heavy Duty 1400 rpm i/c all accessories Make - Havells Turbo Force SP or Equivalent | 5.00 | Each | 10.00 | 3000.00 | 15000.00 | 4250.00 | 21250.00 | 15000.00 | ANAND AND COMPANTY
55.00 | Exhaust Fan 300 mm Heavy Duty 1400 rpm i/c all accessories Make - Havells; Model: Turbo Force SP or Equivalent | 5.00 | Each | 10.00 | 2500.00 | 12500.00 | 3800.00 | 19000.00 | 12500.00 | ANAND AND COMPANTY
56.00 | DOL Starter 7.5 HP (5.5 kW, 9-14 Amp Range) i/c all accessories Make - L&T Cat No. SS96210 or Equivalent | 5.00 | Each | 10.00 | 2500.00 | 12500.00 | 7500.00 | 37500.00 | 12500.00 | ANAND AND COMPANTY
57.00 | Star Delta Starter 7.5 HP (5.5 kW, 9-14 Amp Range) i/c all accessories | 2.00 | Each | 10.00 | 200.00 | 400.00 | 12500.00 | 25000.00 | 400.00 | ANAND AND COMPANTY
58.00 | 2 HP Monoblock Pump Set Make - Wilo/ KSB or Equivalent | 2.00 | Each | 10.00 | 7000.00 | 14000.00 | 8500.00 | 17000.00 | 14000.00 | ANAND AND COMPANTY
59.00 | Electronic Remote Bell with One No. Remote Switch and LED indicator (Make:- Cona or Equivalent) | 5.00 | Each | 10.00 | 450.00 | 2250.00 | 750.00 | 3750.00 | 2250.00 | ANAND AND COMPANTY
60.00 | PVC Gang Box for the following switches/ Sockets:-
60.01 | 1 no. 5 Amp switch (Make:Anchor, Cat-7010 or equivalent) | 5.00 | Each | 10.00 | 12.00 | 60.00 | 75.00 | 375.00 | 60.00 | ANAND AND COMPANTY
60.02 | 2 no. 5 Amp switch (Make:Anchor, Cat-7021 or equivalent) | 10.00 | Each | 10.00 | 16.00 | 160.00 | 125.00 | 1250.00 | 160.00 | ANAND AND COMPANTY
60.03 | 1 no. 5 Amp switch & 1 no. 5 Amp socket (Make:Anchor, Cat-7112 or equivalent) | 20.00 | Each | 10.00 | 18.00 | 360.00 | 100.00 | 2000.00 | 360.00 | ANAND AND COMPANTY
60.04 | 2 no. 5 Amp switch & 1 no. 5 Amp socket (Make:Anchor, Cat-7123 or equivalent) | 20.00 | Each | 10.00 | 28.00 | 560.00 | 225.00 | 4500.00 | 560.00 | ANAND AND COMPANTY
61.00 | Supply of 6/16 Amp SS combine with shutter and 2 fixing holes (Cat No. 39999 Anchor Make or Equivalent) | 30.00 | Each | 10.00 | 50.00 | 1500.00 | 250.00 | 7500.00 | 1500.00 | ANAND AND COMPANTY
62.00 | PVC Channel of ISI marked heavy duty 1.6mm thick of following sizes (one channel of 2 mtr. Length):-
62.01 | 20 mm | 30.00 | Each | 10.00 | 18.00 | 540.00 | 100.00 | 3000.00 | 540.00 | ANAND AND COMPANTY
62.02 | 25 mm | 40.00 | Each | 10.00 | 25.00 | 1000.00 | 150.00 | 6000.00 | 1000.00 | ANAND AND COMPANTY
62.03 | 32 mm | 30.00 | Each | 10.00 | 25.00 | 750.00 | 250.00 | 7500.00 | 750.00 | ANAND AND COMPANTY
63.00 | Single phase Energy Meter (05-40)A, (Make : L&T Model No. WD4000101OOO or Equivalent) | 2.00 | Each | 10.00 | 1600.00 | 3200.00 | 5500.00 | 11000.00 | 3200.00 | ANAND AND COMPANTY
64.00 | Supply of MCCB's of following rating:-
64.01 | 4 Pole 36 KA 63 Amp. thermal magnetic release Ics =100% of Icu (Make : Havells , model IHLFNF0063 or Equivalent) | 4.00 | Each | 10.00 | 6000.00 | 24000.00 | 8500.00 | 34000.00 | 24000.00 | ANAND AND COMPANTY
64.02 | 4 Pole 36 KA 100 Amp. thermal magnetic release Ics =100% of Icu (Make : Havells , model IHLFNF0063 or Equivalent) | 2.00 | Each | 10.00 | 6500.00 | 13000.00 | 9500.00 | 19000.00 | 13000.00 | ANAND AND COMPANTY
64.03 | 4 Pole 36 KA 125 Amp. thermal magnetic release Ics =100% of Icu (Make : Havells , model IHA13EBF0125 or Equivalent) | 2.00 | Each | 10.00 | 1000.00 | 2000.00 | 15000.00 | 30000.00 | 2000.00 | ANAND AND COMPANTY
64.04 | 4 Pole 36 KA 160 Amp. thermal magnetic release Ics =100% of Icu (Make: Havells model HA13EBF0160 or Equivalent) | 2.00 | Each | 10.00 | 1000.00 | 2000.00 | 55000.00 | 110000.00 | 2000.00 | ANAND AND COMPANTY
65.00 | 400 mm sweep wall fan (Make : Havells,Model: Swing or Equivalent) | 5.00 | Each | 10.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 12500.00 | ANAND AND COMPANTY, CIS GLOBAL INFRATECH PRIVATE LIMITED
66.00 | Electric kettles 1.2 litre Make: Bajaj Majesty 1.2L or equivallent. | 5.00 | Each | 10.00 | 1500.00 | 7500.00 | 1750.00 | 8750.00 | 7500.00 | ANAND AND COMPANTY
67.00 | 25 Litre capacity vertical type water heater (Geyser) Make: Havells Model: Monza DX or Equivalent | 2.00 | Each | 10.00 | 7800.00 | 15600.00 | 12500.00 | 25000.00 | 15600.00 | ANAND AND COMPANTY
68.00 | Ding dong bell Make: Anchor Model: 8272 or Equivalent | 10.00 | Each | 10.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 3000.00 | ANAND AND COMPANTY
69.00 | Rechargeable torch Make: Wipro Model: Emerald Rech. Light or Equivalent | 5.00 | Each | 10.00 | 1200.00 | 6000.00 | 1850.00 | 9250.00 | 6000.00 | ANAND AND COMPANTY
70.00 | capacitor 4.0 Mfd Make - Havells or Equivalent | 25.00 | Each | 10.00 | 150.00 | 3750.00 | 250.00 | 6250.00 | 3750.00 | ANAND AND COMPANTY
71.00 | Exhaust Fan 450 mm Heavy Duty 1400 rpm i/c all accessories Make - Havells Turbo Force SP or Equivalent | 5.00 | Each | 10.00 | 3200.00 | 16000.00 | 4500.00 | 22500.00 | 16000.00 | ANAND AND COMPANTY
72.00 | Desert cooler Motor Pump Set 550W, 2500 LPH, 2.7m Head Make: Littlepump; Model: Indoma MSP 800 or equivalent | 3.00 | Each | 10.00 | 500.00 | 1500.00 | 1250.00 | 3750.00 | 1500.00 | ANAND AND COMPANTY
73.00 | SH-IV: Misc. Electrical Works
74.00 | Execution of works as per CPWD schedule of work and specification as and when reqd. Schedule of work, DSR 2018 Items for Rs.1,50,000/- | 1.00 | Job | 10.00 | 10000.00 | 10000.00 | 100000.00 | 100000.00 | 10000.00 | ANAND AND COMPANTY
| Total in Figures |  |  |  |  | 4391805.00 |  | 5591739.00
Lowest Amount Quoted BY: ANAND AND COMPANTY(4391805.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Repair and Maintenance of Internal and External Install, water pumpset, desert Coolers including supply of spares etc. at CRSD, RCDU, DRC Workshop, RAU offices, FIU Hanger, allied offices and EandM Work shop offices at OA, SAP 2022-24 Tender ID: 2022_AAI_106111_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANAND AND COMPANTY | 4391805.00 | L1
| 2 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 5591739.00 | L2