## BoQ1
Government eProcurement System Created By: Ashvin Kumar Singh Created Date/Time: 15-Jun-2022 09:09 AM Tender Title: ARMO of Electrical and Mechanical Installations, Fire Alarm System of NAV-AIDS, ACMC of window / split type air-conditioners and R.O water purifiers at Civil Air Terminal, Chandigarh. Tender ID: 2022_AAI_106249_1
Tender Inviting Authority: Asstt. General Manager (Engg- Elect.), Airports Authority of India, Chandigarh.
Name of Work: “ARMO of Electrical & Mechanical Installations, Fire Alarm System of NAV-AIDS, ACMC of window / split type air-conditioners and R.O water purifiers at Civil Air Terminal, Chandigarh”.
Contract No: 0172-2242404
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Modern Agencies(GSTN-04AAWFM7893F1ZL) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual operation and maintenance of Electrical & Mechanical Installations as per scope of work given in SCC by providing following minimum manpower on all days including Sunday and Holidays. i) Electrician / Operator (Skilled) = 08 Nos. | 12.00 | Month | 100.00 | 207266.00 | 2487192.00 | 165000.00 | 1980000.00 | 165000.00 | 1980000.00 | 183722.00 | 2204664.00 | 185500.00 | 2226000.00 | 194506.00 | 2334072.00 | 1980000.00 | SNOWMEX ENGINEERS LIMITED, Modern Agencies
2.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance, monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers, fans, voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 1.5 TR capacity window type air conditioner | 3.00 | Each | 100.00 | 4000.00 | 12000.00 | 1800.00 | 5400.00 | 2800.00 | 8400.00 | 800.00 | 2400.00 | 2500.00 | 7500.00 | 2200.00 | 6600.00 | 2400.00 | Anoop Refrigeration
3.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance, monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers, fans, voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 2.00 TR capacity window type air-conditioner | 8.00 | Each | 10.00 | 4500.00 | 36000.00 | 2000.00 | 16000.00 | 3500.00 | 28000.00 | 1050.00 | 8400.00 | 2800.00 | 22400.00 | 2500.00 | 20000.00 | 8400.00 | Anoop Refrigeration
4.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance, monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers, fans, voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 1.5 TR capacity split type air-conditioner | 17.00 | Each | 100.00 | 4000.00 | 68000.00 | 2100.00 | 35700.00 | 3000.00 | 51000.00 | 880.00 | 14960.00 | 3000.00 | 51000.00 | 2500.00 | 42500.00 | 14960.00 | Anoop Refrigeration
5.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance, monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers, fans, voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 2.00 TR capacity split type air-conditioner | 10.00 | Each | 100.00 | 4500.00 | 45000.00 | 2200.00 | 22000.00 | 3800.00 | 38000.00 | 1100.00 | 11000.00 | 3200.00 | 32000.00 | 2600.00 | 26000.00 | 11000.00 | Anoop Refrigeration
6.00 | Annual Comprehensive maintenance Contract of following Air-conditioning units including preventive maintenance, monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers, fans, voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 4 TR Carrier Make Cassette Type Airconditioner. | 1.00 | Each | 100.00 | 10000.00 | 10000.00 | 4500.00 | 4500.00 | 7500.00 | 7500.00 | 2200.00 | 2200.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 2200.00 | Anoop Refrigeration
7.00 | Annual Comprehensive maintenance Contract of following Water coolers including preventive maintenance, monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers, fans, voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 150 ltr | 1.00 | Each | 100.00 | 4000.00 | 4000.00 | 1600.00 | 1600.00 | 5000.00 | 5000.00 | 3300.00 | 3300.00 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 1600.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Annual Comprehensive maintenance Contract of following Water coolers including preventive maintenance, monthly visits, breakdown visits, repair maintenance & replacement of defective compressors, filters, PCB Cards, Motors, blowers, fans, voltage stabilizer etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) 80 ltr | 1.00 | Each | 10.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 4500.00 | 4500.00 | 3300.00 | 3300.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 1500.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Annual comprehensive maintenance contract of following RO water purifier (Make: -Eureka Forbes - Aquaguard) including preventive maintenance, monthly visits, breakdown visits, replacement of defective memberanes, filters, adaptor, pumps, pressure switch, PRV, Valves etc. complete as required as per technical specification. (Note:- The rate shall be for 01 unit for 01 year) RO 25 LPH | 1.00 | Nos. | 100.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 4400.00 | 4400.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3500.00 | SNOWMEX ENGINEERS LIMITED, Modern Agencies
10.00 | Annual comprehensive maintenance contract of following RO water purifier (Make: -Eureka Forbes - Aquaguard) including preventive maintenance, monthly visits, breakdown visits, replacement of defective memberanes, filters, adaptor, pumps, pressure switch, PRV, Valves etc. complete as required as per technical specification (Note:- The rate shall be for 01 unit for 01 year) RO 50 LPH | 1.00 | Nos. | 100.00 | 6000.00 | 6000.00 | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 7700.00 | 7700.00 | 6000.00 | 6000.00 | 6000.00 | 6000.00 | 4000.00 | Modern Agencies
11.00 | Annual comprehensive maintenace contract of fire alarm and GSM based Auto dailer system along with smoke detectors, hooters etc. installed in AAI, IAF operational area at NAV-AID Sites (GP, LLZ), UAH Building including preventive maintenance, monthly visits, breakdown visits, replacement of defective parts, adaptor, smoke detectors, hooters, replacement of PCB Cards/mother board etc. complete as required at site. | 12.00 | Month | 100.00 | 5000.00 | 60000.00 | 20000.00 | 240000.00 | 3000.00 | 36000.00 | 1925.00 | 23100.00 | 8000.00 | 96000.00 | 8000.00 | 96000.00 | 23100.00 | Anoop Refrigeration
12.00 | Rewinding and Repairing of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing, seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismantle copper winding shall be property of the contractor). Ceiling/exhaust/pedestial fan motor | 10.00 | Each | 100.00 | 400.00 | 4000.00 | 700.00 | 7000.00 | 640.00 | 6400.00 | 350.00 | 3500.00 | 700.00 | 7000.00 | 400.00 | 4000.00 | 3500.00 | Anoop Refrigeration
13.00 | Rewinding and Repairing of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing, seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismantle copper winding shall be property of the contractor). 10 H.P pump motor | 1.00 | Each | 10.00 | 3200.00 | 3200.00 | 7000.00 | 7000.00 | 1900.00 | 1900.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 1000.00 | Anoop Refrigeration
14.00 | Rewinding and Repairing of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing, seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismantle copper winding shall be property of the contractor). 7.5 H.P pump motor | 1.00 | Each | 100.00 | 3200.00 | 3200.00 | 6500.00 | 6500.00 | 1500.00 | 1500.00 | 900.00 | 900.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 900.00 | Anoop Refrigeration
15.00 | Rewinding and Repairing of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing, seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismantle copper winding shall be property of the contractor). 4.0 H.P pump motor | 1.00 | Each | 100.00 | 2500.00 | 2500.00 | 3800.00 | 3800.00 | 1500.00 | 1500.00 | 800.00 | 800.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 800.00 | Anoop Refrigeration
16.00 | Rewinding and Repairing of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing, seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismantle copper winding shall be property of the contractor). 1 H.P Pump motor | 1.00 | Each | 100.00 | 800.00 | 800.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 300.00 | 300.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 300.00 | Anoop Refrigeration
17.00 | Rewinding and Repairing of Following Motors/pump motors/monoblock pump with suitable size of copper winding, replacement of bush, bearing, seal and other worn out spares i/c testing commisioning etc as required complete in all respect (Dismantle copper winding shall be property of the contractor). 7.5 H.P Submersible motor/Monoblock pump motor | 1.00 | Each | 100.00 | 4200.00 | 4200.00 | 9500.00 | 9500.00 | 6500.00 | 6500.00 | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 8000.00 | 8000.00 | 4200.00 | SRS ENGINEERS
18.00 | Lifting / Lowering of following submersible pump motor i/c dismantling, checking, re-installation after repair etc as required complete in all respect. 7.5 H.P Submersible motor/Monoblock pump motor | 1.00 | Job | 100.00 | 10000.00 | 10000.00 | 9500.00 | 9500.00 | 6000.00 | 6000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 8000.00 | 8000.00 | 4000.00 | Anoop Refrigeration
19.00 | Servicing, Testing and calibration of HT panels, VCB's, LT panels ACB's and protection relays including making of necessary adjustments installed in LT panel / ACB, transformers and 11 KV HT VCB panel of substation. (01 Job per year) | 1.00 | Job | 100.00 | 7500.00 | 7500.00 | 25000.00 | 25000.00 | 10500.00 | 10500.00 | 23500.00 | 23500.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 7500.00 | SRS ENGINEERS
20.00 | Dehydration and filtration of transformer oil at site by using filtration machine, providing reuired oil including testing the BDV and acidity before and after testing and submission of test reports for 1500KVA, 11KV/433V Transformer of VOLTAMP make. (For 02 No. of Transformers 01 Job per year) | 1.00 | Job | 100.00 | 25000.00 | 25000.00 | 35000.00 | 35000.00 | 20000.00 | 20000.00 | 22000.00 | 22000.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 20000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, Modern Agencies
21.00 | Refilling, Painting and Repairing (if required i/c replacement of Hose Pipe, Nozzle, rubber seals, O rings, Valve assembly etc.) of Following types of Fire Extinguishers available at site. CO2 type , 4.5 KG. | 10.00 | Nos | 100.00 | 450.00 | 4500.00 | 3500.00 | 35000.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 900.00 | 9000.00 | 600.00 | 6000.00 | 4500.00 | SRS ENGINEERS
22.00 | Refilling, Painting and Repairing (if required i/c replacement of Hose Pipe, Nozzle, rubber seals, O rings, Valve assembly etc.) of Following types of Fire Extinguishers available at site. Dry Powder Type, 5 KG. | 2.00 | Nos | 100.00 | 600.00 | 1200.00 | 2000.00 | 4000.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 600.00 | 1200.00 | 800.00 | 1600.00 | 1000.00 | Anoop Refrigeration
23.00 | DSR-2018 Item for Rs. 30,000/- [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 18,000/- then the Percentage will considered as 10% below DSR 2018. (ii) If quoted Rate is Rs. 20,000/- then Percentage will considered as 0% above /below DSR 2018. (iii) If quoted Rate is Rs. 22,000/- then Percentage will considered as 10% above DSR 2018. Please note that the Items shall be executed from DSR-2018 rate at the above quoted percentage as per site requirement. | 1.00 | Job | 10.00 | 20000.00 | 20000.00 | 22000.00 | 22000.00 | 20000.00 | 20000.00 | 14000.00 | 14000.00 | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 14000.00 | Anoop Refrigeration
24.00 | Supply of 4-Pole Contactor with 25 Amp Duty Rating at 415 V, 50 Hz . Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 100.00 | 906.00 | 4530.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 2000.00 | 10000.00 | 1500.00 | 7500.00 | 3500.00 | 17500.00 | 4530.00 | SRS ENGINEERS
25.00 | Supply of 6 A to 32 A ratings, SP MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 10.00 | Nos | 100.00 | 130.00 | 1300.00 | 210.00 | 2100.00 | 400.00 | 4000.00 | 120.00 | 1200.00 | 180.00 | 1800.00 | 250.00 | 2500.00 | 1200.00 | Anoop Refrigeration
26.00 | Supply of 6 A to 32 A ratings, DP MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 100.00 | 570.00 | 2850.00 | 550.00 | 2750.00 | 1250.00 | 6250.00 | 350.00 | 1750.00 | 350.00 | 1750.00 | 300.00 | 1500.00 | 1500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
27.00 | Supply of 6 A to 32 A ratings, TP MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 100.00 | 910.00 | 4550.00 | 1100.00 | 5500.00 | 2000.00 | 10000.00 | 550.00 | 2750.00 | 850.00 | 4250.00 | 800.00 | 4000.00 | 2750.00 | Anoop Refrigeration
28.00 | Supply of 6 A to 32 A ratings, TPN MCB, “C” curve, 10 kA breaking capacity Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 5.00 | Nos | 10.00 | 1250.00 | 6250.00 | 1400.00 | 7000.00 | 2500.00 | 12500.00 | 1200.00 | 6000.00 | 900.00 | 4500.00 | 1000.00 | 5000.00 | 4500.00 | Manish Electricals
29.00 | Supply of 20W LED Batten light fixtures (4 Ft.). Note : Contractor shall ensure supply of spare and consumables as and when required at site. | 10.00 | Nos | 100.00 | 290.00 | 2900.00 | 350.00 | 3500.00 | 1000.00 | 10000.00 | 200.00 | 2000.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 2000.00 | Anoop Refrigeration
| Total in Figures |  |  |  |  | 2845672.00 |  | 2509850.00 |  | 2302050.00 |  | 2389624.00 |  | 2600400.00 |  | 2706272.00
Lowest Amount Quoted BY: Modern Agencies(2302050.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations, Fire Alarm System of NAV-AIDS, ACMC of window / split type air-conditioners and R.O water purifiers at Civil Air Terminal, Chandigarh. Tender ID: 2022_AAI_106249_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Modern Agencies | 2302050.00 | L1
| 2 | Anoop Refrigeration | 2389624.00 | L2
| 3 | SNOWMEX ENGINEERS LIMITED | 2509850.00 | L3
| 4 | Manish Electricals | 2600400.00 | L4
| 5 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 2706272.00 | L5
| 6 | SRS ENGINEERS | 2845672.00 | L6