## BoQ1
Government eProcurement System Created By: NANDKUMAR KUNDALE Created Date/Time: 21-Apr-2022 12:26 PM Tender Title: Servicing and testing of HT Panel VCBs, ACBs and Transformer installed at Power House of ATC Sky Tower, New Airport Colony and Integrated Operational Offices Building, Mumbai. Tender ID: 2022_AAI_107173_1
Tender Inviting Authority : AGM(E-E)
Name of Work : Servicing and testing of HT Panel VCBs, ACBs & Transformer installed at Power House of ATC Sky Tower, New Airport Colony and Integrated Operational Offices Building, Mumbai.
Contract No : 2022_AAI_107173_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ARK POWER SOLUTIONS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : OVERHAULING /SERVICING (LOCATION : ATC SKY TOWER, MUMBAI)
1.01 | Servicing and testing of following 11 KV, HT Panels including Overhauling/Servicing of all VCBs, maintainance of complete HT panel including checking all operational mechanisms, functions, positions, tripping actions, calibration of protective relays and checking their proper operation by secondary current injection technique and submitting the test reports accordingly etc.complete as required. Incomer Panel:- 630A, TP VCB :- 03 Nos Outgoing Panel:- 630A, TP VCB :- 03 Nos Bus Coupler :-630A, TP VCB 02 Nos Make & Model : L&T-EBG & EDO type | 1.00 | Job | 60000.00 | 40000.00 | 40000.00 | 40000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
1.02 | Overhauling /servicing of following L& T make 415V electrical draw out type ACBs (MODEL -C Power ) integrated in Main LT Panel & AMF panel including checking all operational mechanisms, functions, positions, tripping actions as per OEM guidelines & submitting test reports accordingly etc.complete as required. 1600 Amp, FP (Microprocessor Based Release - SR18G) | 7.00 | Job | 4500.00 | 4500.00 | 31500.00 | 31500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
1.03 | Overhauling /servicing of following L& T make 415V electrical draw out type ACBs (MODEL -C Power ) integrated in Main LT Panel & AMF panel including checking all operational mechanisms, functions, positions, tripping actions as per OEM guidelines & submitting test reports accordingly etc.complete as required. 1600 Amp, TPN (Microprocessor Based Release - SR18G) | 2.00 | Job | 4000.00 | 4500.00 | 9000.00 | 9000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
1.04 | Servicing & Testing of following 11/0.433 KV, Dry type cast resin transformers of 1000 KVA, Kirloskar Make by carrying out preventive maintenance activity of transformer as per OEM recommendations to keep the transformer in serviceable condition. Work includes opening the complete enclouser, bus bars, HT & LT side boxes, cable etc. checking of all the safety equipment’s, cleaning, servicing & Testing and submission of service reports accordingly after completion of the work as per the requirement. | 2.00 | Job | 7500.00 | 12000.00 | 24000.00 | 24000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.00 | LOCATION : INTEGRATED OPERATIONAL OFFICES BUILDING, MUMBAI
2.01 | Servicing and testing of following 11 KV, HT Panels including Overhauling/Servicing of all VCBs, maintainance of complete HT panel including checking all operational mechanisms, functions, positions, tripping actions, calibration of protective relays and checking their proper operation by secondary current injection technique and submitting the test reports accordingly etc.complete as required. Incomer Panel:- 630A, TP VCB :- 01 Nos Outgoing Panel:- 630A, TP VCB :- 03 Nos Make & Model : Schneider & HVX-X type | 1.00 | Job | 30000.00 | 24000.00 | 24000.00 | 24000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.02 | Overhauling /servicing of following L&T make 415V electrical draw out type ACB (MODEL -U-power Omega) integrated in Main PCC Panel, APFC panel & synchronizing panel including checking all operational mechanisms, functions, positions, tripping actions as per OEMs guidelines & submitting test report accordingly etc. complete as required. 2500 Amp, FP (Matrix releases - MTX 3.5) | 5.00 | Job | 6500.00 | 4500.00 | 22500.00 | 22500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.03 | Overhauling /servicing of following L&T make 415V electrical draw out type ACB (MODEL -U-power Omega) integrated in Main PCC Panel, APFC panel & synchronizing panel including checking all operational mechanisms, functions, positions, tripping actions as per OEMs guidelines & submitting test report accordingly etc. complete as required. 1600 Amp, TP, (Matrix releases - MTX 3.5) | 3.00 | Job | 6000.00 | 4500.00 | 13500.00 | 13500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.04 | Overhauling /servicing of following L&T make 415V electrical draw out type ACB (MODEL -U-power Omega) integrated in Main PCC Panel, APFC panel & synchronizing panel including checking all operational mechanisms, functions, positions, tripping actions as per OEMs guidelines & submitting test report accordingly etc. complete as required. 1250 Amp, TP, (Matrix releases - MTX 3.5) | 2.00 | Job | 5500.00 | 4500.00 | 9000.00 | 9000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.05 | Overhauling /servicing of following L&T make 415V electrical draw out type ACB (MODEL -U-power Omega) integrated in Main PCC Panel, APFC panel & synchronizing panel including checking all operational mechanisms, functions, positions, tripping actions as per OEMs guidelines & submitting test report accordingly etc. complete as required. 800A, TP, (Matrix releases - MTX 3.5) | 3.00 | Job | 5200.00 | 4500.00 | 13500.00 | 13500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
2.06 | Servicing & Testing of following 11/0.433 KV, Dry type cast resin transformers of 1500 KVA, Voltamp Make by carrying out preventive maintenance activity of transformer as per OEM recommendations to keep the transformer in serviceable condition. Work includes opening the complete enclouser, bus bars, HT & LT side boxes, cable etc. checking of all the safety equipment’s, cleaning, servicing & Testing and submission of service reports accordingly after completion of the work as per the requirement. | 2.00 | Job | 7500.00 | 12000.00 | 24000.00 | 24000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.00 | LOCATION : NEW AIRPORT COLONY, MUMBAI
3.01 | Servicing and testing of following 11 KV, HT Panels including Overhauling/Servicing of all VCBs, maintainance of complete HT panel including checking all operational mechanisms, functions, positions, tripping actions, calibration of protective relays and checking their proper operation by secondary current injection technique and submitting the test reports accordingly etc.complete as required. For New Airport Colony Incomer Panel:-800A, TP VCB :- 01 Nos Outgoing Panel:-800A, TP VCB :- 04 Nos Make & Model : ABB & VD4 | 1.00 | Job | 42500.00 | 30000.00 | 30000.00 | 30000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.02 | Servicing and testing of following 11 KV, HT Panels including Overhauling/Servicing of all VCBs, maintainance of complete HT panel including checking all operational mechanisms, functions, positions, tripping actions, calibration of protective relays and checking their proper operation by secondary current injection technique and submitting the test reports accordingly etc.complete as required. For Porta Cabin Incomer Panel:- 800A, TP VCB :- 01 Nos Make & Model : ABB & VD4 | 1.00 | Job | 9000.00 | 6000.00 | 6000.00 | 6000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.03 | Overhauling /servicing of following L& T make 415V electrical draw out type ACBs (MODEL -C Power ) integrated in Main LT Panel & AMF panel including checking all operational mechanisms, functions, positions, tripping actions as per OEM guidelines & submitting test reports accordingly etc.complete as required. 1250 Amp, TP (Thermo-magnetic Release Type - DN1) | 1.00 | Job | 4000.00 | 4500.00 | 4500.00 | 4500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.04 | Overhauling /servicing of following L& T make 415V electrical draw out type ACBs (MODEL -C Power ) integrated in Main LT Panel & AMF panel including checking all operational mechanisms, functions, positions, tripping actions as per OEM guidelines & submitting test reports accordingly etc.complete as required. 1000 Amp, TP (Thermo-magnetic Release Type - DN1) | 1.00 | Job | 4000.00 | 4500.00 | 4500.00 | 4500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.05 | Overhauling /servicing of following L& T make 415V electrical draw out type ACBs (MODEL -C Power ) integrated in Main LT Panel & AMF panel including checking all operational mechanisms, functions, positions, tripping actions as per OEM guidelines & submitting test reports accordingly etc.complete as required. 800 Amp, TP (Thermo-magnetic Release Type - DN1) | 1.00 | Job | 4000.00 | 4500.00 | 4500.00 | 4500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.06 | Overhauling /servicing of following L&T make 415V electrical draw out type ACB (MODEL -U-power Omega) integrated in Main PCC Panel, APFC panel & synchronizing panel including checking all operational mechanisms, functions, positions, tripping actions as per OEMs guidelines & submitting test report accordingly etc. complete as required. 1600 Amp, FP, (Matrix releases - MTX 3.5) | 3.00 | Job | 6000.00 | 4500.00 | 13500.00 | 13500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.07 | Servicing & Testing of following 11/0.433 KV, Dry type cast resin transformers of 1000 KVA, Kirloskar Make by carrying out preventive maintenance activity of transformer as per OEM recommendations to keep the transformer in serviceable condition. Work includes opening the complete enclouser, bus bars, HT & LT side boxes, cable etc. checking of all the safety equipment’s, cleaning, servicing & Testing and submission of service reports accordingly after completion of the work as per the requirement. | 2.00 | Job | 7500.00 | 12000.00 | 24000.00 | 24000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
3.08 | Servicing & Testing of 11 KV/ 433 Volts, 1000 KVA of Oil Transformers including checking & tightening of HT/LT cable termination,operation of tap changer, testing of transformer oil i/c acidity test, insulation resistance of transformer. The job includes complete filtration of transformer oil and top-up of oil to maintain the withstand capacity of oil minimum 40KV at least for two minutes, checking of all safety equipment and submission of test reports etc. complete as required. | 1.00 | Job | 16500.00 | 20000.00 | 20000.00 | 20000.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
4.00 | SH-II: Supply of Spares
4.01 | Service position microswitch - (C 6) (Make: L&T) | 3.00 | Nos | 1272.00 | 2500.00 | 7500.00 | 7500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
4.02 | Microswitch for Releases (C1) (Make: L&T) | 2.00 | Nos | 1880.00 | 3300.00 | 6600.00 | 6600.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
4.03 | Test or isolated position microswitch - (C 8) (Make: L&T) | 1.00 | Nos | 1272.00 | 2500.00 | 2500.00 | 2500.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
4.04 | ACB door bazels (Make: L&T) | 9.00 | Nos | 2808.00 | 2400.00 | 21600.00 | 21600.00 | ARK POWER SOLUTIONS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 356200.00
Lowest Amount Quoted BY: ARK POWER SOLUTIONS PRIVATE LIMITED(356200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Servicing and testing of HT Panel VCBs, ACBs and Transformer installed at Power House of ATC Sky Tower, New Airport Colony and Integrated Operational Offices Building, Mumbai. Tender ID: 2022_AAI_107173_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ARK POWER SOLUTIONS PRIVATE LIMITED | 356200.00 | L1