## BoQ1
Government eProcurement System Created By: Sanjib Kumar Dey Created Date/Time: 30-Mar-2022 05:48 PM Tender Title: Miscellaneous Electrical Works SH Modification work of Community Centre, Airport Guest House and Sports Complex at New Quarter Residential Area, Kolkata Airport Tender ID: 2022_AAI_107184_1
Tender Inviting Authority: AGM(E-E),AAI,RHQ,ER
Name of Work: Name of Work:- Miscellaneous Electrical Works (SH :- Modification work of Community Centre, Airport Guest House and Sports Complex at New Quarter Residential Area , Kolkata Airport).
Contract No: AAI/ER /KOL /EE/NIT-08/2021 -22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | Mukherjee Commercial Enterprise(GSTN-19ALVPM0307N1ZJ) |  | SAHA COMMERCIAL CONSTRUCTION(GSTN-19AASFS6288A1ZN) |  | T K MAZUMDER(GSTN-19AADFT2150K1Z3) |  | M/s J.K. Electric Engineering Works(GSTN-19AAHFJ4404E1ZL) |  | STAR ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required.
1.10 | Group C | 50.00 | Point | 100.00 | 950.00 | 47500.00 | 1200.00 | 60000.00 | 1550.00 | 77500.00 | 20.00 | 1000.00 | 800.00 | 40000.00 | 2900.00 | 145000.00 | 1000.00 | T K MAZUMDER
2.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
2.10 | 1 or 2 Module (75mmX75mm) | 10.00 | Each | 100.00 | 105.00 | 1050.00 | 120.00 | 1200.00 | 250.00 | 2500.00 | 10.00 | 100.00 | 180.00 | 1800.00 | 300.00 | 3000.00 | 100.00 | T K MAZUMDER
2.20 | 3 Module (100mmX75mm) | 3.00 | Each | 10.00 | 125.00 | 375.00 | 140.00 | 420.00 | 325.00 | 975.00 | 12.00 | 36.00 | 190.00 | 570.00 | 320.00 | 960.00 | 36.00 | T K MAZUMDER
2.30 | 4 Module (125mmX75mm) | 5.00 | Each | 10.00 | 150.00 | 750.00 | 200.00 | 1000.00 | 375.00 | 1875.00 | 13.00 | 65.00 | 200.00 | 1000.00 | 350.00 | 1750.00 | 65.00 | T K MAZUMDER
2.40 | 6 Module (200mmX75mm) | 2.00 | Each | 10.00 | 215.00 | 430.00 | 250.00 | 500.00 | 450.00 | 900.00 | 14.00 | 28.00 | 260.00 | 520.00 | 400.00 | 800.00 | 28.00 | T K MAZUMDER
2.50 | 8 Module (125mmX125mm) | 2.00 | Each | 10.00 | 265.00 | 530.00 | 300.00 | 600.00 | 500.00 | 1000.00 | 15.00 | 30.00 | 290.00 | 580.00 | 500.00 | 1000.00 | 30.00 | T K MAZUMDER
2.60 | 12 Module (200mmX150mm) | 2.00 | Each | 10.00 | 335.00 | 670.00 | 560.00 | 1120.00 | 690.00 | 1380.00 | 16.00 | 32.00 | 350.00 | 700.00 | 600.00 | 1200.00 | 32.00 | T K MAZUMDER
3.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
3.01 | 5/6 A switch, White Colour ( For community centre) | 20.00 | Each | 10.00 | 45.00 | 900.00 | 75.00 | 1500.00 | 200.00 | 4000.00 | 5.00 | 100.00 | 65.00 | 1300.00 | 120.00 | 2400.00 | 100.00 | T K MAZUMDER
3.02 | 5/6 A switch, Silver Grey Colour ( For New qtr. Guest House) | 100.00 | Each | 10.00 | 80.00 | 8000.00 | 140.00 | 14000.00 | 225.00 | 22500.00 | 6.00 | 600.00 | 90.00 | 9000.00 | 250.00 | 25000.00 | 600.00 | T K MAZUMDER
3.03 | 2 way 5/6 A switch White Colour ( For community centre) | 2.00 | Each | 10.00 | 90.00 | 180.00 | 125.00 | 250.00 | 250.00 | 500.00 | 7.00 | 14.00 | 90.00 | 180.00 | 190.00 | 380.00 | 14.00 | T K MAZUMDER
3.04 | 2 way 5/6 A switch Silver Grey Colour ( For New qtr. Guest House) | 6.00 | Each | 10.00 | 125.00 | 750.00 | 175.00 | 1050.00 | 300.00 | 1800.00 | 8.00 | 48.00 | 120.00 | 720.00 | 400.00 | 2400.00 | 48.00 | T K MAZUMDER
3.05 | 15/16 A switch White Colour ( For community centre) | 5.00 | Each | 10.00 | 100.00 | 500.00 | 200.00 | 1000.00 | 290.00 | 1450.00 | 9.00 | 45.00 | 120.00 | 600.00 | 250.00 | 1250.00 | 45.00 | T K MAZUMDER
3.06 | 15/16 A switch Silver Grey Colour ( For New qtr. Guest House) | 20.00 | Each | 10.00 | 140.00 | 2800.00 | 220.00 | 4400.00 | 310.00 | 6200.00 | 10.00 | 200.00 | 150.00 | 3000.00 | 600.00 | 12000.00 | 200.00 | T K MAZUMDER
3.07 | 3 pin 5/6 A socket outlet White Colour ( For community centre) | 10.00 | Each | 10.00 | 105.00 | 1050.00 | 140.00 | 1400.00 | 250.00 | 2500.00 | 11.00 | 110.00 | 105.00 | 1050.00 | 300.00 | 3000.00 | 110.00 | T K MAZUMDER
3.08 | 3 pin 5/6 A socket outlet Silver Grey Colour ( For New qtr. Guest House) | 50.00 | Each | 10.00 | 150.00 | 7500.00 | 175.00 | 8750.00 | 290.00 | 14500.00 | 7.00 | 350.00 | 125.00 | 6250.00 | 390.00 | 19500.00 | 350.00 | T K MAZUMDER
3.09 | 6 pin 15/16 A socket outlet with shuttered White Colour ( For community centre) | 5.00 | Each | 10.00 | 160.00 | 800.00 | 210.00 | 1050.00 | 310.00 | 1550.00 | 10.00 | 50.00 | 152.00 | 760.00 | 450.00 | 2250.00 | 50.00 | T K MAZUMDER
3.10 | 6 pin 15/16 A socket outlet with shuttered Silver Grey Colour ( For New qtr. Guest House) | 20.00 | Each | 10.00 | 220.00 | 4400.00 | 225.00 | 4500.00 | 375.00 | 7500.00 | 12.00 | 240.00 | 175.00 | 3500.00 | 500.00 | 10000.00 | 240.00 | T K MAZUMDER
3.11 | Telephone socket outlet Silver Grey Colour | 12.00 | Each | 10.00 | 125.00 | 1500.00 | 220.00 | 2640.00 | 225.00 | 2700.00 | 20.00 | 240.00 | 105.00 | 1260.00 | 300.00 | 3600.00 | 240.00 | T K MAZUMDER
3.12 | TV antenna socket outlet Silver Grey Colour | 12.00 | Each | 10.00 | 125.00 | 1500.00 | 220.00 | 2640.00 | 225.00 | 2700.00 | 6.00 | 72.00 | 105.00 | 1260.00 | 290.00 | 3480.00 | 72.00 | T K MAZUMDER
3.13 | Bell push Silver Grey Colour | 12.00 | Each | 10.00 | 150.00 | 1800.00 | 120.00 | 1440.00 | 350.00 | 4200.00 | 9.00 | 108.00 | 136.00 | 1632.00 | 1800.00 | 21600.00 | 108.00 | T K MAZUMDER
4.00 | Supplying and fixing two module stepped type electronic fan regulator of silver grey colour on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 20.00 | Each | 10.00 | 475.00 | 9500.00 | 420.00 | 8400.00 | 950.00 | 19000.00 | 5.00 | 100.00 | 134.00 | 2680.00 | 1200.00 | 24000.00 | 100.00 | T K MAZUMDER
5.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required.
5.10 | White Colour | 30.00 | Each | 10.00 | 24.00 | 720.00 | 30.00 | 900.00 | 40.00 | 1200.00 | 5.00 | 150.00 | 40.00 | 1200.00 | 50.00 | 1500.00 | 150.00 | T K MAZUMDER
5.20 | Silver grey Colour | 50.00 | Each | 10.00 | 32.00 | 1600.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 7.00 | 350.00 | 40.00 | 2000.00 | 70.00 | 3500.00 | 350.00 | T K MAZUMDER
6.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required.
6.10 | 2 x 2.5 sq. mm + 1 x 2.5 sq. mm earth wire | 170.00 | Meter | 10.00 | 135.00 | 22950.00 | 180.00 | 30600.00 | 315.00 | 53550.00 | 20.00 | 3400.00 | 180.00 | 30600.00 | 200.00 | 34000.00 | 3400.00 | T K MAZUMDER
6.20 | 2 x 6 sq. mm + 1 x 6 sq. mm earth wire | 30.00 | Meter | 10.00 | 235.00 | 7050.00 | 300.00 | 9000.00 | 450.00 | 13500.00 | 30.00 | 900.00 | 285.00 | 8550.00 | 450.00 | 13500.00 | 900.00 | T K MAZUMDER
7.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
7.10 | 3 x 1.5 sq. mm | 20.00 | Meter | 10.00 | 45.00 | 900.00 | 60.00 | 1200.00 | 80.00 | 1600.00 | 15.00 | 300.00 | 55.00 | 1100.00 | 80.00 | 1600.00 | 300.00 | T K MAZUMDER
7.20 | 3 x 2.5 sq. mm | 20.00 | Meter | 10.00 | 70.00 | 1400.00 | 85.00 | 1700.00 | 110.00 | 2200.00 | 17.00 | 340.00 | 75.00 | 1500.00 | 110.00 | 2200.00 | 340.00 | T K MAZUMDER
7.30 | 3 x 4.0 sq. mm | 10.00 | Meter | 10.00 | 95.00 | 950.00 | 145.00 | 1450.00 | 170.00 | 1700.00 | 19.00 | 190.00 | 110.00 | 1100.00 | 140.00 | 1400.00 | 190.00 | T K MAZUMDER
8.00 | Wiring for light / power plug with 2x4 sq mm FRLSH PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 80.00 | Meter | 10.00 | 200.00 | 16000.00 | 220.00 | 17600.00 | 350.00 | 28000.00 | 20.00 | 1600.00 | 230.00 | 18400.00 | 70.00 | 5600.00 | 1600.00 | T K MAZUMDER
9.00 | Supply of following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc.
9.10 | 3 Module (100mmX75mm) | 5.00 | Each | 10.00 | 125.00 | 625.00 | 110.00 | 550.00 | 190.00 | 950.00 | 35.00 | 175.00 | 210.00 | 1050.00 | 320.00 | 1600.00 | 175.00 | T K MAZUMDER
9.20 | 6 Module (100mmX75mm) | 5.00 | Each | 10.00 | 210.00 | 1050.00 | 225.00 | 1125.00 | 325.00 | 1625.00 | 40.00 | 200.00 | 265.00 | 1325.00 | 350.00 | 1750.00 | 200.00 | T K MAZUMDER
10.00 | Supplying and fixing suitable size GI box with 3 modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. ( For General Purpose). | 30.00 | Each | 10.00 | 875.00 | 26250.00 | 650.00 | 19500.00 | 950.00 | 28500.00 | 40.00 | 1200.00 | 450.00 | 13500.00 | 1500.00 | 45000.00 | 1200.00 | T K MAZUMDER
11.00 | Supplying and fixing suitable size GI box with 8 modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.( for mobile charging purpose). | 5.00 | Each | 10.00 | 600.00 | 3000.00 | 750.00 | 3750.00 | 1425.00 | 7125.00 | 40.00 | 200.00 | 550.00 | 2750.00 | 1800.00 | 9000.00 | 200.00 | T K MAZUMDER
12.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. ( Make- Havells or equivalent as per AAI approve make.)
12.10 | Single pole | 30.00 | Each | 10.00 | 120.00 | 3600.00 | 225.00 | 6750.00 | 195.00 | 5850.00 | 165.00 | 4950.00 | 150.00 | 4500.00 | 200.00 | 6000.00 | 3600.00 | Youngmen Traders
12.20 | Single pole and Neutral | 10.00 | Each | 10.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 550.00 | 5500.00 | 460.00 | 4600.00 | 435.00 | 4350.00 | 800.00 | 8000.00 | 4000.00 | Youngmen Traders
12.30 | Triple pole | 20.00 | Each | 10.00 | 685.00 | 13700.00 | 1200.00 | 24000.00 | 950.00 | 19000.00 | 830.00 | 16600.00 | 660.00 | 13200.00 | 1500.00 | 30000.00 | 13200.00 | M/s J.K. Electric Engineering Works
13.00 | Supplying and fixing 40 A rating, 240 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Make- Havells or equivalent as per AAI approve make.
13.10 | Single pole | 15.00 | Each | 10.00 | 325.00 | 4875.00 | 560.00 | 8400.00 | 450.00 | 6750.00 | 400.00 | 6000.00 | 190.00 | 2850.00 | 200.00 | 3000.00 | 2850.00 | M/s J.K. Electric Engineering Works
14.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) Make- Havells or equivalent as per AAI approve make.
14.10 | 8 way (4+24), Double door | 1.00 | Each | 10.00 | 7800.00 | 7800.00 | 5000.00 | 5000.00 | 13500.00 | 13500.00 | 11900.00 | 11900.00 | 6200.00 | 6200.00 | 25000.00 | 25000.00 | 5000.00 | Mukherjee Commercial Enterprise
14.20 | 12 way (4 + 36), Double door | 2.00 | Each | 10.00 | 10500.00 | 21000.00 | 8000.00 | 16000.00 | 15500.00 | 31000.00 | 14990.00 | 29980.00 | 7800.00 | 15600.00 | 32000.00 | 64000.00 | 15600.00 | M/s J.K. Electric Engineering Works
15.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). Make- Havells or equivalent as per AAI approve make.
15.10 | 12 way, Double Door | 1.00 | Each | 10.00 | 1250.00 | 1250.00 | 1600.00 | 1600.00 | 3995.00 | 3995.00 | 1700.00 | 1700.00 | 2053.00 | 2053.00 | 2000.00 | 2000.00 | 1250.00 | Youngmen Traders
15.20 | 16 way, Double Door | 1.00 | Each | 10.00 | 1650.00 | 1650.00 | 1850.00 | 1850.00 | 5925.00 | 5925.00 | 1990.00 | 1990.00 | 2400.00 | 2400.00 | 3000.00 | 3000.00 | 1650.00 | Youngmen Traders
16.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. Make- Havells or equivalent as per AAI approve make.
16.10 | 100 A, 25 KA, FP MCCB, Ics = 100 % Icu. | 4.00 | Each | 10.00 | 2200.00 | 8800.00 | 6000.00 | 24000.00 | 3950.00 | 15800.00 | 8500.00 | 34000.00 | 7300.00 | 29200.00 | 8000.00 | 32000.00 | 8800.00 | Youngmen Traders
17.00 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 100.00 | Each | 10.00 | 43.00 | 4300.00 | 45.00 | 4500.00 | 50.00 | 5000.00 | 5.00 | 500.00 | 50.00 | 5000.00 | 90.00 | 9000.00 | 500.00 | T K MAZUMDER
18.00 | Supplying and fixing of 4 Pole,100A on load Changeover Switch , with extended handle in sheet steel enclosure, 3 phase 415 volts 50hz, dust protected, duly powder painted, as required. Make- Havells or equivalent as per AAI approved make. | 1.00 | Each | 10.00 | 7970.00 | 7970.00 | 8000.00 | 8000.00 | 12494.00 | 12494.00 | 8990.00 | 8990.00 | 4000.00 | 4000.00 | 12000.00 | 12000.00 | 4000.00 | M/s J.K. Electric Engineering Works
19.00 | Supply of Polycarbonate made Loop-in Loop out box, IP-66/67, UV Ray protected, dust proof, water tight, acid resistant, corrossion proof, insulated and shock proof, fire retardent, self extinguishing, Halogen & Silica free, Non-Toxic material with polyurethene internally embedded gasket, Size of Box (180 X 130 X 77) mm, wall/outdoor mounted type , cable entry - bottom suitable for 3C X 4 Sq mm with synthetic cable gland size : M20, IP- 68 Polyamide make with lock nut arragement 02 Nos. Make- HENSEL, Model- KF 1010G or Equivalent as per AAI Approved Make) . | 32.00 | Each | 10.00 | 2200.00 | 70400.00 | 2500.00 | 80000.00 | 2500.00 | 80000.00 | 1850.00 | 59200.00 | 1400.00 | 44800.00 | 1500.00 | 48000.00 | 44800.00 | M/s J.K. Electric Engineering Works
20.00 | ITC of pre-wired, fluorescent fitting / compact fluorescent fitting/LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/wall, including connection with 1.5 sqmm FR PVC insulated copper conductor, single core cable and earthing etc. as required. | 355.00 | Each | 10.00 | 100.00 | 35500.00 | 100.00 | 35500.00 | 125.00 | 44375.00 | 90.00 | 31950.00 | 140.00 | 49700.00 | 800.00 | 284000.00 | 31950.00 | T K MAZUMDER
21.00 | Installation of exhaust fan upto 450mm & water heater upto 10ltr.in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 40.00 | Each | 10.00 | 200.00 | 8000.00 | 250.00 | 10000.00 | 350.00 | 14000.00 | 110.00 | 4400.00 | 250.00 | 10000.00 | 300.00 | 12000.00 | 4400.00 | T K MAZUMDER
22.00 | ITC of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 33.00 | Each | 10.00 | 125.00 | 4125.00 | 100.00 | 3300.00 | 200.00 | 6600.00 | 140.00 | 4620.00 | 150.00 | 4950.00 | 300.00 | 9900.00 | 3300.00 | Mukherjee Commercial Enterprise
23.00 | ITC of Post top light in item no. 34.1 over the top of the pillars of the boundary wall including cutting and fixing of Loop-in Loop out box in the pillar with cable entry 3C X 4 sq.mm cable, making all connection for smooth operation of LED light etc. as per site requirement and instruction of EIC. | 32.00 | Each | 10.00 | 450.00 | 14400.00 | 200.00 | 6400.00 | 900.00 | 28800.00 | 340.00 | 10880.00 | 500.00 | 16000.00 | 800.00 | 25600.00 | 6400.00 | Mukherjee Commercial Enterprise
24.00 | ITC of 15W Bollard light in PCC including earth excavation and supply of foundation anchor bolts and nutts, cable entry pipe etc. as required. as per recommended drawing of OEM and instruction of EIC. | 53.00 | Each | 10.00 | 300.00 | 15900.00 | 200.00 | 10600.00 | 750.00 | 39750.00 | 390.00 | 20670.00 | 500.00 | 26500.00 | 500.00 | 26500.00 | 10600.00 | Mukherjee Commercial Enterprise
25.00 | SITC of 80 mm dia heavy duty G.I. round pole of 5 mtr. height above the ground level including reducer arrangement at the top for fixing LED fixture at item no. 34.2 of dia 575 mm including base plate of dia 300 mm and 16 mm thick G.I.plate to be welded with the pole and 500 mm 4 nos M20 anchor nut bolt in existing RCC foundation etc. as required. | 3.00 | Job | 10.00 | 4500.00 | 13500.00 | 15000.00 | 45000.00 | 7500.00 | 22500.00 | 15000.00 | 45000.00 | 5000.00 | 15000.00 | 6500.00 | 19500.00 | 13500.00 | Youngmen Traders
26.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each | 10.00 | 4500.00 | 18000.00 | 5000.00 | 20000.00 | 6500.00 | 26000.00 | 6400.00 | 25600.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 10000.00 | STAR ENTERPRISE
27.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required . | 100.00 | meter | 10.00 | 120.00 | 12000.00 | 140.00 | 14000.00 | 250.00 | 25000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 80.00 | 8000.00 | 8000.00 | STAR ENTERPRISE
28.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing etc.as required. | 100.00 | meter | 10.00 | 22.00 | 2200.00 | 25.00 | 2500.00 | 50.00 | 5000.00 | 40.00 | 4000.00 | 30.00 | 3000.00 | 20.00 | 2000.00 | 2000.00 | STAR ENTERPRISE
29.00 | Supply of 600mm x 600mm recess Mounted 28W IP 20 DALI Dimmable and Tunable LED fixture with high efficiency PMMA diffuser complete with driver and accessories having lumen output not less than 2800 Lumens with luminaire efficacy not less than 100 Lumens / watt, CCT from 3000K to 6000K, suitable for indoor applications complete as per NIT LED Technical specificaitons (Similar to Make-Legero, Cat No. Modena 28W (LER2628) or equivalent ). | 84.00 | Each | 10.00 | 7400.00 | 621600.00 | 4250.00 | 357000.00 | 5990.00 | 503160.00 | 9688.00 | 813792.00 | 1650.00 | 138600.00 | 2800.00 | 235200.00 | 138600.00 | M/s J.K. Electric Engineering Works
30.00 | Supply of 18 W Indoor Surface mounted Integrated LED Lamp 4ft. long , having lumen output not less than 1800 Lumens with luminaire efficacy not less than 100 Lumens / watt, CCT from 3000K to 6000K, suitable for indoor applications complete as per NIT LED Techncial specificaitons. ( Similar to Make-Magik , Cat No. LULN018W0751 or equivalent ) | 24.00 | Each | 10.00 | 450.00 | 10800.00 | 500.00 | 12000.00 | 425.00 | 10200.00 | 563.00 | 13512.00 | 270.00 | 6480.00 | 500.00 | 12000.00 | 6480.00 | M/s J.K. Electric Engineering Works
31.00 | Supply of Round Surface type 15W LED downlighter with LEDs of approved makes having high efficiency PMMA diffuser. Specially designed flat opal diffuser fixed to housing, driver installed on housing or externally and prewired upto the terminal block. It has a system lumen output not less than 1500 lumens with luminaire efficacy of not less than 100 lm/W, CCT from 3000K to 6000K, complete as per NIT LED Technical Specifications suitable for indoor applications. (Similar to Make-Legero, Cat No. LRS3115 or equivalent) | 46.00 | Each | 10.00 | 740.00 | 34040.00 | 1600.00 | 73600.00 | 700.00 | 32200.00 | 968.00 | 44528.00 | 522.00 | 24012.00 | 1200.00 | 55200.00 | 24012.00 | M/s J.K. Electric Engineering Works
32.00 | Supply of Round recessed mounted 15W LED downlighter with LEDs of approved makes having high efficiency PMMA diffuser. Specially designed flat opal diffuser fixed to housing, driver installed on housing or externally and prewired upto the terminal block. It has a system lumen output not less than 1500 lumens with luminaire efficacy of not less than 100 lm/W, CCT from 3000K to 6000K, complete as per NIT LED Technical Specifications suitable for indoor applications (Similar to Make-Legero, Cat No. LRS2015 or equivalent) | 88.00 | Each | 10.00 | 685.00 | 60280.00 | 1250.00 | 110000.00 | 600.00 | 52800.00 | 894.00 | 78672.00 | 500.00 | 44000.00 | 800.00 | 70400.00 | 44000.00 | M/s J.K. Electric Engineering Works
33.00 | Supply of 15 W indoor Round type ring shape diffuser, recessed mounted LED downlighter with LEDs of approved makes having high efficiency PMMA diffuser. Specially designed flat opal diffuser fixed to housing, driver installed on housing or externally and prewired upto the terminal block. It has a system lumen output not less than 1500 lumens with luminaire efficacy of not less than 100 lm/W, CCT from 3000K to 6000K, complete as per NIT LED Technical Specifications suitable for indoor applications (Similar to Make-Legero, Cat No. Oculus (LOC015) or equivalent ) | 12.00 | Each | 10.00 | 950.00 | 11400.00 | 1600.00 | 19200.00 | 700.00 | 8400.00 | 1270.00 | 15240.00 | 685.00 | 8220.00 | 1200.00 | 14400.00 | 8220.00 | M/s J.K. Electric Engineering Works
34.00 | Supply of 20W LED decorative post top luminaire consisting of a high-pressure powdercoated die-cast aluminium housing suitable for vertical mounting on 80 mm outer dia pole having system lumen output not less than 2200 lumens and system efficacy of not less than 110 lumens per watt, CCT from 3000K to 6000K , complete with driver and all accessories suitable for outdoor applications complete as per NIT LED Technical specifications.(Similar to Make-Magik or equivalent) | 38.00 | Each | 10.00 | 2600.00 | 98800.00 | 8000.00 | 304000.00 | 2950.00 | 112100.00 | 3125.00 | 118750.00 | 3000.00 | 114000.00 | 9000.00 | 342000.00 | 98800.00 | Youngmen Traders
35.00 | Supply of 60W LED decorative post top luminaire consisting of a high-pressure powdercoated die-cast aluminium housing suitable for vertical mounting on 80 mm outer dia pole having system lumen output not less than 6600 lumens and system efficacy of not less than 110 lumens per watt, CCT from 3000K to 6000K , complete with driver and all accessories suitable for outdoor applications complete as per NIT LED Technical specifications.(Similar to Make-Legero, Cat. No.-LPT6560 or equivalent) | 3.00 | Each | 10.00 | 18500.00 | 55500.00 | 22500.00 | 67500.00 | 12500.00 | 37500.00 | 24375.00 | 73125.00 | 13800.00 | 41400.00 | 20000.00 | 60000.00 | 37500.00 | SAHA COMMERCIAL CONSTRUCTION
36.00 | Supply of 150W LED flood light with high pressure die cast Aluminium / standard alloy housing and LEDs of approved make pasted on diecast housing and high efficiency PMMA diffuser, Driver installed on cast aluminium housing and prewired upto the terminal block. It has a system lumen output not less than 16500 lumens with luminaire efficacy of not less than 110lm/W, CCT from 3000K to 5700K, suitable for outdoor applications complete as per AAI approved NIT LED Technical specifications. (Similar to Make-Legero, Cat. No.-LRO150 or equivalent ) | 10.00 | Each | 10.00 | 8000.00 | 80000.00 | 18000.00 | 180000.00 | 6250.00 | 62500.00 | 10664.00 | 106640.00 | 6100.00 | 61000.00 | 9000.00 | 90000.00 | 61000.00 | M/s J.K. Electric Engineering Works
37.00 | Supply of 15W LED Bollard having lumen output not less than 1650 lumens with luminaire efficacy of not less than 110 lumens per watt, CCT from 3000K to 6000K, driver and accessories suitable for outdoor applications complete as per NIT LED Technical specifications. (Similar to Make-Legero, Cat. No.-LBP6515 or equivalent ) | 16.00 | Each | 10.00 | 7900.00 | 126400.00 | 8000.00 | 128000.00 | 4250.00 | 68000.00 | 10360.00 | 165760.00 | 6000.00 | 96000.00 | 9000.00 | 144000.00 | 68000.00 | SAHA COMMERCIAL CONSTRUCTION
38.00 | Supply of 80 W hanging, indoor Round Circular ring type decorative LED downlighter dia 1170 mm and height 60 mm with LEDs of approved makes having high efficiency PMMA diffuser. Specially designed flat opal diffuser fixed to housing, driver installed on housing or externally and prewired upto the terminal block. It has a system lumen output not less than 8000 lumens with luminaire efficacy of not less than 100 lm/W, CCT from 3000K to 6000K, complete as per NIT LED Technical Specifications suitable for indoor applications (Similar to Make-Legero, Cat. No.-ARL12080 or equivalent ) | 1.00 | Each | 10.00 | 28500.00 | 28500.00 | 20520.00 | 20520.00 | 25000.00 | 25000.00 | 37578.00 | 37578.00 | 24000.00 | 24000.00 | 32000.00 | 32000.00 | 20520.00 | Mukherjee Commercial Enterprise
39.00 | Supply of 100 W Pill suspended, indoor Round type LED downlighter with dia 1170 mm and height 60 mm with LEDs of approved makes having high efficiency PMMA diffuser. Specially designed flat opal diffuser fixed to housing, driver installed on housing or externally and prewired upto the terminal block. It has a system lumen output not less than 10000 lumens with luminaire efficacy of not less than 100 lm/W, CCT from 3000K to 6000K, complete as per NIT LED Technical Specifications suitable for indoor applications (Similar to Make-Legero, Cat. No.-ALP-S 12100 or equivalent ) | 1.00 | Each | 10.00 | 25000.00 | 25000.00 | 16000.00 | 16000.00 | 22250.00 | 22250.00 | 32500.00 | 32500.00 | 21000.00 | 21000.00 | 29000.00 | 29000.00 | 16000.00 | Mukherjee Commercial Enterprise
40.00 | Supply of 50W outdoor RGB Luminaire LED Facade Light, complete as required with efficacy >95 lumen/watt having IP 65 protection metal body & complete for Glare free uniform illumination with longer life suitable for 230V, 50 Hz power supply complete as per NIT LED Technical specification (Similar to Make-Magik, Cat. No.-APOLLO NEO 50W LED or equivalent ) | 72.00 | Set | 10.00 | 1500.00 | 108000.00 | 6500.00 | 468000.00 | 2050.00 | 147600.00 | 1625.00 | 117000.00 | 2200.00 | 158400.00 | 6000.00 | 432000.00 | 108000.00 | Youngmen Traders
41.00 | Supply, installation testing & commissioning of Flexible LED strip light (IP20) of 6 W/M, CCT from 3000K to 6000K, with double tape on backside suitable for Mounting in cove with all accessories as required. (in roll of 5 meter). (Similar to Make-Legero, Cat. No.-2106 & LRS 2105D or equivalent) | 50.00 | Each | 10.00 | 625.00 | 31250.00 | 1000.00 | 50000.00 | 495.00 | 24750.00 | 1278.00 | 63900.00 | 390.00 | 19500.00 | 720.00 | 36000.00 | 19500.00 | M/s J.K. Electric Engineering Works
42.00 | Supply, installation testing & commissioning of Flexible LED strip light (IP65) of 14 W/M, CCT from 3000K to 6000K, with double tape on backside suitable for Mounting in cove with all accessories as required. (in roll of 5 meter). (Similar to Make-Legero, Cat. No.-LRS 2514 & LRS 2214D or equivalent ) | 70.00 | Each | 10.00 | 4600.00 | 322000.00 | 1000.00 | 70000.00 | 2150.00 | 150500.00 | 6350.00 | 444500.00 | 2500.00 | 175000.00 | 2800.00 | 196000.00 | 70000.00 | Mukherjee Commercial Enterprise
43.00 | Supply of 1200 mm sweep anti dust ceiling fan with remote high Speed fan complete as per NIT Technical Specification suitable for operation on 220-240V, 50Hz, single phase power supply. (Similar to Make-Crompton, Model-Silent Pro Enso or equivalent ) | 33.00 | Each | 10.00 | 4800.00 | 158400.00 | 6500.00 | 214500.00 | 3500.00 | 115500.00 | 3078.00 | 101574.00 | 5200.00 | 171600.00 | 6000.00 | 198000.00 | 101574.00 | T K MAZUMDER
44.00 | Supply of 450 mm sweep 2ft x 2ft decorative suspension ceiling Fan over false ceiling / Recessed mounted type high velocity, Metal Blade, having EER ≤3.16 cum/min/W, 56.38W, Wind delivery ≤178.35 sq.m/min complete as required suitable for operation on 220-240V, 50Hz, single phase power supply. (Similar to Model-Wonderland Prarthana or As per approval of E.I.C.) | 25.00 | Each | 10.00 | 7500.00 | 187500.00 | 7000.00 | 175000.00 | 8650.00 | 216250.00 | 5000.00 | 125000.00 | 4200.00 | 105000.00 | 12000.00 | 300000.00 | 105000.00 | M/s J.K. Electric Engineering Works
45.00 | Supply of Exhaust fan as per AAI Technical specification complete as required suitable for operation on 220-240V, 50Hz, 1ph power supply.
45.10 | 300 mm sweep, Fibre body, with minimum 1000 rpm. (Similar to Make: Bajaj, Model-Maxima DX or equivalent) | 20.00 | Each | 10.00 | 1200.00 | 24000.00 | 3200.00 | 64000.00 | 1550.00 | 31000.00 | 1390.00 | 27800.00 | 1650.00 | 33000.00 | 1800.00 | 36000.00 | 24000.00 | Youngmen Traders
45.20 | 450 mm sweep, Metal body, Heavy duty with minimum 1400 rpm.(Similar to Make:Crompton or equivalent ) | 2.00 | Each | 10.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 4750.00 | 9500.00 | 4271.00 | 8542.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 7000.00 | Youngmen Traders, M/s J.K. Electric Engineering Works
46.00 | Supply of 10 ltr. Capacity, 2KW 5 star rated water heater of white grey colour complete as required suitable for operation on 220-240V, 50Hz, single phase power supply.(Similar to Make: Bajaj, Model-Nazz Cat No-GHWENZTWG010 or equivalent) | 12.00 | Each | 10.00 | 8500.00 | 102000.00 | 7200.00 | 86400.00 | 10750.00 | 129000.00 | 6286.00 | 75432.00 | 9000.00 | 108000.00 | 7000.00 | 84000.00 | 75432.00 | T K MAZUMDER
47.00 | Design, Supply, Installation & Commissioning of LED ACP Glow sign board with SS letter 304 grade 1.5 mm thick for GUEST HOUSE with AAI Symbol of size 10' x 2.5' as per drawing attached and instruction of EIC. Make of ACP and Wire etc conforming to AAI approved make and for LED as per NIT Technical specifications.( Refer NIT relevant design & drawing). | 1.00 | Job | 10.00 | 80000.00 | 80000.00 | 28000.00 | 28000.00 | 105000.00 | 105000.00 | 70000.00 | 70000.00 | 105000.00 | 105000.00 | 90000.00 | 90000.00 | 28000.00 | Mukherjee Commercial Enterprise
48.00 | Design, Supply, Errection & installation of LED ACP Glow sign board with SS letter 304 grade 1.5 mm thick for COMMUNITY CENTRE with AAI Symbol of size 12' x 4' as per drawing attached and instruction of EIC. Make of ACP and Wire etc conforming to AAI approved make and LED as per NIT Technical specifications. ( Refer NIT relevant design & drawing). | 1.00 | Job | 10.00 | 98000.00 | 98000.00 | 35000.00 | 35000.00 | 110000.00 | 110000.00 | 79000.00 | 79000.00 | 125000.00 | 125000.00 | 120000.00 | 120000.00 | 35000.00 | Mukherjee Commercial Enterprise
49.00 | Supply & fixing of LED frame with photos of players made of acrylic sheet with the support of ACP Board in the back side with Aluminium channel & Samsung LED light on two side of the wall of indoor play hall at AAI New Quarter Campus as per drawing attached and instruction of EIC. Make of ACP and Wire etc conforming to AAI approved make and LED as per NIT Technical specifications.( Refer NIT relevant design & drawing). | 500.00 | Sq.ft. | 10.00 | 1100.00 | 550000.00 | 380.00 | 190000.00 | 695.00 | 347500.00 | 790.00 | 395000.00 | 1340.00 | 670000.00 | 475.00 | 237500.00 | 190000.00 | Mukherjee Commercial Enterprise
50.00 | Supply & fixing of image of Badminton Player by Neon LED Tube fixing of Acrylic Sheet 4ft x 3ft. size AAI New Quarter Campus as per drawing attached and instruction of EIC. Make of ACP and Wire etc conforming to AAI approved make and LED as per NIT Technical specifications. ( Refer NIT relevant design & drawing). | 400.00 | Sq.ft. | 10.00 | 1350.00 | 540000.00 | 475.00 | 190000.00 | 1050.00 | 420000.00 | 440.00 | 176000.00 | 1490.00 | 596000.00 | 350.00 | 140000.00 | 140000.00 | STAR ENTERPRISE
51.00 | Supply & fixing of LED ACP Board with Picture Vinyl Pasting on ACP & front covered by transparent acrylic sheet along with LED tube & Alunimnium channel on boarder for Badmiinton Court on two side of the wall at AAI New Quarter Campus as per drawing attached and instruction of EIC. Make of ACP and Wire etc conforming to AAI approved make and LED as per NIT Technical specifications. ( Refer NIT relevant design & drawing). | 420.00 | Sq.ft. | 10.00 | 1100.00 | 462000.00 | 500.00 | 210000.00 | 695.00 | 291900.00 | 790.00 | 331800.00 | 1490.00 | 625800.00 | 300.00 | 126000.00 | 126000.00 | STAR ENTERPRISE
52.00 | Supply of 3C x 4 Sq. mm. 1.1 kv grade, armoured, Copper cable conforming to IS: 7098 ( part 1) 1998 with up to date amendments etc. complete as required. Make- havells or Equivalent as per AAI Approved make . | 200.00 | Meter | 10.00 | 125.00 | 25000.00 | 250.00 | 50000.00 | 250.00 | 50000.00 | 214.00 | 42800.00 | 210.00 | 42000.00 | 175.00 | 35000.00 | 25000.00 | Youngmen Traders
53.00 | Supply of 3C x 1.5 Sq. mm. 1.1 kv grade, flexible Copper cable conforming to IS: 694 with up to date amendments etc. complete as required Make- havells or Equivalent as per AAI Approved make. | 500.00 | Meter | 10.00 | 45.00 | 22500.00 | 125.00 | 62500.00 | 95.00 | 47500.00 | 74.00 | 37000.00 | 75.00 | 37500.00 | 80.00 | 40000.00 | 22500.00 | Youngmen Traders
54.00 | Supply and fixing of 25 mm dia ISI make PVC pipe on surface of tree and corrugated shade including necessary fixing accessories etc. as required . | 300.00 | Meter | 10.00 | 15.00 | 4500.00 | 80.00 | 24000.00 | 35.00 | 10500.00 | 150.00 | 45000.00 | 60.00 | 18000.00 | 120.00 | 36000.00 | 4500.00 | Youngmen Traders
55.00 | Supply and laying of following size ISI marked, HDPE pipe along with all accessories like socket,bend, couplers etc. confirming to IS-4984-1995 with up to date amendments and confirming to tender’s technical specifications, terms & conditions complete with fitting and cutting , jointing etc. direct in ground ( 75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as per NIT Technical specification.( Make- DURALINE OR equivalent )
55.10 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 300.00 | Meter | 10.00 | 350.00 | 105000.00 | 275.00 | 82500.00 | 100.00 | 30000.00 | 180.00 | 54000.00 | 150.00 | 45000.00 | 140.00 | 42000.00 | 30000.00 | SAHA COMMERCIAL CONSTRUCTION
56.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
56.10 | Upto 35 Sqmm (clamped with 1mm thick saddle) | 200.00 | Meter | 10.00 | 35.00 | 7000.00 | 60.00 | 12000.00 | 50.00 | 10000.00 | 35.00 | 7000.00 | 25.00 | 5000.00 | 80.00 | 16000.00 | 5000.00 | M/s J.K. Electric Engineering Works
57.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ STONEWARE/ METAL/CORRUGATED PIPE as required.
57.10 | Upto 35 Sqmm. | 300.00 | Meter | 10.00 | 25.00 | 7500.00 | 40.00 | 12000.00 | 45.00 | 13500.00 | 25.00 | 7500.00 | 10.00 | 3000.00 | 45.00 | 13500.00 | 3000.00 | M/s J.K. Electric Engineering Works
58.00 | Supplying and making end termination with brass compression gland and Cu lugs for following size of XLPE insulated PVC sheathed Cu conductor armoured power cable of 1.1 KV grade as required.
58.10 | 3 C x 4 sqmm. | 64.00 | Each | 10.00 | 200.00 | 12800.00 | 250.00 | 16000.00 | 295.00 | 18880.00 | 120.00 | 7680.00 | 100.00 | 6400.00 | 35.00 | 2240.00 | 2240.00 | STAR ENTERPRISE
| Total in Figures |  |  |  |  | 4454720.00 |  | 3876355.00 |  | 3949509.00 |  | 4074728.00 |  | 4086652.00 |  | 4318160.00
Lowest Amount Quoted BY: Mukherjee Commercial Enterprise(3876355.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical Works SH Modification work of Community Centre, Airport Guest House and Sports Complex at New Quarter Residential Area, Kolkata Airport Tender ID: 2022_AAI_107184_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mukherjee Commercial Enterprise | 3876355.00 | L1
| 2 | SAHA COMMERCIAL CONSTRUCTION | 3949509.00 | L2
| 3 | T K MAZUMDER | 4074728.00 | L3
| 4 | M/s J.K. Electric Engineering Works | 4086652.00 | L4
| 5 | STAR ENTERPRISE | 4318160.00 | L5
| 6 | Youngmen Traders | 4454720.00 | L6