## BoQ1
Government eProcurement System Created By: Anil Prakash Created Date/Time: 28-Mar-2022 05:12 PM Tender Title: Renovation work of FTC and old NIAMAR New Delhi Tender ID: 2022_AAI_107312_1
Tender Inviting Authority: Sh. Anil Prakash, AGM (E-C), RHQ-NR
Name of Work: Renovation work of FTC and old NIAMAR (New Delhi).
Contract No: 2022_AAI_107312
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CREATORS ENGINEERS AND INTERIORS(GSTN-07AAGFC0762R2Z1) |  | SIROHI CONSTRUCTION CO(GSTN-07AXOPS3749P1ZD) |  | ESS KAY CONSTRUCTIONS(GSTN-07AABFE6199D1ZF) |  | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 2657.58 | sqm | 1.00 | 70.00 | 186030.60 | 75.00 | 199318.50 | 40.00 | 106303.20 | 105.00 | 279045.90 | 106303.20 | ESS KAY CONSTRUCTIONS
2.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer’s specification.: Two or more coats on new work | 10802.37 | sqm | 1.00 | 10.00 | 108023.70 | 40.00 | 432094.80 | 35.00 | 378082.95 | 80.00 | 864189.60 | 108023.70 | CREATORS ENGINEERS AND INTERIORS
3.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 3092.78 | sqm | 1.00 | 130.00 | 402061.40 | 60.00 | 185566.80 | 40.00 | 123711.20 | 120.00 | 371133.60 | 123711.20 | ESS KAY CONSTRUCTIONS
4.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 53.42 | sqm | 1.00 | 50.00 | 2671.00 | 70.00 | 3739.40 | 68.00 | 3632.56 | 115.00 | 6143.30 | 2671.00 | CREATORS ENGINEERS AND INTERIORS
5.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge .(Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 104.12 | sqm | 1.00 | 500.00 | 52060.00 | 1000.00 | 104120.00 | 800.00 | 83296.00 | 1050.00 | 109326.00 | 52060.00 | CREATORS ENGINEERS AND INTERIORS
6.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectur: For fixed portion : al drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 843.81 | kg | 1.00 | 300.00 | 253143.00 | 320.00 | 270019.20 | 480.00 | 405028.80 | 470.00 | 396590.70 | 253143.00 | CREATORS ENGINEERS AND INTERIORS
7.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge : Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side. | 46.99 | sqm | 1.00 | 500.00 | 23495.00 | 650.00 | 30543.50 | 700.00 | 32893.00 | 630.00 | 29603.70 | 23495.00 | CREATORS ENGINEERS AND INTERIORS
8.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 744.32 | kg | 1.00 | 300.00 | 223296.00 | 380.00 | 282841.60 | 530.00 | 394489.60 | 470.00 | 349830.40 | 223296.00 | CREATORS ENGINEERS AND INTERIORS
9.00 | Providing and fixing at all height wall panelling with phenol bonded Bamboo Mat board conforming to IS:13958-1994 including providing and fixing to frame work made of 50mm x 50mm hardwood plugs including cutting brick work and fixing in cement mortar and making good the wall etc. and also providing and fixing wooden moulded corner beading of triangular shape to the junction of panelling etc. with iron screws all complete as per direction of Engineer-in-Charge : 9mm thickness | 123.33 | sqm | 1.00 | 1000.00 | 123330.00 | 3000.00 | 369990.00 | 3000.00 | 369990.00 | 3350.00 | 413155.50 | 123330.00 | CREATORS ENGINEERS AND INTERIORS
10.00 | Polishing on wood work with ready made wax polish of approved brand and manufacture : Old work | 460.82 | sqm | 1.00 | 200.00 | 92164.00 | 45.00 | 20736.90 | 55.00 | 25345.10 | 65.00 | 29953.30 | 20736.90 | SIROHI CONSTRUCTION CO
11.00 | Stone tile work for wall lining upto 10 m height with special adhesive over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand), including pointing in white cement with an admixture of pigment to match the stone shade 8mm thick (mirror polished and machine cut edge) : Granite stone of any colour and shade. | 20.00 | sqm | 1.00 | 5000.00 | 100000.00 | 2000.00 | 40000.00 | 1300.00 | 26000.00 | 1400.00 | 28000.00 | 26000.00 | ESS KAY CONSTRUCTIONS
12.00 | Providing and laying Polished Granite stone flooring in required designand patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge : Polished Granite stone slab jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 100.00 | sqm | 1.00 | 2500.00 | 250000.00 | 2500.00 | 250000.00 | 3200.00 | 320000.00 | 2950.00 | 295000.00 | 250000.00 | CREATORS ENGINEERS AND INTERIORS, SIROHI CONSTRUCTION CO
13.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead | 100.00 | sqm | 1.00 | 60.00 | 6000.00 | 100.00 | 10000.00 | 15.00 | 1500.00 | 50.00 | 5000.00 | 1500.00 | ESS KAY CONSTRUCTIONS
14.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey,Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc.,complete. | 366.78 | sqm | 1.00 | 800.00 | 293424.00 | 600.00 | 220068.00 | 820.00 | 300759.60 | 780.00 | 286088.40 | 220068.00 | SIROHI CONSTRUCTION CO
15.00 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | 2452.52 | sqm | 1.00 | 20.00 | 49050.40 | 75.00 | 183939.00 | 300.00 | 735756.00 | 250.00 | 613130.00 | 49050.40 | CREATORS ENGINEERS AND INTERIORS
16.00 | 25 mm Wooden planking, tongued and grooved in flooring, including fixing with iron screws complete with : Second class deodar wood | 51.88 | sqm | 1.00 | 1000.00 | 51880.00 | 1800.00 | 93384.00 | 2500.00 | 129700.00 | 2500.00 | 129700.00 | 51880.00 | CREATORS ENGINEERS AND INTERIORS
17.00 | Providing and laying matt finished vitrified tile of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS: 15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per directionof Engineer-in-Charge | 306.84 | sqm | 1.00 | 900.00 | 276156.00 | 850.00 | 260814.00 | 950.00 | 291498.00 | 895.00 | 274621.80 | 260814.00 | SIROHI CONSTRUCTION CO
18.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 4458.69 | sqm | 1.00 | 50.00 | 222934.50 | 10.00 | 44586.90 | 30.00 | 133760.70 | 40.00 | 178347.60 | 44586.90 | SIROHI CONSTRUCTION CO
19.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 20.00 | sqm | 1.00 | 1100.00 | 22000.00 | 1000.00 | 20000.00 | 1500.00 | 30000.00 | 950.00 | 19000.00 | 19000.00 | SAMTA INTERIORS
20.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 10.00 | sqm | 1.00 | 3500.00 | 35000.00 | 1600.00 | 16000.00 | 1800.00 | 18000.00 | 1800.00 | 18000.00 | 16000.00 | SIROHI CONSTRUCTION CO
21.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :100 mm | 38.00 | each | 1.00 | 150.00 | 5700.00 | 30.00 | 1140.00 | 60.00 | 2280.00 | 40.00 | 1520.00 | 1140.00 | SIROHI CONSTRUCTION CO
22.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete . 125 mm | 30.00 | each | 1.00 | 150.00 | 4500.00 | 60.00 | 1800.00 | 60.00 | 1800.00 | 50.00 | 1500.00 | 1500.00 | SAMTA INTERIORS
23.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge | 9.00 | each | 1.00 | 1000.00 | 9000.00 | 400.00 | 3600.00 | 600.00 | 5400.00 | 350.00 | 3150.00 | 3150.00 | SAMTA INTERIORS
24.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 19.00 | each | 1.00 | 500.00 | 9500.00 | 1600.00 | 30400.00 | 1400.00 | 26600.00 | 2650.00 | 50350.00 | 9500.00 | CREATORS ENGINEERS AND INTERIORS
25.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 18.00 | each | 1.00 | 150.00 | 2700.00 | 40.00 | 720.00 | 80.00 | 1440.00 | 60.00 | 1080.00 | 720.00 | SIROHI CONSTRUCTION CO
26.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. Complete | 20.00 | each | 1.00 | 1000.00 | 20000.00 | 400.00 | 8000.00 | 450.00 | 9000.00 | 550.00 | 11000.00 | 8000.00 | SIROHI CONSTRUCTION CO
27.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 5.00 | each | 1.00 | 15000.00 | 75000.00 | 2000.00 | 10000.00 | 2900.00 | 14500.00 | 3800.00 | 19000.00 | 10000.00 | SIROHI CONSTRUCTION CO
28.00 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : Flat back wash basin of size 450x300 mm | 15.00 | each | 1.00 | 1000.00 | 15000.00 | 400.00 | 6000.00 | 1150.00 | 17250.00 | 1200.00 | 18000.00 | 6000.00 | SIROHI CONSTRUCTION CO
29.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 37.00 | each | 1.00 | 1000.00 | 37000.00 | 700.00 | 25900.00 | 1400.00 | 51800.00 | 1900.00 | 70300.00 | 25900.00 | SIROHI CONSTRUCTION CO
30.00 | Providing and fixing white vitreous china water closet squatting pan (Indian type) : Long pattern W.C. pan of size 580 mm | 12.00 | each | 1.00 | 500.00 | 6000.00 | 850.00 | 10200.00 | 1600.00 | 19200.00 | 2400.00 | 28800.00 | 6000.00 | CREATORS ENGINEERS AND INTERIORS
31.00 | Providing and fixing white vitreous china pedestal type (European type/ wash down type) water closet pan. | 67.00 | each | 1.00 | 7000.00 | 469000.00 | 1300.00 | 87100.00 | 1600.00 | 107200.00 | 2800.00 | 187600.00 | 87100.00 | SIROHI CONSTRUCTION CO
32.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 306.00 | each | 1.00 | 800.00 | 244800.00 | 300.00 | 91800.00 | 480.00 | 146880.00 | 400.00 | 122400.00 | 91800.00 | SIROHI CONSTRUCTION CO
33.00 | Providing and fixing brass bib cock of approved quality 15 mm nominal bore | 132.00 | each | 1.00 | 800.00 | 105600.00 | 160.00 | 21120.00 | 510.00 | 67320.00 | 400.00 | 52800.00 | 21120.00 | SIROHI CONSTRUCTION CO
34.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. Brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : 17.7.11 Stainless Steel AISI-304(18/8) Wash basin 530x345 mm with single 15 mm C.P. brass pillar tap | 70.00 | each | 1.00 | 1000.00 | 70000.00 | 2000.00 | 140000.00 | 2900.00 | 203000.00 | 3500.00 | 245000.00 | 70000.00 | CREATORS ENGINEERS AND INTERIORS
35.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 1500x450 mm | 97.00 | each | 1.00 | 1500.00 | 145500.00 | 1000.00 | 97000.00 | 1300.00 | 126100.00 | 1500.00 | 145500.00 | 97000.00 | SIROHI CONSTRUCTION CO
36.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diamete | 61.00 | each | 1.00 | 1500.00 | 91500.00 | 80.00 | 4880.00 | 75.00 | 4575.00 | 400.00 | 24400.00 | 4575.00 | ESS KAY CONSTRUCTIONS
37.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge.: PN - 10 Pipe, 75 mm OD (SDR-11) | 15.00 | metre | 1.00 | 250.00 | 3750.00 | 590.00 | 8850.00 | 750.00 | 11250.00 | 650.00 | 9750.00 | 3750.00 | CREATORS ENGINEERS AND INTERIORS
38.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge.: PN - 10 Pipe, 63 mm OD (SDR-11) | 90.00 | metre | 1.00 | 300.00 | 27000.00 | 350.00 | 31500.00 | 600.00 | 54000.00 | 490.00 | 44100.00 | 27000.00 | CREATORS ENGINEERS AND INTERIORS
39.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti -microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge.: PN - 10 Pipe, 50 mm OD (SDR-11) | 475.00 | metre | 1.00 | 250.00 | 118750.00 | 340.00 | 161500.00 | 520.00 | 247000.00 | 420.00 | 199500.00 | 118750.00 | CREATORS ENGINEERS AND INTERIORS
40.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge.: PN - 10 Pipe, 40 mm OD (SDR-11) | 75.00 | metre | 1.00 | 1500.00 | 112500.00 | 275.00 | 20625.00 | 370.00 | 27750.00 | 315.00 | 23625.00 | 20625.00 | SIROHI CONSTRUCTION CO
41.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti -microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge. External work : PN - 10 Pipe, 90 mm OD (SDR-11) | 575.00 | metre | 1.00 | 20.00 | 11500.00 | 725.00 | 416875.00 | 1050.00 | 603750.00 | 925.00 | 531875.00 | 11500.00 | CREATORS ENGINEERS AND INTERIORS
42.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work : 50 mm nominal outer dia Pipes | 845.00 | metre | 1.00 | 10.00 | 8450.00 | 350.00 | 295750.00 | 550.00 | 464750.00 | 725.00 | 612625.00 | 8450.00 | CREATORS ENGINEERS AND INTERIORS
43.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 20 mm nominal outer dia Pipes | 420.89 | metre | 1.00 | 500.00 | 210445.00 | 200.00 | 84178.00 | 180.00 | 75760.20 | 140.00 | 58924.60 | 58924.60 | SAMTA INTERIORS
44.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls. 20 mm nominal outer dia Pipes. | 84.18 | metre | 1.00 | 500.00 | 42090.00 | 280.00 | 23570.40 | 380.00 | 31988.40 | 350.00 | 29463.00 | 23570.40 | SIROHI CONSTRUCTION CO
45.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 25 mm nominal outer dia Pipes | 100.00 | metre | 1.00 | 150.00 | 15000.00 | 290.00 | 29000.00 | 360.00 | 36000.00 | 300.00 | 30000.00 | 15000.00 | CREATORS ENGINEERS AND INTERIORS
46.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls. 25 mm nominal outer dia Pipes | 20.00 | metre | 1.00 | 350.00 | 7000.00 | 350.00 | 7000.00 | 450.00 | 9000.00 | 440.00 | 8800.00 | 7000.00 | CREATORS ENGINEERS AND INTERIORS, SIROHI CONSTRUCTION CO
47.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 200 mm diameter | 400.00 | metre | 1.00 | 600.00 | 240000.00 | 500.00 | 200000.00 | 420.00 | 168000.00 | 625.00 | 250000.00 | 168000.00 | ESS KAY CONSTRUCTIONS
48.00 | Dismantling of old S.W. pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead and disposal of unserviceable materials into municipal dumps : 200 mm diameter | 400.00 | metre | 1.00 | 75.00 | 30000.00 | 50.00 | 20000.00 | 80.00 | 32000.00 | 65.00 | 26000.00 | 20000.00 | SIROHI CONSTRUCTION CO
49.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter | 250.00 | metre | 1.00 | 500.00 | 125000.00 | 200.00 | 50000.00 | 360.00 | 90000.00 | 445.00 | 111250.00 | 50000.00 | SIROHI CONSTRUCTION CO
50.00 | Dismantling of old S.W. pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead and disposal of unserviceable materials into municipal dumps :150 mm diameter | 250.00 | metre | 1.00 | 50.00 | 12500.00 | 30.00 | 7500.00 | 50.00 | 12500.00 | 60.00 | 15000.00 | 7500.00 | SIROHI CONSTRUCTION CO
51.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe | 250.00 | mtr | 1.00 | 200.00 | 50000.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 900.00 | 225000.00 | 50000.00 | CREATORS ENGINEERS AND INTERIORS
52.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 200 mm diameter S.W. pipe | 400.00 | mtr | 1.00 | 250.00 | 100000.00 | 300.00 | 120000.00 | 380.00 | 152000.00 | 1000.00 | 400000.00 | 100000.00 | CREATORS ENGINEERS AND INTERIORS
53.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 150 x 100 mm size P type : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | Each | 1.00 | 20000.00 | 100000.00 | 1100.00 | 5500.00 | 1100.00 | 5500.00 | 2000.00 | 10000.00 | 5500.00 | SIROHI CONSTRUCTION CO, ESS KAY CONSTRUCTIONS
54.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : a) All kinds of soil-Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 650.00 | mtr | 1.00 | 200.00 | 130000.00 | 100.00 | 65000.00 | 180.00 | 117000.00 | 300.00 | 195000.00 | 65000.00 | SIROHI CONSTRUCTION CO
55.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 10.00 | Each | 1.00 | 2000.00 | 20000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 550.00 | 5500.00 | 3000.00 | SIROHI CONSTRUCTION CO
56.00 | Providing and laying S&S C.I. standard specials such as tees, bends, collars, tapers, caps etc. (Heavy class): Up to 300 mm dia | .50 | Quintel | 1.00 | 100000.00 | 50000.00 | 3100.00 | 1550.00 | 1800.00 | 900.00 | 5000.00 | 2500.00 | 900.00 | ESS KAY CONSTRUCTIONS
57.00 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 : 100 mm diameter pipe | 378.00 | metre | 1.00 | 1000.00 | 378000.00 | 500.00 | 189000.00 | 1000.00 | 378000.00 | 1100.00 | 415800.00 | 189000.00 | SIROHI CONSTRUCTION CO
58.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete : 125x64x1.90 mm | 78.00 | each | 1.00 | 75.00 | 5850.00 | 50.00 | 3900.00 | 75.00 | 5850.00 | 100.00 | 7800.00 | 3900.00 | SIROHI CONSTRUCTION CO
59.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. 26.22.1 With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles. | 40.00 | sqm | 1.00 | 1500.00 | 60000.00 | 1180.00 | 47200.00 | 1700.00 | 68000.00 | 1400.00 | 56000.00 | 47200.00 | SIROHI CONSTRUCTION CO
60.00 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete : 2nd class teak wood 50x12 mm | 100.00 | metre | 1.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 130.00 | 13000.00 | 90.00 | 9000.00 | 9000.00 | SAMTA INTERIORS
61.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately Kiln seasoned and chemically treated hollock wood. | 5.00 | cum | 1.00 | 120000.00 | 600000.00 | 40000.00 | 200000.00 | 35000.00 | 175000.00 | 65000.00 | 325000.00 | 175000.00 | ESS KAY CONSTRUCTIONS
62.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 4000.00 | sqm | 1.00 | 50.00 | 200000.00 | 40.00 | 160000.00 | 60.00 | 240000.00 | 100.00 | 400000.00 | 160000.00 | SIROHI CONSTRUCTION CO
63.00 | Providing and fixing brass curtain rods of wall thickness 1.25 mm with two brass brackets fixed with brass screws and wooden plugs etc. wherever necessary complete. 14.28.1 20 mm diameter. | 20.00 | each | 1.00 | 1000.00 | 20000.00 | 175.00 | 3500.00 | 180.00 | 3600.00 | 250.00 | 5000.00 | 3500.00 | SIROHI CONSTRUCTION CO
64.00 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. 14.2.1 Door chowkhats | 15.00 | each | 1.00 | 500.00 | 7500.00 | 900.00 | 13500.00 | 500.00 | 7500.00 | 900.00 | 13500.00 | 7500.00 | CREATORS ENGINEERS AND INTERIORS, ESS KAY CONSTRUCTIONS
65.00 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | 360.08 | sqm | 1.00 | 250.00 | 90020.00 | 400.00 | 144032.00 | 520.00 | 187241.60 | 580.00 | 208846.40 | 90020.00 | CREATORS ENGINEERS AND INTERIORS
66.00 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete | 60.00 | each | 1.00 | 100.00 | 6000.00 | 140.00 | 8400.00 | 180.00 | 10800.00 | 150.00 | 9000.00 | 6000.00 | CREATORS ENGINEERS AND INTERIORS
67.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin-Charge. (a) Internal Work- Exposed on wall | 845.00 | metre | 1.00 | 25.00 | 21125.00 | 1.00 | 845.00 | 40.00 | 33800.00 | 3.00 | 2535.00 | 845.00 | SIROHI CONSTRUCTION CO
68.00 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames,including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge | 20.00 | each | 1.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 3000.00 | SIROHI CONSTRUCTION CO
69.00 | Providing and laying in situ five course water proofing treatment with APP (Atactic Polypropylene) modified Polymeric memberane over roof consisting of first coat of bitumen primer @ 0.40 litre per sqm,2nd & 4th courses of bonding material @ 1.20 kg/sqm, which shall consist of blown type bitumen of grade 85/25 conforming to IS : 702, 3rd layer of roofing membrane APP modified Polymeric membrane 2.0 mm thick of 3.00 Kg/ sqm weight consisting of five layers prefabricated with centre core as 100 micron HMHDPE film sandwiched on both sides with polymeric mix and the polymeric mix is protected on both side with 20 micron HMHDPE film. 5th, the top most layer shall be finished with brick tiles of class designation 10 grouted with cement mortar 1:3 (1 cement : 3 fine sand) mixed with 2% integral water proofing compound by weight of cement over a 12mm layer of cement mortar 1:3 (1 cement : 3 fine sand) and finished neat (item of laying brick tiles shall be paid for separately | 4669.19 | sqm | 1.00 | 550.00 | 2568054.50 | 285.00 | 1330719.15 | 440.00 | 2054443.60 | 350.00 | 1634216.50 | 1330719.15 | SIROHI CONSTRUCTION CO
70.00 | Extra for covering top of membrane with Geotextile, 120 gsm non woven, 100% polyester of thickness 1 to 1.25 mm bonded to the membrane with intermittent touch by heating the membrane by Butane Torch as per manufactures recommendation | 193.92 | sqm | 1.00 | 250.00 | 48480.00 | 60.00 | 11635.20 | 150.00 | 29088.00 | 78.00 | 15125.76 | 11635.20 | SIROHI CONSTRUCTION CO
71.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. Complete | 16552.74 | sqm | 1.00 | 5.00 | 82763.70 | 4.00 | 66210.96 | 5.00 | 82763.70 | 8.00 | 132421.92 | 66210.96 | SIROHI CONSTRUCTION CO
72.00 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS: 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. Old work (One or more coats) | 100.00 | sqm | 1.00 | 250.00 | 25000.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 120.00 | 12000.00 | 10000.00 | SIROHI CONSTRUCTION CO
73.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | 30.00 | cum | 1.00 | 4000.00 | 120000.00 | 3000.00 | 90000.00 | 5500.00 | 165000.00 | 5500.00 | 165000.00 | 90000.00 | SIROHI CONSTRUCTION CO
74.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 30.00 | cum | 1.00 | 4500.00 | 135000.00 | 3000.00 | 90000.00 | 6500.00 | 195000.00 | 5800.00 | 174000.00 | 90000.00 | SIROHI CONSTRUCTION CO
75.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 30.00 | cum | 1.00 | 3800.00 | 114000.00 | 3000.00 | 90000.00 | 4500.00 | 135000.00 | 4700.00 | 141000.00 | 90000.00 | SIROHI CONSTRUCTION CO
76.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 35.00 | cum | 1.00 | 3500.00 | 122500.00 | 3800.00 | 133000.00 | 5100.00 | 178500.00 | 6400.00 | 224000.00 | 122500.00 | CREATORS ENGINEERS AND INTERIORS
77.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | cum | 1.00 | 6500.00 | 130000.00 | 3600.00 | 72000.00 | 5500.00 | 110000.00 | 5500.00 | 110000.00 | 72000.00 | SIROHI CONSTRUCTION CO
78.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 510.00 | sqm | 1.00 | 150.00 | 76500.00 | 150.00 | 76500.00 | 290.00 | 147900.00 | 300.00 | 153000.00 | 76500.00 | CREATORS ENGINEERS AND INTERIORS, SIROHI CONSTRUCTION CO
79.00 | 15 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 497.00 | sqm | 1.00 | 100.00 | 49700.00 | 160.00 | 79520.00 | 320.00 | 159040.00 | 330.00 | 164010.00 | 49700.00 | CREATORS ENGINEERS AND INTERIORS
80.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1cement: 4 coarse sand) | 1515.00 | sqm | 1.00 | 350.00 | 530250.00 | 165.00 | 249975.00 | 400.00 | 606000.00 | 450.00 | 681750.00 | 249975.00 | SIROHI CONSTRUCTION CO
81.00 | Neat cement punning. | 2522.00 | sqm | 1.00 | 100.00 | 252200.00 | 10.00 | 25220.00 | 5.00 | 12610.00 | 50.00 | 126100.00 | 12610.00 | ESS KAY CONSTRUCTIONS
82.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 1515.00 | sqm | 1.00 | 25.00 | 37875.00 | 10.00 | 15150.00 | 20.00 | 30300.00 | 35.00 | 53025.00 | 15150.00 | SIROHI CONSTRUCTION CO
83.00 | Chipping of unsound/weak concrete material from slabs, beams columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge: 75mm average thickness | 229.00 | sqm | 1.00 | 550.00 | 125950.00 | 50.00 | 11450.00 | 165.00 | 37785.00 | 250.00 | 57250.00 | 11450.00 | SIROHI CONSTRUCTION CO
84.00 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. : Bars above 12 mm diameter | 125.00 | mtr | 1.00 | 50.00 | 6250.00 | 6.50 | 812.50 | 10.00 | 1250.00 | 5.00 | 625.00 | 625.00 | SAMTA INTERIORS
85.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect : Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 125.00 | sqm | 1.00 | 100.00 | 12500.00 | 225.00 | 28125.00 | 220.00 | 27500.00 | 300.00 | 37500.00 | 12500.00 | CREATORS ENGINEERS AND INTERIORS
86.00 | Providing and fixing hard drawn steel wire fabric of size 75 x25 mm mesh or other suitable size wire mesh to be fixed & firmly anchored to the concrete surface by means of “L” shaped mild steel shear key welded with existing reinforcement including the cost of materials, labour, tool & plants as approved by Engineer-in-charge. | 125.00 | sqm | 1.00 | 500.00 | 62500.00 | 460.00 | 57500.00 | 950.00 | 118750.00 | 750.00 | 93750.00 | 57500.00 | SIROHI CONSTRUCTION CO
87.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. : In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 291.00 | kg | 1.00 | 200.00 | 58200.00 | 80.00 | 23280.00 | 120.00 | 34920.00 | 110.00 | 32010.00 | 23280.00 | SIROHI CONSTRUCTION CO
88.00 | Finishing walls with water proofing cement paint of required shade : Old work (one or more coats applied @ 2.20 kg/10 sqm) over priming coat of primer applied @ 0.80 litrs/10 sqm complete including cost of Priming coat. | 980.00 | sqm | 1.00 | 20.00 | 19600.00 | 40.00 | 39200.00 | 45.00 | 44100.00 | 80.00 | 78400.00 | 19600.00 | CREATORS ENGINEERS AND INTERIORS
89.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 980.00 | sqm | 1.00 | 5.00 | 4900.00 | 10.00 | 9800.00 | 10.00 | 9800.00 | 15.00 | 14700.00 | 4900.00 | CREATORS ENGINEERS AND INTERIORS
90.00 | Providing and fixing PVC Nahani Trap all completion as per direction/satisfaction of Engineer in charge. 80 mm size. | 40.00 | each | 1.00 | 1000.00 | 40000.00 | 80.00 | 3200.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 3200.00 | SIROHI CONSTRUCTION CO
91.00 | Providing & fixing of SS jali 100 mm complete as per direction & satisfaction of Engineer in charge. | 152.00 | each | 1.00 | 100.00 | 15200.00 | 30.00 | 4560.00 | 50.00 | 7600.00 | 50.00 | 7600.00 | 4560.00 | SIROHI CONSTRUCTION CO
92.00 | Providing and fixing at all floors roller blinds of Mac/Hunter Douglas/Aerolux/Vista. Roller tube shall be of extruded aluminum alloy of 32/38/50 mm O.D. of 1mm wall thickness duly anodized. Clutch, installation brackets, bottom members, fabrics including all necessary fittings etc. all complete as per manufacturer's specifications and as per directions of Engg-in-charge. For the payment purpose width of blind and over all height including head rail and bottom rail will be considered complete as per direction & satisfaction of Engineer in charge. | 50.00 | Sqm | 1.00 | 2000.00 | 100000.00 | 1200.00 | 60000.00 | 2350.00 | 117500.00 | 1500.00 | 75000.00 | 60000.00 | SIROHI CONSTRUCTION CO
93.00 | Providing and fixing SS liquid soap dispenser with pump complete as per direction & satisfaction of Engineer in charge. | 82.00 | each | 1.00 | 1000.00 | 82000.00 | 300.00 | 24600.00 | 380.00 | 31160.00 | 750.00 | 61500.00 | 24600.00 | SIROHI CONSTRUCTION CO
94.00 | Providing and fixing plain 8mm glass table top (the glass edges should be smooth rounded properly) complete as per direction & satisfaction of Engineer in charge. a) 8 mm thick Plain glass (Rates enquired from S.M. Glass Industries Duggal Estate Khanpur-Devli road) | 20.00 | Sqm | 1.00 | 2500.00 | 50000.00 | 800.00 | 16000.00 | 1600.00 | 32000.00 | 1900.00 | 38000.00 | 16000.00 | SIROHI CONSTRUCTION CO
| Total in Figures |  |  |  |  | 11774422.80 |  | 8605655.81 |  | 12448042.21 |  | 14213637.98
Lowest Amount Quoted BY: SIROHI CONSTRUCTION CO(8605655.81)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation work of FTC and old NIAMAR New Delhi Tender ID: 2022_AAI_107312_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SIROHI CONSTRUCTION CO | 8605655.81 | L1
| 2 | CREATORS ENGINEERS AND INTERIORS | 11774422.80 | L2
| 3 | ESS KAY CONSTRUCTIONS | 12448042.21 | L3
| 4 | SAMTA INTERIORS | 14213637.98 | L4