## BoQ1
Government eProcurement System Created By: Shyamashis Das Created Date/Time: 22-Mar-2022 05:34 PM Tender Title: Operation and Maintenance Contract of STP and ETP at B.M.Airport, Ranchi for the Year 2022-2024. Tender ID: 2022_AAI_107321_1
Tender Inviting Authority: AGM (Engg-Elect), AAI, B.M.Airport, Ranchi.
Name of Work: Operation and Maintenance Contract of STP & ETP at B.M.Airport, Ranchi for the Year 2022-2024.
Contract No: 2022_AAI_107321_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s.REVOLVE ENGINEERS PVT LTD(GSTN-36AACCR3708B1ZT) |  | RD Enviro Engineers and Consultants Pvt Ltd(GSTN-07AAGCR1125A2Z0) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance services (preventive & breakdown) of STP, ETP of capacity 225, 275 Cum/day comprising of all machinery equipment installed in STP/ ETP building including bar screen chambers, pumps, air compressors, ACF & MMF filters, softeners, hydropneumatic system, electrical panel and all accessories etc. Job also includes to provide the adequate manpower services for operation in two shift of 8 hours each as per special condition including Sundays and holidays (01 no. skilled in general shift and 02 nos. semi-skilled in each shift of A & B & 01 no. unskilled in night shift i.e. C shift: Total 06 nos. manpower per day) and including preventive maintenance of all electro-mechanical equipment by experienced personnel as and when necessary (Spares will be provided by AAI) (NOTE: The rate shall be inclusive of 02 sets of Uniforms, 01 pair of shoe & 01 no. Sweater per year, payment of national Holidays & consumables but exclusive of Wage difference as per Chief Labour Commissioner, EPF, ESI & Bonus which will be reimbursed at actual).
1.01 | (a) For first year | 12.00 | Month | 138413.00 | 123410.07 | 1480920.84 | 115500.00 | 1386000.00 | 128000.00 | 1536000.00 | 1386000.00 | RD Enviro Engineers and Consultants Pvt Ltd
1.02 | (b) For second year | 12.00 | Month | 138413.00 | 133899.90 | 1606798.80 | 120400.00 | 1444800.00 | 129500.00 | 1554000.00 | 1444800.00 | RD Enviro Engineers and Consultants Pvt Ltd
2.00 | Supply, replacement, fitting, fixing and Recommissioning of 4 x 4 KW VFD based Hydro-Pneumatic Panel PLC system (Make: ALLEN BRADLEY or equivalent) including allied works for making the system healthy running condition in Automatic mode complete as required. | 1.00 | Job | 90000.00 | 115000.00 | 115000.00 | 94860.00 | 94860.00 | 78000.00 | 78000.00 | 78000.00 | M/S AMAR ENTERPRISES
3.00 | Supply, replacement, fitting, fixing and Recommissioning MICRO 820 PLC (Make: ALLEN BRADLEY or equivalent) and Panel view components 4 inch HMI black & white (Make: ALLEN BRADLEY or equivalent) including allied works for making the system healthy running condition in Automatic mode complete as required. | 1.00 | Job | 110000.00 | 115000.00 | 115000.00 | 72500.00 | 72500.00 | 80000.00 | 80000.00 | 72500.00 | RD Enviro Engineers and Consultants Pvt Ltd
4.00 | Supply of following materials for carryout smooth operation and maintenance as per requirement as per site.
4.01 | (a) Salt (For recharging softner) | 1000.00 | Kg | 20.00 | 10.00 | 10000.00 | 16.00 | 16000.00 | 10.00 | 10000.00 | 10000.00 | M/s.REVOLVE ENGINEERS PVT LTD, M/S AMAR ENTERPRISES
4.02 | (b) Polyelectrolyte (For Dosing in clarifire tank) | 50.00 | Kg | 220.00 | 350.00 | 17500.00 | 1200.00 | 60000.00 | 180.00 | 9000.00 | 9000.00 | M/S AMAR ENTERPRISES
4.03 | (c) Alum | 20.00 | Kg | 35.00 | 30.00 | 600.00 | 105.00 | 2100.00 | 30.00 | 600.00 | 600.00 | M/s.REVOLVE ENGINEERS PVT LTD, M/S AMAR ENTERPRISES
4.04 | (d) Lime | 20.00 | Kg | 20.00 | 25.00 | 500.00 | 107.00 | 2140.00 | 20.00 | 400.00 | 400.00 | M/S AMAR ENTERPRISES
4.05 | (e) Gear oil for air compressor (As per key International Air Compressor equivalent to Veedol Apcot 220) | 30.00 | Litres | 380.00 | 300.00 | 9000.00 | 250.00 | 7500.00 | 320.00 | 9600.00 | 7500.00 | RD Enviro Engineers and Consultants Pvt Ltd
5.00 | Repairing of Air compressor blower complete as and when required (The work comprises of dismantling from site, transportation to workshop, repairing at workshop, replacement of defective parts if required and reinstallation at site complete as required) | 2.00 | Job | 75000.00 | 15000.00 | 30000.00 | 55000.00 | 110000.00 | 60000.00 | 120000.00 | 30000.00 | M/s.REVOLVE ENGINEERS PVT LTD
6.00 | Testing of water quality as required.
6.01 | (a) PH Tests | 24.00 | Each | 100.00 | 250.00 | 6000.00 | 600.00 | 14400.00 | 100.00 | 2400.00 | 2400.00 | M/S AMAR ENTERPRISES
6.02 | (b) BOD 5 Tests | 24.00 | Each | 400.00 | 300.00 | 7200.00 | 600.00 | 14400.00 | 100.00 | 2400.00 | 2400.00 | M/S AMAR ENTERPRISES
6.03 | (c) COD Tests - E | 24.00 | Each | 400.00 | 300.00 | 7200.00 | 600.00 | 14400.00 | 100.00 | 2400.00 | 2400.00 | M/S AMAR ENTERPRISES
6.04 | (d) Suspended Solids Tests | 24.00 | Each | 500.00 | 250.00 | 6000.00 | 600.00 | 14400.00 | 100.00 | 2400.00 | 2400.00 | M/S AMAR ENTERPRISES
6.05 | (e) Total dissolved solid | 24.00 | Each | 600.00 | 250.00 | 6000.00 | 600.00 | 14400.00 | 100.00 | 2400.00 | 2400.00 | M/S AMAR ENTERPRISES
6.06 | (f) MLSS (Mixed Liquor Suspended Solids) test once in a Fortnight | 52.00 | Each | 600.00 | 250.00 | 13000.00 | 600.00 | 31200.00 | 100.00 | 5200.00 | 5200.00 | M/S AMAR ENTERPRISES
6.07 | (g) Oil and Grease | 2.00 | Each | 900.00 | 250.00 | 500.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 500.00 | M/s.REVOLVE ENGINEERS PVT LTD
| Total in Figures |  |  |  |  | 3431219.64 |  | 3300300.00 |  | 3415800.00
Lowest Amount Quoted BY: RD Enviro Engineers and Consultants Pvt Ltd(3300300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance Contract of STP and ETP at B.M.Airport, Ranchi for the Year 2022-2024. Tender ID: 2022_AAI_107321_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RD Enviro Engineers and Consultants Pvt Ltd | 3300300.00 | L1
| 2 | M/S AMAR ENTERPRISES | 3415800.00 | L2
| 3 | M/s.REVOLVE ENGINEERS PVT LTD | 3431219.64 | L3