## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 19-Apr-2022 06:00 PM Tender Title: AMC of E and M Installations Tender ID: 2022_AAI_107781_1
Tender Inviting Authority: AGM (Engg-E), AIRPORTS AUTHORITY OF INDIA, NIATAM, BIRSI, GONDIA.
Name of Work: ARMO of E&M Installations and CMC of Split AC & Water Cooler etc at NIATAM, Gondia for 2 years (2022-24).
Contract No: 2020_AAI_107781_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation & Maintenance of various Electrical Installations of NIATAM such as Institute, Mens hostel, Womens Hostel Staff Houses, Canteen, AAI Residential colony, DG Sets up to 500 KVA with AMF Panels, Power Supply Systems, 11KV Sub-Station, Water Supply & Pump House, Street Lights, Parking Lights, Internal & External installations of Power House etc. including repair & maintenance, Faults/ breakdown rectifications, ensuring serviceability/ Satisfactory working conditions of the system, attending complaints as per scope of work given in special conditions of contract on all days including Sunday & Holidays (i.e in three shifts daily, each shift of 8 hours) etc. complete as required. | 24.00 | Month |  | 394999.00 | 9479976.00 | 360000.00 | 8640000.00 | 360000.00 | 8640000.00 | 393000.00 | 9432000.00 | 403700.00 | 9688800.00 | 352500.00 | 8460000.00 | 364666.00 | 8751984.00 | 390000.00 | 9360000.00 | 8460000.00 | Manish Electricals
2.00 | Complete Rewinding, Servicing, Repairing of Ceiling Fan/ Wall Fan including replacement of bearings if required and to&fro transportation etc complete as required. (Dismantle Material belongs to contractor).
2.01 | 1st Year | 5.00 | Job |  | 999.00 | 4995.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 350.00 | 1750.00 | 450.00 | 2250.00 | 300.00 | 1500.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR, CIS GLOBAL INFRATECH PRIVATE LIMITED
2.02 | 2nd Year | 5.00 | Job |  | 999.00 | 4995.00 | 420.00 | 2100.00 | 300.00 | 1500.00 | 500.00 | 2500.00 | 425.00 | 2125.00 | 350.00 | 1750.00 | 450.00 | 2250.00 | 325.00 | 1625.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
3.00 | Complete Rewinding, Servicing, Repairing of Exhaust fan/ Air Circular fan as following of sizes i/c replacement as bushes/bearings if required and to & fro transportation etc complete as required. (Dismantle Material belongs to contractor) Up to 450 mm Sweep
3.01 | 1st Year | 5.00 | Job |  | 1999.00 | 9995.00 | 550.00 | 2750.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 425.00 | 2125.00 | 450.00 | 2250.00 | 450.00 | 2250.00 | 650.00 | 3250.00 | 2125.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
3.02 | 2nd Year | 5.00 | Job |  | 1999.00 | 9995.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 450.00 | 2250.00 | 450.00 | 2250.00 | 450.00 | 2250.00 | 650.00 | 3250.00 | 2250.00 | ABHISHEK INTEGRATIONS LIMITED, PREMIER ENGINEERING TECHNICS PVT. LTD., Manish Electricals
4.00 | Complete Rewinding of the following motors, Which are suitable to operate on 230V, 50Hz, 1Ø AC supply, with suitable gauge copper wire i/c varnishing and bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor and agency shall be responsible for rewinding and repairing of motor pump set for 6 months). Motor upto 2 HP capacity
4.01 | 1st Year | 2.00 | Job |  | 7499.00 | 14998.00 | 1300.00 | 2600.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 2600.00 | NATIONAL SAFETY ENGINEERS
4.02 | 2nd Year | 2.00 | Job |  | 7499.00 | 14998.00 | 1400.00 | 2800.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 2250.00 | 4500.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 2800.00 | NATIONAL SAFETY ENGINEERS
5.00 | Complete Rewinding of the following motors, Which are suitable to operate on 415V, 50Hz, 3Ø AC supply, with suitable gauge copper wire i/c varnishing and bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor and agency shall be responsible for rewinding and repairing of motor pump set for 6 months). Motor Above 3 HP and upto 5 HP capacity
5.01 | 1st Year | 1.00 | Job |  | 9999.00 | 9999.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 3000.00 | 3000.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
5.02 | 2nd Year | 1.00 | Job |  | 9999.00 | 9999.00 | 22000.00 | 22000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 3000.00 | 3000.00 | 2500.00 | Techno Electricals, PREMIER ENGINEERING TECHNICS PVT. LTD.
6.00 | Lifting & Lowering of submersible pumps of various capacities (up to 5 HP) due to defect in existing pump on urgent basis within a short notices including connection of cables jointing of cables etc. with successful testing &commissioning complete as required.
6.01 | 1st Year | 3.00 | Job |  | 7499.00 | 22497.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 4000.00 | 12000.00 | 3000.00 | 9000.00 | 5500.00 | 16500.00 | 6000.00 | NATIONAL SAFETY ENGINEERS
6.02 | 2nd Year | 3.00 | Job |  | 7499.00 | 22497.00 | 2200.00 | 6600.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 3300.00 | 9900.00 | 4000.00 | 12000.00 | 3000.00 | 9000.00 | 5500.00 | 16500.00 | 6600.00 | NATIONAL SAFETY ENGINEERS
7.00 | Complete Repair and rewinding of submersible pump motor set up to 3 HP Job including transportation of motor dismantling and rewinding with the same gauge insulated copper wire including replacement of all the internal worn out/defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required. (Dismantle Material belongs to contractor and agency shall be responsible for rewinding and repairing of motor pump set for 6 months).
7.01 | 1st Year | 2.00 | Job |  | 9999.00 | 19998.00 | 1700.00 | 3400.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 3400.00 | NATIONAL SAFETY ENGINEERS
7.02 | 2nd Year | 2.00 | Job |  | 9999.00 | 19998.00 | 1800.00 | 3600.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 3300.00 | 6600.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 3600.00 | NATIONAL SAFETY ENGINEERS
8.00 | Inspection, Servicing and Testing of 3 Pole, 630Amp, 11 KV Vacuum Circuit Breakers (Make : Siemens) including carrying out tests & preventive maintenance through Manufacture OR Authorised Service agent and submission of test reports.
8.01 | 1st Year | 3.00 | Job |  | 14999.00 | 44997.00 | 8500.00 | 25500.00 | 5000.00 | 15000.00 | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 4500.00 | 13500.00 | 6000.00 | 18000.00 | 12000.00 | Techno Electricals
8.02 | 2nd Year | 3.00 | Job |  | 14999.00 | 44997.00 | 8800.00 | 26400.00 | 5000.00 | 15000.00 | 4000.00 | 12000.00 | 5500.00 | 16500.00 | 5000.00 | 15000.00 | 4500.00 | 13500.00 | 6000.00 | 18000.00 | 12000.00 | Techno Electricals
9.00 | Inspection, servicing, setting, calibration and testing of IDMT relays (Make- ABB, Model- NI40) (set of 2 over current + 1 earth fault) i/c carrying out tests & preventive maintenance through authorised service agent and submission of test reports.
9.01 | 1st Year | 2.00 | Set |  | 3499.00 | 6998.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 1750.00 | 3500.00 | 2500.00 | 5000.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 3500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
9.02 | 2nd Year | 2.00 | Set |  | 3499.00 | 6998.00 | 4300.00 | 8600.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 4000.00 | M/s BHARAT ELECTRIC, NAGPUR, PREMIER ENGINEERING TECHNICS PVT. LTD.
10.00 | Inspection, servicing, setting, calibration and testing of Microprocessor based numerical relay (Make L&T, Model MC31A, MC 61A) with O/L, E/F and S/C protections for 11KV panel i/c carrying out preventive maintenance through authorized service agent and submission of test reports.
10.01 | 1st Year | 3.00 | Set |  | 3499.00 | 10497.00 | 2600.00 | 7800.00 | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 1750.00 | 5250.00 | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 4500.00 | 13500.00 | 5250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
10.02 | 2nd Year | 3.00 | Set |  | 3499.00 | 10497.00 | 2600.00 | 7800.00 | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 4500.00 | 13500.00 | 6000.00 | M/s BHARAT ELECTRIC, NAGPUR, PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | Inspection, servicing, setting, calibration and testing of auxiliary and tripping relays including carrying out preventive maintenance through authorised service agent and submission of test reports.
11.01 | 1st Year | 10.00 | Set |  | 499.00 | 4990.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 750.00 | 7500.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 4000.00 | 40000.00 | 4000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
11.02 | 2nd Year | 10.00 | Set |  | 499.00 | 4990.00 | 1100.00 | 11000.00 | 1000.00 | 10000.00 | 750.00 | 7500.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 4000.00 | 40000.00 | 4500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.00 | Inspection, Testing & preventive maintenance of 11 KV Potential transformers including carrying out preventive maintenance through authorized service agent and submission of test reports.
12.01 | 1st Year | 1.00 | Set |  | 9999.00 | 9999.00 | 9000.00 | 9000.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 2000.00 | Manish Electricals
12.02 | 2nd Year | 1.00 | Set |  | 12499.00 | 12499.00 | 10000.00 | 10000.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 2500.00 | Manish Electricals
13.00 | Inspection, servicing & testing of Air circuit breakers Make GE, Capacity 1600A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports.
13.01 | 1st Year | 4.00 | Job |  | 4999.00 | 19996.00 | 6500.00 | 26000.00 | 4000.00 | 16000.00 | 3200.00 | 12800.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 5500.00 | 22000.00 | 12800.00 | Techno Electricals
13.02 | 2nd Year | 4.00 | Job |  | 4999.00 | 19996.00 | 6800.00 | 27200.00 | 4000.00 | 16000.00 | 3200.00 | 12800.00 | 4400.00 | 17600.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 5500.00 | 22000.00 | 12800.00 | Techno Electricals
14.00 | Inspection, servicing & testing of Air circuit breakers Make L&T, Capacity 800A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports.
14.01 | 1st Year | 3.00 | Job |  | 3499.00 | 10497.00 | 4800.00 | 14400.00 | 4000.00 | 12000.00 | 3200.00 | 9600.00 | 3000.00 | 9000.00 | 4000.00 | 12000.00 | 3500.00 | 10500.00 | 4000.00 | 12000.00 | 9000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
14.02 | 2nd Year | 3.00 | Job |  | 3499.00 | 10497.00 | 5000.00 | 15000.00 | 4000.00 | 12000.00 | 3200.00 | 9600.00 | 3300.00 | 9900.00 | 4000.00 | 12000.00 | 3500.00 | 10500.00 | 4000.00 | 12000.00 | 9600.00 | Techno Electricals
15.00 | Dehydration and filtration of transformer oil at site including testing the BDV and acidity before and after testing, topping of oil and submission of test reports etc. as required for following Transformers. (a) Make: Crompton Greaves, Capacity 1000 KVA, Oil Capacity 580 Ltrs.]
15.01 | 1st Year | 2.00 | Job |  | 4999.00 | 9998.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 8000.00 | 16000.00 | 5800.00 | 11600.00 | 10000.00 | 20000.00 | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 9998.00 | CHENNAI ENGINEERING SERVICES
15.02 | 2nd Year | 2.00 | Job |  | 7499.00 | 14998.00 | 11000.00 | 22000.00 | 10000.00 | 20000.00 | 8500.00 | 17000.00 | 6000.00 | 12000.00 | 10000.00 | 20000.00 | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 12000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
16.00 | Supply of tested transformer oil for topping up in transformers as required. | 200.00 | Ltr |  | 149.00 | 29800.00 | 200.00 | 40000.00 | 125.00 | 25000.00 | 175.00 | 35000.00 | 185.00 | 37000.00 | 120.00 | 24000.00 | 105.00 | 21000.00 | 130.00 | 26000.00 | 21000.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | 10 round pin Socket suitable for Single Phase, 240V, 50Hz, AC Supply. | 15.00 | Each |  | 99.00 | 1485.00 | 70.00 | 1050.00 | 100.00 | 1500.00 | 2500.00 | 37500.00 | 85.00 | 1275.00 | 100.00 | 1500.00 | 62.00 | 930.00 | 90.00 | 1350.00 | 930.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | 10/16A Socket suitable for Single Phase, 240V, 50Hz, AC Supply. | 15.00 | Each |  | 149.00 | 2235.00 | 80.00 | 1200.00 | 150.00 | 2250.00 | 100.00 | 1500.00 | 135.00 | 2025.00 | 140.00 | 2100.00 | 100.00 | 1500.00 | 120.00 | 1800.00 | 1200.00 | NATIONAL SAFETY ENGINEERS
19.00 | 2 Modular Plates with Base Frame (Make MK or equivalent ) | 10.00 | Each |  | 299.00 | 2990.00 | 70.00 | 700.00 | 50.00 | 500.00 | 80.00 | 800.00 | 60.00 | 600.00 | 60.00 | 600.00 | 36.00 | 360.00 | 50.00 | 500.00 | 360.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | 3 Modular Plates with Base Frame (Make MK or equivalent ) | 15.00 | Each |  | 299.00 | 4485.00 | 80.00 | 1200.00 | 50.00 | 750.00 | 85.00 | 1275.00 | 70.00 | 1050.00 | 75.00 | 1125.00 | 50.00 | 750.00 | 70.00 | 1050.00 | 750.00 | ABHISHEK INTEGRATIONS LIMITED, M/s BHARAT ELECTRIC, NAGPUR
21.00 | 4 Modular Plates with Base Frame (Make MK or equivalent ) | 15.00 | Each |  | 299.00 | 4485.00 | 110.00 | 1650.00 | 60.00 | 900.00 | 120.00 | 1800.00 | 80.00 | 1200.00 | 85.00 | 1275.00 | 62.00 | 930.00 | 80.00 | 1200.00 | 900.00 | M/s BHARAT ELECTRIC, NAGPUR
22.00 | 8 Modular Plates with Base Frame (Make MK or equivalent ) | 10.00 | Each |  | 399.00 | 3990.00 | 120.00 | 1200.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 135.00 | 1350.00 | 180.00 | 1800.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED, M/s BHARAT ELECTRIC, NAGPUR, CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | Modular Blanking plate for switch board. (Make MK or equivalent ) | 15.00 | Each |  | 9.00 | 135.00 | 10.00 | 150.00 | 15.00 | 225.00 | 20.00 | 300.00 | 12.00 | 180.00 | 24.00 | 360.00 | 15.00 | 225.00 | 15.00 | 225.00 | 135.00 | CHENNAI ENGINEERING SERVICES
24.00 | 6A, 1-Way Modular Switch Suitable for Single Phase, 240V, 50Hz, AC Supply. | 15.00 | Each |  | 119.00 | 1785.00 | 45.00 | 675.00 | 35.00 | 525.00 | 65.00 | 975.00 | 50.00 | 750.00 | 32.00 | 480.00 | 28.00 | 420.00 | 40.00 | 600.00 | 420.00 | ABHISHEK INTEGRATIONS LIMITED
25.00 | 16A, 1-Way Modular Switch Suitable for Single Phase, 240V, 50Hz, AC Supply. | 15.00 | Each |  | 179.00 | 2685.00 | 65.00 | 975.00 | 85.00 | 1275.00 | 75.00 | 1125.00 | 75.00 | 1125.00 | 90.00 | 1350.00 | 60.00 | 900.00 | 80.00 | 1200.00 | 900.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | 6A, 2in1 Socket, 2M, Modular Socket Suitable for Single Phase, 240V, 50Hz, AC Supply. | 15.00 | Each |  | 149.00 | 2235.00 | 75.00 | 1125.00 | 75.00 | 1125.00 | 65.00 | 975.00 | 75.00 | 1125.00 | 70.00 | 1050.00 | 62.00 | 930.00 | 70.00 | 1050.00 | 930.00 | ABHISHEK INTEGRATIONS LIMITED
27.00 | 16A, 3 pin Socket, 2M, Modular Socket Suitable for Single Phase, 240V, 50Hz, AC Supply. | 15.00 | Each |  | 199.00 | 2985.00 | 110.00 | 1650.00 | 150.00 | 2250.00 | 85.00 | 1275.00 | 135.00 | 2025.00 | 180.00 | 2700.00 | 100.00 | 1500.00 | 120.00 | 1800.00 | 1275.00 | Techno Electricals
28.00 | Geyser Element 1.5kw/2kw for multistar water geyser 25 ltr. | 10.00 | Each |  | 2499.00 | 24990.00 | 3000.00 | 30000.00 | 695.00 | 6950.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 956.00 | 9560.00 | 500.00 | 5000.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
29.00 | 2.5 MFD Capacitor suitable for 240V, 50 Hz, single phase AC Supply. (Make Havells or equivalent) | 20.00 | Each |  | 49.00 | 980.00 | 30.00 | 600.00 | 35.00 | 700.00 | 55.00 | 1100.00 | 25.00 | 500.00 | 30.00 | 600.00 | 37.00 | 740.00 | 35.00 | 700.00 | 500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
30.00 | 5W Holder type LED bulb, suitable for operation on 230V +/- 10%, 50 Hz., AC supply. | 150.00 | Each |  | 199.00 | 29850.00 | 100.00 | 15000.00 | 75.00 | 11250.00 | 120.00 | 18000.00 | 80.00 | 12000.00 | 120.00 | 18000.00 | 95.00 | 14250.00 | 100.00 | 15000.00 | 11250.00 | M/s BHARAT ELECTRIC, NAGPUR
31.00 | 18W Holder type LED bulb, suitable for operation on 230V +/- 10%, 50 Hz., AC supply. | 50.00 | Each |  | 499.00 | 24950.00 | 150.00 | 7500.00 | 200.00 | 10000.00 | 150.00 | 7500.00 | 185.00 | 9250.00 | 250.00 | 12500.00 | 284.00 | 14200.00 | 200.00 | 10000.00 | 7500.00 | NATIONAL SAFETY ENGINEERS, Techno Electricals
32.00 | Automatic changeover switch 1f, mains 30A similar to Model No. AUCL01030030 (Make-L&T or equivalent) | 12.00 | Each |  | 9999.00 | 119988.00 | 4000.00 | 48000.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 1500.00 | 18000.00 | 3250.00 | 39000.00 | 1558.00 | 18696.00 | 3000.00 | 36000.00 | 18000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
33.00 | Door/ Call bell 240V (Ding Dong, Make- Anchor or equivalent ) | 5.00 | Each |  | 499.00 | 2495.00 | 150.00 | 750.00 | 150.00 | 750.00 | 400.00 | 2000.00 | 175.00 | 875.00 | 325.00 | 1625.00 | 116.00 | 580.00 | 190.00 | 950.00 | 580.00 | ABHISHEK INTEGRATIONS LIMITED
34.00 | 1.5 Sqmm PVC insulated single core multi strand Copper conductor FR industrial cable confirming to IS-694: 1990 for voltage up to 1100V [90 Mtr Coil] | 3.00 | Coil |  | 1999.00 | 5997.00 | 2100.00 | 6300.00 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 1000.00 | 3000.00 | 2200.00 | 6600.00 | 1622.00 | 4866.00 | 1200.00 | 3600.00 | 3000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
35.00 | 2.5 Sqmm PVC insulated single core multi strand Copper conductor FR industrial cable confirming to IS-694: 1990 for voltage up to 1100V [90 Mtr Coil] | 2.00 | Coil |  | 2499.00 | 4998.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 3200.00 | 6400.00 | 1250.00 | 2500.00 | 3100.00 | 6200.00 | 2552.00 | 5104.00 | 1900.00 | 3800.00 | 2500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
36.00 | 4.0 Sqmm PVC insulated single core multi strand Copper conductor FR industrial cable confirming to IS-694: 1990 for voltage up to 1100V [90 Mtr Coil] | 1.00 | Coil |  | 3499.00 | 3499.00 | 5500.00 | 5500.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 4800.00 | 4800.00 | 3737.00 | 3737.00 | 3500.00 | 3500.00 | 2000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
37.00 | Spike Guard with 6 universal socket shutter suitable for Single Phase, 240V, 50Hz, A.C Supply. | 4.00 | Each |  | 1999.00 | 7996.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 650.00 | 2600.00 | 300.00 | 1200.00 | 525.00 | 2100.00 | 473.00 | 1892.00 | 450.00 | 1800.00 | 1200.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
38.00 | 24" Geyser Pipe for Geyser. | 4.00 | Each |  | 1499.00 | 5996.00 | 450.00 | 1800.00 | 250.00 | 1000.00 | 2000.00 | 8000.00 | 250.00 | 1000.00 | 200.00 | 800.00 | 294.00 | 1176.00 | 350.00 | 1400.00 | 800.00 | Manish Electricals
39.00 | 100A, 36KA, Four Pole MCCB suitable for Three Phase, 415V, 50Hz, AC Supply. | 1.00 | Each |  | 7499.00 | 7499.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 4000.00 | 4000.00 | 6500.00 | 6500.00 | 6365.00 | 6365.00 | 7000.00 | 7000.00 | 4000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
40.00 | 63A, Four Pole MCB suitable for Three Phase, 415V, 50Hz, AC Supply. | 2.00 | Each |  | 2499.00 | 4998.00 | 1300.00 | 2600.00 | 1250.00 | 2500.00 | 6500.00 | 13000.00 | 1300.00 | 2600.00 | 2300.00 | 4600.00 | 1680.00 | 3360.00 | 1500.00 | 3000.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
41.00 | 40A, TP MCB suitable for Three Phases, 415V, 50Hz, AC Supply. | 3.00 | Each |  | 1999.00 | 5997.00 | 1200.00 | 3600.00 | 850.00 | 2550.00 | 6000.00 | 18000.00 | 1000.00 | 3000.00 | 1450.00 | 4350.00 | 1373.00 | 4119.00 | 1000.00 | 3000.00 | 2550.00 | M/s BHARAT ELECTRIC, NAGPUR
42.00 | 40A, DP Isolator suitable for Three Phases, 415V, 50Hz, AC Supply. | 3.00 | Each |  | 1999.00 | 5997.00 | 400.00 | 1200.00 | 500.00 | 1500.00 | 2200.00 | 6600.00 | 350.00 | 1050.00 | 450.00 | 1350.00 | 574.00 | 1722.00 | 800.00 | 2400.00 | 1050.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
43.00 | Analogue Timer Switch for Street Light Panel. | 3.00 | Each |  | 4999.00 | 14997.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 2500.00 | 7500.00 | 2400.00 | 7200.00 | 3018.00 | 9054.00 | 2000.00 | 6000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
44.00 | Execution of works as per CPWD DSR (E&M) 2018, DAR (E&M) 2018 & Latest CPWD Specifications as & when required. CPWD DSR (E&M) - Chapter 1 to 10 & 14 | 100000.00 | Rs. |  | 1.10 | 110000.00 | .90 | 90000.00 | .75 | 75000.00 | .90 | 90000.00 | .85 | 85000.00 | .70 | 70000.00 | .85 | 85000.00 | .85 | 85000.00 | 70000.00 | Manish Electricals
45.00 | Annual Comprehensive Maintenance of following capacity Split type room Air conditioner Units (Excluding compressor) of different makes installed at different locations as per terms and conditions attached.
45.01 | 1.5 TR Split Type AC - 1st Year | 11.00 | Each Per Year |  | 1999.00 | 21989.00 | 4000.00 | 44000.00 | 500.00 | 5500.00 | 1500.00 | 16500.00 | 3400.00 | 37400.00 | 3000.00 | 33000.00 | 440.00 | 4840.00 | 1800.00 | 19800.00 | 4840.00 | ABHISHEK INTEGRATIONS LIMITED
45.02 | 2.0 TR Split Type AC - 1st Year | 23.00 | Each Per Year |  | 2499.00 | 57477.00 | 5500.00 | 126500.00 | 1000.00 | 23000.00 | 1500.00 | 34500.00 | 3500.00 | 80500.00 | 4000.00 | 92000.00 | 920.00 | 21160.00 | 1900.00 | 43700.00 | 21160.00 | ABHISHEK INTEGRATIONS LIMITED
45.03 | 1.5 TR Split Type AC - 2nd Year | 11.00 | Each Per Year |  | 1999.00 | 21989.00 | 5000.00 | 55000.00 | 500.00 | 5500.00 | 2000.00 | 22000.00 | 4000.00 | 44000.00 | 3000.00 | 33000.00 | 440.00 | 4840.00 | 1800.00 | 19800.00 | 4840.00 | ABHISHEK INTEGRATIONS LIMITED
45.04 | 2.0 TR Split Type AC - 2nd Year | 23.00 | Each Per Year |  | 2499.00 | 57477.00 | 6000.00 | 138000.00 | 1000.00 | 23000.00 | 2000.00 | 46000.00 | 4500.00 | 103500.00 | 4000.00 | 92000.00 | 920.00 | 21160.00 | 1900.00 | 43700.00 | 21160.00 | ABHISHEK INTEGRATIONS LIMITED
46.00 | Annual Comprehensive Maintenance of following capacity Split type room Air conditioner Units (Including compressor) of different makes installed at different locations as per terms and conditions attached.
46.01 | 1.5 TR Split Type AC - 1st Year | 23.00 | Each Per Year |  | 4999.00 | 114977.00 | 5500.00 | 126500.00 | 800.00 | 18400.00 | 2000.00 | 46000.00 | 4500.00 | 103500.00 | 4000.00 | 92000.00 | 920.00 | 21160.00 | 2500.00 | 57500.00 | 18400.00 | M/s BHARAT ELECTRIC, NAGPUR
46.02 | 3.0 TR Tower Type AC - 1st Year | 2.00 | Each Per Year |  | 5999.00 | 11998.00 | 6500.00 | 13000.00 | 1200.00 | 2400.00 | 2200.00 | 4400.00 | 8000.00 | 16000.00 | 7500.00 | 15000.00 | 80.00 | 160.00 | 4500.00 | 9000.00 | 160.00 | ABHISHEK INTEGRATIONS LIMITED
46.03 | 4.0 TR Tower Type AC - 1st Year | 2.00 | Each Per Year |  | 6499.00 | 12998.00 | 7000.00 | 14000.00 | 1650.00 | 3300.00 | 2200.00 | 4400.00 | 12000.00 | 24000.00 | 8500.00 | 17000.00 | 80.00 | 160.00 | 5000.00 | 10000.00 | 160.00 | ABHISHEK INTEGRATIONS LIMITED
46.04 | 4.0 TR CasetteType AC - 1st Year | 15.00 | Each Per Year |  | 6999.00 | 104985.00 | 7500.00 | 112500.00 | 1500.00 | 22500.00 | 2500.00 | 37500.00 | 12000.00 | 180000.00 | 12500.00 | 187500.00 | 600.00 | 9000.00 | 5500.00 | 82500.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
46.05 | 1.5 TR Split Type AC - 2nd Year | 23.00 | Each Per Year |  | 4999.00 | 114977.00 | 5700.00 | 131100.00 | 800.00 | 18400.00 | 2200.00 | 50600.00 | 4500.00 | 103500.00 | 4000.00 | 92000.00 | 920.00 | 21160.00 | 2500.00 | 57500.00 | 18400.00 | M/s BHARAT ELECTRIC, NAGPUR
46.06 | 3.0 TR Tower Type AC - 2nd Year | 2.00 | Each Per Year |  | 5999.00 | 11998.00 | 6800.00 | 13600.00 | 1200.00 | 2400.00 | 2500.00 | 5000.00 | 8500.00 | 17000.00 | 7500.00 | 15000.00 | 80.00 | 160.00 | 4500.00 | 9000.00 | 160.00 | ABHISHEK INTEGRATIONS LIMITED
46.07 | 4.0 TR Tower Type AC - 2nd Year | 2.00 | Each Per Year |  | 6499.00 | 12998.00 | 7350.00 | 14700.00 | 1650.00 | 3300.00 | 3000.00 | 6000.00 | 13000.00 | 26000.00 | 9500.00 | 19000.00 | 80.00 | 160.00 | 5000.00 | 10000.00 | 160.00 | ABHISHEK INTEGRATIONS LIMITED
46.08 | 4.0 TR CasetteType AC - 2nd Year | 15.00 | Each Per Year |  | 6999.00 | 104985.00 | 7875.00 | 118125.00 | 1500.00 | 22500.00 | 3000.00 | 45000.00 | 13000.00 | 195000.00 | 12500.00 | 187500.00 | 600.00 | 9000.00 | 5500.00 | 82500.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | Annual Comprehensive Periodical maintenance of Water cooler Units (Including compressor) of 40/80 ltr capacity, 1Ø, 230 V, 50 Hz, of different makes including stabilizer(if any) installed at different locations including providing all necessary consumable, refrigerant Gas and spares etc.
47.01 | 1st Year | 11.00 | Each Per Year |  | 7499.00 | 82489.00 | 3500.00 | 38500.00 | 3000.00 | 33000.00 | 3500.00 | 38500.00 | 4500.00 | 49500.00 | 3500.00 | 38500.00 | 440.00 | 4840.00 | 4000.00 | 44000.00 | 4840.00 | ABHISHEK INTEGRATIONS LIMITED
47.02 | 2nd Year | 11.00 | Each Per Year |  | 7499.00 | 82489.00 | 3800.00 | 41800.00 | 3000.00 | 33000.00 | 3500.00 | 38500.00 | 5000.00 | 55000.00 | 3500.00 | 38500.00 | 440.00 | 4840.00 | 4000.00 | 44000.00 | 4840.00 | ABHISHEK INTEGRATIONS LIMITED
48.00 | Annual Comprehensive maintenance contract of 1 No. U.V. water purifier (Make Hi-Tech) having flow rate 3 ltr per minute, comprising of U.V. lamps, Membrane Filter, Paper Filter, SMPS, etc. complete as required.
48.01 | 1st Year | 12.00 | Each Per Year |  | 2999.00 | 35988.00 | 10000.00 | 120000.00 | 3000.00 | 36000.00 | 7000.00 | 84000.00 | 3000.00 | 36000.00 | 4000.00 | 48000.00 | 480.00 | 5760.00 | 7000.00 | 84000.00 | 5760.00 | ABHISHEK INTEGRATIONS LIMITED
48.02 | 2nd Year | 12.00 | Each Per Year |  | 2999.00 | 35988.00 | 11000.00 | 132000.00 | 3000.00 | 36000.00 | 7000.00 | 84000.00 | 3500.00 | 42000.00 | 4000.00 | 48000.00 | 480.00 | 5760.00 | 7000.00 | 84000.00 | 5760.00 | ABHISHEK INTEGRATIONS LIMITED
49.00 | Annual Comprehensive maintenance contract of KENT RO (Model- Kent ACE) having storage capacity 7 Ltr., comprising of U.V. lamps, Carbon filter, Sediment Filter, Membrane Filter, Post Carbon Filter, Pre Carbon Filter, SMPS, CC Kit Pump etc. complete as required.
49.01 | 1st Year | 10.00 | Each Per Year |  | 4999.00 | 49990.00 | 12000.00 | 120000.00 | 2500.00 | 25000.00 | 7000.00 | 70000.00 | 500.00 | 5000.00 | 4000.00 | 40000.00 | 400.00 | 4000.00 | 8000.00 | 80000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
49.02 | 2nd Year | 10.00 | Each Per Year |  | 4999.00 | 49990.00 | 13000.00 | 130000.00 | 2500.00 | 25000.00 | 7000.00 | 70000.00 | 600.00 | 6000.00 | 4000.00 | 40000.00 | 400.00 | 4000.00 | 8000.00 | 80000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 11314688.00 |  | 10731700.00 |  | 9425200.00 |  | 10689625.00 |  | 11212730.00 |  | 10046065.00 |  | 9342010.00 |  | 10810550.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(9342010.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of E and M Installations Tender ID: 2022_AAI_107781_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 9342010.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 9425200.00 | L2
| 3 | Manish Electricals | 10046065.00 | L3
| 4 | Techno Electricals | 10689625.00 | L4
| 5 | NATIONAL SAFETY ENGINEERS | 10731700.00 | L5
| 6 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 10810550.00 | L6
| 7 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 11212730.00 | L7
| 8 | CHENNAI ENGINEERING SERVICES | 11314688.00 | L8