## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 25-Apr-2022 01:01 PM Tender Title: Annual Operation and Maintenance of E and M installations of 33 KV New substation and NTB at LBSI Airport Varanasi.(2022-2024) Tender ID: 2022_AAI_107846_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Annual Operation and Maintenance of E & M installations of 33 KV New substation and NTB at LBSI Airport Varanasi.(2022-2024)
Contract No: 2022_AAI_107846_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Brady Services Pvt. Ltd.(GSTN-07AABCB4175F1ZW) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance and operation of electrical and mechanical installations involving operation, repairs and maintenance, attending to complaints/faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records/ documents etc under this contract on all working days including saturdays,Sundays and holidays as per tender specifications, terms & conditions by supplying to following minimum number of man power. (a) Supervisor -Highly Skilled - 06 Nos. (i.e. 01 No. round the clock on all days in every week for substation and 01 No. round the clock on all days in every week for New terminal Building & Reliever shall be provided on weekly off). (b) Electrician - Skilled - 11 Nos. (ie 02 No in general shift for preventive maintenance on all days in every week for New Terminal building,02 No. round the clock on all days in every week for New terminal Building &01 No. round the clock on all working days including Sunday and holiday for substation , Reliever shall be provided on weekly off,). (c) Lift/escalator operator - Semi Skilled - 08 Nos. (i.e. 01 Nos. round the clock on all days in every week for domestic SHA &01 Nos. round the clock on all days in every week for domestic arrival and 01 number in general shift for international arrival and 01 number in general shift for international departure, Reliever Shall be Provided on Weekly Off ). (d) Helper - Unskilled - 08 Nos. (i.e. 02 No in general shift for preventive maintenance on all days in every week for New Terminal building,01 No. round the clock on all days in every week for New terminal Building &01 No. round the clock on all days in every week for substation , Reliever shall be provided on weekly off). | 24.00 | Month |  | 724394.73 | 17385473.52 | 741750.00 | 17802000.00 | 704000.00 | 16896000.00 | 16896000.00 | SAURABH ENTERPRISES
2.00 | Painting of 10 mtr high, car parking light MS poles after scrapping existing paint with emery/sand paper, applying primer on rusted part of pole, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooth surface and even shade, numbering etc. complete as required. | 4.00 | Each |  | 1.00 | 4.00 | 750.00 | 3000.00 | 100.00 | 400.00 | 4.00 | Brady Services Pvt. Ltd.
3.00 | Painting of 6 mtr high, car parking light MS poles after scrapping existing paint with emery/sand paper, applying primer on rusted part of pole, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooth surface and even shade, numbering etc. complete as required. | 124.00 | Each |  | 1.00 | 124.00 | 400.00 | 49600.00 | 70.00 | 8680.00 | 124.00 | Brady Services Pvt. Ltd.
4.00 | Painting of 3 mtr high, car parking light MS poles after scrapping existing paint with emery/sand paper, applying primer on rusted part of pole, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooth surface and even shade, numbering etc. complete as required. | 40.00 | Each |  | 1.00 | 40.00 | 250.00 | 10000.00 | 60.00 | 2400.00 | 40.00 | Brady Services Pvt. Ltd.
5.00 | Spray Painting of sheet metal enclosures such as feeder pillars, distribution boards, Electrical panels,Fire Hydrant Box with two coats of approved paint & shade including cleaning of surface, etc. as required. | 150.00 | Sqm |  | 1.00 | 150.00 | 200.00 | 30000.00 | 150.00 | 22500.00 | 150.00 | Brady Services Pvt. Ltd.
6.00 | Inspection and Oil Sample Testing of Transformer oil for 1600 KVA ,33/0.415 KV Transformer etc. complete as required. | 24.00 | Job |  | 1.00 | 24.00 | 1750.00 | 42000.00 | 1000.00 | 24000.00 | 24.00 | Brady Services Pvt. Ltd.
7.00 | Inspection, Testing, Oil Filtration and Dehydration of Transformer oil for 1600 KVA ,33/0.415 KV Transformer etc. complete as required. | 13200.00 | Ltr. |  | .05 | 660.00 | 13.00 | 171600.00 | 8.50 | 112200.00 | 660.00 | Brady Services Pvt. Ltd.
8.00 | Inspection and topping up of Transformer oil for 1600 KVA ,33/0.415 KV Transformer etc. complete as required. | 300.00 | Ltr. |  | 1.00 | 300.00 | 175.00 | 52500.00 | 200.00 | 60000.00 | 300.00 | Brady Services Pvt. Ltd.
9.00 | Annual Servicing/Maintenance Contract of Kirloskar make SF6 breaker model : FP 73D S36, 33 KV, Current 1250Amp,Complete testing and calibration of 33 KV HT Panel relay and CT (secondary injection), dismantling, cleaning of breaker & contacts, oiling of all joint rollers, repairing, replacement of damaged parts, if any, re-assembling the same after preventive maintenance, testing and commissioning complete Six monthly visit as per OEM,s recommendation including attending break down calls as and when required. The work to be carried out through authorised service dealer of OEM,s.(a) Incommer-01 number(b)Out going-04 number. | 4.00 | Job/Visit |  | 1.00 | 4.00 | 7000.00 | 28000.00 | 10000.00 | 40000.00 | 4.00 | Brady Services Pvt. Ltd.
10.00 | Supply of 33 KV insulator as and when required during the service/ maintenance contract. | 15.00 | Each |  | 1.00 | 15.00 | 3500.00 | 52500.00 | 500.00 | 7500.00 | 15.00 | Brady Services Pvt. Ltd.
11.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 33 kV grade as required.(300 Sqm). | 4.00 | Job |  | 1.00 | 4.00 | 7545.00 | 30180.00 | 5000.00 | 20000.00 | 4.00 | Brady Services Pvt. Ltd.
12.00 | Annual servicing/ maintenance contract of Air circuit breakers Make- GE & ABB of different capacities by complete racking out/ dismantling, cleaning of breaker & contacts, oiling of all joint rollers, repairing, replacement of damaged parts, if any, re-assembling the same after preventive maintenance, testing and commissioning complete Six monthly visit as per OEM,s recommendation including attending break down calls as and when required. The work to be carried out through authorised service dealer of OEM,s. (supply of spare not included in AMC, will be paid separately). | 54.00 | Job |  | 1.00 | 54.00 | 2354.00 | 127116.00 | 2000.00 | 108000.00 | 54.00 | Brady Services Pvt. Ltd.
13.00 | Supply of spares required during the services/ maintenance contract of ACB make GE/ABB of different capacities for amount Rs.300000.00 (exclusive of GST) as per prevailing list price of OEM in support. The agency has to quote discounted price on price list for supply of spares (for example if the quoted rate for this item is Rs0.90 then the value of Rs.300000 .00 will be Rs.2,70,000.00. The quoted price should not be above the price list.). | 300000.00 | Each |  | .01 | 3000.00 | .85 | 255000.00 | .06 | 18000.00 | 3000.00 | Brady Services Pvt. Ltd.
14.00 | DSR Works Rate for Each one rupee Value of work executed from the CPWD DSR (E&M) 2018 Electrical rates.{For example if the quoted rate for this item is Rs.0.90 then the executed DSR-2018 (Electrical) schedule works of value Rs.50000.00 at DSR-2018 (Electrical ) rates, the quoted amount will be Rs.45000.00.And if quoted rate for this item is Rs.1.25 then quoted amount for the same will be Rs.62500.00} . | 50000.00 | Each |  | .01 | 500.00 | .90 | 45000.00 | 1.50 | 75000.00 | 500.00 | Brady Services Pvt. Ltd.
| Total in Figures |  |  |  |  | 17390352.52 |  | 18698496.00 |  | 17394680.00
Lowest Amount Quoted BY: Brady Services Pvt. Ltd.(17390352.52)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance of E and M installations of 33 KV New substation and NTB at LBSI Airport Varanasi.(2022-2024) Tender ID: 2022_AAI_107846_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Brady Services Pvt. Ltd. | 17390352.52 | L1
| 2 | SAURABH ENTERPRISES | 17394680.00 | L2
| 3 | Techno Electricals | 18698496.00 | L3