## BoQ1
Government eProcurement System Created By: MANTRIMAYUM CHINGLENSANA SINGH Created Date/Time: 30-Mar-2022 11:40 AM Tender Title: Supply of GLF Spares at Imphal Airport for Year 2022-23 Tender ID: 2022_AAI_107888_1
Tender Inviting Authority: Asst. General Manager(Engg-Elect)-I
Name of Work:Supply of GLF Spares at Imphal Airport for Year 2022-23
Contract No: 2022_AAI_107888_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | electromach sales agencies(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200 Watt, 6.6Amp, Bi-Pin Halogen lamp with base PK 30D-A for runway edge light fitting (Similar to Model:-Osram-64386 / Philips-6372LL or its equivalent from AAI approved make list) | 500.00 | Each |  | 388.00 | 194000.00 | 450.00 | 225000.00 | 453.00 | 226500.00 | 194000.00 | Bafna Electric Corp
2.00 | Supply of Bi-Pin Lamp Holder suitable for 105W / 200W, 6.6A Halogen lamp (As per AAI approved make list) | 300.00 | Each |  | 196.00 | 58800.00 | 200.00 | 60000.00 | 313.00 | 93900.00 | 58800.00 | Bafna Electric Corp
3.00 | Supply of Elevated Omni-directional, Medium Intensity Light Fittings suitable for Taxiway Edge Lighting use with LED complete with all accessories, breakable coupling, gaskets, two pin secondary leads, base plate with 6 nos M-10 stainless steel bolts, spring washers and other accessories with Omni directional blue lens, LED lamp and other accessories etc. complete as required meetng the requirement of ICAO Annex-14 and Aerodrome Design Manual Part-5 | 10.00 | Each |  | 5760.00 | 57600.00 | 5500.00 | 55000.00 | 5125.00 | 51250.00 | 51250.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Supply of LED flood light, minimum lumen output 10000 lumen, with high power LEDs, system efficacy not less than 100 lumen/ W, suitable optics for uniform light distribution, integral control dricer with minimum 3kV surge suppressor, fitting made up of high pressure die cast aluminium housing with toughned glass with IP65 protection, minimum 50,000 burning hrs, suitable to operate on single pahse AC supply, inline with technical specification etc., complete as required. | 10.00 | Each |  | 3780.00 | 37800.00 | 3300.00 | 33000.00 | 4563.00 | 45630.00 | 33000.00 | electromach sales agencies
| Total in Figures |  |  |  |  | 348200.00 |  | 373000.00 |  | 417280.00
Lowest Amount Quoted BY: Bafna Electric Corp(348200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of GLF Spares at Imphal Airport for Year 2022-23 Tender ID: 2022_AAI_107888_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bafna Electric Corp | 348200.00 | L1
| 2 | electromach sales agencies | 373000.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 417280.00 | L3