## BoQ1
Government eProcurement System Created By: AJAY SINGH BHADAURIA Created Date/Time: 02-May-2022 04:41 PM Tender Title: Construction of Perimeter wall at Khowai Airport Tripura Tender ID: 2022_AAI_107924_1
Tender Inviting Authority : AIRPORTS AUTHORITY OF INDIA
Name of Work : CONSTRUCTION OF PERIMETER WALL AT KHOWAI AIRPORT, TRIPURA
Contract No: 2022_AAI_107924_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Uttam Deb(GSTN-16AGFPD2638C1ZY) |  | Vishal Builders(GSTN-22AAEFV1401G1ZU) |  | SSD CONSTRUCTION(GSTN-NA) |  | KISHORE ROY(GSTN-NA) |  | L K BUILDERS(GSTN-NA) |  | DEBASIS BHATTACHARYYA(GSTN-NA) |  | TAPAN SAHA(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. (a) All kinds of soil | 11630.00 | cum |  | 160.00 | 1860800.00 | 117.00 | 1360710.00 | 95.00 | 1104850.00 | 255.00 | 2965650.00 | 230.00 | 2674900.00 | 210.00 | 2442300.00 | 80.00 | 930400.00 | 930400.00 | TAPAN SAHA
2.00 | Extra rates for quantities of works, executed: In or under water and/or liquid mud, including pumping out water as required | 2340.00 | meter depth |  | 65.00 | 152100.00 | 260.00 | 608400.00 | 95.00 | 222300.00 | 148.00 | 346320.00 | 20.00 | 46800.00 | 200.00 | 468000.00 | 20.00 | 46800.00 | 46800.00 | L K BUILDERS, TAPAN SAHA
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 8290.00 | cum |  | 80.00 | 663200.00 | 91.00 | 754390.00 | 55.00 | 455950.00 | 145.00 | 1202050.00 | 400.00 | 3316000.00 | 125.00 | 1036250.00 | 80.00 | 663200.00 | 455950.00 | SSD CONSTRUCTION
4.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete | 100.00 | cum |  | 900.00 | 90000.00 | 765.00 | 76500.00 | 1200.00 | 120000.00 | 1250.00 | 125000.00 | 2500.00 | 250000.00 | 800.00 | 80000.00 | 1000.00 | 100000.00 | 76500.00 | Vishal Builders
5.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 3000.00 | Cum |  | 60.00 | 180000.00 | 33.00 | 99000.00 | 55.00 | 165000.00 | 160.00 | 480000.00 | 400.00 | 1200000.00 | 150.00 | 450000.00 | 40.00 | 120000.00 | 99000.00 | Vishal Builders
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a) 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 40.00 | cum |  | 8800.00 | 352000.00 | 10200.00 | 408000.00 | 10000.00 | 400000.00 | 12000.00 | 480000.00 | 9500.00 | 380000.00 | 8000.00 | 320000.00 | 9300.00 | 372000.00 | 320000.00 | DEBASIS BHATTACHARYYA
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a)1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 570.00 | cum |  | 7800.00 | 4446000.00 | 9230.00 | 5261100.00 | 7400.00 | 4218000.00 | 10700.00 | 6099000.00 | 9000.00 | 5130000.00 | 7800.00 | 4446000.00 | 7300.00 | 4161000.00 | 4161000.00 | TAPAN SAHA
8.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: (a) 1:3:6 (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | 50.00 | cum |  | 8200.00 | 410000.00 | 9300.00 | 465000.00 | 9300.00 | 465000.00 | 11560.00 | 578000.00 | 8900.00 | 445000.00 | 8000.00 | 400000.00 | 9000.00 | 450000.00 | 400000.00 | DEBASIS BHATTACHARYYA
9.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/ less cement used as per design mix is payable/recoverable separately). (a) All works upto plinth level | 2570.00 | cum |  | 10400.00 | 26728000.00 | 10400.00 | 26728000.00 | 10000.00 | 25700000.00 | 12500.00 | 32125000.00 | 12400.00 | 31868000.00 | 9000.00 | 23130000.00 | 10000.00 | 25700000.00 | 23130000.00 | DEBASIS BHATTACHARYYA
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (a) Foundations, footings, bases of columns, etc. for mass concrete | 9320.00 | sqm |  | 300.00 | 2796000.00 | 520.00 | 4846400.00 | 155.00 | 1444600.00 | 275.00 | 2563000.00 | 350.00 | 3262000.00 | 200.00 | 1864000.00 | 300.00 | 2796000.00 | 1444600.00 | SSD CONSTRUCTION
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1360.00 | sqm |  | 400.00 | 544000.00 | 520.00 | 707200.00 | 165.00 | 224400.00 | 408.00 | 554880.00 | 790.00 | 1074400.00 | 220.00 | 299200.00 | 400.00 | 544000.00 | 224400.00 | SSD CONSTRUCTION
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (a) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 2020.00 | sqm |  | 400.00 | 808000.00 | 520.00 | 1050400.00 | 170.00 | 343400.00 | 482.00 | 973640.00 | 650.00 | 1313000.00 | 220.00 | 444400.00 | 350.00 | 707000.00 | 343400.00 | SSD CONSTRUCTION
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : (a)Columns, Pillars, Piers, Abutments, Posts and Struts | 760.00 | sqm |  | 450.00 | 342000.00 | 520.00 | 395200.00 | 175.00 | 133000.00 | 512.00 | 389120.00 | 750.00 | 570000.00 | 320.00 | 243200.00 | 400.00 | 304000.00 | 133000.00 | SSD CONSTRUCTION
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (a) Thermo Mechanically Treated bars of grade Fe-500D or more. | 385280.00 | kg |  | 94.50 | 36408960.00 | 110.00 | 42380800.00 | 90.00 | 34675200.00 | 115.00 | 44307200.00 | 105.00 | 40454400.00 | 100.00 | 38528000.00 | 90.50 | 34867840.00 | 34675200.00 | SSD CONSTRUCTION
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5850.00 | kg |  | 94.50 | 552825.00 | 110.00 | 643500.00 | 90.00 | 526500.00 | 118.00 | 690300.00 | 107.00 | 625950.00 | 100.00 | 585000.00 | 90.50 | 529425.00 | 526500.00 | SSD CONSTRUCTION
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 1170.00 | cum |  | 8100.00 | 9477000.00 | 8450.00 | 9886500.00 | 9700.00 | 11349000.00 | 10000.00 | 11700000.00 | 9500.00 | 11115000.00 | 7900.00 | 9243000.00 | 7800.00 | 9126000.00 | 9126000.00 | TAPAN SAHA
17.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4990.00 | kg |  | 120.00 | 598800.00 | 125.00 | 623750.00 | 120.00 | 598800.00 | 118.00 | 588820.00 | 145.00 | 723550.00 | 150.00 | 748500.00 | 130.00 | 648700.00 | 588820.00 | KISHORE ROY
18.00 | 12 mm cement plaster of mix :(a) 1:6 (1 cement: 6 fine sand) | 4970.00 | sqm |  | 245.00 | 1217650.00 | 160.00 | 795200.00 | 165.00 | 820050.00 | 252.00 | 1252440.00 | 340.00 | 1689800.00 | 210.00 | 1043700.00 | 300.00 | 1491000.00 | 795200.00 | Vishal Builders
19.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : (a) 1:6 (1 cement: 6 fine sand) | 4860.00 | sqm |  | 250.00 | 1215000.00 | 170.00 | 826200.00 | 185.00 | 899100.00 | 325.00 | 1579500.00 | 385.00 | 1871100.00 | 220.00 | 1069200.00 | 350.00 | 1701000.00 | 826200.00 | Vishal Builders
20.00 | Finishing walls with water proofing cement paint of required shade : (a) New work (Two or more coats applied @ 3.84 kg/10 sqm) | 10260.00 | sqm |  | 70.00 | 718200.00 | 60.00 | 615600.00 | 128.00 | 1313280.00 | 127.00 | 1303020.00 | 70.00 | 718200.00 | 80.00 | 820800.00 | 80.00 | 820800.00 | 615600.00 | Vishal Builders
21.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : (a) Two or more coats on new work | 260.00 | sqm |  | 100.00 | 26000.00 | 100.00 | 26000.00 | 178.00 | 46280.00 | 75.00 | 19500.00 | 160.00 | 41600.00 | 100.00 | 26000.00 | 90.00 | 23400.00 | 19500.00 | KISHORE ROY
22.00 | Making AAI logo of height 450 mm with cement plaster by using cement mortar 1:4 (1 cement: 4 fine sand) projecting out by 12 mm thick on newly plastered surface of boundary wall and painted the same with blue color synthetic enamel paint of approved brand & manufacturer to give an even shade using cutting stencil of acrylic sheet of 12 mm as per drawing and direction of Engg. - in - charge. Note: Other dimensions shall be worked in accordance with drawing. | 127.00 | each |  | 250.00 | 31750.00 | 3200.00 | 406400.00 | 2325.00 | 295275.00 | 18500.00 | 2349500.00 | 500.00 | 63500.00 | 500.00 | 63500.00 | 800.00 | 101600.00 | 31750.00 | Uttam Deb
23.00 | Proving and applying / painting warning instruction of 'TRESPASSING AND PHOTOGRAPHING PROHIBITED' letter height 100mm (in bold arial font) on AAI perimeter boundary walls with synthetic enamel paint of approved brand and maufacture of required color to give an even shade using cutting stencil aluminium 16 guage thick material , all complete as per drawing and direction of Engineer-in- charge. | 127.00 | each |  | 150.00 | 19050.00 | 195.00 | 24765.00 | 1425.00 | 180975.00 | 12500.00 | 1587500.00 | 1000.00 | 127000.00 | 500.00 | 63500.00 | 120.00 | 15240.00 | 15240.00 | TAPAN SAHA
24.00 | Carrying out soil investigation with all relevant tests as per the speciification attached in the tender document for boundary wall work to ascertain the requisite datas for structural design. The relevent tests shall be carried out through the specialized agency as enlisted by AAI or as approved by Engineer-in-charge. The test report shall be submitted to Engineer-in-charge for carrying out the structural design through AAI's Structural Directorate. The spacing of the bore holes for Boundary wall work shall also be kept as 500m.. | 7.00 | each |  | 17857.00 | 124999.00 | 300000.00 | 2100000.00 | 75000.00 | 525000.00 | 15500.00 | 108500.00 | 9000.00 | 63000.00 | 30000.00 | 210000.00 | 12000.00 | 84000.00 | 63000.00 | L K BUILDERS
25.00 | Providing and submitting the preliminary drawings, carrying out structural design, preparation of detailed structural drawing and developing working architectural drawings of RCC strcuture as per site requirement. The structural design and drawings shall be got vetted by IIT/NIT. The design and drawing so submitted shall be got approved by Engineer-in-charge before execution of work. After approval of structural design and drawing by AAI 5(five) set of Good for Construction" design and drawings showing all relevant details shall be submitted duly signed by the consultant. Consultant shall also submit any other details required relevant to the scope and completion of work. | 1.00 | job |  | 250000.00 | 250000.00 | 700000.00 | 700000.00 | 550000.00 | 550000.00 | 300000.00 | 300000.00 | 1500000.00 | 1500000.00 | 350000.00 | 350000.00 | 1000000.00 | 1000000.00 | 250000.00 | Uttam Deb
| Total in Figures |  |  |  |  | 90012334.00 |  | 101789015.00 |  | 86775960.00 |  | 114667940.00 |  | 110523200.00 |  | 88374550.00 |  | 87303405.00
Lowest Amount Quoted BY: SSD CONSTRUCTION(86775960.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Perimeter wall at Khowai Airport Tripura Tender ID: 2022_AAI_107924_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SSD CONSTRUCTION | 86775960.00 | L1
| 2 | TAPAN SAHA | 87303405.00 | L2
| 3 | DEBASIS BHATTACHARYYA | 88374550.00 | L3
| 4 | Uttam Deb | 90012334.00 | L4
| 5 | Vishal Builders | 101789015.00 | L5
| 6 | L K BUILDERS | 110523200.00 | L6
| 7 | KISHORE ROY | 114667940.00 | L7