## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 11-Apr-2022 02:45 PM Tender Title: Providing Fire Detection and Alarm System for I.T.B and other ancillary buildings at Vijayawada Airport Tender ID: 2022_AAI_107939_1
Tender Inviting Authority: Senior Manager (Engg-E)-I, AAI, Vijayawada International Airport.
Name of Work: Providing Fire Detection and Alarm System for I.T.B and other ancillary buildings at Vijayawada Airport.
Contract No: 2022_AAI_107939_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GLYPTIC(GSTN-19AAMFG0478J1ZY) |  | Ponmani International (India) Pvt Ltd(GSTN-33AADCP6242R2ZZ) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Security Engineers Private Limited(GSTN-19AAGCS9649J1ZJ) |  | MANASH INDUSTRIES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel of following loops, with minimum 320 character graphics / LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop. 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. The panel shall have facility for seamless integration. The panel shall be compatible for Building Management System with open protocol BACNET / MODBUS / Auto Dialler etc. as per specification, complete as required. a) Four Loop Panel | 1.00 | Each | 100.00 | 252580.00 | 252580.00 | 423620.00 | 423620.00 | 285000.00 | 285000.00 | 462500.00 | 462500.00 | 387000.00 | 387000.00 | 252580.00 | GLYPTIC
2.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Repeater Panel shall provide pin point location of the fault or fire event and should Provide complete control of system at remote location. The panel shall have a 320 character graphics / LCD display with touch screen or other keypad. | 3.00 | Each | 100.00 | 54526.00 | 163578.00 | 56295.00 | 168885.00 | 71250.00 | 213750.00 | 195500.00 | 586500.00 | 58565.00 | 175695.00 | 163578.00 | GLYPTIC
3.00 | Supplying, installation, testing & commissioning of intelligent analog addressable Smoke detector complete with mounting base complete as required. | 350.00 | Each | 100.00 | 2406.00 | 842100.00 | 2706.00 | 947100.00 | 2850.00 | 997500.00 | 2550.00 | 892500.00 | 2725.00 | 953750.00 | 842100.00 | GLYPTIC
4.00 | Supplying, installation, testing & commissioning of response indicator on surface/ recessed MS Box having two LED, metallic cover complete with all connections etc as required. | 120.00 | Each | 100.00 | 217.00 | 26040.00 | 580.00 | 69600.00 | 285.00 | 34200.00 | 110.00 | 13200.00 | 180.00 | 21600.00 | 13200.00 | Security Engineers Private Limited
5.00 | Supplying, installation, testing & commissioning of fault isolator complete with base as required. | 15.00 | Each | 100.00 | 2675.00 | 40125.00 | 1120.00 | 16800.00 | 2850.00 | 42750.00 | 0.00 | 0.00 | 3125.00 | 46875.00 | 0.00 | Security Engineers Private Limited
6.00 | Supplying, installation, testing & commissioning of intelligent addressable thermal detector with rate of rise cum fixed tempreature thermistor complete with base as required. | 10.00 | Each | 100.00 | 2310.00 | 23100.00 | 2580.00 | 25800.00 | 3325.00 | 33250.00 | 2235.00 | 22350.00 | 2270.00 | 22700.00 | 22350.00 | Security Engineers Private Limited
7.00 | Supplying, installation, testing & commissioning of addressable fire control module complete as required. | 1.00 | Each | 100.00 | 2675.00 | 2675.00 | 2855.00 | 2855.00 | 3325.00 | 3325.00 | 4145.00 | 4145.00 | 2975.00 | 2975.00 | 2675.00 | GLYPTIC
8.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 17.00 | Each | 100.00 | 2675.00 | 45475.00 | 2855.00 | 48535.00 | 4275.00 | 72675.00 | 3965.00 | 67405.00 | 3000.00 | 51000.00 | 45475.00 | GLYPTIC
9.00 | Supplying, installation, testing & commissioning of addressable horn cum strobe complete as required. | 17.00 | Each | 100.00 | 4900.00 | 83300.00 | 5447.00 | 92599.00 | 3325.00 | 56525.00 | 9500.00 | 161500.00 | 5970.00 | 101490.00 | 56525.00 | CENTRE TAP ENGINEERING
10.00 | Supplying & laying of 2Cx1.5 Sq.mm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLSH outer sheath on existing wall / in pipe / surface etc., complete as required. | 5100.00 | Mtr | 100.00 | 160.00 | 816000.00 | 111.00 | 566100.00 | 140.00 | 714000.00 | 94.00 | 479400.00 | 125.00 | 637500.00 | 479400.00 | Security Engineers Private Limited
11.00 | SITC of Auto Dialler system suitable to connect landline connection etc as required. | 1.00 | Each | 100.00 | 7706.00 | 7706.00 | 8100.00 | 8100.00 | 19000.00 | 19000.00 | 6475.00 | 6475.00 | 9125.00 | 9125.00 | 6475.00 | Security Engineers Private Limited
| Total in Figures |  |  |  |  | 2302679.00 |  | 2369994.00 |  | 2471975.00 |  | 2695975.00 |  | 2409710.00
Lowest Amount Quoted BY: GLYPTIC(2302679.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing Fire Detection and Alarm System for I.T.B and other ancillary buildings at Vijayawada Airport Tender ID: 2022_AAI_107939_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GLYPTIC | 2302679.00 | L1
| 2 | Ponmani International (India) Pvt Ltd | 2369994.00 | L2
| 3 | MANASH INDUSTRIES | 2409710.00 | L3
| 4 | CENTRE TAP ENGINEERING | 2471975.00 | L4
| 5 | Security Engineers Private Limited | 2695975.00 | L5