## BoQ1
Government eProcurement System Created By: Shekhar Kumar Created Date/Time: 13-Apr-2022 03:18 PM Tender Title: Widening and Strengthening of the Apron and Taxi Track to facilitate Operation of A-321 type of Aircraft at Bareilly Airport Tender ID: 2022_AAI_107952_1
Tender Inviting Authority: Asstt. GM (Engg.-Civil), Airports Authority of India, O/o Executive Director (Engg.)-NR, Corporate Head Quarters, B-Block, 3rd Floor, Rajiv Gandhi Bhawan, Safdarjung Airport, New Delhi-110 003
Name of Work: Widening And Strengthening of the Apron and Taxi Track to facilitate Operation of A-321 Type of Aircraft at Bareilly Airport.
Contract No: Tender ID: 2022_AAI_107952
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Raja Infraconstruction Pvt Ltd(GSTN-09AAGCR9168K1ZL) |  | Dynasty Promoters Pvt. Ltd.(GSTN-NA) |  | JKG INFRATECH PRIVATE LIMITED(GSTN-NA) |  | VISHESH INFRASTRUCTURE PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material at specified location within Airport premises as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1200.00 | Cum | 10.00 | 800.00 | 960000.00 | 1500.00 | 1800000.00 | 500.00 | 600000.00 | 350.00 | 420000.00 | 420000.00 | VISHESH INFRASTRUCTURE PVT LTD
2.00 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material at specified location within Airport premises, as per direction of Engineer-in-charge. | 15.00 | Cum | 10.00 | 300.00 | 4500.00 | 300.00 | 4500.00 | 500.00 | 7500.00 | 100.00 | 1500.00 | 1500.00 | VISHESH INFRASTRUCTURE PVT LTD
3.00 | Dismantling manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material at specified location within Airport premises as per direction of Engineer-in-charge: Water Bound Macadam (WBM) / Wet Mix Macadam (WMM) Road. | 150.00 | Sqm | 10.00 | 10.00 | 1500.00 | 300.00 | 45000.00 | 100.00 | 15000.00 | 85.00 | 12750.00 | 1500.00 | M/s Raja Infraconstruction Pvt Ltd
4.00 | Earthwork in excavation in all kinds of soil with hydraulic excavator of 0.9 cum bucket capacity including cutting and loading in tippers, trimiming bottom and side slopes in accordance with requirements of lines, grades and cross sections and transporting to embankment location with all lifts and leads within airport premises as per satisfaction and direction of Engineer-In-Charge. | 9000.00 | Cum | 10.00 | 60.00 | 540000.00 | 45.00 | 405000.00 | 75.00 | 675000.00 | 250.00 | 2250000.00 | 405000.00 | Dynasty Promoters Pvt. Ltd.
5.00 | Filling available excavated earth in depressions, low lying area in layers not exceeding 20cm in depth, spreading and consolidating each deposited layer by watering and ramming with 0.5 tonne roller and every 3rd & topmost layer with 8-10 tonne vibratory roller, with all leads and lifts involved, complete as per directions of Engineer-in-Charge. | 9000.00 | Cum | 10.00 | 40.00 | 360000.00 | 45.00 | 405000.00 | 50.00 | 450000.00 | 250.00 | 2250000.00 | 360000.00 | M/s Raja Infraconstruction Pvt Ltd
6.00 | Consolidation of sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. with earth or quarry spoils etc. and re-rolling the sub grade and disposal of surplus earth at specified location within Airport premises as per directions of Engineer-in- Charge. | 21000.00 | Sqm | 10.00 | 2.50 | 52500.00 | 2.00 | 42000.00 | 4.00 | 84000.00 | 100.00 | 2100000.00 | 42000.00 | Dynasty Promoters Pvt. Ltd.
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, mass concrete etc. | 125.00 | Sqm | 10.00 | 150.00 | 18750.00 | 150.00 | 18750.00 | 200.00 | 25000.00 | 500.00 | 62500.00 | 18750.00 | M/s Raja Infraconstruction Pvt Ltd, Dynasty Promoters Pvt. Ltd.
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 40 mm nominal size) | 1100.00 | Cum | 10.00 | 4900.00 | 5390000.00 | 4800.00 | 5280000.00 | 4400.00 | 4840000.00 | 6800.00 | 7480000.00 | 4840000.00 | JKG INFRATECH PRIVATE LIMITED
9.00 | Preparation of granular sub-base by providing close graded material, conforming to specifications mixing in a mechanical mix plant at OMC, carriage of mixed material by mechanical transport to work site, for all leads and lifts, spreading in uniform layers of specified thickness with mechanical means including neatly leveling & dressing on prepared surface and compacting with vibratory power roller to achieve the desired density, complete and as per direction of Engineer-in-charge. With material conforming to Grade-II (size range 53 mm to 0.075 mm ) | 4800.00 | Cum | 10.00 | 3100.00 | 14880000.00 | 2820.00 | 13536000.00 | 2600.00 | 12480000.00 | 4000.00 | 19200000.00 | 12480000.00 | JKG INFRATECH PRIVATE LIMITED
10.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant , carriage of mixed material by mechanical transport to site, for all leads and lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 4400.00 | Cum | 10.00 | 3400.00 | 14960000.00 | 2820.00 | 12408000.00 | 3000.00 | 13200000.00 | 4500.00 | 19800000.00 | 12408000.00 | Dynasty Promoters Pvt. Ltd.
11.00 | Providing and applying tack coat using hot straight run bitumen of viscosity grade VG - 30, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler,cleaning and preparing the existing road surface as per specifications. On W.M.M. Surface @ 0.75 Kg/sqm | 18500.00 | Sqm | 10.00 | 37.50 | 693750.00 | 30.00 | 555000.00 | 39.50 | 730750.00 | 22.00 | 407000.00 | 407000.00 | VISHESH INFRASTRUCTURE PVT LTD
12.00 | Providing and applying tack coat using hot straight run bitumen of viscosity grade VG - 30, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler,cleaning and preparing the existing road surface as per specifications. On Concrete Surface @ 0.60 Kg/sqm | 35600.00 | Sqm | 10.00 | 30.00 | 1068000.00 | 25.00 | 890000.00 | 31.50 | 1121400.00 | 15.00 | 534000.00 | 534000.00 | VISHESH INFRASTRUCTURE PVT LTD
13.00 | Providing and applying tack coat using hot straight run bitumen of viscosity grade VG - 30, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler,cleaning and preparing the existing road surface as per specifications. On existing black topped surface @ 0.5 Kg/sqm | 110000.00 | Sqm | 10.00 | 25.00 | 2750000.00 | 25.00 | 2750000.00 | 24.00 | 2640000.00 | 15.00 | 1650000.00 | 1650000.00 | VISHESH INFRASTRUCTURE PVT LTD
14.00 | Providing and laying of Hot Mix Dense Bituminous Macadam(DBM) using crushed stone aggregate of quality, size and grading as specified and cement as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete as per specifications and directions of Engineer-in-Charge. [for tendering purpose VG bitumen of grade VG-30 shall be taken as 110 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 7075.00 | Cum | 10.00 | 8640.00 | 61128000.00 | 10000.00 | 70750000.00 | 10780.00 | 76268500.00 | 10000.00 | 70750000.00 | 61128000.00 | M/s Raja Infraconstruction Pvt Ltd
15.00 | Providing and laying of Hot Mix Semi Dense Asphaltic Concrete(SDAC) using crushed stone aggregate of quality, size and grading as specified and cement as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete as per specifications and directions of Engineer-in-Charge. [for tendering purpose VG bitumen of grade VG-30 content shall be taken as 120 kg/m3 of mix supplied in bulk produced by Govt. refineries and 2% cement by weight of aggregates as filler material]. | 2800.00 | Cum | 10.00 | 10250.00 | 28700000.00 | 11300.00 | 31640000.00 | 11400.00 | 31920000.00 | 10200.00 | 28560000.00 | 28560000.00 | VISHESH INFRASTRUCTURE PVT LTD
16.00 | Providing and laying of Hot Mix Dense Asphaltic Concrete(DAC) using crushed stone aggregate of quality, size and grading as specified and cement as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete as per specifications and directions of Engineer-in-Charge [for tendering purpose VG bitumen of grade VG-30 content shall be taken as 135 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 2200.00 | Cum | 10.00 | 11680.00 | 25696000.00 | 11600.00 | 25520000.00 | 12150.00 | 26730000.00 | 11000.00 | 24200000.00 | 24200000.00 | VISHESH INFRASTRUCTURE PVT LTD
17.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. New work (One or more coats) | 5500.00 | Sqm | 10.00 | 85.00 | 467500.00 | 400.00 | 2200000.00 | 110.00 | 605000.00 | 750.00 | 4125000.00 | 467500.00 | M/s Raja Infraconstruction Pvt Ltd
18.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. New work (Two or more coats) | 2750.00 | Sqm | 10.00 | 130.00 | 357500.00 | 400.00 | 1100000.00 | 140.00 | 385000.00 | 750.00 | 2062500.00 | 357500.00 | M/s Raja Infraconstruction Pvt Ltd
19.00 | Providing, hoisting and fixing up to floor five level precast reinforced cementconcrete in small lintels not exceeding 1.5m clear span up to floor fivelevel, including the cost of required centering, shuttering but , excludingthe cost of reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 5.00 | Cum | 10.00 | 7000.00 | 35000.00 | 7000.00 | 35000.00 | 6000.00 | 30000.00 | 8250.00 | 41250.00 | 30000.00 | JKG INFRATECH PRIVATE LIMITED
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 600.00 | Kg | 10.00 | 85.00 | 51000.00 | 90.00 | 54000.00 | 90.00 | 54000.00 | 85.00 | 51000.00 | 51000.00 | M/s Raja Infraconstruction Pvt Ltd, VISHESH INFRASTRUCTURE PVT LTD
21.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 2000.00 | Kg | 10.00 | 120.00 | 240000.00 | 125.00 | 250000.00 | 105.00 | 210000.00 | 120.00 | 240000.00 | 210000.00 | JKG INFRATECH PRIVATE LIMITED
22.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | 50.00 | Sqm | 10.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 1000.00 | 50000.00 | 5000.00 | Dynasty Promoters Pvt. Ltd.
23.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 100.00 | Cum | 10.00 | 4700.00 | 470000.00 | 4500.00 | 450000.00 | 4200.00 | 420000.00 | 6500.00 | 650000.00 | 420000.00 | JKG INFRATECH PRIVATE LIMITED
24.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 250 mm dia. R.C.C. pipe | 120.00 | Mtr | 10.00 | 700.00 | 84000.00 | 800.00 | 96000.00 | 1500.00 | 180000.00 | 1500.00 | 180000.00 | 84000.00 | M/s Raja Infraconstruction Pvt Ltd
25.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 450 mm dia RCC pipes. | 10.00 | Mtr | 10.00 | 1800.00 | 18000.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 4500.00 | 45000.00 | 18000.00 | M/s Raja Infraconstruction Pvt Ltd
26.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 600 mm dia RCC pipes. | 20.00 | Mtr | 10.00 | 3000.00 | 60000.00 | 3000.00 | 60000.00 | 3400.00 | 68000.00 | 8500.00 | 170000.00 | 60000.00 | M/s Raja Infraconstruction Pvt Ltd, Dynasty Promoters Pvt. Ltd.
27.00 | Providing, laying and fixing of self adhesive glass fibre reinforcement grid of high modulus fibre glass of mesh size not exceeding 12.5mmX12.5mm. The self adhesive glass fibre reinforement after laying over the runway pavement shall be pressed down fully with a rubber tired roller and glued to pavement surface. The grid being self adhesive goes not require tack coat. The longitudinal overlap should not be less than 250mm and transverse overlap i.e. at the end of the roll should not be less than 150mm. The items should be completed in all respect, to the satisfaction of Engineer-In-Charge. | 36000.00 | Sqm | 10.00 | 120.00 | 4320000.00 | 130.00 | 4680000.00 | 135.00 | 4860000.00 | 220.00 | 7920000.00 | 4320000.00 | M/s Raja Infraconstruction Pvt Ltd
28.00 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metreslead as per direction of Engineer-in-charge. In cement mortar | 15.00 | Cum | 10.00 | 300.00 | 4500.00 | 1000.00 | 15000.00 | 300.00 | 4500.00 | 100.00 | 1500.00 | 1500.00 | VISHESH INFRASTRUCTURE PVT LTD
29.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | Cum | 10.00 | 5200.00 | 104000.00 | 5500.00 | 110000.00 | 7500.00 | 150000.00 | 8500.00 | 170000.00 | 104000.00 | M/s Raja Infraconstruction Pvt Ltd
30.00 | 12 mm cement plaster of mix 1:6 (1 cement: 6 coarse sand) | 90.00 | Sqm | 10.00 | 180.00 | 16200.00 | 250.00 | 22500.00 | 250.00 | 22500.00 | 550.00 | 49500.00 | 16200.00 | M/s Raja Infraconstruction Pvt Ltd
31.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in Charge. 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 300.00 | Sqm | 10.00 | 700.00 | 210000.00 | 800.00 | 240000.00 | 850.00 | 255000.00 | 1500.00 | 450000.00 | 210000.00 | M/s Raja Infraconstruction Pvt Ltd
32.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leadsincluding all lifts involved. | 1500.00 | Cum | 10.00 | 100.00 | 150000.00 | 100.00 | 150000.00 | 150.00 | 225000.00 | 150.00 | 225000.00 | 150000.00 | M/s Raja Infraconstruction Pvt Ltd, Dynasty Promoters Pvt. Ltd.
33.00 | Supply of cast iron Isolating Transformer Housing Box, water tight round type, metal container of outside size 330 mm dia, height 450 mm made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick, cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer, power cable and having two holes opposite as per site requirement at the periphery, centre 75 mm above bottom surface suitable to receive 50 mm dia HDPE pipe as required. The box should have two SS earth bolts of M10x40 mm tapped inside near the hole (4" away from hole centre) and having drain hole at the bottom suitably tapped to receive 15mm dia GI pipe and having clear opening of 220 mm at the top surface and 06 Nos. M10 tapped hole having centre to centre distance of 260mm alongwith bolts as required as per the drawings & complete in all respect as per site requirement. | 125.00 | Each | 10.00 | 4500.00 | 562500.00 | 5400.00 | 675000.00 | 5500.00 | 687500.00 | 6650.00 | 831250.00 | 562500.00 | M/s Raja Infraconstruction Pvt Ltd
34.00 | Supply & fixing of CI collar round type of outside dia 330mm of 200mm height made of 10 mm thick cast iron moulding all round except on top surface which is 15 mm thick cast iron moulding suitable to receive a light fitting base plate on the top and existing CI transformer housing box at the bottom . The CI collar shall have a clear opening of 220mm at the top and bottom to fix the collar on the existing CI box including providing 6 nos. M10 bolt (SS) and a base plate gasket for each collar etc. as required. | 15.00 | Each | 10.00 | 3000.00 | 45000.00 | 3050.00 | 45750.00 | 3800.00 | 57000.00 | 4950.00 | 74250.00 | 45000.00 | M/s Raja Infraconstruction Pvt Ltd
35.00 | Supply of following dia ISI mark HDPE pipe of PN6 & PE80 grade with accessories etc. and as per relevant IS amended upto date complete as per site requirement. A) 50 mm dia(OD) | 4000.00 | Mtr. | 10.00 | 50.00 | 200000.00 | 75.00 | 300000.00 | 120.00 | 480000.00 | 89.00 | 356000.00 | 200000.00 | M/s Raja Infraconstruction Pvt Ltd
36.00 | Installation of Transformer Housing Boxes with a base concrete of 1:3:6 of size 630 x 630 x 100 mm. thick, all round concrete of 1:2:4, 150 mm. thick, the top sloped with 1:2:4 cement concrete including providing and fixing 10" long 15 mm. dia. "B" class GI pipe with check nuts for drainage of water including excavation of side shoulder and refilling (wherever the transformer boxes are in a line the same has to be aligned in such a way that the centre fall in a straight line) etc, complete as required. (The box shall project above the shoulder to a maximum of 5 cm.) | 125.00 | Each | 10.00 | 1000.00 | 125000.00 | 3150.00 | 393750.00 | 2500.00 | 312500.00 | 6300.00 | 787500.00 | 125000.00 | M/s Raja Infraconstruction Pvt Ltd
37.00 | Laying of 50 mm dia HDPE pipe to connect the consecutive existing Transformer Housing Boxes at a suitable depth i/c providing the socket , lock/check nut /other suitable accessories at both sides of Transformer Housing wall to fix pipe. The laying shall be in hard surface /soft surface with standard industry practice with all safety and precautions including getting out the excavated materials , returning the soil as required in layers not exceeding 20 cm in depth including consolidating each deposit layer by ramming & watering etc. making good the same & disposal of unusable material etc. as required as per the direction of Engineer-In -Charge. | 4000.00 | Mtr. | 10.00 | 40.00 | 160000.00 | 95.00 | 380000.00 | 100.00 | 400000.00 | 225.00 | 900000.00 | 160000.00 | M/s Raja Infraconstruction Pvt Ltd
| Total in Figures |  |  |  |  | 164890700.00 |  | 177331250.00 |  | 181230650.00 |  | 199057500.00
Lowest Amount Quoted BY: M/s Raja Infraconstruction Pvt Ltd(164890700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Widening and Strengthening of the Apron and Taxi Track to facilitate Operation of A-321 type of Aircraft at Bareilly Airport Tender ID: 2022_AAI_107952_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Raja Infraconstruction Pvt Ltd | 164890700.00 | L1
| 2 | Dynasty Promoters Pvt. Ltd. | 177331250.00 | L2
| 3 | JKG INFRATECH PRIVATE LIMITED | 181230650.00 | L3
| 4 | VISHESH INFRASTRUCTURE PVT LTD | 199057500.00 | L4