## BoQ1
Government eProcurement System Created By: MUTHAMILAN M Created Date/Time: 07-Apr-2022 03:00 PM Tender Title: Annual Operation and Maintenance Contract for E and M Installation and Other Allied Works at Rajahmundry Airport for Two Years 2022-24 Tender ID: 2022_AAI_108196_1
Tender Inviting Authority: ASST. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, RAJAHMUNDRY AIRPORT, RAJAHMUNDRY
Name of Work: ARMO of E & M Installations at Rajahmundry Airport for the Year 2022-23 Sub - Head: Annual Operation & Maintenance Contract for E&M Installation and Other Allied Works at Rajahmundry Airport for Two Years. (Year 2022-24).
Contract No: 2022_AAI_ 108196 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | VOLTAS LIMITED(GSTN-32AAACV2809D1ZV) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I - Job Contract for Operation & Maintenance of E&M Installations. Opeartion and Maintenance Contract of Preventive/breakdown maintenance,repair and operation of Electrical & Mechanical installations of 11 KV / 415 V sub station, HT and LT distribution panels, AMF Panels, UPS System, Battery Charger ,operation of DG sets , Electrical Installation of teriminal building, ATC cum techinical block and operational area NAVAIDS, complete GLF System(CCR, Runway & Taxiway Lighting, PAPI and Approach lighting System), Street light/parking lights/high mast/flag high mast, maintenance of earth pits, Apron light and perimeter lighting, operations and maintenance of Hydro Pneumatic Water Supply System, Fire Alarm & Fire Hydrant System, Sewerage treatment plant(STP), Elevators etc etc. attending day to day complaints/faults/breakdowns and taking recification action,ensuring serviceablility/satisfactory working condition of the systems.Maintenance of records/documentation etc. covered under this contracton all days including Sunday and holidays as per Special Conditions of Contract. | 24.00 | Month |  | 700857.00 | 16820568.00 | 766666.00 | 18399984.00 | 677000.00 | 16248000.00 | 675000.00 | 16200000.00 | 664201.00 | 15940824.00 | 717394.00 | 17217456.00 | 705764.00 | 16938336.00 | 707186.00 | 16972464.00 | 15940824.00 | Manish Electricals
2.00 | SH:II - CMC Of Addressable and Conventional Fire Alarm System Annual Comprehensive maintenance contract of addressable and conventional fire alarm system ,detection control panels, repeater panels of Edward EST-3 ,& Globe GE:8001N, Agni makes & capacity installed in Terminal Building, ATC cum Technical Block, Ancillary Builiding, Power house, DVOR, NDB etc.. Maintenance & upkeeping of all type of smoke detectors, heat detectors, response indicators, beam detector, manual call points, control modules, circuit isolators, multi criteria detectors, monitor module, hooters, Autodialer,detector with sounder base including associated wiring work upto main fire control panel installed at various locations of Terminal Building , ATC cum Technical Block, Ancillary Builiding, Power house, DVOR, NDB . The work includes periodical checking / testing, servicing, maintaining records, attending breakdown calls as detailed in the special conditions of the contract, particular specification etc. complete as required. (Note: Agency has to provide certified engineer for quarterly service visit of addressable/conventional fire alarm system for complete check of intelligent fire alarm and detection system and rectification of all type of faults complete as required including software up-dation. The engineer has to submit quarterly service reports.) | 24.00 | Month |  | 8000.00 | 192000.00 | 15000.00 | 360000.00 | 17000.00 | 408000.00 | 50000.00 | 1200000.00 | 19000.00 | 456000.00 | 18681.00 | 448344.00 | 15999.00 | 383976.00 | 50000.00 | 1200000.00 | 192000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.00 | Repairing,servicing of sluice/ butterfly valves/ NRV/gate valve etc .of different sizes provided in the fire system at various locations of fire hydrant and sprinkler system as required. (Item will be executed only if required) | 5.00 | Job |  | 1500.00 | 7500.00 | 10000.00 | 50000.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 2000.00 | 10000.00 | 329.00 | 1645.00 | 3500.00 | 17500.00 | 4000.00 | 20000.00 | 1645.00 | VOLTAS LIMITED
4.00 | Repairing & servicing of following capacity pump sets after dismantling and providing all necessary defective/worn out parts such as nut-bolts, rubber gasket gland dori, rubber coupling, suitable bearings etc. and re-assembling the pump, making the pump set perfect working condition as per good engineering practice complete in all respect as required at site.(Item will be executed only if Required)
4.01 | Jockey Pump set (Make: CG, 7.5KW/10 HP, Pump: Mather& Platt 12 m3/hr) | 1.00 | Job |  | 3250.00 | 3250.00 | 5200.00 | 5200.00 | 4500.00 | 4500.00 | 2500.00 | 2500.00 | 10000.00 | 10000.00 | 9890.00 | 9890.00 | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 2500.00 | CENTRE TAP ENGINEERING
4.02 | Hydrant pump set(Make: CG, 45KW/60HP, Pump: Mather& Platt 130 m3/hr) | 1.00 | Job |  | 10000.00 | 10000.00 | 32000.00 | 32000.00 | 20000.00 | 20000.00 | 5000.00 | 5000.00 | 15000.00 | 15000.00 | 43956.00 | 43956.00 | 60000.00 | 60000.00 | 15000.00 | 15000.00 | 5000.00 | CENTRE TAP ENGINEERING
5.00 | Supply of Non-Return valve (dual type wafer plate NRV) of following size including bolt ,nut, washers and rubber gasket as required:-
5.01 | 150 mm dia | 2.00 | Each |  | 7500.00 | 15000.00 | 6700.00 | 13400.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 8484.00 | 16968.00 | 9000.00 | 18000.00 | 10000.00 | 20000.00 | 10000.00 | CENTRE TAP ENGINEERING
5.02 | 65 mm dia | 1.00 | Each |  | 3400.00 | 3400.00 | 3000.00 | 3000.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 3291.00 | 3291.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 2000.00 | CENTRE TAP ENGINEERING
6.00 | Supply of cast iron ball type foot valve for installation at the bottom of pump suction line (inside the tank) of the following sizes
6.01 | 150 mm dia | 2.00 | Each |  | 6000.00 | 12000.00 | 6400.00 | 12800.00 | 5500.00 | 11000.00 | 7500.00 | 15000.00 | 5000.00 | 10000.00 | 14065.00 | 28130.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 10000.00 | Manish Electricals
6.02 | 65 mm dia | 1.00 | Each |  | 4000.00 | 4000.00 | 3200.00 | 3200.00 | 3800.00 | 3800.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 3626.00 | 3626.00 | 12000.00 | 12000.00 | 20000.00 | 20000.00 | 3200.00 | Comfort Zone
7.00 | Supply of 12 volt,7 AH sealed maintenance free battery for fire alarm panels | 8.00 | Each |  | 1150.00 | 9200.00 | 880.00 | 7040.00 | 1350.00 | 10800.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 1340.00 | 10720.00 | 6000.00 | 48000.00 | 20000.00 | 160000.00 | 7040.00 | Comfort Zone
8.00 | SH:III - Maintenance Of 60KLD STP Carrying out proper cleaning of raw sewage sump, aeration tanks, settling tanks and chlorine contact tanks etc. of 60 KLD STP Plant to ensure smooth operation of the plant and activity time schedule shall be submitted to AAI before planning the cleaning of tanks to avoid hampering of terminal operations etc. complete as required. | 2.00 | Job |  | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 20000.00 | 40000.00 | 3250.00 | 6500.00 | 15000.00 | 30000.00 | 8241.00 | 16482.00 | 200000.00 | 400000.00 | 40000.00 | 80000.00 | 6500.00 | CENTRE TAP ENGINEERING
9.00 | Supply and replacement of Filter Media as required for pressure sand filter & active carbon filters of 60 KLD Sewage Treatment plant as specified in the special conditions of the contract etc. complete as required. | 1.00 | Job |  | 35000.00 | 35000.00 | 150000.00 | 150000.00 | 37500.00 | 37500.00 | 26000.00 | 26000.00 | 30000.00 | 30000.00 | 38461.00 | 38461.00 | 150000.00 | 150000.00 | 50000.00 | 50000.00 | 26000.00 | CENTRE TAP ENGINEERING
10.00 | Supply of following Chemicals for day to day operation of Sewage Treatment Plant & as and when required.
10.01 | Liquid Chlorine | 100.00 | Ltrs |  | 30.00 | 3000.00 | 100.00 | 10000.00 | 30.00 | 3000.00 | 50.00 | 5000.00 | 30.00 | 3000.00 | 27.00 | 2700.00 | 70.00 | 7000.00 | 300.00 | 30000.00 | 2700.00 | VOLTAS LIMITED
10.02 | Bleaching powder | 10.00 | Kg |  | 50.00 | 500.00 | 50.00 | 500.00 | 49.00 | 490.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 18.00 | 180.00 | 40.00 | 400.00 | 40.00 | 400.00 | 180.00 | VOLTAS LIMITED
11.00 | Testing of treated water sample for PH, Total Suspended solids(in mg/L), Biochemical Oxygen Demand(BOD) (in mg/L), Chemical Oxygen Demand(COD) (in mg/L), Oil & Grease (in mg/L) and Total Residual chlorine(Cl2) (in mg/L) from NABL accredited lab in quarterly basis and submission of test analysis reports as per norms of statutory authority as required. | 8.00 | Job |  | 1500.00 | 12000.00 | 8000.00 | 64000.00 | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 2000.00 | 16000.00 | 6043.00 | 48344.00 | 30000.00 | 240000.00 | 5000.00 | 40000.00 | 8000.00 | CENTRE TAP ENGINEERING
12.00 | Supply of 75 mm size PVC Ball Valve for Water Supply line | 6.00 | Each |  | 350.00 | 2100.00 | 700.00 | 4200.00 | 350.00 | 2100.00 | 2000.00 | 12000.00 | 400.00 | 2400.00 | 494.00 | 2964.00 | 3000.00 | 18000.00 | 8000.00 | 48000.00 | 2100.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, LAKSHMI ELECTRICAL ENTERPRISES
13.00 | Supply of 50mm size PVC Non Return Valve (NRV) for Water Supply line | 2.00 | Each |  | 200.00 | 400.00 | 4500.00 | 9000.00 | 210.00 | 420.00 | 1500.00 | 3000.00 | 200.00 | 400.00 | 439.00 | 878.00 | 3000.00 | 6000.00 | 9000.00 | 18000.00 | 400.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, Manish Electricals
14.00 | Repair,Rewinding and servicing of following capacity 415Volt 50 Hz AC supply of 60 KLD Sewage treatment plant pump motors/submersible pump, Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required.
14.01 | 1HP/1.5 HP | 6.00 | Job |  | 4000.00 | 24000.00 | 2400.00 | 14400.00 | 3850.00 | 23100.00 | 2000.00 | 12000.00 | 3000.00 | 18000.00 | 5494.00 | 32964.00 | 9000.00 | 54000.00 | 3000.00 | 18000.00 | 12000.00 | CENTRE TAP ENGINEERING
14.02 | 5HP | 2.00 | Job |  | 6500.00 | 13000.00 | 7200.00 | 14400.00 | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 7692.00 | 15384.00 | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 9000.00 | Manish Electricals
15.00 | SH:IV - Filtration of Transformer Oil and Servicing of HT LT Breakers etc. Testing of transformer oil sample including conducting BDV test & acidity test in reputed Govt. approved labs and producing test report etc complete as required.(02 No.of 1250 KVA Transformers: Total Qty:02)
15.01 | For First Year (Rate per Transformer per Year) | 2.00 | Job |  | 3000.00 | 6000.00 | 15000.00 | 30000.00 | 4000.00 | 8000.00 | 7500.00 | 15000.00 | 5000.00 | 10000.00 | 2197.00 | 4394.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 4394.00 | VOLTAS LIMITED
15.02 | For Second Year (Rate per Transformer per Year) | 2.00 | Job |  | 3000.00 | 6000.00 | 15000.00 | 30000.00 | 4200.00 | 8400.00 | 7500.00 | 15000.00 | 5000.00 | 10000.00 | 2197.00 | 4394.00 | 6000.00 | 12000.00 | 4200.00 | 8400.00 | 4394.00 | VOLTAS LIMITED
16.00 | Filtration of transformer oil to attain acceptable di-electric strength by hot streamline process including arranging plant, transportation etc. complete as required installed at Rajahmundry Airport including submission of test reports before & after dehydration of oil. (Item is to be executed if the BDV value of transformer oil is found below the stipulated value).
16.01 | For First Year | 1550.00 | Litres |  | 16.00 | 24800.00 | 10.00 | 15500.00 | 18.00 | 27900.00 | 4.00 | 6200.00 | 10.00 | 15500.00 | 9.00 | 13950.00 | 15.00 | 23250.00 | 10.00 | 15500.00 | 6200.00 | CENTRE TAP ENGINEERING
16.02 | For Second Year | 1550.00 | Litres |  | 16.00 | 24800.00 | 10.00 | 15500.00 | 18.00 | 27900.00 | 4.00 | 6200.00 | 10.00 | 15500.00 | 9.00 | 13950.00 | 16.00 | 24800.00 | 11.00 | 17050.00 | 6200.00 | CENTRE TAP ENGINEERING
17.00 | Calibration & discrimination of different types of relays in the existing LT Panel board like IDMT relay, master trip relay, reverse power relay, over current/earth fault relays including submitting test certificates by OEM Service dealers/ Government Approved Agencies etc complete as required.
17.01 | For First Year | 16.00 | Each |  | 2500.00 | 40000.00 | 6000.00 | 96000.00 | 4500.00 | 72000.00 | 1250.00 | 20000.00 | 3500.00 | 56000.00 | 1648.00 | 26368.00 | 1900.00 | 30400.00 | 4000.00 | 64000.00 | 20000.00 | CENTRE TAP ENGINEERING
17.02 | For Second Year | 16.00 | Each |  | 2500.00 | 40000.00 | 6000.00 | 96000.00 | 4600.00 | 73600.00 | 1250.00 | 20000.00 | 3500.00 | 56000.00 | 1648.00 | 26368.00 | 2000.00 | 32000.00 | 4000.00 | 64000.00 | 20000.00 | CENTRE TAP ENGINEERING
18.00 | Inspection,servicing and testing of 2x1250 KVA distribution transformer 11 kv/ 433 V i/c carring out the following tests and submitting test reports by OEM Service dealers/Government Approved Agencies etc complete as required. a) General inspection b) IR value test primary to secondary, primary to earth , secondary to earth c) Votage ratio check at all tap position, d) Bucholtz relay operation e) OTI operation f) WTI operation g) Tap changer operation Check h) Cleaning of transformer and replacement of silica gel i) Calibration & discrimination of different types of relays in the existing 11KV HT Panel(total 05 No. of feeders) board like master trip relay, IDMT/over current/earth fault relays including submitting test certificates by OEM Service dealers/ Government Approved Agencies etc complete as required. (02 No.of 1250 KVA Transformers: Total Qty:02)
18.01 | For First Year | 1.00 | Job |  | 10000.00 | 10000.00 | 9600.00 | 9600.00 | 11700.00 | 11700.00 | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 13186.00 | 13186.00 | 25000.00 | 25000.00 | 110000.00 | 110000.00 | 9600.00 | Comfort Zone
18.02 | For Second Year | 1.00 | Job |  | 10000.00 | 10000.00 | 9600.00 | 9600.00 | 12500.00 | 12500.00 | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 13186.00 | 13186.00 | 30000.00 | 30000.00 | 120000.00 | 120000.00 | 9600.00 | Comfort Zone
19.00 | Supply and Toping up the transformer oil in conservator tank upto a required level with new treated transformer oil (As per IS and approved make) as and when required. | 500.00 | Liters |  | 110.00 | 55000.00 | 250.00 | 125000.00 | 200.00 | 100000.00 | 44.00 | 22000.00 | 150.00 | 75000.00 | 142.00 | 71000.00 | 140.00 | 70000.00 | 130.00 | 65000.00 | 22000.00 | CENTRE TAP ENGINEERING
20.00 | Supply and replacement of silica gel blue of breather units of transformers as required | 8.00 | Kg |  | 350.00 | 2800.00 | 500.00 | 4000.00 | 425.00 | 3400.00 | 65.00 | 520.00 | 500.00 | 4000.00 | 384.00 | 3072.00 | 900.00 | 7200.00 | 550.00 | 4400.00 | 520.00 | CENTRE TAP ENGINEERING
21.00 | Servicing, Checking and Testing of the following Make & Capacity LT Air circuit breakers(ACB) through OEM/ authorised service agency of OEM as per recommended standards and submission of test report to AAI complete as required. (Job includes calibaration of inbuilt over current/earth fault relay, checking of internal wiring of ACB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works and supply of the consumables.)
21.01 | 2000 A, Make: L& T , 4 pole , Model: U power Omega | 3.00 | Each |  | 2500.00 | 7500.00 | 6000.00 | 18000.00 | 6000.00 | 18000.00 | 3000.00 | 9000.00 | 8000.00 | 24000.00 | 2747.00 | 8241.00 | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 7500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
21.02 | 1250 A, Make: L& T , 3/4 pole , Model: U power Omega | 20.00 | Each |  | 2500.00 | 50000.00 | 6000.00 | 120000.00 | 6200.00 | 124000.00 | 2500.00 | 50000.00 | 8000.00 | 160000.00 | 2747.00 | 54940.00 | 5000.00 | 100000.00 | 4500.00 | 90000.00 | 50000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, CENTRE TAP ENGINEERING
22.00 | Breakdown Service visits for attending complaints of L&T Make 1250/2000 A LT Air circuit breakers(ACB) against AAI calls including replacement of defective parts etc. complete as required.(Spares shall be provided by AAI)
22.01 | For First Year | 2.00 | Visit |  | 8000.00 | 16000.00 | 20000.00 | 40000.00 | 10500.00 | 21000.00 | 5000.00 | 10000.00 | 8000.00 | 16000.00 | 3296.00 | 6592.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 6592.00 | VOLTAS LIMITED
22.02 | For Second Year | 2.00 | Visit |  | 8000.00 | 16000.00 | 20000.00 | 40000.00 | 10500.00 | 21000.00 | 5000.00 | 10000.00 | 8000.00 | 16000.00 | 3296.00 | 6592.00 | 11000.00 | 22000.00 | 5000.00 | 10000.00 | 6592.00 | VOLTAS LIMITED
23.00 | Servicing, Checking,Inspection, Repairing, overhauing and testing of Jyoti Make & Capacity ,type PH-700,12KV,800A HT Vacuum Circuit Breaker (VCB) through OEM/ authorised service agency of OEM as per recommended standards and submission of test report to AAI complete as required. (Job includes checking of internal wiring of VCB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works and supply of the consumables.)
23.01 | 1st Year (Rate per VCB per Year) | 5.00 | Each |  | 6000.00 | 30000.00 | 2800.00 | 14000.00 | 10000.00 | 50000.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 4395.00 | 21975.00 | 7000.00 | 35000.00 | 8000.00 | 40000.00 | 14000.00 | Comfort Zone
23.02 | 2nd Year (Rate per VCB per Year) | 5.00 | Each |  | 6000.00 | 30000.00 | 2800.00 | 14000.00 | 11000.00 | 55000.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 4395.00 | 21975.00 | 7500.00 | 37500.00 | 8000.00 | 40000.00 | 14000.00 | Comfort Zone
24.00 | Breakdown Service visits for attending complaints of Jyoti Make & Capacity ,type PH-700,12KV,800A HT Vacuum Circuit Breaker (VCB)against AAI calls including replacement of defective parts etc. complete as required.(Spares shall be provided by AAI)
24.01 | For First Year | 1.00 | Each |  | 8000.00 | 8000.00 | 20000.00 | 20000.00 | 12500.00 | 12500.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 3296.00 | 3296.00 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 3296.00 | VOLTAS LIMITED
24.02 | For Second Year | 1.00 | Each |  | 8000.00 | 8000.00 | 20000.00 | 20000.00 | 13000.00 | 13000.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 3296.00 | 3296.00 | 13000.00 | 13000.00 | 10000.00 | 10000.00 | 3296.00 | VOLTAS LIMITED
25.00 | SH:V - Servicing of E & M Installations Rewinding, servicing, repairing of ceiling fan / wall fan / Exhaust fan including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 20.00 | Job |  | 450.00 | 9000.00 | 640.00 | 12800.00 | 550.00 | 11000.00 | 250.00 | 5000.00 | 400.00 | 8000.00 | 1098.00 | 21960.00 | 1200.00 | 24000.00 | 450.00 | 9000.00 | 5000.00 | CENTRE TAP ENGINEERING
26.00 | servicing, repairing of fully automatic sensor type hand dryers including replacement of wornout / defective parts like sensors, i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 10.00 | Job |  | 1100.00 | 11000.00 | 800.00 | 8000.00 | 1250.00 | 12500.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 1098.00 | 10980.00 | 5000.00 | 50000.00 | 3000.00 | 30000.00 | 8000.00 | Comfort Zone
27.00 | Repair and rewinding of submersible pump motor set of above 2 HP and upto 10 HP Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required. | 6.00 | Job |  | 7000.00 | 42000.00 | 8000.00 | 48000.00 | 7500.00 | 45000.00 | 7500.00 | 45000.00 | 6000.00 | 36000.00 | 8241.00 | 49446.00 | 15000.00 | 90000.00 | 4000.00 | 24000.00 | 24000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
28.00 | Lifting ,lowering, Repair of submersible pumps upto 10 HP from existing borewell/open well & installation, testing and commissioning at site by using tripod and other tools, including its connected pipe & cable, packings, nut bolts etc and making water proof joint in submersible cable complete as required | 6.00 | Job |  | 7000.00 | 42000.00 | 5600.00 | 33600.00 | 3900.00 | 23400.00 | 5000.00 | 30000.00 | 5000.00 | 30000.00 | 7692.00 | 46152.00 | 9000.00 | 54000.00 | 5500.00 | 33000.00 | 23400.00 | LAKSHMI ELECTRICAL ENTERPRISES
29.00 | Annual maintenance contract of 2 Sets Hydro pneumatic pump Systems of DP make including the cost of spares for trouble shooting and breakdown maintenance etc. as required as per good engineering practice, recommendation of the original equipment manufacturer (OEM) and instructions of Engineer-in-charge for maintaining the system in acceptable, functional, operational and serviceable state of the following system. Hydro pneumatic pump system models: (a)HPS DPVF 18-40 4.0 KW -1W+1S(01 number) (b) HPS DPV 15/4B- 3.32 KW -1W+1S(01 number) Above mentioned two pump sets consisting of suction and discharge manifold, NRV, DRP, VFD, Control panel, isolating valves, Pressure Gauge, pressure Transmitter, base Frame, Pressure tank etc. | 24.00 | Month |  | 4500.00 | 108000.00 | 8000.00 | 192000.00 | 7100.00 | 170400.00 | 5000.00 | 120000.00 | 9000.00 | 216000.00 | 8791.00 | 210984.00 | 15000.00 | 360000.00 | 50000.00 | 1200000.00 | 108000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
30.00 | SH:VI - DSR item Execution of Complete items of CPWD Delhi scheduleof rates (E&M) 2018.[Up to a Ceiling limit of Rs.5,00,000.00 without GST]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. (Note: the firm has to quote / upload the percentage above / below (+/-) % on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below. The rate provided in DSR 2018 is inclusive of GST, however the contractor has to quote the percentage rate excluding GST). | 500000.00 | Rs. |  | .75 | 375000.00 | .80 | 400000.00 | 1.00 | 500000.00 | 1.00 | 500000.00 | .75 | 375000.00 | .50 | 250000.00 | 1.10 | 550000.00 | 1.00 | 500000.00 | 250000.00 | VOLTAS LIMITED
| Total in Figures |  |  |  |  | 18168818.00 |  | 20604724.00 |  | 18293910.00 |  | 18523920.00 |  | 17824624.00 |  | 18848680.00 |  | 20083362.00 |  | 21264214.00
Lowest Amount Quoted BY: Manish Electricals(17824624.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for E and M Installation and Other Allied Works at Rajahmundry Airport for Two Years 2022-24 Tender ID: 2022_AAI_108196_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 17824624.00 | L1
| 2 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 18168818.00 | L2
| 3 | LAKSHMI ELECTRICAL ENTERPRISES | 18293910.00 | L3
| 4 | CENTRE TAP ENGINEERING | 18523920.00 | L4
| 5 | VOLTAS LIMITED | 18848680.00 | L5
| 6 | DElite System Engineering (India) Pvt. Ltd. | 20083362.00 | L6
| 7 | Comfort Zone | 20604724.00 | L7
| 8 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 21264214.00 | L8