## BoQ1
Government eProcurement System Created By: RISHI RAJ BAGRE Created Date/Time: 06-Apr-2022 11:11 AM Tender Title: ARMO of E and M Installations of GLF systems, Nav Aids, OTB, Old power house, Technical Block, Residential colony and CMC of Air Conditioners, Water Coolers and Water purifiers etc. at DABH Airport Indore for 02 Two Years 2022 2024. Tender ID: 2022_AAI_108294_1
Tender Inviting Authority: <AGM (E-E), DABH Airport, Indore>
Name of Work: <ARMO of E & M Installations of GLF systems, Nav-Aids, OTB, Old power house, Technical Block, Residential colony and CMC of Air Conditioners, Water Coolers & Water purifiers etc. at DABH Airport Indore for 02 (Two) Years ( 2022-2024). >
Contract No: <AAI/ID/ENGG(E)/Enit-07/2021-22 (Tender ID: 2022_AAI_108294_1)>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | N L Neema(GSTN-23AAQPN1495C1ZP) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I O & M Contract
1.00 | Annual Repair, Maintenance & Operation of various electrical installations of GLF systems,Nav-Aids,Old Terminal building,Old power House,Technical block, residential colony including street lights, etc. and operation of water supply pumps at colony & Old TB, attending the complaints,taking rectification action on all working days deploying man power in three Shifts (A,B,C )including Sunday & Holidays, keeping records of all maintenance activities complete as required as per Specical conditions of Contract and the detailed specifications terms covered under this contract.
1.00 | For First Year | 12.00 | Months | 100.00 | 650000.00 | 7800000.00 | 600000.00 | 7200000.00 | 589510.00 | 7074120.00 | 602000.00 | 7224000.00 | 573715.00 | 6884580.00 | 615551.00 | 7386612.00 | 575000.00 | 6900000.00 | 569666.00 | 6835992.00 | 6835992.00 | ABHISHEK INTEGRATIONS LIMITED
1.00 | For second Year | 12.00 | Months | 100.00 | 650000.00 | 7800000.00 | 600000.00 | 7200000.00 | 589510.00 | 7074120.00 | 602000.00 | 7224000.00 | 605000.00 | 7260000.00 | 615551.00 | 7386612.00 | 575000.00 | 6900000.00 | 569666.00 | 6835992.00 | 6835992.00 | ABHISHEK INTEGRATIONS LIMITED
1.00 | SH:II MAINTENANCE JOBS
1.01 | Lifting and Lowering of Submersible Pump below ground level upto 450 ft including transportation,loading,unloading charges etc. complete as required.
1.01 | 3.0 HP (For First Year) | 1.00 | JOB | 10.00 | 11000.00 | 11000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2800.00 | 2800.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2900.00 | 2900.00 | 2000.00 | Techno Electricals, M/s BHARAT ELECTRIC, NAGPUR
1.01 | 7.5 HP (For First Year) | 2.00 | JOB | 10.00 | 14000.00 | 28000.00 | 7500.00 | 15000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 2800.00 | 5600.00 | 2500.00 | 5000.00 | 2400.00 | 4800.00 | 4000.00 | Techno Electricals
1.01 | 10.0 HP (For First Year) | 1.00 | JOB | 10.00 | 16000.00 | 16000.00 | 10000.00 | 10000.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 2800.00 | 2800.00 | 3000.00 | 3000.00 | 2900.00 | 2900.00 | 2800.00 | N L Neema
1.01 | 3.0 HP (For second Year) | 1.00 | JOB | 10.00 | 12000.00 | 12000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2900.00 | 2900.00 | 2000.00 | Techno Electricals, M/s BHARAT ELECTRIC, NAGPUR
1.01 | 7.5 HP (For second Year) | 2.00 | JOB | 10.00 | 13000.00 | 26000.00 | 7500.00 | 15000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 3200.00 | 6400.00 | 2800.00 | 5600.00 | 2500.00 | 5000.00 | 2400.00 | 4800.00 | 4000.00 | Techno Electricals
1.01 | 10.0 HP (For second Year) | 1.00 | JOB | 10.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 2800.00 | 2800.00 | 3000.00 | 3000.00 | 2900.00 | 2900.00 | 2800.00 | N L Neema
1.01 | Complete rewinding of the motor of following capacity Submersible pump including transportation,loading,unloading charges, replacement of bearing, greasing etc. complete as required.(DLP of the job shall be 6 months)
1.01 | 3.0 HP (For First Year) | 1.00 | JOB | 10.00 | 6500.00 | 6500.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 5000.00 | 5000.00 | 1900.00 | 1900.00 | 1500.00 | N L Neema
1.01 | 7.5 HP (For First Year) | 2.00 | JOB | 10.00 | 8500.00 | 17000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 2400.00 | 4800.00 | 4000.00 | Vardhman Airport Solutions Pvt Ltd
1.02 | 10.0 HP (For First Year) | 1.00 | JOB | 10.00 | 12000.00 | 12000.00 | 7500.00 | 7500.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 2400.00 | 2400.00 | 2400.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | 3.0 HP (For second Year) | 1.00 | JOB | 10.00 | 7500.00 | 7500.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 2800.00 | 2800.00 | 1500.00 | 1500.00 | 5000.00 | 5000.00 | 1900.00 | 1900.00 | 1000.00 | Vardhman Airport Solutions Pvt Ltd
1.02 | 7.5 HP (For second Year) | 2.00 | JOB | 10.00 | 9500.00 | 19000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 3200.00 | 6400.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 2400.00 | 4800.00 | 4800.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | 10.0 HP (For second Year) | 1.00 | JOB | 10.00 | 12500.00 | 12500.00 | 7500.00 | 7500.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 2400.00 | 2400.00 | 2400.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | Complete rewinding of the motor of following capacity monoblock pump including transportation,loading,unloading charges, replacement of bearing, greasing etc. complete as required.(DLP of the job shall be 6 months)
1.02 | 3.0 HP (For First Year) | 1.00 | JOB | 10.00 | 6500.00 | 6500.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 1500.00 | 1500.00 | 1200.00 | 1200.00 | 5000.00 | 5000.00 | 900.00 | 900.00 | 900.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | 5.0 HP (For First Year) | 1.00 | JOB | 10.00 | 8500.00 | 8500.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 3000.00 | 3000.00 | 1800.00 | 1800.00 | 5000.00 | 5000.00 | 1900.00 | 1900.00 | 1800.00 | N L Neema
1.02 | 10.0 HP (For First Year) | 1.00 | JOB | 10.00 | 11500.00 | 11500.00 | 7500.00 | 7500.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2900.00 | 2900.00 | 2900.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | 3.0 HP (For second Year) | 1.00 | JOB | 10.00 | 7000.00 | 7000.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 1250.00 | 1250.00 | 5000.00 | 5000.00 | 900.00 | 900.00 | 900.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | 5.0 HP (For second Year) | 1.00 | JOB | 10.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 1850.00 | 1850.00 | 5000.00 | 5000.00 | 1900.00 | 1900.00 | 1850.00 | N L Neema
1.03 | 10.0 HP (For second Year) | 1.00 | JOB | 10.00 | 11000.00 | 11000.00 | 7500.00 | 7500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2900.00 | 2900.00 | 2900.00 | ABHISHEK INTEGRATIONS LIMITED
1.03 | Complete rewinding of ceiling/wall fan including transportation, loading, unloading charges, reinstallation etc. complete as required.
1.03 | For First Year | 35.00 | JOB | 10.00 | 459.00 | 16065.00 | 250.00 | 8750.00 | 250.00 | 8750.00 | 500.00 | 17500.00 | 350.00 | 12250.00 | 300.00 | 10500.00 | 500.00 | 17500.00 | 350.00 | 12250.00 | 8750.00 | CENTRE TAP ENGINEERING, Vardhman Airport Solutions Pvt Ltd
1.03 | For Second Year | 35.00 | JOB | 10.00 | 465.00 | 16275.00 | 250.00 | 8750.00 | 250.00 | 8750.00 | 550.00 | 19250.00 | 350.00 | 12250.00 | 300.00 | 10500.00 | 500.00 | 17500.00 | 350.00 | 12250.00 | 8750.00 | CENTRE TAP ENGINEERING, Vardhman Airport Solutions Pvt Ltd
1.03 | Complete rewinding of following size exhaust fan including transportation, loading, unloading charges, reinstallation etc. complete as required.
1.03 | up to 225 mm size (For First Year ) | 10.00 | JOB | 10.00 | 350.00 | 3500.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 2000.00 | Vardhman Airport Solutions Pvt Ltd
1.03 | up to 450 mm size (For First Year ) | 10.00 | JOB | 10.00 | 450.00 | 4500.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 550.00 | 5500.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 2000.00 | Vardhman Airport Solutions Pvt Ltd
1.03 | up to 225 mm size (For second Year ) | 10.00 | JOB | 10.00 | 380.00 | 3800.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 2000.00 | Vardhman Airport Solutions Pvt Ltd
1.03 | up to 450 mm size (For second Year ) | 10.00 | JOB | 10.00 | 450.00 | 4500.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 550.00 | 5500.00 | 450.00 | 4500.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 2000.00 | Vardhman Airport Solutions Pvt Ltd
1.03 | Inspection, servicing and testing of oil circuit breaker of 3 Pole, 400A , 11 KV Oil Circuit Breaker of the HT panel (Make: Crompton Greaves) from Manufacturer or Authorised Service Dealer or Specialised Agency installed at Old power house alongwith submission of the test reports.
1.04 | For First Year | 3.00 | Each | 10.00 | 6500.00 | 19500.00 | 10000.00 | 30000.00 | 5000.00 | 15000.00 | 3500.00 | 10500.00 | 4500.00 | 13500.00 | 5000.00 | 15000.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 7500.00 | M/s BHARAT ELECTRIC, NAGPUR
1.04 | For Second Year | 3.00 | Each | 10.00 | 6500.00 | 19500.00 | 10000.00 | 30000.00 | 5000.00 | 15000.00 | 3500.00 | 10500.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 7500.00 | M/s BHARAT ELECTRIC, NAGPUR
1.04 | Inspection, Servicing, Setting, Calibration and Testing of relay(2 nos. O/C relay & 1 no. E/F relay-3 Sets) of oil circuit breaker of 11 KV HT panel of old power house complete in all respect along with submission of test report.
1.04 | For First Year | 1.00 | JOB | 10.00 | 25000.00 | 25000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 5500.00 | 5500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 18000.00 | 18000.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
1.04 | For Second Year | 1.00 | JOB | 10.00 | 25000.00 | 25000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 6500.00 | 6500.00 | 3500.00 | 3500.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 18000.00 | 18000.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
1.04 | Dehydration and filtration of transformer oil at site includnig testing the BDV and acidity before and after testing and submission of test reports etc. as required for 750 KVA, 11/0.415 KV Transformers.
1.04 | For First Year | 2.00 | JOB | 10.00 | 20000.00 | 40000.00 | 12500.00 | 25000.00 | 3000.00 | 6000.00 | 8000.00 | 16000.00 | 9500.00 | 19000.00 | 3750.00 | 7500.00 | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 6000.00 | Vardhman Airport Solutions Pvt Ltd
1.04 | For Second Year | 2.00 | JOB | 10.00 | 20000.00 | 40000.00 | 12500.00 | 25000.00 | 3000.00 | 6000.00 | 8500.00 | 17000.00 | 9500.00 | 19000.00 | 4000.00 | 8000.00 | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 6000.00 | Vardhman Airport Solutions Pvt Ltd
1.04 | Supply of transformer oil for topping up in transformers as required.
1.04 | For First Year | 100.00 | Litre | 10.00 | 120.00 | 12000.00 | 150.00 | 15000.00 | 94.00 | 9400.00 | 175.00 | 17500.00 | 100.00 | 10000.00 | 105.00 | 10500.00 | 125.00 | 12500.00 | 90.00 | 9000.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
1.05 | For Second Year | 100.00 | Litre | 10.00 | 120.00 | 12000.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 175.00 | 17500.00 | 100.00 | 10000.00 | 105.00 | 10500.00 | 125.00 | 12500.00 | 90.00 | 9000.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
1.05 | Inspection, Servicing and Testing(all tests) of 750 KVA, 11/0.415 KV Transformers of old power house includes replacement of silica gel, rectification of any oil leakage etc. as required at site along with submission of test report.
1.05 | For First Year | 2.00 | JOB | 10.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 4000.00 | Vardhman Airport Solutions Pvt Ltd
1.05 | For Second Year | 2.00 | JOB | 10.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 4000.00 | Vardhman Airport Solutions Pvt Ltd
1.05 | Inspection , Servicing and Testing of 100 KVA , 3.3 / 0.433 KV Dry Type Transformer i/c carrying out Insulation Test HT / LT side with Meggar , Voltage Ratio Test , Magnetic Balance Test , Tightning of Stamping , Removing of Moisture if Insulation value low and Insulation Testing of 3.3 KV HT Cable etc. as required at site.
1.05 | For First Year | 4.00 | JOB | 10.00 | 5400.00 | 21600.00 | 7500.00 | 30000.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 4000.00 | 16000.00 | 8000.00 | Vardhman Airport Solutions Pvt Ltd, Techno Electricals, N L Neema
1.05 | For Second Year | 4.00 | JOB | 10.00 | 5800.00 | 23200.00 | 7500.00 | 30000.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 4000.00 | 16000.00 | 8000.00 | Vardhman Airport Solutions Pvt Ltd, Techno Electricals, N L Neema
1.05 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No.
1.05 | 80 mm Dia Gl pipe pole of length not exceeding 2 Mt. | 480.00 | Each | 10.00 | 280.00 | 134400.00 | 250.00 | 120000.00 | 20.00 | 9600.00 | 150.00 | 72000.00 | 20.00 | 9600.00 | 100.00 | 48000.00 | 100.00 | 48000.00 | 80.00 | 38400.00 | 9600.00 | Vardhman Airport Solutions Pvt Ltd, Manish Electricals
1.06 | Spray Painting of sheet metal enclosures of electrical panels / feeder pillars inside the power house, Pump room & ATC building including cleaning the surface and one coats of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 50.00 | Square Meter | 10.00 | 126.00 | 6300.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 150.00 | 7500.00 | 300.00 | 15000.00 | 50.00 | 2500.00 | 110.00 | 5500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
1.06 | SH:III EXECUTION OF WORKS AS PER CPWD SCHEDULE OF WORKS (E&M) 2018 AND SPECIFICATIONS AS AND WHEN REQUIRED.
1.06 | Execution of works as per CPWD DSR (E&M) 2018, DAR (E&M) 2018 & Latest CPWD Specifications as & when required. CPWD DSR (E&M) - Chapter 1 to 10 & 14 The rate shall be quoted for this item as per examples given below: - Please refer SCC before quoting rates for this item. • If Bidder wants to quote the rate at par with rates of DSR - 2018 (E&M), then bidder has to quote 1.00 in the rate column. • If Bidder wants to quote the rate 10 % Above the rates of DSR - 2018 (E&M), then bidder has to quote 1.10 in the rate column. • If Bidder wants to quote the rate 10 % Below the rates of DSR - 2018 (E&M), then bidder has to quote 0.90 in the rate column.
1.06 | First Year | 200000.00 | % | 10.00 | 1.20 | 240000.00 | 1.00 | 200000.00 | .10 | 20000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 20000.00 | Vardhman Airport Solutions Pvt Ltd
1.06 | Second Year | 200000.00 | % | 10.00 | 1.20 | 240000.00 | 1.00 | 200000.00 | .10 | 20000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 20000.00 | Vardhman Airport Solutions Pvt Ltd
1.06 | SH:IV CMC of ACs, Water Coolers and Water Purifiers
1.06 | Annual Comprehensive Maintenance Contract of the following Capacity AC units (including replacement of compressor & refilling of refrigerant) installed at various locations in the Airport Premises as per general and special terms and conditions attached.
1.06 | 1 TR Window/split Type AC Units ( For First year ) | 18.00 | Per Unit per Year | 10.00 | 1800.00 | 32400.00 | 1500.00 | 27000.00 | 990.00 | 17820.00 | 2000.00 | 36000.00 | 3000.00 | 54000.00 | 1500.00 | 27000.00 | 1000.00 | 18000.00 | 900.00 | 16200.00 | 16200.00 | ABHISHEK INTEGRATIONS LIMITED
1.06 | 1.5 TR/ 2.0 TR Window/split Type AC Units ( For First year ) | 48.00 | Per Unit per Year | 10.00 | 2200.00 | 105600.00 | 1750.00 | 84000.00 | 1000.00 | 48000.00 | 2000.00 | 96000.00 | 3500.00 | 168000.00 | 1750.00 | 84000.00 | 1500.00 | 72000.00 | 1600.00 | 76800.00 | 48000.00 | Vardhman Airport Solutions Pvt Ltd
1.06 | 3.0 TR Split/Cassette Type AC Units ( For First year ) | 15.00 | Per Unit per Year | 10.00 | 3600.00 | 54000.00 | 2250.00 | 33750.00 | 1500.00 | 22500.00 | 2500.00 | 37500.00 | 6000.00 | 90000.00 | 2000.00 | 30000.00 | 2000.00 | 30000.00 | 2100.00 | 31500.00 | 22500.00 | Vardhman Airport Solutions Pvt Ltd
1.07 | 1 TR Window/split Type AC Units ( For Second year ) | 18.00 | Per Unit per Year | 10.00 | 1800.00 | 32400.00 | 1500.00 | 27000.00 | 500.00 | 9000.00 | 2200.00 | 39600.00 | 3000.00 | 54000.00 | 1500.00 | 27000.00 | 1000.00 | 18000.00 | 900.00 | 16200.00 | 9000.00 | Vardhman Airport Solutions Pvt Ltd
1.07 | 1.5 TR/ 2.0 TR Window/split Type AC Units ( For Second year ) | 48.00 | Per Unit per Year | 10.00 | 1900.00 | 91200.00 | 1750.00 | 84000.00 | 500.00 | 24000.00 | 2200.00 | 105600.00 | 3500.00 | 168000.00 | 1750.00 | 84000.00 | 1500.00 | 72000.00 | 1600.00 | 76800.00 | 24000.00 | Vardhman Airport Solutions Pvt Ltd
1.07 | 3.0 TR Split/Cassette Type AC Units ( For Second year ) | 15.00 | Per Unit per Year | 10.00 | 2200.00 | 33000.00 | 2250.00 | 33750.00 | 1500.00 | 22500.00 | 3000.00 | 45000.00 | 6000.00 | 90000.00 | 2000.00 | 30000.00 | 2000.00 | 30000.00 | 2100.00 | 31500.00 | 22500.00 | Vardhman Airport Solutions Pvt Ltd
1.07 | Annual Comprehensive Maintenance Contract of the following Capacity AC units( excluding compressor but including refilling of refrigerant) installed at various locations in the Airport Premises as per general and special terms and conditions attached.
1.07 | 1 TR Window/split Type AC Units ( For First year ) | 5.00 | Per Unit per Year | 10.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 500.00 | 2500.00 | 1500.00 | 7500.00 | 1800.00 | 9000.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 900.00 | 4500.00 | 2500.00 | Vardhman Airport Solutions Pvt Ltd
1.07 | 1.5 TR/ 2.0 TR Window/split Type AC Units ( For First year ) | 34.00 | Per Unit per Year | 10.00 | 1800.00 | 61200.00 | 1750.00 | 59500.00 | 1000.00 | 34000.00 | 1500.00 | 51000.00 | 2200.00 | 74800.00 | 1000.00 | 34000.00 | 1500.00 | 51000.00 | 1400.00 | 47600.00 | 34000.00 | Vardhman Airport Solutions Pvt Ltd, N L Neema
1.07 | 3.0 TR Split/Cassette Type AC Units ( For First year ) | 9.00 | Per Unit per Year | 10.00 | 2200.00 | 19800.00 | 2250.00 | 20250.00 | 1500.00 | 13500.00 | 2000.00 | 18000.00 | 6000.00 | 54000.00 | 1500.00 | 13500.00 | 2000.00 | 18000.00 | 1900.00 | 17100.00 | 13500.00 | Vardhman Airport Solutions Pvt Ltd, N L Neema
1.07 | 1 TR Window/split Type AC Units (For Second Year ) | 5.00 | Per Unit per Year | 10.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 500.00 | 2500.00 | 1500.00 | 7500.00 | 2000.00 | 10000.00 | 1050.00 | 5250.00 | 1000.00 | 5000.00 | 900.00 | 4500.00 | 2500.00 | Vardhman Airport Solutions Pvt Ltd
1.07 | 1.5 TR/ 2.0 TR Window/split Type AC Units (For Second Year ) | 34.00 | Per Unit per Year | 10.00 | 1800.00 | 61200.00 | 1750.00 | 59500.00 | 500.00 | 17000.00 | 1500.00 | 51000.00 | 2500.00 | 85000.00 | 1100.00 | 37400.00 | 1500.00 | 51000.00 | 1400.00 | 47600.00 | 17000.00 | Vardhman Airport Solutions Pvt Ltd
1.07 | 3.0 TR Split/Cassette Type AC Units (For Second Year ) | 9.00 | Per Unit per Year | 10.00 | 2200.00 | 19800.00 | 2250.00 | 20250.00 | 1500.00 | 13500.00 | 2000.00 | 18000.00 | 6000.00 | 54000.00 | 1750.00 | 15750.00 | 2000.00 | 18000.00 | 1900.00 | 17100.00 | 13500.00 | Vardhman Airport Solutions Pvt Ltd
1.08 | Annual Comprehensive Maintenance Contract of the following Capacity Conventional Type Water Coolers (excluding compressor but including refilling of refrigerant) installed at various locations in the Airport Premises as per general and special terms and conditions attached.
1.08 | Water Coolers of 80 Ltrs capacity (For First Year) | 6.00 | Per Unit per Year | 10.00 | 7500.00 | 45000.00 | 5000.00 | 30000.00 | 1800.00 | 10800.00 | 5000.00 | 30000.00 | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 900.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
1.08 | Water Coolers of 80 Ltrs capacity (For Second Year) | 6.00 | Per Unit per Year | 10.00 | 8500.00 | 51000.00 | 5000.00 | 30000.00 | 1800.00 | 10800.00 | 5000.00 | 30000.00 | 3000.00 | 18000.00 | 2750.00 | 16500.00 | 3000.00 | 18000.00 | 900.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
1.08 | Annual Comprehensive Maintenance Contract of the following Capacity Conventional Type Water Coolers (including replacement of compressor & refilling of refrigerant) installed at various locations in the Airport Premises as per general and special terms and conditions attached.
1.08 | Water Coolers of 80 Ltrs capacity (For First Year) | 7.00 | Per Unit per Year | 10.00 | 7400.00 | 51800.00 | 6000.00 | 42000.00 | 3500.00 | 24500.00 | 5000.00 | 35000.00 | 4500.00 | 31500.00 | 3500.00 | 24500.00 | 3000.00 | 21000.00 | 2100.00 | 14700.00 | 14700.00 | ABHISHEK INTEGRATIONS LIMITED
1.08 | Water Coolers of 80 Ltrs capacity (For Second Year) | 7.00 | Per Unit per Year | 10.00 | 7400.00 | 51800.00 | 6000.00 | 42000.00 | 3500.00 | 24500.00 | 5000.00 | 35000.00 | 4500.00 | 31500.00 | 3750.00 | 26250.00 | 3000.00 | 21000.00 | 2100.00 | 14700.00 | 14700.00 | ABHISHEK INTEGRATIONS LIMITED
1.08 | Supply and fixing of suitable size copper refrigerant piping with expanded polythene foam insulation tubing covering for A/C units. | 50.00 | Mtr | 10.00 | 1260.00 | 63000.00 | 750.00 | 37500.00 | 240.00 | 12000.00 | 550.00 | 27500.00 | 650.00 | 32500.00 | 190.00 | 9500.00 | 1000.00 | 50000.00 | 110.00 | 5500.00 | 5500.00 | ABHISHEK INTEGRATIONS LIMITED
1.08 | Annual comprehensive maintenance & repair including attending preventive & breakdown maintenance of following Water Purifiers (with and without integral chiller units) by deputing authorized service dealer of RO/UVwater purifiers of different makes & capacities, installed at different places including replacement of filter cartridge, RO Membrane, carbon filter & defective parts/PVC pipes/Iron clamps, internal filter elements etc. with same company make spares including arresting the leaks etc. as required.
1.08 | CMC of 10 Ltr Storage RO filter Cum UV water Purifier of make Eureka Forbes Model : Aquaguard Reviva RO+ UV with all accessories for providing drinking, complete as required.
1.08 | For First Year | 1.00 | Per Unit per Year | 10.00 | 5500.00 | 5500.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 3500.00 | 3500.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 3000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.09 | For Second Year | 1.00 | Per Unit per Year | 10.00 | 5800.00 | 5800.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 3000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.09 | CMC of Hot and Cool type RO water filter Cum UV Purifier of make Eureka Forbes Model : Aquaguard RO+ UV with all accessoriesfor providing drinking water complete as required.
1.09 | For First Year | 1.00 | Per Unit per Year | 10.00 | 7400.00 | 7400.00 | 7500.00 | 7500.00 | 2300.00 | 2300.00 | 6500.00 | 6500.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 15400.00 | 15400.00 | 2300.00 | Vardhman Airport Solutions Pvt Ltd
1.09 | For Second Year | 1.00 | Per Unit per Year | 10.00 | 7400.00 | 7400.00 | 7500.00 | 7500.00 | 2300.00 | 2300.00 | 6500.00 | 6500.00 | 4200.00 | 4200.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 15400.00 | 15400.00 | 2300.00 | Vardhman Airport Solutions Pvt Ltd
1.09 | CMC of the Aquaguard Pure Chill 60/80 UV Water Cooler cum purifier, make : Eureka Forbes, including replacement of compressor, filters, PCB, pumps/motors, U.V. Lamp etc. as per breakdown / preventive maintenance requirement.
1.09 | For First Year | 2.00 | Per Unit per Year | 10.00 | 4350.00 | 8700.00 | 12500.00 | 25000.00 | 3000.00 | 6000.00 | 8000.00 | 16000.00 | 4000.00 | 8000.00 | 4800.00 | 9600.00 | 3000.00 | 6000.00 | 19000.00 | 38000.00 | 6000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.09 | For Second Year | 2.00 | Per Unit per Year | 10.00 | 4450.00 | 8900.00 | 12500.00 | 25000.00 | 3000.00 | 6000.00 | 8000.00 | 16000.00 | 4200.00 | 8400.00 | 4800.00 | 9600.00 | 3000.00 | 6000.00 | 19000.00 | 38000.00 | 6000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.09 | CMC of Cooler cum Purifier of capacity 40 LPH, 3 stage purification, make : Eureka Forbes, model: Aquaguard AGCCP, Including replacement of Filters(pre filter & carbon filter), Solinoied Valve, PCB, U.V.Lamp etc. as per breakdown maintenance requirement.
1.09 | For First Year | 4.00 | Per Unit per Year | 10.00 | 3500.00 | 14000.00 | 15000.00 | 60000.00 | 3000.00 | 12000.00 | 7000.00 | 28000.00 | 3500.00 | 14000.00 | 6500.00 | 26000.00 | 3000.00 | 12000.00 | 17000.00 | 68000.00 | 12000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.09 | For Second Year | 4.00 | Per Unit per Year | 10.00 | 4500.00 | 18000.00 | 15000.00 | 60000.00 | 3000.00 | 12000.00 | 7000.00 | 28000.00 | 4000.00 | 16000.00 | 6500.00 | 26000.00 | 3000.00 | 12000.00 | 17000.00 | 68000.00 | 12000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.10 | CMC of Purifier of make : Eureka Forbes, model: Aquaguard AG -200, Including replacement of Filters(pre filter & carbon filter), Solinoied Valve, PCB, U.V.Lamp etc. as per breakdown maintenance requirement.
1.10 | For First Year | 5.00 | Per Unit per Year | 10.00 | 1500.00 | 7500.00 | 2500.00 | 12500.00 | 2300.00 | 11500.00 | 7000.00 | 35000.00 | 4500.00 | 22500.00 | 1500.00 | 7500.00 | 3000.00 | 15000.00 | 9400.00 | 47000.00 | 7500.00 | Comfort Zone, N L Neema
1.10 | For Second Year | 5.00 | Per Unit per Year | 10.00 | 1500.00 | 7500.00 | 2500.00 | 12500.00 | 2300.00 | 11500.00 | 7000.00 | 35000.00 | 5000.00 | 25000.00 | 1500.00 | 7500.00 | 3000.00 | 15000.00 | 9400.00 | 47000.00 | 7500.00 | Comfort Zone, N L Neema
1.10 | CMC of 25 LPH capacity RO+UV+UF water Purifier of make: Kent, Model :Elite Plus, with all accessories for providing drinking water, complete as required.
1.10 | For First Year | 3.00 | Per Unit per Year | 10.00 | 3500.00 | 10500.00 | 7500.00 | 22500.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 4200.00 | 12600.00 | 4500.00 | 13500.00 | 3000.00 | 9000.00 | 8000.00 | 24000.00 | 9000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.10 | For Second Year | 3.00 | Per Unit per Year | 10.00 | 4500.00 | 13500.00 | 7500.00 | 22500.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 4500.00 | 13500.00 | 4500.00 | 13500.00 | 3000.00 | 9000.00 | 8000.00 | 24000.00 | 9000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.10 | CMC of 50 LPH capacity RO+UV+UF water Purifier of make: Kent, Model :Elite Plus, with all accessories for providing drinking water, complete as required.
1.10 | For First Year | 8.00 | Per Unit per Year | 10.00 | 4500.00 | 36000.00 | 10000.00 | 80000.00 | 3000.00 | 24000.00 | 7000.00 | 56000.00 | 6000.00 | 48000.00 | 8500.00 | 68000.00 | 3000.00 | 24000.00 | 11000.00 | 88000.00 | 24000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.10 | For Second Year | 8.00 | Per Unit per Year | 10.00 | 5500.00 | 44000.00 | 10000.00 | 80000.00 | 3000.00 | 24000.00 | 7000.00 | 56000.00 | 6000.00 | 48000.00 | 8500.00 | 68000.00 | 3000.00 | 24000.00 | 11000.00 | 88000.00 | 24000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.10 | CMC of 40 LPH capacity RO filter Cum UV water Purifier of make: Kent, Model :Elite, with all accessories for providing drinking water, complete as required.
1.11 | For First Year | 2.00 | Per Unit per Year | 10.00 | 5500.00 | 11000.00 | 9000.00 | 18000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 8500.00 | 17000.00 | 3000.00 | 6000.00 | 10000.00 | 20000.00 | 6000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
1.11 | For Second Year | 2.00 | Per Unit per Year | 10.00 | 6000.00 | 12000.00 | 9000.00 | 18000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 4500.00 | 9000.00 | 8500.00 | 17000.00 | 3000.00 | 6000.00 | 10000.00 | 20000.00 | 6000.00 | Vardhman Airport Solutions Pvt Ltd, M/s BHARAT ELECTRIC, NAGPUR
| Total in Figures |  |  |  |  | 17779040.00 |  | 16457500.00 |  | 14829760.00 |  | 16231950.00 |  | 16102080.00 |  | 16225474.00 |  | 15272500.00 |  | 15415084.00
Lowest Amount Quoted BY: Vardhman Airport Solutions Pvt Ltd(14829760.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations of GLF systems, Nav Aids, OTB, Old power house, Technical Block, Residential colony and CMC of Air Conditioners, Water Coolers and Water purifiers etc. at DABH Airport Indore for 02 Two Years 2022 2024. Tender ID: 2022_AAI_108294_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vardhman Airport Solutions Pvt Ltd | 14829760.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 15272500.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 15415084.00 | L3
| 4 | Manish Electricals | 16102080.00 | L4
| 5 | N L Neema | 16225474.00 | L5
| 6 | Techno Electricals | 16231950.00 | L6
| 7 | CENTRE TAP ENGINEERING | 16457500.00 | L7
| 8 | Comfort Zone | 17779040.00 | L8