## BoQ1
Government eProcurement System Created By: Swapan Kumar Karmakar Created Date/Time: 05-Apr-2022 06:06 PM Tender Title: Minor Capital Works at Bagdogra Airport during 2020-21. SH - Construction of DG Room at Bagdogra Airport (Civil works) Tender ID: 2022_AAI_108304_1
Tender Inviting Authority: AGM (E-C)
Name of Work: Minor Capital Works at Bagdogra Airport during 2020-21. SH.: - Construction of DG Room at Bagdogra Airport.
Contract No: 03/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | RECHI CONSTRUCTION PVT LTD(GSTN-19AAGCR6941N1ZN) |  | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | UTPAL JYOTI KALITA(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of materials by Mechanical Transport including loading, unloading and stacking. Lime, moorum, building rubbish upto 6 km lead. | 247.22 | Cum |  | 180.00 | 44499.60 | 200.00 | 49444.00 | 179.00 | 44252.38 | 190.00 | 46971.80 | 44252.38 | ANIRBAN ENTERPRISE
2.00 | Carriage of materials by Mechanical Transport including loading, unloading and stacking. Earth upto 6 km lead. | 108.94 | Cum |  | 200.00 | 21788.00 | 200.00 | 21788.00 | 220.00 | 23966.80 | 240.00 | 26145.60 | 21788.00 | Youngmen Traders, RECHI CONSTRUCTION PVT LTD
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil. | 260.30 | Cum |  | 150.00 | 39045.00 | 180.00 | 46854.00 | 186.00 | 48415.80 | 180.00 | 46854.00 | 39045.00 | Youngmen Traders
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 151.36 | Cum |  | 110.00 | 16649.60 | 200.00 | 30272.00 | 220.00 | 33299.20 | 225.00 | 34056.00 | 16649.60 | Youngmen Traders
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 126.62 | Cum |  | 950.00 | 120289.00 | 1600.00 | 202592.00 | 1960.00 | 248175.20 | 1900.00 | 240578.00 | 120289.00 | Youngmen Traders
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 31.62 | Cum |  | 7300.00 | 230826.00 | 6500.00 | 205530.00 | 7300.00 | 230826.00 | 7000.00 | 221340.00 | 205530.00 | RECHI CONSTRUCTION PVT LTD
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 23.44 | Cum |  | 7100.00 | 166424.00 | 6200.00 | 145328.00 | 6790.00 | 159157.60 | 6600.00 | 154704.00 | 145328.00 | RECHI CONSTRUCTION PVT LTD
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size). | 34.03 | Cum |  | 5900.00 | 200777.00 | 5200.00 | 176956.00 | 6795.00 | 231233.85 | 5650.00 | 192269.50 | 176956.00 | RECHI CONSTRUCTION PVT LTD
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete. | 224.20 | Sqm |  | 150.00 | 33630.00 | 280.00 | 62776.00 | 288.00 | 64569.60 | 400.00 | 89680.00 | 33630.00 | Youngmen Traders
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 114.00 | Sqm |  | 300.00 | 34200.00 | 380.00 | 43320.00 | 611.00 | 69654.00 | 400.00 | 45600.00 | 34200.00 | Youngmen Traders
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. | 624.84 | Sqm |  | 350.00 | 218694.00 | 380.00 | 237439.20 | 690.00 | 431139.60 | 500.00 | 312420.00 | 218694.00 | Youngmen Traders
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 525.34 | Sqm |  | 275.00 | 144468.50 | 450.00 | 236403.00 | 553.00 | 290513.02 | 400.00 | 210136.00 | 144468.50 | Youngmen Traders
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts. | 381.80 | Sqm |  | 400.00 | 152720.00 | 650.00 | 248170.00 | 735.00 | 280623.00 | 600.00 | 229080.00 | 152720.00 | Youngmen Traders
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Stairs, (excluding landings) except spiral-staircases. | 104.10 | Sqm |  | 350.00 | 36435.00 | 450.00 | 46845.00 | 623.00 | 64854.30 | 500.00 | 52050.00 | 36435.00 | Youngmen Traders
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Weather shade, Chajjas, corbels etc., including edges. | 24.39 | Sqm |  | 400.00 | 9756.00 | 450.00 | 10975.50 | 767.00 | 18707.13 | 500.00 | 12195.00 | 9756.00 | Youngmen Traders
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 14199.47 | Kg |  | 88.00 | 1249553.36 | 90.00 | 1277952.30 | 94.00 | 1334750.18 | 90.00 | 1277952.30 | 1249553.36 | Youngmen Traders
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 29701.26 | Kg |  | 88.00 | 2613710.88 | 90.00 | 2673113.40 | 94.00 | 2791918.44 | 90.00 | 2673113.40 | 2613710.88 | Youngmen Traders
18.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately). All works upto plinth level. | 90.44 | Cum |  | 7000.00 | 633080.00 | 7500.00 | 678300.00 | 8000.00 | 723520.00 | 7400.00 | 669256.00 | 633080.00 | Youngmen Traders
19.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level. | 189.18 | Cum |  | 7400.00 | 1399932.00 | 7800.00 | 1475604.00 | 9750.00 | 1844505.00 | 7400.00 | 1399932.00 | 1399932.00 | Youngmen Traders, UTPAL JYOTI KALITA
20.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 195.74 | Quintal |  | 700.00 | 137018.00 | 450.00 | 88083.00 | 674.00 | 131928.76 | 560.00 | 109614.40 | 88083.00 | RECHI CONSTRUCTION PVT LTD
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand). | 5.85 | Cum |  | 5200.00 | 30420.00 | 5500.00 | 32175.00 | 6150.00 | 35977.50 | 6500.00 | 38025.00 | 30420.00 | Youngmen Traders
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 145.13 | Cum |  | 5500.00 | 798215.00 | 6200.00 | 899806.00 | 8550.00 | 1240861.50 | 6500.00 | 943345.00 | 798215.00 | Youngmen Traders
23.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm. | 10.00 | Each |  | 50.00 | 500.00 | 100.00 | 1000.00 | 72.00 | 720.00 | 60.00 | 600.00 | 500.00 | Youngmen Traders
24.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper. | 5.00 | Each |  | 50.00 | 250.00 | 100.00 | 500.00 | 65.00 | 325.00 | 62.00 | 310.00 | 250.00 | Youngmen Traders
25.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. | 5.00 | Each |  | 400.00 | 2000.00 | 650.00 | 3250.00 | 638.00 | 3190.00 | 720.00 | 3600.00 | 2000.00 | Youngmen Traders
26.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.20 mm M.S. laths with 1.20 mm thick top cover. | 44.40 | Sqm |  | 1500.00 | 66600.00 | 2500.00 | 111000.00 | 2950.00 | 130980.00 | 2400.00 | 106560.00 | 66600.00 | Youngmen Traders
27.00 | Providing and fixing ball bearing for rolling shutters. | 6.00 | Each |  | 300.00 | 1800.00 | 450.00 | 2700.00 | 422.00 | 2532.00 | 400.00 | 2400.00 | 1800.00 | Youngmen Traders
28.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area. | 44.40 | Sqm |  | 800.00 | 35520.00 | 1000.00 | 44400.00 | 1105.00 | 49062.00 | 1000.00 | 44400.00 | 35520.00 | Youngmen Traders
29.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes. | 641.99 | Kg |  | 115.00 | 73828.85 | 125.00 | 80248.75 | 148.00 | 95014.52 | 140.00 | 89878.60 | 73828.85 | Youngmen Traders
30.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete. | 2958.49 | Kg |  | 100.00 | 295849.00 | 125.00 | 369811.25 | 95.00 | 281056.55 | 100.00 | 295849.00 | 281056.55 | ANIRBAN ENTERPRISE
31.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick. | 424.99 | Sqm |  | 1200.00 | 509988.00 | 1100.00 | 467489.00 | 1550.00 | 658734.50 | 1700.00 | 722483.00 | 467489.00 | RECHI CONSTRUCTION PVT LTD
32.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 48.50 | Sqm |  | 1200.00 | 58200.00 | 1200.00 | 58200.00 | 1812.00 | 87882.00 | 2000.00 | 97000.00 | 58200.00 | Youngmen Traders, RECHI CONSTRUCTION PVT LTD
33.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter. | 132.00 | Metre |  | 150.00 | 19800.00 | 250.00 | 33000.00 | 304.00 | 40128.00 | 500.00 | 66000.00 | 19800.00 | Youngmen Traders
34.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°. 110 mm bend. | 12.00 | Each |  | 75.00 | 900.00 | 150.00 | 1800.00 | 130.00 | 1560.00 | 132.00 | 1584.00 | 900.00 | Youngmen Traders
35.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 44.00 | Sqm |  | 595.00 | 26180.00 | 530.00 | 23320.00 | 680.00 | 29920.00 | 900.00 | 39600.00 | 23320.00 | RECHI CONSTRUCTION PVT LTD
36.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand). | 702.32 | Sqm |  | 200.00 | 140464.00 | 240.00 | 168556.80 | 258.00 | 181198.56 | 180.00 | 126417.60 | 126417.60 | UTPAL JYOTI KALITA
37.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand). | 730.58 | Sqm |  | 225.00 | 164380.50 | 250.00 | 182645.00 | 298.00 | 217712.84 | 200.00 | 146116.00 | 146116.00 | UTPAL JYOTI KALITA
38.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand). | 885.48 | Sqm |  | 175.00 | 154959.00 | 220.00 | 194805.60 | 235.00 | 208087.80 | 200.00 | 177096.00 | 154959.00 | Youngmen Traders
39.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer’s specification. Two or more coats on new work. | 1483.36 | Sqm |  | 55.00 | 81584.80 | 70.00 | 103835.20 | 94.00 | 139435.84 | 80.00 | 118668.80 | 81584.80 | Youngmen Traders
40.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 754.97 | Sqm |  | 125.00 | 94371.25 | 100.00 | 75497.00 | 165.00 | 124570.05 | 120.00 | 90596.40 | 75497.00 | RECHI CONSTRUCTION PVT LTD
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 259.90 | Sqm |  | 65.00 | 16893.50 | 100.00 | 25990.00 | 125.00 | 32487.50 | 80.00 | 20792.00 | 16893.50 | Youngmen Traders
42.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick. | 358.04 | Sqm |  | 500.00 | 179020.00 | 450.00 | 161118.00 | 615.00 | 220194.60 | 460.00 | 164698.40 | 161118.00 | RECHI CONSTRUCTION PVT LTD
43.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 149.90 | Cum |  | 1050.00 | 157395.00 | 1000.00 | 149900.00 | 1750.00 | 262325.00 | 900.00 | 134910.00 | 134910.00 | UTPAL JYOTI KALITA
44.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar. | 97.32 | Cum |  | 650.00 | 63258.00 | 800.00 | 77856.00 | 1470.00 | 143060.40 | 900.00 | 87588.00 | 63258.00 | Youngmen Traders
45.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below. | 25.00 | Each |  | 150.00 | 3750.00 | 250.00 | 6250.00 | 282.00 | 7050.00 | 100.00 | 2500.00 | 2500.00 | UTPAL JYOTI KALITA
46.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 1283.69 | Kg |  | 5.00 | 6418.45 | 20.00 | 25673.80 | 8.00 | 10269.52 | 1.00 | 1283.69 | 1283.69 | UTPAL JYOTI KALITA
47.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet. | 309.16 | Sqm |  | 75.00 | 23187.00 | 100.00 | 30916.00 | 130.00 | 40190.80 | 90.00 | 27824.40 | 23187.00 | Youngmen Traders
48.00 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 149.56 | Sqm |  | 30.00 | 4486.80 | 40.00 | 5982.40 | 50.00 | 7478.00 | 20.00 | 2991.20 | 2991.20 | UTPAL JYOTI KALITA
49.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). | 1255.20 | Kg |  | 445.00 | 558564.00 | 420.00 | 527184.00 | 475.00 | 596220.00 | 400.00 | 502080.00 | 502080.00 | UTPAL JYOTI KALITA
50.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS:1868, Minimum anodic coating of grade AC 15). | 405.00 | Kg |  | 495.00 | 200475.00 | 480.00 | 194400.00 | 575.00 | 232875.00 | 450.00 | 182250.00 | 182250.00 | UTPAL JYOTI KALITA
51.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. Pre-laminated particle board with decorative lamination on both sides. | 75.36 | Sqm |  | 1200.00 | 90432.00 | 950.00 | 71592.00 | 1500.00 | 113040.00 | 900.00 | 67824.00 | 67824.00 | UTPAL JYOTI KALITA
52.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer- in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm). | 14.40 | Sqm |  | 1250.00 | 18000.00 | 1300.00 | 18720.00 | 1600.00 | 23040.00 | 1325.00 | 19080.00 | 18000.00 | Youngmen Traders
53.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P.brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 36.00 | Kg |  | 450.00 | 16200.00 | 470.00 | 16920.00 | 590.00 | 21240.00 | 540.00 | 19440.00 | 16200.00 | Youngmen Traders
54.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size). | 28.40 | Cum |  | 7000.00 | 198800.00 | 6200.00 | 176080.00 | 7800.00 | 221520.00 | 6000.00 | 170400.00 | 170400.00 | UTPAL JYOTI KALITA
55.00 | Preparation and Submission of detailed working Architectural drawings, Structural design and detailed structural drawings for RCC members with relevant codes for Preliminary architectural plan of DG Room given by AAI. The contractor shall get approval of the structural consultant from AAI before proceeding with the consultancy. The consultant must have rendered similar structural consultancy works to Central Govt. / State Govt. / PSU / Reputed firms. The structural drawings and designs as submitted by the consultant shall be got vetted / approved by any of the IITs/NITs/Govt. Engg. College and the fee for the same shall be borne by the contractor/consultant. The contractor/ consultant shall intimate AAI, the details of IITs/ NITs / Govt. Engineering College from where structural designs and drawings will be vetted / approved. The consultant & Contractor shall coordinate the time schedule to be taken by IIT/NIT / Govt. Engineering College so as to ensure adherence of overall time of submission by the Consultant & Contractor as specified. No additional time period or any additional cost (except the quoted amount) shall be allowed to the contractor for designing, preparation of drawings, vetting of design and drawings from IIT/NIT /Govt. Engineering College etc. Major Engineering decision and specification shall be reviewed by AAI to the extent desired. Approval of any design/system by IIT/NIT/ Govt. Engineering College or AAI shall however, not relieve the consultant / contractor in discharging their responsibilities regarding the adequacy of design and proper execution of the work. The consultant /contractor shall be fully responsible for adequacy, accuracy and quality of the structural design, safety of the structure. The services rendered by the consultant shall be in accordance with the acceptable standards of safety, environment and public health. The item includes the preparation and submission of detailed working architectural drawings, Engineering/Structural drawings of RCC structures, line plans and layout drawing as per relevant IS code, Building codes and sound engineering practices in accordance with the Architectural/conceptual drawings issued by AAI. The contractor has to submit at least Four Sets of 'Good for construction' drawings or revisions thereof. | 1.00 | Job |  | 125000.00 | 125000.00 | 100000.00 | 100000.00 | 200000.00 | 200000.00 | 80000.00 | 80000.00 | 80000.00 | UTPAL JYOTI KALITA
| Total in Figures |  |  |  |  | 11721186.09 |  | 12400367.20 |  | 14725949.34 |  | 12638139.09
Lowest Amount Quoted BY: Youngmen Traders(11721186.09)

## BOQ Summary
BOQ Summary Details Tender Title: Minor Capital Works at Bagdogra Airport during 2020-21. SH - Construction of DG Room at Bagdogra Airport (Civil works) Tender ID: 2022_AAI_108304_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 11721186.09 | L1
| 2 | RECHI CONSTRUCTION PVT LTD | 12400367.20 | L2
| 3 | UTPAL JYOTI KALITA | 12638139.09 | L3
| 4 | ANIRBAN ENTERPRISE | 14725949.34 | L4