## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 06-May-2022 12:51 PM Tender Title: Bi-Annual Operation and Maintenance Contract for the E and M Installations, WTP etc. at Birsi Airport, Gondia for the Year 2022-24 Tender ID: 2022_AAI_108830_1
Tender Inviting Authority: AGM (Engg-E), AIRPORTS AUTHORITY OF INDIA, NIATAM, BIRSI, GONDIA.
Name of Work: Bi-Annual Operation & Maintenance Contract for the E & M Installations, WTP etc. at Birsi Airport, Gondia for the Year 2022-24
Contract No: 2020_AAI_108830_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K ENTERPRISES(GSTN-22AAZFS5258B1ZZ) |  | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance of Electrical Installations of operational and non operational area such as GLF System, CCR, CNS installations building, DG Sets with AMF Panels, Mobile DG Sets, Terminal Building, Power Supply Systems, 11KV Sub-Station, Pump Sets, High Mast Towers, Approach Roads & Car Parking Lights, Internal & External E.I of Technical block cum ATC Tower, Power House, Fire station, MT Pool, Water Treatment Plants etc. involving Operation, repairs & maintenance, Faults / breakdown rectifications, ensuring serviceability/Satisfactory working conditions of the system, attending complaints, preventive maintenance on daily / weekly / monthly / Quarterly / half yearly / yearly basis maintenance of records/documentation etc. as per scope of work given in special conditions of contract on all days including Sunday & Holidays. The services of DG Sets, AMF Panels at power House shall be ensured round the clock (i.e. in three shifts daily, each shift of 8 hours) and the services of all others E&M Installations shall be ensured for two shifts (each of 8 hours) daily as required. | 24.00 | Month |  | 122330.00 | 2935920.00 | 405000.00 | 9720000.00 | 388456.00 | 9322944.00 | 415000.00 | 9960000.00 | 363000.00 | 8712000.00 | 372000.00 | 8928000.00 | 384263.00 | 9222312.00 | 360760.00 | 8658240.00 | 350000.00 | 8400000.00 | 406999.00 | 9767976.00 | 362333.00 | 8695992.00 | 395000.00 | 9480000.00 | 2935920.00 | S.K ENTERPRISES
2.00 | Rewinding Servicing repairing of ceiling fan/ wall fan including replacement of bearings if required and to & fro transportation etc complete as required (Dismantle Material belongs to contractor).
2.01 | 1st Year | 10.00 | Job |  | 700.00 | 7000.00 | 490.00 | 4900.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 2000.00 | M/s LEESHA ELECTRICALS
2.02 | 2nd Year | 10.00 | Job |  | 750.00 | 7500.00 | 490.00 | 4900.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 310.00 | 3100.00 | 500.00 | 5000.00 | 425.00 | 4250.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 2500.00 | M/s LEESHA ELECTRICALS
3.00 | Rewinding Servicing, repairing of Exhaust fan/ Air Circular fan of size upto 450 mm sweep i/c replacement as bushes/bearings if required and to & fro transportation etc complete as required. (Dismantle Material belongs to contractor)
3.01 | 1st Year | 5.00 | Job |  | 800.00 | 4000.00 | 735.00 | 3675.00 | 550.00 | 2750.00 | 300.00 | 1500.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 550.00 | 2750.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 425.00 | 2125.00 | 400.00 | 2000.00 | 600.00 | 3000.00 | 1500.00 | Ascent Electrification Engineers, M/s LEESHA ELECTRICALS
3.02 | 2nd Year | 5.00 | Job |  | 850.00 | 4250.00 | 735.00 | 3675.00 | 550.00 | 2750.00 | 300.00 | 1500.00 | 500.00 | 2500.00 | 350.00 | 1750.00 | 550.00 | 2750.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 450.00 | 2250.00 | 400.00 | 2000.00 | 600.00 | 3000.00 | 1500.00 | Ascent Electrification Engineers
4.00 | Rewinding of the motors (Capacity from 3 HP and upto 5 HP), Which are suitable to operate on 415V, 50Hz, 3Ø AC supply, with suitable gauge copper wire i/c warnishing, bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor).
4.01 | 1st Year | 2.00 | Job |  | 10000.00 | 20000.00 | 2450.00 | 4900.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 10000.00 | 20000.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 3000.00 | Ascent Electrification Engineers
4.02 | 2nd Year | 2.00 | Job |  | 12000.00 | 24000.00 | 2450.00 | 4900.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 2200.00 | 4400.00 | 4000.00 | 8000.00 | 10000.00 | 20000.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 3000.00 | Ascent Electrification Engineers
5.00 | Repair and rewinding of submersible pump motor set up to 5 HP capacity. Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out/defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required.
5.01 | 1st Year | 3.00 | Job |  | 10000.00 | 30000.00 | 4410.00 | 13230.00 | 8500.00 | 25500.00 | 1500.00 | 4500.00 | 5000.00 | 15000.00 | 3400.00 | 10200.00 | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 10000.00 | 30000.00 | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 5000.00 | 15000.00 | 4500.00 | Ascent Electrification Engineers
5.02 | 2nd Year | 3.00 | Job |  | 12000.00 | 36000.00 | 4410.00 | 13230.00 | 8500.00 | 25500.00 | 1500.00 | 4500.00 | 5000.00 | 15000.00 | 3450.00 | 10350.00 | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 10000.00 | 30000.00 | 3300.00 | 9900.00 | 3500.00 | 10500.00 | 5000.00 | 15000.00 | 4500.00 | Ascent Electrification Engineers
6.00 | Lifting & Lowering of submersible pumps of various capacities (up to 5 HP) due to defect in existing pump / pump choked in existing borewell on urgent basis within a short notices including connection of cables jointing of cables etc. with successful testing &commissioning complete as required.
6.01 | 1st Year | 3.00 | Job |  | 8000.00 | 24000.00 | 3430.00 | 10290.00 | 7000.00 | 21000.00 | 1500.00 | 4500.00 | 3000.00 | 9000.00 | 3540.00 | 10620.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 2500.00 | 7500.00 | 2500.00 | 7500.00 | 4500.00 | 13500.00 | 4500.00 | Ascent Electrification Engineers
6.02 | 2nd Year | 3.00 | Job |  | 8500.00 | 25500.00 | 3430.00 | 10290.00 | 7000.00 | 21000.00 | 1500.00 | 4500.00 | 3000.00 | 9000.00 | 3640.00 | 10920.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 2750.00 | 8250.00 | 2500.00 | 7500.00 | 4500.00 | 13500.00 | 4500.00 | Ascent Electrification Engineers
7.00 | Execution of work as per CPWD DSR 2018 (E&M). NOTE: The firm has to quote/upload the percentage above / below (+/- % on the quantity mentioned against BOQ item No. (7) directly in the form of multiplying factor in the rate column as clarified below: For example, “if agency desired to quote 5% above on CPWD DSR-2018 (E&M) rates, the rate column shall be filled as 1.05. If agency desired to quote to 5% below on DSR-2018 rates, the rate column shall be filled as 0.95.” | 1.00 | Job |  | 1.00 | 200000.00 | 1.00 | 200000.00 | .95 | 190000.00 | .98 | 196000.00 | .75 | 150000.00 | .98 | 196000.00 | .85 | 170000.00 | .70 | 140000.00 | 1.00 | 200000.00 | .80 | 160000.00 | .80 | 160000.00 | .95 | 190000.00 | 140000.00 | Manish Electricals
8.00 | Inspection, Servicing and Testing of 800A capacity 11 KV Vaccum Circuit Breakers (Make - CGL) including CTS PT wiring, other carrying out tests & preventive maintenance through authorised service agent and submission of test reports complete job as per attached technical specification.
8.01 | 1st Year | 3.00 | Job |  | 200000.00 | 600000.00 | 9800.00 | 29400.00 | 9000.00 | 27000.00 | 3900.00 | 11700.00 | 5000.00 | 15000.00 | 5200.00 | 15600.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 10000.00 | 30000.00 | 5000.00 | 15000.00 | 7000.00 | 21000.00 | 8000.00 | 24000.00 | 9000.00 | Techno Electricals
8.02 | 2nd Year | 3.00 | Job |  | 250000.00 | 750000.00 | 9800.00 | 29400.00 | 9000.00 | 27000.00 | 3900.00 | 11700.00 | 5000.00 | 15000.00 | 5500.00 | 16500.00 | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 10000.00 | 30000.00 | 6000.00 | 18000.00 | 7000.00 | 21000.00 | 8000.00 | 24000.00 | 9000.00 | Techno Electricals
9.00 | Inspection, servicing, setting, calibration and testing of IDMT relays, Make - Easun Reynode, Model - 04574 (set of 2 over current + 1 earth fault) i/c carrying out tests & preventive maintenance through authorised service agent and submission of test reports complete job as per attached technical specification.
9.01 | 1st Year | 3.00 | Set |  | 150000.00 | 450000.00 | 10780.00 | 32340.00 | 4000.00 | 12000.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 8500.00 | 25500.00 | 2200.00 | 6600.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 1500.00 | 4500.00 | 4500.00 | 13500.00 | 10000.00 | 30000.00 | 4500.00 | Ascent Electrification Engineers, PREMIER ENGINEERING TECHNICS PVT. LTD.
9.02 | 2nd Year | 3.00 | Set |  | 175000.00 | 525000.00 | 10780.00 | 32340.00 | 4000.00 | 12000.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 8500.00 | 25500.00 | 2200.00 | 6600.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 1500.00 | 4500.00 | 4500.00 | 13500.00 | 10000.00 | 30000.00 | 4500.00 | Ascent Electrification Engineers, PREMIER ENGINEERING TECHNICS PVT. LTD.
10.00 | Inspection, servicing, setting, calibration and testing of auxiliary and tripping relays including carrying out preventive maintenance through authorised service agent and submission of test reports complete job as per attached technical specification.
10.01 | 1st Year | 3.00 | Set |  | 150000.00 | 450000.00 | 10780.00 | 32340.00 | 3500.00 | 10500.00 | 1300.00 | 3900.00 | 1000.00 | 3000.00 | 2500.00 | 7500.00 | 1000.00 | 3000.00 | 500.00 | 1500.00 | 5000.00 | 15000.00 | 1000.00 | 3000.00 | 1200.00 | 3600.00 | 4000.00 | 12000.00 | 1500.00 | Manish Electricals
10.02 | 2nd Year | 3.00 | Set |  | 175000.00 | 525000.00 | 10780.00 | 32340.00 | 3500.00 | 10500.00 | 1300.00 | 3900.00 | 1000.00 | 3000.00 | 2500.00 | 7500.00 | 1000.00 | 3000.00 | 500.00 | 1500.00 | 5000.00 | 15000.00 | 1000.00 | 3000.00 | 1200.00 | 3600.00 | 4000.00 | 12000.00 | 1500.00 | Manish Electricals
11.00 | Inspection, servicing & testing of following Air circuit breakers of Capacity up to 1250A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports complete job as per attached technical specification.
11.01 | 1st Year | 5.00 | Set |  | 175000.00 | 875000.00 | 7350.00 | 36750.00 | 4500.00 | 22500.00 | 3900.00 | 19500.00 | 3000.00 | 15000.00 | 5400.00 | 27000.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 12500.00 | 62500.00 | 3000.00 | 15000.00 | 3000.00 | 15000.00 | 4500.00 | 22500.00 | 12500.00 | Techno Electricals
11.02 | 2nd Year | 5.00 | Set |  | 200000.00 | 1000000.00 | 7350.00 | 36750.00 | 4500.00 | 22500.00 | 3900.00 | 19500.00 | 3000.00 | 15000.00 | 5600.00 | 28000.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 12500.00 | 62500.00 | 3500.00 | 17500.00 | 3000.00 | 15000.00 | 4500.00 | 22500.00 | 12500.00 | Techno Electricals
12.00 | Dehydration and filtration of transformer oil at site (Transformer Make: Indotech, Capacity 500 KVA, Oil Capacity 1050 Ltrs.) including testing the BDV and acidity before and after testing, topping of oil and submission of test reports etc. as required for following Transformers complete job as per attached technical specification.
12.01 | 1st Year | 2100.00 | Set |  | 25.00 | 52500.00 | 20.00 | 42000.00 | 22.00 | 46200.00 | 75.00 | 157500.00 | 9.00 | 18900.00 | 8.00 | 16800.00 | 15.00 | 31500.00 | 8.00 | 16800.00 | 10.00 | 21000.00 | 10.00 | 21000.00 | 10.00 | 21000.00 | 15.00 | 31500.00 | 16800.00 | M/s LEESHA ELECTRICALS, Manish Electricals
12.02 | 2nd Year | 2100.00 | Set |  | 30.00 | 63000.00 | 20.00 | 42000.00 | 22.00 | 46200.00 | 75.00 | 157500.00 | 9.00 | 18900.00 | 8.00 | 16800.00 | 15.00 | 31500.00 | 8.00 | 16800.00 | 10.00 | 21000.00 | 12.00 | 25200.00 | 10.00 | 21000.00 | 20.00 | 42000.00 | 16800.00 | M/s LEESHA ELECTRICALS, Manish Electricals
13.00 | Supply of transformer oil of IS: 335/1980 ammended upto date with test report as required.
13.01 | 1st Year | 75.00 | Ltr |  | 200.00 | 15000.00 | 172.00 | 12900.00 | 110.00 | 8250.00 | 130.00 | 9750.00 | 125.00 | 9375.00 | 125.00 | 9375.00 | 125.00 | 9375.00 | 160.00 | 12000.00 | 200.00 | 15000.00 | 175.00 | 13125.00 | 110.00 | 8250.00 | 130.00 | 9750.00 | 8250.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, ABHISHEK INTEGRATIONS LIMITED
13.02 | 2nd Year | 75.00 | Ltr |  | 210.00 | 15750.00 | 172.00 | 12900.00 | 110.00 | 8250.00 | 130.00 | 9750.00 | 125.00 | 9375.00 | 130.00 | 9750.00 | 125.00 | 9375.00 | 160.00 | 12000.00 | 200.00 | 15000.00 | 200.00 | 15000.00 | 110.00 | 8250.00 | 130.00 | 9750.00 | 8250.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, ABHISHEK INTEGRATIONS LIMITED
14.00 | Recharging of pebble and graded sand filter of capacity 10,000 ltrs / Hr. by replacing the sand from existing pressure vessel of size 700 mm dia, 2000 mm height etc. as per site reqirement (NIATAM).
14.01 | 1st Year | 450.00 | Kg |  | 280.00 | 126000.00 | 24.00 | 10800.00 | 40.00 | 18000.00 | 10.00 | 4500.00 | 20.00 | 9000.00 | 20.00 | 9000.00 | 30.00 | 13500.00 | 15.00 | 6750.00 | 100.00 | 45000.00 | 50.00 | 22500.00 | 5.00 | 2250.00 | 50.00 | 22500.00 | 2250.00 | ABHISHEK INTEGRATIONS LIMITED
14.02 | 2nd Year | 450.00 | Kg |  | 300.00 | 135000.00 | 24.00 | 10800.00 | 40.00 | 18000.00 | 10.00 | 4500.00 | 20.00 | 9000.00 | 20.00 | 9000.00 | 30.00 | 13500.00 | 15.00 | 6750.00 | 100.00 | 45000.00 | 50.00 | 22500.00 | 5.00 | 2250.00 | 60.00 | 27000.00 | 2250.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Recharging of pebble and graded sand filter of capacity 3000 ltrs / Hr. by replacing the sand from existing pressure vessel of size 400 mm dia, 1250 mm height etc. as per site reqirement (Airport & AAI Colony).
15.01 | 1st Year | 450.00 | Kg |  | 280.00 | 126000.00 | 24.00 | 10800.00 | 20.00 | 9000.00 | 10.00 | 4500.00 | 20.00 | 9000.00 | 20.00 | 9000.00 | 30.00 | 13500.00 | 25.00 | 11250.00 | 100.00 | 45000.00 | 50.00 | 22500.00 | 5.00 | 2250.00 | 50.00 | 22500.00 | 2250.00 | ABHISHEK INTEGRATIONS LIMITED
15.02 | 2nd Year | 450.00 | Kg |  | 300.00 | 135000.00 | 24.00 | 10800.00 | 20.00 | 9000.00 | 10.00 | 4500.00 | 20.00 | 9000.00 | 20.00 | 9000.00 | 30.00 | 13500.00 | 25.00 | 11250.00 | 100.00 | 45000.00 | 50.00 | 22500.00 | 5.00 | 2250.00 | 60.00 | 27000.00 | 2250.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Recharging of activated carbon filtration system of capacity 10,000 ltrs./Hr. replacing activated carbon from existing pressure vassel of size 800 mm dia, 2000 mm height etc. as per site requirement (NIATAM).
16.01 | 1st Year | 450.00 | Kg |  | 280.00 | 126000.00 | 154.00 | 69300.00 | 32.00 | 14400.00 | 10.00 | 4500.00 | 50.00 | 22500.00 | 20.00 | 9000.00 | 50.00 | 22500.00 | 50.00 | 22500.00 | 100.00 | 45000.00 | 50.00 | 22500.00 | 30.00 | 13500.00 | 80.00 | 36000.00 | 4500.00 | Ascent Electrification Engineers
16.02 | 2nd Year | 450.00 | Kg |  | 300.00 | 135000.00 | 154.00 | 69300.00 | 32.00 | 14400.00 | 10.00 | 4500.00 | 50.00 | 22500.00 | 20.00 | 9000.00 | 50.00 | 22500.00 | 60.00 | 27000.00 | 100.00 | 45000.00 | 60.00 | 27000.00 | 30.00 | 13500.00 | 90.00 | 40500.00 | 4500.00 | Ascent Electrification Engineers
17.00 | Recharging of activated carbon filtration system of capacity 3000 ltrs./Hr. replacing activated carbon from existing pressure vassel of size 400 mm dia, 1250 mm height etc. as per site requirement (Airport & AAI Colony).
17.01 | 1st Year | 325.00 | Kg |  | 280.00 | 91000.00 | 154.00 | 50050.00 | 30.00 | 9750.00 | 10.00 | 3250.00 | 50.00 | 16250.00 | 20.00 | 6500.00 | 50.00 | 16250.00 | 100.00 | 32500.00 | 100.00 | 32500.00 | 50.00 | 16250.00 | 30.00 | 9750.00 | 70.00 | 22750.00 | 3250.00 | Ascent Electrification Engineers
17.02 | 2nd Year | 325.00 | Kg |  | 300.00 | 97500.00 | 154.00 | 50050.00 | 30.00 | 9750.00 | 10.00 | 3250.00 | 50.00 | 16250.00 | 20.00 | 6500.00 | 50.00 | 16250.00 | 100.00 | 32500.00 | 100.00 | 32500.00 | 60.00 | 19500.00 | 30.00 | 9750.00 | 75.00 | 24375.00 | 3250.00 | Ascent Electrification Engineers
18.00 | Rewinding and servicing of 370W, 0.5HP, Single phase Motor which are suitable to operate on 230V, 50Hz, AC Supply, with suitable gauge copper wire including warshining, bearing etc. as required. Including transportation from site to workshop & back to site. (include less rebate of dismantled copper wire)
18.01 | 1st Year | 3.00 | Job |  | 3000.00 | 9000.00 | 980.00 | 2940.00 | 750.00 | 2250.00 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 2000.00 | 6000.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 3000.00 | 9000.00 | 1000.00 | 3000.00 | 1200.00 | 3600.00 | 1850.00 | 5550.00 | 2250.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
18.02 | 2nd Year | 3.00 | Job |  | 3500.00 | 10500.00 | 980.00 | 2940.00 | 750.00 | 2250.00 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 2200.00 | 6600.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 3000.00 | 9000.00 | 1250.00 | 3750.00 | 1200.00 | 3600.00 | 2100.00 | 6300.00 | 2250.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
19.00 | Supply of 40W, 4 Pin, Single Ended Tubular Ultra Voilet Tube Lamp suitable for single phase 230V, 50Hz, AC Supply.(Similar to Model TUV 36T5 HE 4P SE, Make Philips)
19.01 | 1st Year | 15.00 | Each |  | 200.00 | 3000.00 | 980.00 | 14700.00 | 2500.00 | 37500.00 | 2000.00 | 30000.00 | 2500.00 | 37500.00 | 2500.00 | 37500.00 | 1800.00 | 27000.00 | 400.00 | 6000.00 | 2000.00 | 30000.00 | 2000.00 | 30000.00 | 1250.00 | 18750.00 | 550.00 | 8250.00 | 3000.00 | S.K ENTERPRISES
19.02 | 2nd Year | 12.00 | Each |  | 220.00 | 2640.00 | 980.00 | 11760.00 | 2500.00 | 30000.00 | 2000.00 | 24000.00 | 2500.00 | 30000.00 | 2500.00 | 30000.00 | 1800.00 | 21600.00 | 400.00 | 4800.00 | 2000.00 | 24000.00 | 2200.00 | 26400.00 | 1250.00 | 15000.00 | 600.00 | 7200.00 | 2640.00 | S.K ENTERPRISES
20.00 | Supply of 40 Watt, Electronic Ballast for TUV Fixture Suitable for Single Phase, 240Volt, 50Hz, AC supply (Similar to Model No. HF-P 158TL-D III 220-240V 50/60 Hz, Make Philips)
20.01 | 1st Year | 12.00 | Each |  | 500.00 | 6000.00 | 344.00 | 4128.00 | 2200.00 | 26400.00 | 3900.00 | 46800.00 | 1000.00 | 12000.00 | 3000.00 | 36000.00 | 2000.00 | 24000.00 | 350.00 | 4200.00 | 1000.00 | 12000.00 | 2000.00 | 24000.00 | 460.00 | 5520.00 | 300.00 | 3600.00 | 3600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.02 | 2nd Year | 12.00 | Each |  | 500.00 | 6000.00 | 344.00 | 4128.00 | 2200.00 | 26400.00 | 3900.00 | 46800.00 | 1000.00 | 12000.00 | 3000.00 | 36000.00 | 2000.00 | 24000.00 | 350.00 | 4200.00 | 1000.00 | 12000.00 | 2200.00 | 26400.00 | 460.00 | 5520.00 | 325.00 | 3900.00 | 3900.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.00 | Supply of 40 Watt, 4 Pin, T-5 TUV Lamp Holder suitable for Single Phase, 240Volt, 50Hz, AC supply (Similar to Model No. G10Q 4-PIN, Make Philips )
21.01 | 1st Year | 12.00 | Each |  | 150.00 | 1800.00 | 540.00 | 6480.00 | 350.00 | 4200.00 | 1090.00 | 13080.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 250.00 | 3000.00 | 150.00 | 1800.00 | 200.00 | 2400.00 | 100.00 | 1200.00 | 140.00 | 1680.00 | 50.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.02 | 2nd Year | 12.00 | Each |  | 150.00 | 1800.00 | 540.00 | 6480.00 | 350.00 | 4200.00 | 1090.00 | 13080.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 250.00 | 3000.00 | 150.00 | 1800.00 | 200.00 | 2400.00 | 125.00 | 1500.00 | 140.00 | 1680.00 | 60.00 | 720.00 | 720.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | Supply of Aluminium Sulfate (Alum) suitable for water treatement. (KAI(SO4)2-12H2O)
22.01 | 1st Year | 100.00 | Kg |  | 25.00 | 2500.00 | 20.00 | 2000.00 | 45.00 | 4500.00 | 11.00 | 1100.00 | 50.00 | 5000.00 | 20.00 | 2000.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 150.00 | 15000.00 | 50.00 | 5000.00 | 45.00 | 4500.00 | 35.00 | 3500.00 | 1100.00 | Ascent Electrification Engineers
22.02 | 2nd Year | 100.00 | Kg |  | 30.00 | 3000.00 | 20.00 | 2000.00 | 45.00 | 4500.00 | 11.00 | 1100.00 | 50.00 | 5000.00 | 20.00 | 2000.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 150.00 | 15000.00 | 60.00 | 6000.00 | 45.00 | 4500.00 | 45.00 | 4500.00 | 1100.00 | Ascent Electrification Engineers
23.00 | Supply of Calcium oxychloride (Bleaching powder) suitable for disinfecting of drinking water. (CAOCl2)
23.01 | 1st Year | 100.00 | Kg |  | 30.00 | 3000.00 | 24.00 | 2400.00 | 50.00 | 5000.00 | 129.00 | 12900.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 50.00 | 5000.00 | 100.00 | 10000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 55.00 | 5500.00 | 45.00 | 4500.00 | 2400.00 | Comfort Zone
23.02 | 2nd Year | 100.00 | Kg |  | 35.00 | 3500.00 | 24.00 | 2400.00 | 50.00 | 5000.00 | 129.00 | 12900.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 50.00 | 5000.00 | 100.00 | 10000.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 55.00 | 5500.00 | 50.00 | 5000.00 | 2400.00 | Comfort Zone
24.00 | Spray Painting of sand filter cylinder,activated carbon filter cylinder and Tube setteler applying two coats of syntetic enamel paint of approved make including cleaning of surface by sand paper and thereafter applying red oxide to obtain even shade etc complete as per satisfaction E-I-C as required.
24.01 | 1st Year | 3.00 | Job |  | 5000.00 | 15000.00 | 1470.00 | 4410.00 | 4500.00 | 13500.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 10000.00 | 30000.00 | 4410.00 | Comfort Zone
24.02 | 2nd Year | 3.00 | Job |  | 5500.00 | 16500.00 | 1470.00 | 4410.00 | 4500.00 | 13500.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 12000.00 | 36000.00 | 4410.00 | Comfort Zone
25.00 | Providing and placing on terrace (at all floor levels) polyethylene water of 5000 Ltr. storage capacity tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes with fittings and the base support for circular tank.
25.01 | 1st Year | 1.00 | Job |  | 150000.00 | 150000.00 | 17150.00 | 17150.00 | 13500.00 | 13500.00 | 800.00 | 800.00 | 17625.00 | 17625.00 | 5000.00 | 5000.00 | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 30000.00 | 30000.00 | 50000.00 | 50000.00 | 800.00 | Ascent Electrification Engineers
25.02 | 2nd Year | 1.00 | Job |  | 160000.00 | 160000.00 | 17150.00 | 17150.00 | 13500.00 | 13500.00 | 800.00 | 800.00 | 17625.00 | 17625.00 | 5000.00 | 5000.00 | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 50000.00 | 50000.00 | 55000.00 | 55000.00 | 30000.00 | 30000.00 | 52000.00 | 52000.00 | 800.00 | Ascent Electrification Engineers
| Total in Figures |  |  |  |  | 10005160.00 |  | 10752826.00 |  | 10190844.00 |  | 10857560.00 |  | 9365200.00 |  | 9653165.00 |  | 9920262.00 |  | 9360240.00 |  | 9697800.00 |  | 10579576.00 |  | 9285542.00 |  | 10468245.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(9285542.00)

## BOQ Summary
BOQ Summary Details Tender Title: Bi-Annual Operation and Maintenance Contract for the E and M Installations, WTP etc. at Birsi Airport, Gondia for the Year 2022-24 Tender ID: 2022_AAI_108830_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 9285542.00 | L1
| 2 | Manish Electricals | 9360240.00 | L2
| 3 | M/s BHARAT ELECTRIC, NAGPUR | 9365200.00 | L3
| 4 | M/s LEESHA ELECTRICALS | 9653165.00 | L4
| 5 | CENTRE TAP ENGINEERING | 9697800.00 | L5
| 6 | Techno Electricals | 9920262.00 | L6
| 7 | S.K ENTERPRISES | 10005160.00 | L7
| 8 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 10190844.00 | L8
| 9 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 10468245.00 | L9
| 10 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 10579576.00 | L10
| 11 | Comfort Zone | 10752826.00 | L11
| 12 | Ascent Electrification Engineers | 10857560.00 | L12