## BoQ1
Government eProcurement System Created By: Biraj Kumar Ganguly Created Date/Time: 12-May-2022 12:59 PM Tender Title: R and M Electrical Installations at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_108840_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: R & M Electrical Installations at NSCBI Airport, Kolkata.SH: Operation and Maintenance of Internal EI installations at Ancillary Building and Operational Office Building for the year 2022-2024.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Maintenance of internal & external electrical installations (except St. lighting & high mast lighting)of ancillary buildings such as MM deptt, MT section, CISF offices / barraks/qtr. guards/CISF Camp, Fire Section. GLF Section, Relocated Power House cum AC Plant, Cargo Sub-Stn. cum AC plant Rooms, Dog Squad, Security hut or Office at Different Apron Gates etc. and any other news installation added by AAI, attending day to day complains/faults/berakdowns and taking proper rectification action, ensuring serviceability & satisfactory working condition of the system, on round the clock basis on all days including Sundays & Holidays, as specified in the specifications/special condition of contract as required.
2.00 | For First Year | 12.00 | Months |  | 307155.00 | 3685860.00 | 272700.00 | 3272400.00 | 276950.00 | 3323400.00 | 315000.00 | 3780000.00 | 297777.00 | 3573324.00 | 318082.00 | 3816984.00 | 3272400.00 | Youngmen Traders
3.00 | For Second Year | 12.00 | Months |  | 307155.00 | 3685860.00 | 272700.00 | 3272400.00 | 281725.00 | 3380700.00 | 325000.00 | 3900000.00 | 297777.00 | 3573324.00 | 320000.00 | 3840000.00 | 3272400.00 | Youngmen Traders
4.00 | Maintenance cleaning, servicing of all the internal electrical installations at AAI Operational Office Complex & Multi Activity Complex (MAC) alongwith attending day to day complains/faults/berakdowns etc complete with street light, facia/flood light, glow signs etc.i/c supplying of consumables like soap, duster, cotton waste etc. as required on round the clock basis on all days including Sundays & Holidays as per the direction of EIC & as specified in the specifications/special condition of contract as required.
5.00 | For First Year | 12.00 | Months |  | 195916.00 | 2350992.00 | 177500.00 | 2130000.00 | 187180.00 | 2246160.00 | 195000.00 | 2340000.00 | 193888.00 | 2326656.00 | 203856.00 | 2446272.00 | 2130000.00 | Youngmen Traders
6.00 | For Second Year | 12.00 | Months |  | 195916.00 | 2350992.00 | 177500.00 | 2130000.00 | 191000.00 | 2292000.00 | 200000.00 | 2400000.00 | 193888.00 | 2326656.00 | 205000.00 | 2460000.00 | 2130000.00 | Youngmen Traders
7.00 | Servicing, cleaning, oiling with setting tripping mechanism along with testing contact resistance, IR value measurement and carrying out other necessary maintenance as per OEM’s recommended practice etc. of LT Air Circuit Breaker (ACB) of 3 /4 pole, upto 800 Amps capacity at Substation/ Switch rooms i/c calibration etc complete as required. Make –C & S. | 8.00 | JOB |  | 6000.00 | 48000.00 | 6000.00 | 48000.00 | 4775.00 | 38200.00 | 8000.00 | 64000.00 | 3780.00 | 30240.00 | 4500.00 | 36000.00 | 30240.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Complete repair and maintenance i/c rewinding, replacement of defective parts, of the following sizes motors from Authorised /OEM service centre i/c dismantelling, arranging of tools & transportation and fitment of spares etc complete as required with one year warranty from the date of repair complete as required. (Dismantled copper to be adjusted ). a) Upto 5 HP, 415V 3ph motor set. | 3.00 | JOB |  | 18000.00 | 54000.00 | 25000.00 | 75000.00 | 9550.00 | 28650.00 | 15000.00 | 45000.00 | 4320.00 | 12960.00 | 8000.00 | 24000.00 | 12960.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Replacement of existing damaged feeder pillar by a new dust & vermin proof outdoor feeder pillar made of not less than 2mm thick MS sheet of suitable size confirming to IP 54 with 4 strip aluminium bus bar suitable for 300 amps capacity & including hinged lockable door on the both side of panel etc, as required. Supply and fixing of following electrical switchgears including interconnection of switchgears with suitable capacity of aluminium busbar/ cable, required 3 phase ammeter and Volt meter, LED indicators, interconnection, earthing, painting, i/c civil works like foundation, plastering etc alongwith dismantling & shifting of existing feeder pillar to AAI store as per instruction of engg-in-charge etc complete as required. 250 A, 36KA, 4 Pole MCCB-2 No. ( Incomer) 125 A, 25KA, 4 Pole MCCB-4 Nos 100 A, 25KA, 4 Pole MCCB-2 No. Analog Voltmeter ( 0 to 500 Volts )-1 No. Analog Ammeter ( 0 to 250 A )-1 No Selector switches for Ammeter & voltmeter.- 1 set | 1.00 | JOB |  | 150000.00 | 150000.00 | 55000.00 | 55000.00 | 225000.00 | 225000.00 | 250000.00 | 250000.00 | 102600.00 | 102600.00 | 120000.00 | 120000.00 | 55000.00 | Youngmen Traders
10.00 | Fabrication & treatment of damaged portion of Cabinet Box in the existing Feeder Pillar / LT panel as per the site requirement upto the satisfaction of Engg-in- charge etc. complete as required. | 50.00 | SQM |  | 500.00 | 25000.00 | 275.00 | 13750.00 | 2865.00 | 143250.00 | 1000.00 | 50000.00 | 648.00 | 32400.00 | 100.00 | 5000.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.00 | Dismantling of existing Fedder Pillar / LT Panel of various sizes with all end terminations and shifting the same to AAI store as per the instruction and complete satisfaction of Engg-in-charge etc. complete as required. | 5.00 | JOB |  | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 4775.00 | 23875.00 | 6500.00 | 32500.00 | 1620.00 | 8100.00 | 15000.00 | 75000.00 | 5000.00 | EASTERN POWER ENGINEERING, Youngmen Traders
12.00 | Rewinding of ceiling fan motor (size 1200mm to 1400mm) / exhaust fan (upto 450mm) i/c replacement of ball bearing, shaft etc. as required. Dismantling, transportation to workshop & back and re-installation i/c connection , testing & commissioning as & when required basis. (Dismantled copper to be adjusted ) | 10.00 | JOB |  | 500.00 | 5000.00 | 400.00 | 4000.00 | 955.00 | 9550.00 | 500.00 | 5000.00 | 432.00 | 4320.00 | 350.00 | 3500.00 | 3500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.00 | Repairing of Electric water heater/Geyser of different makes and capacity upto 15 litres including servicing, replacement of heating element, thermostat etc complete as required . | 4.00 | JOB |  | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 955.00 | 3820.00 | 2200.00 | 8800.00 | 1080.00 | 4320.00 | 2800.00 | 11200.00 | 3820.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.00 | The execution of Delhi Schedule of Rates (E&M) 2018 of estimated amount of Rs 3,00,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as and when required basis for repair/maintenance/ addition / alteration etc.of internal and External Electrical installations. [Quoting in the Rate 10% below the Estimated amount of Rs 3,00,000.00 means amount will be Rs. 2,70,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 3,00,000.00 means amount will be Rs.3,30,000/-] (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2018
15.00 | For First Year | 300000.00 | % above or below |  | 25.00 | 225000.00 | 15.00 | 255000.00 | 5.00 | 285000.00 | 20.00 | 360000.00 | 10.00 | 270000.00 | .90 | 297300.00 | 225000.00 | EASTERN POWER ENGINEERING
16.00 | For Second Year | 300000.00 | % above or below |  | 25.00 | 225000.00 | 15.00 | 255000.00 | 2.00 | 294000.00 | 20.00 | 360000.00 | 10.00 | 270000.00 | 1.00 | 303000.00 | 225000.00 | EASTERN POWER ENGINEERING
| Total in Figures |  |  |  |  | 12816704.00 |  | 11519550.00 |  | 12293605.00 |  | 13595300.00 |  | 12534900.00 |  | 13438256.00
Lowest Amount Quoted BY: Youngmen Traders(11519550.00)

## BOQ Summary
BOQ Summary Details Tender Title: R and M Electrical Installations at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_108840_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 11519550.00 | L1
| 2 | SHREE GOURI ELECTRIC ENTERPRISE | 12293605.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 12534900.00 | L3
| 4 | EASTERN POWER ENGINEERING | 12816704.00 | L4
| 5 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 13438256.00 | L5
| 6 | Comfort Zone | 13595300.00 | L6