## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 13-Apr-2022 04:28 PM Tender Title: Annual Operation and Comprehensive Maintenance Contract of HVAC system at Agra Airport (2022-24). Tender ID: 2022_AAI_109121_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, RHQ-NR, New Delhi
Name of Work: Annual Operation & Comprehensive Maintenance Contract of HVAC system at Agra Airport (2022-24).
Tender ID: 2022_AAI_109121_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | AIRTECH ENGINEERS(GSTN-27AJHPB7042D1ZM) |  | V Save Electronics Pvt Ltd(GSTN-09AADCV5572A1ZD)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Provision of manpower for operation of 2 X 300 TR capacity HVAC system alongwith all associated accessories e.g. hot water generator, Chillers, cooling tower, chilled water pump, condensers pump, AHUs, FCUs etc. The contractor is required to deploy following minimum manpower in shift of eight hours on all days except on weekly off day : a) A/C Mechanic-cum Electrician- 01 No. (Skilled) b) A/C operator - 01 No. (semi-skilled) c) Helper - 02 Nos. (Un-skilled) | 24.00 | Month | 0.00 | 91724.00 | 2201376.00 | 90000.00 | 2160000.00 | 87996.00 | 2111904.00 | 76000.00 | 1824000.00 | 74500.00 | 1788000.00 | 1788000.00 | V Save Electronics Pvt Ltd
2.00 | Operation of 2X 300 TR capacity HVAC system alongwith all associated accessories e.g. hot water generator, Chillers, cooling tower, chilled water pump, condensers pump, AHUs, FCUs etc. during extended watch hours beyond 8 hours of one shift by deploying following minimum manpower : a) A/C operator - 01 No. (Semi skilled) b) Helper - 01 No. (Un-skilled) | 50.00 | Hours | 0.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 146.00 | 7300.00 | 60.00 | 3000.00 | 245.00 | 12250.00 | 3000.00 | AIRTECH ENGINEERS
3.00 | Annual all inclusive comprehensive maintenance contract of 2X300 TR ( York make) water cooled centrifugal type chillers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components etc as per OEM/AAI specifications, maintenance of records/documentation etc. in all days i/c Sundays & holidays etc. complete as required.
3.01 | 1st Year | 12.00 | Month | 0.00 | 4000.00 | 48000.00 | 29000.00 | 348000.00 | 28250.00 | 339000.00 | 20000.00 | 240000.00 | 29000.00 | 348000.00 | 48000.00 | Anoop Refrigeration
3.02 | 2nd Year | 12.00 | Month | 0.00 | 15000.00 | 180000.00 | 30000.00 | 360000.00 | 30250.00 | 363000.00 | 20000.00 | 240000.00 | 29000.00 | 348000.00 | 180000.00 | Anoop Refrigeration
4.00 | Annual all inclusive comprehensive maintenance contract of following equipments and other accessories other than chillers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components etc as per OEM/AAI specifications, maintenance of records/documentation etc. in all days i/c Sundays & holidays etc. complete as required. Equipments a) Water Heating Plant , 100 KW ( approx) - 02 Nos b) 40 HP Condenser water pumps-02 Nos. c) 40 HP Chiller water pumps- 02 Nos. d) AHU's with all accessories - 09 Nos. e) 175 TR FRP induced draft cooling towers -03 Nos. f) All electrical panel boards in plant room, AHU's control panel complete as mean for A/C Plant g) Fan coil units 1.5 TR/2.0 TR - 02 Nos.
4.01 | 1st Year | 12.00 | Month | 0.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 8500.00 | 102000.00 | 5000.00 | 60000.00 | 17400.00 | 208800.00 | 24000.00 | Anoop Refrigeration
4.02 | 2nd Year | 12.00 | Month | 0.00 | 4000.00 | 48000.00 | 5500.00 | 66000.00 | 9500.00 | 114000.00 | 5000.00 | 60000.00 | 17400.00 | 208800.00 | 48000.00 | Anoop Refrigeration
5.00 | Annual all inclusive comprehensive maintenance contract of 1.5 TR capacity window type of different makes AC including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares, maintenance of records/ documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to comprehensive maintenance of 1 No machine per month.
5.01 | 1st Year | 72.00 | Job | 0.00 | 225.00 | 16200.00 | 180.00 | 12960.00 | 96.00 | 6912.00 | 300.00 | 21600.00 | 125.00 | 9000.00 | 6912.00 | Supertech Engineers
5.02 | 2nd Year | 72.00 | Job | 0.00 | 225.00 | 16200.00 | 190.00 | 13680.00 | 99.00 | 7128.00 | 300.00 | 21600.00 | 125.00 | 9000.00 | 7128.00 | Supertech Engineers
6.00 | Annual all inclusive comprehensive maintenance contract of 1.5 TR capacity split type of different makes AC alongwith voltage stabilizers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to comprehensive maintenance of 1 No machine per month.
6.01 | 1st Year | 324.00 | Job | 0.00 | 175.00 | 56700.00 | 166.00 | 53784.00 | 105.00 | 34020.00 | 300.00 | 97200.00 | 230.00 | 74520.00 | 34020.00 | Supertech Engineers
6.02 | 2nd Year | 324.00 | Job | 0.00 | 213.00 | 69012.00 | 175.00 | 56700.00 | 108.00 | 34992.00 | 300.00 | 97200.00 | 230.00 | 74520.00 | 34992.00 | Supertech Engineers
7.00 | Annual all inclusive comprehensive maintenance contract of storage type water cooler of capacity 40/40 Ltrs of different makes including repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares, maintenance of records/ documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to comprehensive maintenance of 1 No machine per month.
7.01 | 1st Year | 36.00 | Job | 0.00 | 250.00 | 9000.00 | 150.00 | 5400.00 | 375.00 | 13500.00 | 350.00 | 12600.00 | 290.00 | 10440.00 | 5400.00 | SNOWMEX ENGINEERS LIMITED
7.02 | 2nd Year | 36.00 | Job | 0.00 | 280.00 | 10080.00 | 155.00 | 5580.00 | 400.00 | 14400.00 | 350.00 | 12600.00 | 290.00 | 10440.00 | 5580.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Annual all inclusive comprehensive maintenance contract of storage type water cooler of capacity 60/120 Ltrs of different makes including repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares, maintenance of records/ documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to comprehensive maintenance of 1 No machine per month.
8.01 | 1st Year | 72.00 | Job | 0.00 | 150.00 | 10800.00 | 150.00 | 10800.00 | 417.00 | 30024.00 | 350.00 | 25200.00 | 290.00 | 20880.00 | 10800.00 | Anoop Refrigeration, SNOWMEX ENGINEERS LIMITED
8.02 | 2nd Year | 72.00 | Job | 0.00 | 250.00 | 18000.00 | 155.00 | 11160.00 | 458.00 | 32976.00 | 350.00 | 25200.00 | 290.00 | 20880.00 | 11160.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Annual all inclusive comprehensive maintenance contract of reverse osmosis water purifier system of capacity 25 LPH installed at various locations of Agra Airport. Job includes routine/preventive maintenance, attending to complaints/ faults/ unlimited breakdowns and taking rectification action, repair/replacement of all defective accessories by providing all necessary consumables and spares, periodical replacement of all filters/ candles as per OEM recommendations / special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to comprehensive maintenance of 1 No machine per month.
9.01 | 1st Year | 48.00 | Job | 0.00 | 125.00 | 6000.00 | 350.00 | 16800.00 | 417.00 | 20016.00 | 300.00 | 14400.00 | 583.00 | 27984.00 | 6000.00 | Anoop Refrigeration
9.02 | 2nd Year | 48.00 | Job | 0.00 | 167.00 | 8016.00 | 360.00 | 17280.00 | 458.00 | 21984.00 | 300.00 | 14400.00 | 583.00 | 27984.00 | 8016.00 | Anoop Refrigeration
10.00 | Annual all inclusive comprehensive maintenance contract of reverse osmosis water purifier system of capacity 50/60 LPH installed at various locations of Agra Airport. Job includes routine/preventive maintenance, attending to complaints/ faults/ unlimited breakdowns and taking rectification action, repair/replacement of all defective accessories by providing all necessary consumables and spares , periodical replacement of all filters/ candles as per OEM recommendations / special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to comprehensive maintenance of 1 No machine per month.
10.01 | 1st Year | 72.00 | Job | 0.00 | 125.00 | 9000.00 | 500.00 | 36000.00 | 417.00 | 30024.00 | 350.00 | 25200.00 | 583.00 | 41976.00 | 9000.00 | Anoop Refrigeration
10.02 | 2nd Year | 72.00 | Job | 0.00 | 284.00 | 20448.00 | 550.00 | 39600.00 | 458.00 | 32976.00 | 350.00 | 25200.00 | 583.00 | 41976.00 | 20448.00 | Anoop Refrigeration
11.00 | Dismantling of 1.5 TR window type AC units including submission of dismantled AC units to AAI store etc complete as required. | 2.00 | Job | 0.00 | 1000.00 | 2000.00 | 100.00 | 200.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 200.00 | SNOWMEX ENGINEERS LIMITED, V Save Electronics Pvt Ltd
12.00 | Dismantling of 1.5 TR split type AC units including submission of dismantled AC units to AAI store etc complete as required. | 4.00 | Job | 0.00 | 1000.00 | 4000.00 | 205.00 | 820.00 | 600.00 | 2400.00 | 800.00 | 3200.00 | 100.00 | 400.00 | 400.00 | V Save Electronics Pvt Ltd
13.00 | Installation, testing & commissioning of 1.5 TR window AC at new location in the existing opening including refrigerant gas charging, minor civil work etc. complete as required. | 2.00 | Job | 0.00 | 3000.00 | 6000.00 | 250.00 | 500.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 100.00 | 200.00 | 200.00 | V Save Electronics Pvt Ltd
14.00 | Installation, testing & commissioning of 1.5 TR split AC at new location including refrigerant gas charging, providing foundation/fixing of angle iron frame, minor civil work etc. complete as required | 4.00 | Job | 0.00 | 3000.00 | 12000.00 | 500.00 | 2000.00 | 2500.00 | 10000.00 | 1000.00 | 4000.00 | 100.00 | 400.00 | 400.00 | V Save Electronics Pvt Ltd
15.00 | Supply and fixing of PVC drain pipe ( 25 mm) nominal etc complete as required. | 20.00 | Mtr. | 0.00 | 80.00 | 1600.00 | 30.00 | 600.00 | 65.00 | 1300.00 | 25.00 | 500.00 | 100.00 | 2000.00 | 500.00 | AIRTECH ENGINEERS
16.00 | Supply and fixing of AC copper pipes (1/4 inch & 1/2 inch) nominal including insulation, taping etc complete as required. | 20.00 | Mtr. | 0.00 | 900.00 | 18000.00 | 350.00 | 7000.00 | 1250.00 | 25000.00 | 950.00 | 19000.00 | 150.00 | 3000.00 | 3000.00 | V Save Electronics Pvt Ltd
| Total in Figures |  |  |  |  | 2801932.00 |  | 3292364.00 |  | 3359856.00 |  | 2849100.00 |  | 3289650.00
Lowest Amount Quoted BY: Anoop Refrigeration(2801932.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Comprehensive Maintenance Contract of HVAC system at Agra Airport (2022-24). Tender ID: 2022_AAI_109121_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anoop Refrigeration | 2801932.00 | L1
| 2 | AIRTECH ENGINEERS | 2849100.00 | L2
| 3 | V Save Electronics Pvt Ltd | 3289650.00 | L3
| 4 | SNOWMEX ENGINEERS LIMITED | 3292364.00 | L4
| 5 | Supertech Engineers | 3359856.00 | L5