## BoQ1
Government eProcurement System Created By: S.THIRVMAL MURUGAN Created Date/Time: 13-Apr-2022 12:39 PM Tender Title: M R to Power Supply and Standby DG Sets at Chennai Airport. SH Painting of Power Supply Installations, Cleaning of RCC Walkable Cable Trench, Cladding of Exhaust Pipe and Associated Works Tender ID: 2022_AAI_109216_1
Tender Inviting Authority: Asst.General Manager (Engg-Elect)- AMED-VII, Chennai Airport.
Name of Work: M/R to Power Supply & Standby DG Sets at Chennai Airport. SH: Painting of Power Supply Installations, Cleaning of RCC Walkable Cable Trench, Cladding of Exhaust Pipe and Associated Works.
Tender ID: 2022_AAI_109216_1 Contract No: AAI/CHE/AMED-VII/2021-22/05
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Painting of Power Supply Installations.
1.01 | Spray Painting of following DG Sets along with Fuel Tank and the AMF Panel with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including painting of silencer pipe with anti-corrosion thermal paint, painting of radiator/ ducts with enamel/ Aluminium paint including scrapping, cleaning and providing putty/ Primer wherever required before starting painting, inscription of feeder details after painting by sticker/ painting of approved colour as required and as per instructions of Engineer-In-Charge.
1.02 | 1500 KVA LT DG Set at Central SS (Approx. area per Job = 46 Sq.mtr.) | 4.00 | Job |  | 7179.00 | 28716.00 | 7500.00 | 30000.00 | 28716.00 | CHENNAI ENGINEERING SERVICES
1.03 | 1500 KVA HT DG Set at Central SS (Approx. area per Job = 46 Sq.mtr.) | 8.00 | Job |  | 7179.00 | 57432.00 | 7500.00 | 60000.00 | 57432.00 | CHENNAI ENGINEERING SERVICES
1.04 | 1010 KVA DG Set with accoustic encloser at ICC PH (Approx. area per Job = 140 Sq.mtr.) | 1.00 | Job |  | 19409.00 | 19409.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
1.05 | 500 KVA DG Set with accoustic encloser at ICC PH (Approx. area per Job = 83 Sq.mtr.) | 1.00 | Job |  | 11429.00 | 11429.00 | 6000.00 | 6000.00 | 6000.00 | Balaji Engineering
1.06 | 437.5 KVA DG Set with accoustic encloser at ICC PH (Approx. area per Job = 54 Sq.mtr.) | 2.00 | Job |  | 7449.00 | 14898.00 | 6000.00 | 12000.00 | 12000.00 | Balaji Engineering
1.07 | 320 KVA DG Set with accoustic encloser at OIT PH (Approx. area per Job = 77 Sq.mtr.) | 1.00 | Job |  | 10629.00 | 10629.00 | 6000.00 | 6000.00 | 6000.00 | Balaji Engineering
1.08 | 320 KVA DG Set with accoustic encloser at CISF Barracks (Approx. area per Job = 77 Sq.mtr.) | 1.00 | Job |  | 10899.00 | 10899.00 | 6000.00 | 6000.00 | 6000.00 | Balaji Engineering
2.00 | Spray Painting of Power Transformers at following Locations with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning & providing putty/ primer wherever required on the surface before painting, marking of oil level, inscription of rating & feeder details after painting by sticker/ painting of approved colour as required and as per instructions of Engineer-In-Charge.
2.01 | Central Sub Station
2.02 | 2 MVA Oil type Transformer (Approx. area per Job = 46 Sq.Mtrs) | 4.00 | Job |  | 6349.00 | 25396.00 | 10000.00 | 40000.00 | 25396.00 | CHENNAI ENGINEERING SERVICES
2.03 | International RHS
2.04 | 2 MVA Dry type Transformer (Approx. area per Job = 33 Sq.Mtrs) | 3.00 | Job |  | 4559.00 | 13677.00 | 10000.00 | 30000.00 | 13677.00 | CHENNAI ENGINEERING SERVICES
2.05 | International LHS
2.06 | 2 MVA Dry type Transformer (Approx. area per Job = 33 Sq.Mtrs) | 3.00 | Job |  | 4559.00 | 13677.00 | 10000.00 | 30000.00 | 13677.00 | CHENNAI ENGINEERING SERVICES
2.07 | Domestic LHS
2.08 | 2 MVA Dry type Transformer (Approx. area per Job = 33 Sq.Mtrs) | 3.00 | Job |  | 4559.00 | 13677.00 | 10000.00 | 30000.00 | 13677.00 | CHENNAI ENGINEERING SERVICES
2.09 | Domestic RHS
2.10 | 2 MVA Dry type Transformer (Approx. area per Job = 33 Sq.Mtrs) | 3.00 | Job |  | 4559.00 | 13677.00 | 10000.00 | 30000.00 | 13677.00 | CHENNAI ENGINEERING SERVICES
2.11 | CCR Power House
2.12 | 2 MVA Oil type Transformer (Approx. area per Job = 46 Sq.Mtrs) | 2.00 | Job |  | 6349.00 | 12698.00 | 10000.00 | 20000.00 | 12698.00 | CHENNAI ENGINEERING SERVICES
2.13 | Admin Building Power House
2.14 | 2500 KVA Oil type Transformer (Approx. area per Job = 55 Sq.Mtrs) | 2.00 | Job |  | 7589.00 | 15178.00 | 10000.00 | 20000.00 | 15178.00 | CHENNAI ENGINEERING SERVICES
2.15 | AAI Residential Colony Sub-Station
2.16 | 500 KVA Oil type Transformer (Approx. area per Job = 14 Sq.Mtrs) | 1.00 | Job |  | 1929.00 | 1929.00 | 5000.00 | 5000.00 | 1929.00 | CHENNAI ENGINEERING SERVICES
2.17 | Remote Bay SS
2.18 | 500 KVA Oil type Transformer (Approx. area per Job = 37 Sq.Mtrs) | 2.00 | Job |  | 5109.00 | 10218.00 | 6000.00 | 12000.00 | 10218.00 | CHENNAI ENGINEERING SERVICES
2.19 | Old Power House
2.20 | 1000 KVA Oil type Transformer - I (Approx. area per Job = 21 Sq.Mtrs) | 1.00 | Job |  | 2899.00 | 2899.00 | 6000.00 | 6000.00 | 2899.00 | CHENNAI ENGINEERING SERVICES
2.21 | Integrated Cargo Complex PH
2.22 | 2500 KVA Oil type Transformer (Approx. area per Job = 55 Sq.Mtrs) | 1.00 | Job |  | 7589.00 | 7589.00 | 10000.00 | 10000.00 | 7589.00 | CHENNAI ENGINEERING SERVICES
2.23 | 1600 KVA Oil type Transformer (Approx. area per Job = 35 Sq.Mtrs) | 3.00 | Job |  | 4829.00 | 14487.00 | 9000.00 | 27000.00 | 14487.00 | CHENNAI ENGINEERING SERVICES
2.24 | Package Sub-Station
2.25 | Package SS (HT Panel & LT Panel) (Approx. area per Job = 30 Sq.Mtrs) | 1.00 | Job |  | 4139.00 | 4139.00 | 5000.00 | 5000.00 | 4139.00 | CHENNAI ENGINEERING SERVICES
2.26 | Solar Plant at Cargo Complex
2.27 | 2 MVA Dry type Transformer (Approx. area per Job = 30 Sq.Mtrs) | 1.00 | Job |  | 4139.00 | 4139.00 | 5000.00 | 5000.00 | 4139.00 | CHENNAI ENGINEERING SERVICES
3.00 | Spray Painting of HT & LT Panels at following Locations with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning and providing putty / Primer (only minor area) wherever required on the surface of panel, inscription of feeder details after painting by sticker/ painting of approved colour including providing masking by suitable means for all meter, relays & indication lamps before painting and cleaning of meters, relays & indication lamps after painting for removal of paint, if any as required and as per instructions of Engineer-In-Charge.
3.01 | Central Sub Station
3.02 | 11 KV 8 panels, Battery Charger & DC DB (Approx. area per Job = 67 Sq.Mtrs) | 1.00 | Job |  | 7589.00 | 7589.00 | 10000.00 | 10000.00 | 7589.00 | CHENNAI ENGINEERING SERVICES
3.03 | 11 KV 19 Panels, Battery Charger & DC DB (Approx. area per Job = 107 Sq.Mtrs) | 1.00 | Job |  | 14769.00 | 14769.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.04 | 11 KV 10 Panels, Battery Charger & DC DB (Approx. area per Job = 57 Sq.Mtrs) | 1.00 | Job |  | 8969.00 | 8969.00 | 10000.00 | 10000.00 | 8969.00 | CHENNAI ENGINEERING SERVICES
3.05 | HT Capacitor Panel I & II (3000KVAR) (Approx. area per Job = 114 Sq.Mtrs) | 1.00 | Job |  | 15379.00 | 15379.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.06 | HT ATS Panel (Approx. area per Job = 199 Sq.Mtrs) | 1.00 | Job |  | 27469.00 | 27469.00 | 15000.00 | 15000.00 | 15000.00 | Balaji Engineering
3.07 | LT ATS Panel I, II, III & IV (Approx. area per Job = 52 Sq.Mtrs) | 1.00 | Job |  | 7179.00 | 7179.00 | 7500.00 | 7500.00 | 7179.00 | CHENNAI ENGINEERING SERVICES
3.08 | LT Panels (Approx. area per Job = 150 Sq.Mtrs) | 1.00 | Job |  | 20699.00 | 20699.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.09 | APFC Panel No.1 - 250 KVAR (Approx. area per Job = 13 Sq.Mtrs) | 1.00 | Job |  | 1799.00 | 1799.00 | 5000.00 | 5000.00 | 1799.00 | CHENNAI ENGINEERING SERVICES
3.10 | APFC Panel No. 2, 3 & 4 - 150 KVAR (Approx. area per Job = 12 Sq.Mtrs) | 2.00 | Job |  | 4829.00 | 9658.00 | 5000.00 | 10000.00 | 9658.00 | CHENNAI ENGINEERING SERVICES
3.11 | Active Harmonics Filter Panel (Approx. area per Job = 28 Sq.Mtrs) | 4.00 | Job |  | 999.00 | 3996.00 | 5000.00 | 20000.00 | 3996.00 | CHENNAI ENGINEERING SERVICES
3.12 | DG 27 Panels & 30V DC Battery Charger (Approx. area per Job = 83 Sq.Mtrs) | 1.00 | Job |  | 11459.00 | 11459.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.13 | DG Ventilation Panel (Approx. area per Job = 15 Sq.Mtrs) | 4.00 | Job |  | 2069.00 | 8276.00 | 3000.00 | 12000.00 | 8276.00 | CHENNAI ENGINEERING SERVICES
3.14 | DG NGR Panel (Approx. area per Job = 14 Sq.Mtrs) | 4.00 | Job |  | 1929.00 | 7716.00 | 3000.00 | 12000.00 | 7716.00 | CHENNAI ENGINEERING SERVICES
3.15 | DG Aux Panel 7.1 & 9.1 (Approx. area per Job = 34 Sq.Mtrs) | 1.00 | Job |  | 4689.00 | 4689.00 | 5000.00 | 5000.00 | 4689.00 | CHENNAI ENGINEERING SERVICES
3.16 | LT C&R Panel (Approx. area per Job = 69 Sq.Mtrs) | 1.00 | Job |  | 9519.00 | 9519.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.17 | HT C&R Panel (Approx. area per Job = 45 Sq.Mtrs) | 1.00 | Job |  | 6209.00 | 6209.00 | 6000.00 | 6000.00 | 6000.00 | Balaji Engineering
3.18 | DG Ventilation Distribution Panel (Approx. area per Job = 4 Sq.Mtrs) | 18.00 | Job |  | 549.00 | 9882.00 | 1000.00 | 18000.00 | 9882.00 | CHENNAI ENGINEERING SERVICES
3.19 | International LHS
3.20 | 11 KV HT Panel, Battery Charger & DC DB (Approx. area per Job = 58 Sq.Mtrs) | 1.00 | Job |  | 7999.00 | 7999.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.21 | LT Panels (Approx. area per Job = 140 Sq.Mtrs) | 1.00 | Job |  | 19319.00 | 19319.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.22 | APFC Panel No.1 - 250 KVAR (Approx. area per Job = 13 Sq.Mtrs) | 1.00 | Job |  | 1799.00 | 1799.00 | 2000.00 | 2000.00 | 1799.00 | CHENNAI ENGINEERING SERVICES
3.23 | APFC Panel No.2 & 3 - 150 KVAR (Approx. area per Job = 4 Sq.Mtrs) | 2.00 | Job |  | 1659.00 | 3318.00 | 1000.00 | 2000.00 | 2000.00 | Balaji Engineering
3.24 | Active Harmonics Filter Panel (Approx. area per Job = 7 Sq.Mtrs) | 3.00 | Job |  | 999.00 | 2997.00 | 1000.00 | 3000.00 | 2997.00 | CHENNAI ENGINEERING SERVICES
3.25 | International RHS
3.26 | 11 KV HT Panel, Battery Charger, DC DB (Approx. area per Job = 69 Sq.Mtrs) | 1.00 | Job |  | 9519.00 | 9519.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.27 | LT Panels (Approx. area per Job = 139 Sq.Mtrs) | 1.00 | Job |  | 19179.00 | 19179.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.28 | APFC Panel No.1 - 250 KVAR (Approx. area per Job = 13 Sq.Mtrs) | 2.00 | Job |  | 1799.00 | 3598.00 | 2000.00 | 4000.00 | 3598.00 | CHENNAI ENGINEERING SERVICES
3.29 | APFC Panel No.2 & 3 - 150 KVAR (Approx. area per Job = 12 Sq.Mtrs) | 2.00 | Job |  | 1659.00 | 3318.00 | 2000.00 | 4000.00 | 3318.00 | CHENNAI ENGINEERING SERVICES
3.30 | Active Harmonics Filter Panel (Approx. area per Job = 7 Sq.Mtrs) | 3.00 | Job |  | 999.00 | 2997.00 | 1000.00 | 3000.00 | 2997.00 | CHENNAI ENGINEERING SERVICES
3.31 | Domestic LHS
3.32 | 11 KV HT Panel, Battery Charger & DC DB (Approx. area per Job = 67 Sq.Mtrs) | 1.00 | Job |  | 9249.00 | 9249.00 | 7000.00 | 7000.00 | 7000.00 | Balaji Engineering
3.33 | LT Panels (Approx. area per Job = 142 Sq.Mtrs) | 1.00 | Job |  | 19599.00 | 19599.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.34 | APFC Panel 1 250 KVAR (Approx. area per Job = 13 Sq.Mtrs) | 2.00 | Job |  | 1799.00 | 3598.00 | 2000.00 | 4000.00 | 3598.00 | CHENNAI ENGINEERING SERVICES
3.35 | APFC Panel (2,3)150 KVAR (Approx. area per Job = 12 Sq.Mtrs) | 2.00 | Job |  | 1659.00 | 3318.00 | 2000.00 | 4000.00 | 3318.00 | CHENNAI ENGINEERING SERVICES
3.36 | Harmonics Filter (Approx. area per Job = 7 Sq.Mtrs) | 3.00 | Job |  | 999.00 | 2997.00 | 1000.00 | 3000.00 | 2997.00 | CHENNAI ENGINEERING SERVICES
3.37 | Domestic RHS
3.38 | 11 KV HT Panel & DC DB (Approx. area per Job = 66 Sq.Mtrs) | 1.00 | Job |  | 9109.00 | 9109.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.39 | LT Panels (Approx. area per Job = 127 Sq.Mtrs) | 1.00 | Job |  | 17529.00 | 17529.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.40 | APFC Panel No.1 - 250 KVAR (Approx. area per Job = 13 Sq.Mtrs) | 1.00 | Job |  | 1799.00 | 1799.00 | 2000.00 | 2000.00 | 1799.00 | CHENNAI ENGINEERING SERVICES
3.41 | APFC Panel No.2 & 3 - 150 KVAR (Approx. area per Job = 12 Sq.Mtrs) | 2.00 | Job |  | 1659.00 | 3318.00 | 2000.00 | 4000.00 | 3318.00 | CHENNAI ENGINEERING SERVICES
3.42 | Active Harmonics Filter Panel (Approx. area per Job = 7 Sq.Mtrs) | 3.00 | Job |  | 999.00 | 2997.00 | 1000.00 | 3000.00 | 2997.00 | CHENNAI ENGINEERING SERVICES
3.43 | GATE - 6 Feeder
3.44 | Localiser Feeder (Approx. area per Job = 53 Sq.Mtrs) | 1.00 | Job |  | 7309.00 | 7309.00 | 7500.00 | 7500.00 | 7309.00 | CHENNAI ENGINEERING SERVICES
3.45 | AAI Residential Colony SS
3.46 | Non-Essential Panel with Change Over Switch Panel and Capacitor Bank Panel (Approx. area per Job = 19 Sq.Mtrs) | 1.00 | Job |  | 2619.00 | 2619.00 | 3000.00 | 3000.00 | 2619.00 | CHENNAI ENGINEERING SERVICES
3.47 | Remote Bays SS.
3.48 | 11KV Panel (Approx. area per Job = 47 Sq.Mtrs) | 1.00 | Job |  | 6489.00 | 6489.00 | 7500.00 | 7500.00 | 6489.00 | CHENNAI ENGINEERING SERVICES
3.49 | Non-Essential Panel (Approx. area per Job = 61 Sq.Mtrs) | 1.00 | Job |  | 8419.00 | 8419.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.50 | Essential Panel (Approx. area per Job = 32 Sq.Mtrs) | 1.00 | Job |  | 4419.00 | 4419.00 | 5000.00 | 5000.00 | 4419.00 | CHENNAI ENGINEERING SERVICES
3.51 | Old Power House
3.52 | LT Panel near Police station (Neptune)/ Changeover LT Panel (Approx. area per Job = 15 Sq.Mtrs) | 1.00 | Job |  | 2069.00 | 2069.00 | 3000.00 | 3000.00 | 2069.00 | CHENNAI ENGINEERING SERVICES
3.53 | Gate No.6 (Approx. area per Job = 56 Sq.Mtrs) | 1.00 | Job |  | 7729.00 | 7729.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.54 | Integrated Cargo Complex PH
3.55 | Non-Essential Panel (Approx. area per Job = 144 Sq.Mtrs) | 1.00 | Job |  | 19869.00 | 19869.00 | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
3.56 | Essential Panel (Approx. area per Job = 67 Sq.Mtrs) | 1.00 | Job |  | 9249.00 | 9249.00 | 7500.00 | 7500.00 | 7500.00 | Balaji Engineering
3.57 | 110KV Intake Sub Station
3.58 | Emergency Staircase (Approx. area per Job = 25 Sq.Mtrs) | 1.00 | Job |  | 3449.00 | 3449.00 | 6500.00 | 6500.00 | 3449.00 | CHENNAI ENGINEERING SERVICES
3.59 | Cargo Complex Solar Plant
3.60 | 11KV Panel, Inverter panel, Transformer (Approx. area per Job = 46 Sq.Mtrs) | 1.00 | Job |  | 6349.00 | 6349.00 | 5500.00 | 5500.00 | 5500.00 | Balaji Engineering
4.00 | Painting of following LT Side Bus Bar Trunking at the following Locations with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning and providing putty/ primer wherever required on the surface before painting as required and as per instructions of Engineer-In-Charge.
4.01 | Central Sub Station
4.02 | Busducts from TFR to LT ATS (Approx. area per Job = 29 Sq.Mtrs) | 1.00 | Job |  | 139249.00 | 139249.00 | 5000.00 | 5000.00 | 5000.00 | Balaji Engineering
4.03 | Integrated Cargo Complex PH
4.04 | Busducts from TFR-I to NE Panel (Approx. area per Job = 29 Sq.Mtrs) | 1.00 | Job |  | 3999.00 | 3999.00 | 5000.00 | 5000.00 | 3999.00 | CHENNAI ENGINEERING SERVICES
4.05 | Busducts from TFR-II to NE Panel (Approx. area per Job = 21 Sq.Mtrs) | 1.00 | Job |  | 2898.00 | 2898.00 | 4000.00 | 4000.00 | 2898.00 | CHENNAI ENGINEERING SERVICES
4.06 | Busducts from TFR-III to NE Panel (Approx. area per Job = 22 Sq.Mtrs) | 1.00 | Job |  | 3039.00 | 3039.00 | 4000.00 | 4000.00 | 3039.00 | CHENNAI ENGINEERING SERVICES
4.07 | Busducts from TFR-IV to NE Panel (Approx. area per Job = 12 Sq.Mtrs) | 1.00 | Job |  | 1659.00 | 1659.00 | 2000.00 | 2000.00 | 1659.00 | CHENNAI ENGINEERING SERVICES
4.08 | Busducts from NE Panel to AMF-IV (Approx. area per Job = 22 Sq.Mtrs) | 1.00 | Job |  | 3039.00 | 3039.00 | 4000.00 | 4000.00 | 3039.00 | CHENNAI ENGINEERING SERVICES
4.09 | Busducts from Ess. Panel to AMF-IV (Approx. area per Job = 14 Sq.Mtrs) | 1.00 | Job |  | 1929.00 | 1929.00 | 2000.00 | 2000.00 | 1929.00 | CHENNAI ENGINEERING SERVICES
5.00 | Painting of Chequered Plate cover of cable trench, MS angle / channel supports / LT Panel of various equipments with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning and providing putty/ primer wherever required on the surface before painting as required and as per instructions of Engineer-In-Charge.
5.01 | All Power Houses | 2000.00 | Sq.mtrs |  | 139.00 | 278000.00 | 200.00 | 400000.00 | 278000.00 | CHENNAI ENGINEERING SERVICES
6.00 | Cladding of HT/LT DG Sets Exhaust pipe line.
6.01 | Providing and Fixing of new Cladding for DG sets Exhaust pipe line with 26 SWG thick aluminium sheet and Thermal Insulation with one layer of 75mm thick mineral wool / Rockwool (150 Kg/m3 density) including dismantling of existing cladding & thermal insulation of exhaust pipe complete as per standard practice as required and as per instructions of Engineer-In-Charge.
6.02 | For DG Sets to Exhaust on tersest
6.03 | 350 mm dia Exhaust pipe (Height of Stack shall be 12 Nos x 22 Mtrs. From substation roof top to Stack end for each exhaust pipe) | 264.00 | Mtrs |  | 2759.00 | 728376.00 | 3000.00 | 792000.00 | 728376.00 | CHENNAI ENGINEERING SERVICES
7.00 | Cable trench Cleaning and cable Relaying
7.01 | Cleaning of RCC covered cable duct (size 1.90M width x 1.80M depth) by removing waste materials like soil, malba, debris etc., including transporting and disposing the same away from Airport premises, closing of cable & pipe entry opening in side walls by cement morter / 1:2:4 concrete mix to arrest water entry and provision of required cleaning tools, safety gadgets like helmet, gloves & safety shoe & Oxygen Cylinder with mask (for emergency situation) etc. complete as required and as per instructions of Engineer-In-Charge.
7.02 | Intake Sub Station to Central Sub Station | 1260.00 | Mtrs |  | 449.00 | 565740.00 | 500.00 | 630000.00 | 565740.00 | CHENNAI ENGINEERING SERVICES
8.00 | Lifting of one number PVC/XLPE insulated and PVC sheathed power cable of 11KV / 1.1KV grade of size exceeding 120 Sqmm but not exceeding 400 Sqmm from the floor of RCC cable duct (size 1.90M width x 1.80M height) and relaying of the cable in the existing MS angle cable support and provision of suitable clamping arrangement including provision of required safety gadgets ike helmet, gloves safety shoe & Oxygen Cylinder with mask (for emergency situation) etc., complete as required and as per instructions of Engineer-In-Charge. | 5000.00 | Mtrs |  | 109.00 | 545000.00 | 30.00 | 150000.00 | 150000.00 | Balaji Engineering
9.00 | Supply and Fabrication of MS ladder and welded mesh
9.01 | Supply, fabrication and Fixing of Ladder made out of 50 x 5 mm thick MS L Angle for DG Set Exhaust Pipe (from central substation roof to stack end) including Cutting, Welding, Grinding and painting with two coat of Red Oxide and two coats of enamel paint of approved shade, quality and brand as required and as per instructions of Engineer-In-Charge. | 2200.00 | Kgs |  | 129.00 | 283800.00 | 125.00 | 275000.00 | 275000.00 | Balaji Engineering
10.00 | Supply, fabrication and fixing of Welded wire Mesh of opening size 25mm X 25mm made out of 3mm thick wire along with L angle frame made out of 25 x 25 x 6 mm including cutting, welding, grinding and painting with two coat of Red Oxide and two coats of enamel paint of approved shade, quality and brand and fixing the frame with adjacent wall/ beam by MS angle/ flat using anker fastener as required and as per instructions of Engineer-In-Charge. | 130.00 | Sq.mtr |  | 1629.00 | 211770.00 | 450.00 | 58500.00 | 58500.00 | Balaji Engineering
11.00 | Supply of High voltage detector Nominal range: 10 kV to 36 kV with discharge Insulating rod 2Mtr Length suitable for CC-765-10/36-K.“Ultra compact series” for indoor and outdoor use. Universal application 50 / 60 Hz and wide band of voltage from 10 kv to 36 kV (Make:CATU, MOTWANE). | 8.00 | Nos |  | 56479.00 | 451832.00 | 9000.00 | 72000.00 | 72000.00 | Balaji Engineering
12.00 | Providing and fixing of 100Watt Cartridge type Heating Element in the existing HT 11 KV Panel cable chamber (End termination side), i/c Control Wiring/ Interconnection of existing heating circuit, earthing, etc. as required. (Make:Indian Ancillary / Zodiac / APT-Controls/ GIRISHEGO). | 160.00 | Nos |  | 2649.00 | 423840.00 | 5000.00 | 800000.00 | 423840.00 | CHENNAI ENGINEERING SERVICES
13.00 | Supply, Fabrication and Fixing of 50 mm x 8 mm thick MS flat including providing and fixing of 50 mm x 50 mm x 6 mm thick angle iron supports the perforated type plate for covering the cable trenches, around the flat by welding, applying red oxide of two coats, painting the same with Siemens grey at various Power House and difference size etc., as required. | 1200.00 | Kgs |  | 129.00 | 154800.00 | 150.00 | 180000.00 | 154800.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 4506543.00 |  | 4134500.00
Lowest Amount Quoted BY: Balaji Engineering(4134500.00)

## BOQ Summary
BOQ Summary Details Tender Title: M R to Power Supply and Standby DG Sets at Chennai Airport. SH Painting of Power Supply Installations, Cleaning of RCC Walkable Cable Trench, Cladding of Exhaust Pipe and Associated Works Tender ID: 2022_AAI_109216_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Balaji Engineering | 4134500.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 4506543.00 | L2