## BoQ1
Government eProcurement System Created By: BIPIN PRAKASH Created Date/Time: 07-Apr-2022 04:19 PM Tender Title: ARMO of Electrical Mechanical Installations of Operational Areas Including UPS, GLF System, All Type ACs, Water Coolers RO System, Fire Hydrant System, Fire Alarm Detection System at Dehradun Airport for the year 2022 24 Tender ID: 2022_AAI_109355_1
Tender Inviting Authority: Jt.. Gen. Manager (Engg-Elect.)Project, AAI, Jolly Grant Airport, Dehradun
Name of Work: ARMO of Electrical & Mechanical Installations of operational areas including UPS, GLF system, All Type ACs, Water Coolers/ RO systems, Fire Hydrant System, Fire Alarm & Detection System at Dehradun Airport for the year 2022-24.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of Ground Lighting Facilities, Perimeter Road Lighting, Hight Mast Lighting in operational Area, Electrical & Mechanical Installations at Technical cum ATC Building, Fire Station, Medical Centre & Administrative offices, Switch Rooms, LT Panels, Lifts operation, and other electrical installations i/c CCR, DVOR, GP, Localizer, 2x120 KVA UPS,CISF Barrack, Water treatment plant, Pumps etc. involving operation, repair, maintenance, attending to complaints/fault/break downs and taking rectification action, ensuring serviceability/satisfactory working condition of the system, Preventive maintenance, maintenance of records/documentation etc. as specified, on all days i/c Sundays and Holidays and providing 01 No.Computer Operator in general shift throughout contract period. (i) For 2 Year (24 Months) 1-Supervisor & Computer Operator High Skilled) -------02 2-Skilled --------------------- ----------------------------------09 3-Un- Skilled --------------------------------------------------09 NOTE: Shift timing will be decided by Engineering-in-charge or his representative as per the site requirement and flight operational hours. | 24.00 | Month | 0.00 | 442058.00 | 10609392.00 | 402500.00 | 9660000.00 | 380000.00 | 9120000.00 | 410000.00 | 9840000.00 | 382000.00 | 9168000.00 | 9120000.00 | Manish Electricals
2.00 | Digging out the LT Cable trench for fault rectification by removing out the faulty cable upto 1.1KV grade and detection of fault and relaying the cable after rectification in the same trench with new sand cushioning and by using the same bricks as protective covering and refilling the trench complete as required. | 100.00 | Mtr | 0.00 | 110.00 | 11000.00 | 200.00 | 20000.00 | 200.00 | 20000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED, JCC ENGINEERS PRIVATE LIMITED
3.00 | Digging out the GLF Cable trench for fault rectification by removing out the faulty runway cable upto 5 KV grade and detection of fault and relaying the cable after rectification in the same trench with new sand cushioning and by using the same bricks as protective covering and refilling the trench complete as required. | 100.00 | Mtr | 0.00 | 110.00 | 11000.00 | 250.00 | 25000.00 | 250.00 | 25000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED, JCC ENGINEERS PRIVATE LIMITED
4.00 | Supplying & fixing HT straight through cable joint in runway light cable of 5 KV grade, copper conductor single core PVC insulated of sizes 16 Sqmm with cast resin compound including copper ferrulre and other jointing materials complete as per requirement. | 5.00 | Each | 0.00 | 4500.00 | 22500.00 | 1200.00 | 6000.00 | 500.00 | 2500.00 | 2000.00 | 10000.00 | 2625.00 | 13125.00 | 2500.00 | Manish Electricals
5.00 | Painting of Electrical Panels / Distribution boards / Equipments in position with Synthetic enamelled paint by spray/ brush painting in one or more coats including scraping, cleaning of surface painting of required nomenclature etc. as reqd. | 100.00 | Sq Mtr | 0.00 | 90.00 | 9000.00 | 250.00 | 25000.00 | 100.00 | 10000.00 | 50.00 | 5000.00 | 100.00 | 10000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Hiring of services of welder including welding machine (1 Job = 4 hours). | 4.00 | Job | 0.00 | 5000.00 | 20000.00 | 1200.00 | 4800.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 840.00 | 3360.00 | 3360.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Testing/ servicing of CCR'S by OEM / authorized service agent of OEM / Specialized Agency. (Job does not include supply of spares) (1 Job = 1 visit). | 4.00 | Job | 0.00 | 5000.00 | 20000.00 | 14000.00 | 56000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 6300.00 | 25200.00 | 20000.00 | Comfort Zone, JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
8.00 | Painting of Runway fittings, Taxiway fittings, Approach light fittings, and PAPI units with aviation yellow colour synthetic enamel painting of approved brand and manufacture with two or more coats using spary painting including dismantling, shifting of fitting to store and reinstalling after painting and numbering the fittings with black clour paint with letters size not less than 5cm etc complete as required. | 250.00 | Each | 0.00 | 90.00 | 22500.00 | 100.00 | 25000.00 | 5.00 | 1250.00 | 50.00 | 12500.00 | 100.00 | 25000.00 | 1250.00 | Manish Electricals
9.00 | Replacement of Vinyl Sticker sheet of Guidance signages in operational area suitable for Aviation signage boards. | 5.00 | Sq.Mtr | 0.00 | 1200.00 | 6000.00 | 3500.00 | 17500.00 | 3000.00 | 15000.00 | 1000.00 | 5000.00 | 495.00 | 2475.00 | 2475.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Supply of 150W, 6.6A bi-pin halogen lamp with inbuilt holder suitable for Thorn Make Runway Edge Light 'El-EAH' & approach light 'El-AT' fittings (Similar to OSRAM catno.64361 HLX-Z 150 model : PK30D / Philips ) (Make- As per approved list) | 200.00 | Each | 0.00 | 1200.00 | 240000.00 | 1000.00 | 200000.00 | 850.00 | 170000.00 | 900.00 | 180000.00 | 990.00 | 198000.00 | 170000.00 | Manish Electricals
11.00 | Supply of 200W, 6.6A bi-pin halogen lamp with inbuilt holder suitable for Thorn Make PAPI UNIT PU3L (Similar to OSRAM catno.64361 HLX-Z 150 model : PK30D / Philips ) (Make- As per approved list) | 50.00 | Each | 0.00 | 1800.00 | 90000.00 | 1050.00 | 52500.00 | 900.00 | 45000.00 | 700.00 | 35000.00 | 935.00 | 46750.00 | 35000.00 | JCC ENGINEERS PRIVATE LIMITED
12.00 | Supply of 180o Yellow colour filter Suitable for for runway fittings of Thorn make model "EL-EAH" | 10.00 | Each | 0.00 | 4500.00 | 45000.00 | 2800.00 | 28000.00 | 1200.00 | 12000.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
13.00 | Supply of 180o Green colour filter Suitable for for runway fittings of Thorn make model "EL-EAH" | 10.00 | Each | 0.00 | 4500.00 | 45000.00 | 2800.00 | 28000.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Supply of 180o Red colour filter Suitable for for runway fittings of Thorn make model "EL-EAH" | 10.00 | Each | 0.00 | 4500.00 | 45000.00 | 2800.00 | 28000.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
15.00 | Supply of 360o Blue lens filter for Thorn make Taxi way fittings od model "EL-EAM" | 10.00 | Each | 0.00 | 9000.00 | 90000.00 | 2150.00 | 21500.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
16.00 | Supply of 45W, 6.6A bi-pin halogen lamp suitable for Thorn make taxiway/turning pad/apron edge light 'EL-EAM' fittings (Make- As per approved list ) | 25.00 | Each | 0.00 | 1100.00 | 27500.00 | 650.00 | 16250.00 | 500.00 | 12500.00 | 500.00 | 12500.00 | 473.00 | 11825.00 | 11825.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Supply of Bi-Pin Holders suitable for the halogen lamps of Thorn make PAPI 'PU3L' & Taxiway Light 'EL-EAM' fittings.(Make- As per approved list ) | 25.00 | Each | 0.00 | 750.00 | 18750.00 | 550.00 | 13750.00 | 400.00 | 10000.00 | 1000.00 | 25000.00 | 220.00 | 5500.00 | 5500.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Supply of following capacity 5 KV grade 50 Hz individual series to series Isolating Transformer encapsulated in polyster resin finally moulded with neoprene type rubber as specified in particular specification etc as required.(Make- As per approved list )
18.10 | 200 Watt 6.6 A/ 6.6 A (PAPI) | 10.00 | Each | 0.00 | 6000.00 | 60000.00 | 4850.00 | 48500.00 | 4000.00 | 40000.00 | 5000.00 | 50000.00 | 4180.00 | 41800.00 | 40000.00 | Manish Electricals
18.20 | 150 Watt 6.6 A/ 6.6 A | 10.00 | Each | 0.00 | 6000.00 | 60000.00 | 4250.00 | 42500.00 | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 3960.00 | 39600.00 | 39600.00 | ABHISHEK INTEGRATIONS LIMITED
18.30 | 45 Watt, 20 A / 6.6 A (Turning Pad) | 10.00 | Each | 0.00 | 4500.00 | 45000.00 | 2850.00 | 28500.00 | 3000.00 | 30000.00 | 3500.00 | 35000.00 | 3300.00 | 33000.00 | 28500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Supply of following capacity fuses in 4 KVA, 7.5 KVA, 30 KVA CCR Panels as specified in particular specification etc as required.(Make- GE/As per approved list )
19.10 | Fuse 100 Amps 600 V 200KA (as per sample) | 10.00 | Each | 0.00 | 450.00 | 4500.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 100.00 | 1000.00 | 935.00 | 9350.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
19.20 | Fuse 50 Amps 600 V 200KA (as per sample) | 10.00 | Each | 0.00 | 250.00 | 2500.00 | 350.00 | 3500.00 | 250.00 | 2500.00 | 100.00 | 1000.00 | 605.00 | 6050.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
19.30 | Fuse 30 Amps 600 V 200KA (as per sample) | 20.00 | Each | 0.00 | 175.00 | 3500.00 | 320.00 | 6400.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 550.00 | 11000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
19.40 | Fuse 2 Amps 500 V 0.70 W (as per sample) | 10.00 | Each | 0.00 | 50.00 | 500.00 | 40.00 | 400.00 | 30.00 | 300.00 | 100.00 | 1000.00 | 275.00 | 2750.00 | 300.00 | Manish Electricals
20.00 | Supply of neoprene gasket suitable for covering C.I. Transforrmer housing boxes 6 nos. holes complete as required. | 100.00 | Each | 0.00 | 450.00 | 45000.00 | 180.00 | 18000.00 | 90.00 | 9000.00 | 150.00 | 15000.00 | 209.00 | 20900.00 | 9000.00 | Manish Electricals
21.00 | Supply of one no Digital Megger (500V DC-1000V DC) Battery Operated/portable complete as required | 1.00 | Each | 0.00 | 14000.00 | 14000.00 | 15000.00 | 15000.00 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 1870.00 | 1870.00 | 1870.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Supply of HT insulated tape (heavy duty) suitable for 5KV grade Cable | 15.00 | Each | 0.00 | 1500.00 | 22500.00 | 380.00 | 5700.00 | 600.00 | 9000.00 | 600.00 | 9000.00 | 550.00 | 8250.00 | 5700.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | Supply of 5KV grade plug and receptacle.
23.10 | 16 Sqmm | 25.00 | Each | 0.00 | 200.00 | 5000.00 | 400.00 | 10000.00 | 450.00 | 11250.00 | 600.00 | 15000.00 | 407.00 | 10175.00 | 5000.00 | Comfort Zone
23.20 | 6 Sqmm | 25.00 | Each | 0.00 | 100.00 | 2500.00 | 450.00 | 11250.00 | 450.00 | 11250.00 | 600.00 | 15000.00 | 407.00 | 10175.00 | 2500.00 | Comfort Zone
24.00 | Servicing/ maintenance of 2X400 KVA, 3 Phase Volina make Servo Stabilizers, 3X10 KVA 3 Phase, 7.5 KVA 3 Phase and 8 KVA single Phase Servokon make Servo Stablizer by OEM / authorized service agent of OEM / Specialized Agency. (Job does not include supply of spares) (1 Job = 1 visit). | 4.00 | Job | 0.00 | 15000.00 | 60000.00 | 14500.00 | 58000.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 6600.00 | 26400.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
25.00 | Annual Comprehensive maintenance of 2 Nos 125 KVA online UPS (Make-NUMERIC-LEGRAND), three phase in, three phase out IGBT based True on line double conversion type DSP based using VFI & PWM technology including all spares except batteries and power cable. all parameters shall be as per enclosed specifications.
25.10 | For 1st Year (12 Months) | 12.00 | Months | 0.00 | 12000.00 | 144000.00 | 19500.00 | 234000.00 | 15000.00 | 180000.00 | 3000.00 | 36000.00 | 26400.00 | 316800.00 | 36000.00 | JCC ENGINEERS PRIVATE LIMITED
25.20 | For 2nd year (12 Months) | 12.00 | Months | 0.00 | 12000.00 | 144000.00 | 24500.00 | 294000.00 | 16000.00 | 192000.00 | 3000.00 | 36000.00 | 26400.00 | 316800.00 | 36000.00 | JCC ENGINEERS PRIVATE LIMITED
26.00 | Operation and Maintenance Contract of various reputated Make(honeywell, agni and EST) Addressable Fire Alarm & Detection System at ATC-cum- Tech. Block, Power House,OTB, comprising of control panels, repeater panels, Manual Call Points, Detectors, Hootes, Mimic Panel, PA System, UPS System, Batteries complete circuit & loop wiring etc. i/c all other associated accessories for satisfactory operation & making the system serviceable, periodically cleaning & testing all the associated accessories confirming to OEM specification and Special Terms and conditions attending the breakdown/ faults, preventive maintenance, ensuring serviceablility / satisfactory working condition of the system, maintenance of records / documentation etc. as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays complete as required. 1-Fire Fighting Technician ( Skilled) -------01 2-Semi-skilled (pump/DG operator)-------04 3-Un- Skilled ----------------------------------01 NOTE: Shift timing will be decided by Engineering-in-charge or his representative as per the site requirement and flight operational hours. | 24.00 | Months | 0.00 | 119624.00 | 2870976.00 | 113600.00 | 2726400.00 | 102000.00 | 2448000.00 | 115000.00 | 2760000.00 | 105555.00 | 2533320.00 | 2448000.00 | Manish Electricals
27.00 | Visit of Specialized Authorized Engineer for checking of servicibility of addressable fire detection alarm panel which includes checking of healthiness of complete system, including both hardaware & software, reporting of faults/ deficiencies to E-I-C ,programming of device( if required) and submitting the healthiness report to E-I-C.at Dehradun Airport. | 4.00 | Visit | 0.00 | 15000.00 | 60000.00 | 32000.00 | 128000.00 | 1800.00 | 7200.00 | 5000.00 | 20000.00 | 16500.00 | 66000.00 | 7200.00 | Manish Electricals
28.00 | Supply of following spares required for Fire alarm and detection system on as an when required basis complete with the satisfaction of Engineer-in-charge.
28.10 | Addressable type smoke detector | 5.00 | Nos. | 0.00 | 1500.00 | 7500.00 | 2080.00 | 10400.00 | 1800.00 | 9000.00 | 5000.00 | 25000.00 | 2256.00 | 11280.00 | 7500.00 | Comfort Zone
28.20 | Addressable type Manual Call Point | 1.00 | Nos. | 0.00 | 750.00 | 750.00 | 2050.00 | 2050.00 | 2100.00 | 2100.00 | 3000.00 | 3000.00 | 3188.00 | 3188.00 | 750.00 | Comfort Zone
28.30 | Addressable type Hooter | 1.00 | Nos. | 0.00 | 950.00 | 950.00 | 3850.00 | 3850.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 2356.00 | 2356.00 | 950.00 | Comfort Zone
28.40 | Response Indicator. | 1.00 | Nos. | 0.00 | 350.00 | 350.00 | 700.00 | 700.00 | 400.00 | 400.00 | 5000.00 | 5000.00 | 65.00 | 65.00 | 65.00 | ABHISHEK INTEGRATIONS LIMITED
28.50 | Control module | 1.00 | Nos. | 0.00 | 400.00 | 400.00 | 2580.00 | 2580.00 | 2900.00 | 2900.00 | 2000.00 | 2000.00 | 10000.00 | 10000.00 | 400.00 | Comfort Zone
29.00 | Repairing, servicing sluice/ butterfly valves/ NRV etc. of different sizes provided in the fire system at various locations of fire hydrant and sprinkler system as required .(Item will be executed only if required) | 1.00 | Job | 0.00 | 4000.00 | 4000.00 | 1000.00 | 1000.00 | 900.00 | 900.00 | 1000.00 | 1000.00 | 550.00 | 550.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
30.00 | Repairing & servicing of following capacity pump sets after dismantaling and providing all necessary defective/wornout parts such as nut-bolts, rubber gasket, gland dori, rubber coupling, suitable bearings etc. and re- assembling the pump, making the pump set in perfect working condition as per good engineering practice complete in all respect as required at site.(Item will be executed only if required)
30.10 | Jockey Pump Set | 1.00 | Job | 0.00 | 3000.00 | 3000.00 | 8500.00 | 8500.00 | 6500.00 | 6500.00 | 1000.00 | 1000.00 | 550.00 | 550.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
30.20 | Sprinkler Pump Set | 1.00 | Job | 0.00 | 2000.00 | 2000.00 | 10500.00 | 10500.00 | 8500.00 | 8500.00 | 1000.00 | 1000.00 | 550.00 | 550.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
30.30 | Hydrant pump | 1.00 | Job | 0.00 | 5000.00 | 5000.00 | 21500.00 | 21500.00 | 15000.00 | 15000.00 | 1000.00 | 1000.00 | 550.00 | 550.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Painting of Fire Hydtant/ Sprinklar pipeline of different sizes installed inside/ outside of terminal building / Cargo Terminal with two or more coats of painting with synthetic enamel paint to give an even shade, including cleaning of surface with detergent etc of approved brand or as approved by engineer-in-charge as required.
31.10 | 40 mm Dia | 100.00 | RM | 0.00 | 35.00 | 3500.00 | 50.00 | 5000.00 | 20.00 | 2000.00 | 10.00 | 1000.00 | 50.00 | 5000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
31.20 | 80 mm Dia | 100.00 | RM | 0.00 | 45.00 | 4500.00 | 60.00 | 6000.00 | 20.00 | 2000.00 | 20.00 | 2000.00 | 60.00 | 6000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
31.30 | 100 mm Dia | 100.00 | RM | 0.00 | 55.00 | 5500.00 | 90.00 | 9000.00 | 25.00 | 2500.00 | 30.00 | 3000.00 | 60.00 | 6000.00 | 2500.00 | Manish Electricals
31.40 | 150 mm Dia. | 100.00 | RM | 0.00 | 95.00 | 9500.00 | 100.00 | 10000.00 | 25.00 | 2500.00 | 40.00 | 4000.00 | 60.00 | 6000.00 | 2500.00 | Manish Electricals
31.50 | 200 mm Dia. | 100.00 | RM | 0.00 | 125.00 | 12500.00 | 120.00 | 12000.00 | 30.00 | 3000.00 | 60.00 | 6000.00 | 60.00 | 6000.00 | 3000.00 | Manish Electricals
32.00 | Daily operation, maintenance, servicing, cleaning of Split ACs, Water Coolers, RO systems installations at Terminal building, Technical cum ATC Building, Fire Station, Medical Centre & Administrative offices, DVOR, Glide Path, Localizer, CISF Barrack etc. and other related areas by deploying 3 nos. skilled manpower as per special conditions of contract. (i) For 2 Years (24 Months) 1-Technician Grade-I AC machince. (Skilled) -------03 2-Un-Skilled ---------------------------------------------01 NOTE: Shift timing will be decided by Engineering-in-charge or his representative as per the site requirement and flight operational hours. | 24.00 | Months | 0.00 | 99182.00 | 2380368.00 | 82600.00 | 1982400.00 | 83000.00 | 1992000.00 | 90000.00 | 2160000.00 | 76777.00 | 1842648.00 | 1842648.00 | ABHISHEK INTEGRATIONS LIMITED
33.00 | Annual comprehensive maintenance of 1.5 TR / 2 TR capacity window / split type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares i/c repair & maintenance of voltage stabilizer etc as reqd. (i) For 1st Year (12 Months) | 53.00 | Each | 0.00 | 2000.00 | 106000.00 | 5500.00 | 291500.00 | 300.00 | 15900.00 | 500.00 | 26500.00 | 1000.00 | 53000.00 | 15900.00 | Manish Electricals
34.00 | Annual comprehensive maintenance of 1.5 TR / 2 TR capacity window / split type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares i/c repair & maintenance of voltage stabilizer etc as reqd. (ii) For 2nd year (12 Months) | 53.00 | Each | 0.00 | 2000.00 | 106000.00 | 6500.00 | 344500.00 | 300.00 | 15900.00 | 500.00 | 26500.00 | 1000.00 | 53000.00 | 15900.00 | Manish Electricals
35.00 | Annual comprehensive maintenance of 3.0 TR / 3.5 TR / 4.5TR capacity Tower/ Cassette type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares etc as reqd. (i) For 1st Year (12 Months) | 20.00 | Each | 0.00 | 4500.00 | 90000.00 | 9500.00 | 190000.00 | 7000.00 | 140000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 40000.00 | ABHISHEK INTEGRATIONS LIMITED, JCC ENGINEERS PRIVATE LIMITED
36.00 | Annual comprehensive maintenance of 3.0 TR / 3.5 TR / 4.5TR capacity Tower/ Cassette type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares etc as reqd. (ii) For 2nd year (12 Months) | 20.00 | Each | 0.00 | 4500.00 | 90000.00 | 10500.00 | 210000.00 | 9000.00 | 180000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 40000.00 | ABHISHEK INTEGRATIONS LIMITED, JCC ENGINEERS PRIVATE LIMITED
37.00 | Annual comprehensive maintenance of various capacity water coolers of different makes i/c replacement of defective compressor and defective components with original spares i/c repair & maintenance of etc as reqd. (i) For 1st Year (12 Months) | 25.00 | Each | 0.00 | 3000.00 | 75000.00 | 6450.00 | 161250.00 | 4000.00 | 100000.00 | 1000.00 | 25000.00 | 2000.00 | 50000.00 | 25000.00 | JCC ENGINEERS PRIVATE LIMITED
38.00 | Annual comprehensive maintenance of various capacity water coolers of different makes i/c replacement of defective compressor and defective components with original spares i/c repair & maintenance of etc as reqd. (ii) For 2nd year (12 Months) | 25.00 | Each | 0.00 | 2800.00 | 70000.00 | 7000.00 | 175000.00 | 5500.00 | 137500.00 | 1000.00 | 25000.00 | 2000.00 | 50000.00 | 25000.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Dismantling and reinstallation, testing & commissioning of all type of Split/ tower/ cassette type of 1.5/2/3/3.5 TR AC's i/c refilling of refrigerant gas, fixing of existing suction, discharge & drain pipe including providing the foundation/angle iron frame etc as required. | 10.00 | Job | 0.00 | 1800.00 | 18000.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
40.00 | SITC of refrigerant piping including insulation for suction & discharge line of 1.5/2.0/3.0/3.5 TR, split/cassette/tower type AC units & FR PVC insulated Cu conductor cable required for connection between indoor & outdoor units and protective covering. | 50.00 | Meter | 0.00 | 350.00 | 17500.00 | 750.00 | 37500.00 | 500.00 | 25000.00 | 1000.00 | 50000.00 | 1200.00 | 60000.00 | 17500.00 | Comfort Zone
41.00 | Supply & fixing of 25mm Drain pipe from indoor unit of Air conditioner. | 50.00 | Meter | 0.00 | 50.00 | 2500.00 | 75.00 | 3750.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 110.00 | 5500.00 | 2500.00 | Comfort Zone, JCC ENGINEERS PRIVATE LIMITED
42.00 | Supply & fixing of UPVC trunk of size 100 X 50mm size, 2mm thickness on surface (MK/precision make) | 50.00 | Meter | 0.00 | 250.00 | 12500.00 | 125.00 | 6250.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 594.00 | 29700.00 | 5000.00 | Manish Electricals
43.00 | Annual Comprehensive Maintenance of reverse Osmosis system of ION Exchange make (Zero B Commercial) of capacity 25 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability. ( For a period of 12 months) (i) For 1st Year (12 Months) | 18.00 | Each | 0.00 | 4000.00 | 72000.00 | 5500.00 | 99000.00 | 4500.00 | 81000.00 | 1000.00 | 18000.00 | 2000.00 | 36000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
44.00 | Annual Comprehensive Maintenance of reverse Osmosis system of ION Exchange make (Zero B Commercial) of capacity 25 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability. ( For a period of 12 months) (ii) For 2nd year (12 Months) | 18.00 | Each | 0.00 | 4000.00 | 72000.00 | 6500.00 | 117000.00 | 5500.00 | 99000.00 | 1000.00 | 18000.00 | 2000.00 | 36000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
45.00 | Annual Comprehensive Maintenance of reverse Osmosis system Model (Zero B Commercial & aquafresh) of capacity 50 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability.( For a period of 12 months) (i) For 1st Year (12 Months) | 2.00 | Each | 0.00 | 8000.00 | 16000.00 | 6500.00 | 13000.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | ABHISHEK INTEGRATIONS LIMITED
46.00 | Annual Comprehensive Maintenance of reverse Osmosis system Model (Zero B Commercial & aquafresh) of capacity 50 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability.( For a period of 12 months) (ii) For 2nd year (12 Months) | 2.00 | Each | 0.00 | 8000.00 | 16000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | Testing of water samples collected from various areas of Dehradun Airport at Government approved loboratory and submission of analysis report. | 8.00 | Job | 0.00 | 15000.00 | 120000.00 | 2500.00 | 20000.00 | 2000.00 | 16000.00 | 500.00 | 4000.00 | 1200.00 | 9600.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
48.00 | DSR Items (%rate above or below) All items covered under CPWD, DSR electrical 2018 upto an amount of Rs. 3,12,100/-. (Including Operational area charges, Labour Cess etc.). Note: 1. Rate quoted shall be inclusive of any taxes, duties, Cess, fee, royalty charges etc. levied under any statute but exclusive of GST, PF, ESIC & Bonus. Goods & Services Tax (GST) shall be paid to the contractor for any taxable supply/ services/works against a valid tax invoice as per terms and conditions of the contract. 2. Being execution of work in operational area of airport, nos. of working hours might be restricted, accordingly contractor has to quote considering all these factors as per SCC. On this account, any claim for extra payment shall not be entertained. | 1.00 | Job | 0.00 | 374520.00 | 374520.00 | 260000.00 | 260000.00 | 125000.00 | 125000.00 | 202055.00 | 202055.00 | 249680.00 | 249680.00 | 125000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 18574456.00 |  | 17915680.00 |  | 15576350.00 |  | 16005555.00 |  | 15666692.00
Lowest Amount Quoted BY: Manish Electricals(15576350.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical Mechanical Installations of Operational Areas Including UPS, GLF System, All Type ACs, Water Coolers RO System, Fire Hydrant System, Fire Alarm Detection System at Dehradun Airport for the year 2022 24 Tender ID: 2022_AAI_109355_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 15576350.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 15666692.00 | L2
| 3 | JCC ENGINEERS PRIVATE LIMITED | 16005555.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 17915680.00 | L4
| 5 | Comfort Zone | 18574456.00 | L5