## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 09-May-2022 06:17 PM Tender Title: Laying of cables for standby pumps in HVAC Plant Tender ID: 2022_AAI_109901_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, Goa Airport, Goa.
Name of Work: Laying of cables for stand by pumps in HVAC Plant.
Contract No: 2022_AAI_109901_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | D K ELECTRICALS(GSTN-27BVRPP7444L1ZM) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of cable 3CX35 Sqmm PVC sheathed XLPE insulatedarmoured Aluminium Conductor Power cable as per IS 7098 Part 1 | 400.00 | Metre |  | 230.00 | 92000.00 | 400.00 | 160000.00 | 92000.00 | D K ELECTRICALS
2.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 350.00 | Metre |  | 48.00 | 16800.00 | 42.00 | 14700.00 | 14700.00 | Techno Electricals
3.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 10.00 | Metre |  | 25.00 | 250.00 | 40.00 | 400.00 | 250.00 | D K ELECTRICALS
4.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray cable tray including bends and Tee wherever required with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 450 mm width X 50 mm depth X 2.0 mm thickness | 69.00 | Metre |  | 1645.00 | 113505.00 | 1200.00 | 82800.00 | 82800.00 | Techno Electricals
5.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray cable tray including bends and Tee wherever required with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 225 mm width X 50 mm depth X 1.6 mm thickness | 18.00 | Metre |  | 800.00 | 14400.00 | 800.00 | 14400.00 | 14400.00 | D K ELECTRICALS, Techno Electricals
6.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3x35 sq. mm (28mm) | 12.00 | Set |  | 350.00 | 4200.00 | 300.00 | 3600.00 | 3600.00 | Techno Electricals
| Total in Figures |  |  |  |  | 241155.00 |  | 275900.00
Lowest Amount Quoted BY: D K ELECTRICALS(241155.00)

## BOQ Summary
BOQ Summary Details Tender Title: Laying of cables for standby pumps in HVAC Plant Tender ID: 2022_AAI_109901_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | D K ELECTRICALS | 241155.00 | L1
| 2 | Techno Electricals | 275900.00 | L2