## BoQ1
Government eProcurement System Created By: md ansari Created Date/Time: 27-Apr-2022 05:09 PM Tender Title: Development of Pantnagar Airport for RCS operations SH Provision of lights for new Car Parking at Civil Airport Pantnagar Tender ID: 2022_AAI_110061_1
Tender Inviting Authority: Airports Authority of India, Civil Airport, Pantnagar
Name of Work: -Development of Pantnagar Airport for RCS operations SH:Provision of Lights for new car parking at Civil airport Pantnagar .
Contract No: AAI/PNT/ELECT/CARPARKING
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANU ENGINEERING CORPORATION(GSTN-05AJDPK9181G1Z5) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:1 Car Parking Lighting Pole and Fixture.
1.10 | Supply of 45 W/54W LED road lighting lumanarie consisting of single piece, integral, grey powder coated high pressure die-cast alminium housing, conecting strip, including power driver should having surge protection upto 8KV complete as required suitable for operation on 230 V, 50 Hz AC supply. (Bajaj ENXT P 54L WH CR PC SD (OR) EQUIVALENT as per list of Approved make).(05 years guarantee shall be provided for complete fitting including controller by manufacturer in favour of AAI) | 32.00 | each | 3061.00 | 1800.00 | 57600.00 | 1790.00 | 57280.00 | 57280.00 | Awasthi Electric Works
1.20 | Supply of hot dip galvanized octagonal poles with 130 mm Bottom dia , 70 mm top dia , 3 mm thick , base plate of size 200x200x 12 mm,having openable mechanism with L key set,with Double arm standared bracket not less than 500mm length Each and made of 40 mm dia pipe having suitable nipple of size 32mm dia GI pipe to hold the fittings with tilt angle not more than 20 degree including in built arrangement for incoming cable termination with 63A 4P connector and 6A (B curve) SP MCB etc. complete as required as per EIC for the following Heights. a) 6 Mtr | 16.00 | each | 13111.00 | 12500.00 | 200000.00 | 14500.00 | 232000.00 | 200000.00 | ANU ENGINEERING CORPORATION
1.30 | Installation of the following GI street light poles with 04 nos foundation bolts of M20X600mm long J type EN 8 grade with 1:2:4 Cement concrete(0.55x 0.55x 1.05) to the required depth as per special conditions(1:cement :2coarse sand:4graded stone aggregate 20mm nominal size)and necessary base concrete of 1:5:10 for 100mm thickness below the pole (1cement :5 fine sand : 10graded stone aggregate 40mm nominal size) suitable finishing on surface above the ground level etc complete as required. a) 6 Mtr | 16.00 | Job | 4946.00 | 6000.00 | 96000.00 | 3000.00 | 48000.00 | 48000.00 | Awasthi Electric Works
1.40 | Supplying and embedding following dia (ISI Marked) HDPE pipe in pole collar/ foundation (during casting) for cable entry including bending the pipe to the required shape complete as required a)63 mm dia | 50.00 | Mtr | 89.00 | 70.00 | 3500.00 | 125.00 | 6250.00 | 3500.00 | ANU ENGINEERING CORPORATION
1.50 | Installation ,testing and commissioning of 45 W/54W LED fitting on existing street light pole with 2 x 1.5 sqmm FRLS PVC insulated copper conductor round cable from cable looping box to fitting Complete as required as per EIC. A) ITC of 45 W LED fittings | 32.00 | Job | 377.00 | 100.00 | 3200.00 | 200.00 | 6400.00 | 3200.00 | ANU ENGINEERING CORPORATION
2.00 | SH : 2 Supply and LAYING of Cable and End TERMINATION
2.10 | Supply of XLPE/PVC insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1978 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) a) 4 x 6 sqmm | 1000.00 | Mtr | 113.00 | 155.00 | 155000.00 | 145.00 | 145000.00 | 145000.00 | Awasthi Electric Works
2.20 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 4 x 6 sqmm | 33.00 | set | 174.00 | 100.00 | 3300.00 | 250.00 | 8250.00 | 3300.00 | ANU ENGINEERING CORPORATION
2.30 | Supplying and laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground ( 75 cm below ground level including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (a)63 mm dia | 900.00 | Mtr | 195.00 | 190.00 | 171000.00 | 145.00 | 130500.00 | 130500.00 | Awasthi Electric Works
2.40 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/Metal/HDPE pipe as required. (a)Upto 35 sq. mm. | 950.00 | Mtr | 22.00 | 15.00 | 14250.00 | 35.00 | 33250.00 | 14250.00 | ANU ENGINEERING CORPORATION
3.00 | SH : 3 EARTHING
3.10 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having licking arrangment and watering pipe etc. (with charcoal/coke and salt) as required. | 4.00 | Job | 4416.00 | 4000.00 | 16000.00 | 7000.00 | 28000.00 | 16000.00 | ANU ENGINEERING CORPORATION
3.20 | Providing and laying earth conncection from earth electrode with 6 SWG dia G.I. wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 50.00 | Mtr | 174.00 | 40.00 | 2000.00 | 260.00 | 13000.00 | 2000.00 | ANU ENGINEERING CORPORATION
3.30 | Providing and fixing 6 SWG dia G.I. Wire on surface or in recess for loop earthing as required | 950.00 | Mtr | 44.00 | 40.00 | 38000.00 | 25.00 | 23750.00 | 23750.00 | Awasthi Electric Works
4.00 | SH:4 Wiring of Toilet Block
4.10 | Supply,Installation, testing and commissioning of pre-wired, fluorescent fitting/compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/war, including connection with 1.5 sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 12.00 | each | 397.00 | 500.00 | 6000.00 | 450.00 | 5400.00 | 5400.00 | Awasthi Electric Works
4.20 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in existing surface / recessed PVC conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. (a)Group B | 20.00 | each | 597.20 | 1000.00 | 20000.00 | 820.00 | 16400.00 | 16400.00 | Awasthi Electric Works
4.30 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in existing surface/ recessed PVC conduit as required (a)2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 20.00 | Mtr | 148.20 | 200.00 | 4000.00 | 175.00 | 3500.00 | 3500.00 | Awasthi Electric Works
4.40 | Wiring for light/ power plug with 2X2.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit alongwith 1 No 2.5 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 20.00 | Mtr | 146.30 | 200.00 | 4000.00 | 190.00 | 3800.00 | 3800.00 | Awasthi Electric Works
5.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including connections etc. as required.
5.10 | 5/6 Amps Switch | 2.00 | each | 40.00 | 40.00 | 80.00 | 35.00 | 70.00 | 70.00 | Awasthi Electric Works
5.20 | 15/16 Amps Switch | 2.00 | each | 102.62 | 110.00 | 220.00 | 125.00 | 250.00 | 220.00 | ANU ENGINEERING CORPORATION
5.30 | 3 pin 5/6 Amps Socket outlet | 2.00 | each | 71.00 | 60.00 | 120.00 | 130.00 | 260.00 | 120.00 | ANU ENGINEERING CORPORATION
5.40 | 3 pin 15/16 Amps Socket outlet | 2.00 | each | 118.00 | 130.00 | 260.00 | 65.00 | 130.00 | 130.00 | Awasthi Electric Works
6.00 | Supply & Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 6.00 | each | 1849.70 | 3500.00 | 21000.00 | 6500.00 | 39000.00 | 21000.00 | ANU ENGINEERING CORPORATION
7.00 | Supplying and fixing 3 pin,5 amp celling rose on the existing junction box/wooden block including connection etc as required. | 18.00 | each | 56.03 | 80.00 | 1440.00 | 125.00 | 2250.00 | 1440.00 | ANU ENGINEERING CORPORATION
8.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (a)8 way(2+6), Double Door | 1.00 | each | 1862.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2000.00 | ANU ENGINEERING CORPORATION
9.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10kA,"C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commisioning etc. as required.
9.10 | Single Pole | 6.00 | each | 244.73 | 170.00 | 1020.00 | 195.00 | 1170.00 | 1020.00 | ANU ENGINEERING CORPORATION
9.20 | Single Pole and neutral | 1.00 | each | 654.00 | 500.00 | 500.00 | 690.00 | 690.00 | 500.00 | ANU ENGINEERING CORPORATION
| Total in Figures |  |  |  |  | 820490.00 |  | 808100.00
Lowest Amount Quoted BY: Awasthi Electric Works(808100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Pantnagar Airport for RCS operations SH Provision of lights for new Car Parking at Civil Airport Pantnagar Tender ID: 2022_AAI_110061_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 808100.00 | L1
| 2 | ANU ENGINEERING CORPORATION | 820490.00 | L2