## BoQ1
Government eProcurement System Created By: KONERU HARSHAVARDHAN Created Date/Time: 28-Apr-2022 10:37 AM Tender Title: Provision of Second Runway Circuit including strengthening of existing GLF system at Kalaburgi Airport Tender ID: 2022_AAI_110216_1
Tender Inviting Authority: Asst.Gen .MANAGER(E-E)
Name of Work: Provision of Second Runway Circuit including strengthening of existing GLF system at Kalaburgi Airport
Contract No: AAI_2022_
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supply of Bi-Directional Elevated High Intensity Halogen Type Runway Edge Light Fitting complete with prefocus lamp holder, 150 watt 6.6 A halogen lamp ,clear outer prismatic dome, clear inner prismatic lens, lens holding mechanism, ball joint for easy levelling, breakable coupling, central column mounting assembly, gaskets, two pin secondary lead plug suitable for connection with isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers & other accessories etc. and confirming to particular specification with lens including lamp etc. as required to meet latest ICAO requirement. | 150.00 | Each |  | 6300.00 | 945000.00 | 6700.00 | 1005000.00 | 6200.00 | 930000.00 | 6400.00 | 960000.00 | 6000.00 | 900000.00 | 900000.00 | JCC ENGINEERS PRIVATE LIMITED
1.02 | Supply of Bi‐directional High Intensity Halogen Type Runway Edge Lighting Inset fitting suitable for 105 Watts, 6.6 Amps Halogen Lamp, complete with Reflector, 2 No's 105 Watts Halogen Lamps Two Pin Secondary Leads plugs, base with six numbers M‐10 Steel Bolts, and spring and plain washers and other accessories confirming. complete as required. [As per ICAO Specifications] -White/White | 4.00 | Each |  | 55000.00 | 220000.00 | 56000.00 | 224000.00 | 41629.00 | 166516.00 | 48000.00 | 192000.00 | 47500.00 | 190000.00 | 166516.00 | Vardhman Airport Solutions Pvt Ltd
1.03 | Supply of Bi‐directional High Intensity Halogen Type Runway Edge Lighting Inset fitting suitable for 105 Watts, 6.6 Amps Halogen Lamp, complete with Reflector, 2 No's 105 Watts Halogen Lamps Two Pin Secondary Leads plugs, base with six numbers M‐10 Steel Bolts, and spring and plain washers and other accessories confirming. complete as required. [As per ICAO Specifications] - White/Yellow | 16.00 | Each |  | 55000.00 | 880000.00 | 56000.00 | 896000.00 | 42802.00 | 684832.00 | 48000.00 | 768000.00 | 47500.00 | 760000.00 | 684832.00 | Vardhman Airport Solutions Pvt Ltd
1.04 | Supply of Inset Type Uni Directional Approach Light Fitting complete with bottom box and all accessories including halogen lamp (3X105W), lens / filter, reflector etc. as required and as specified.( As per ICAO Specification ) | 2.00 | Each |  | 60000.00 | 120000.00 | 60000.00 | 120000.00 | 45147.00 | 90294.00 | 48000.00 | 96000.00 | 47500.00 | 95000.00 | 90294.00 | Vardhman Airport Solutions Pvt Ltd
1.05 | Supply of 300W Inset Type Bi Directional Threshold cum End Light ( Runway End(Red)1x105wlamp/Threshold (Green) Light Fitting 2x105w lamp complete with bottom box and all accessories including halogen lamp (3 x 105 W), lens / filter, reflector etc. as required and as specified.( As per ICAO Specification) | 12.00 | Each |  | 60000.00 | 720000.00 | 60000.00 | 720000.00 | 43388.00 | 520656.00 | 49000.00 | 588000.00 | 47500.00 | 570000.00 | 520656.00 | Vardhman Airport Solutions Pvt Ltd
1.06 | Supply of Taxiway Edge Elevated type light fixtures up to 15 Watts & meeting ICAO requirments LED lamp of series circuit 2.8 - 6.6 amps current, complete with base plate, breakable coupling, mounting assembly, gasket, BLUE lens, one 2 pole-plug with leads etc. conforming to particular specification as required. | 73.00 | Each |  | 4500.00 | 328500.00 | 4500.00 | 328500.00 | 3750.00 | 273750.00 | 3600.00 | 262800.00 | 3800.00 | 277400.00 | 262800.00 | Manish Electricals
1.07 | Supply of C.I. Isolating Transformer housing box,water tight round type,metal container of outside size 330mm height 450mm made of 10mm thick cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer power cable and having a clear hole centre at one side surface centre 75mm above bottom surface suitable to receive two of 50mm dia "B" class GI pipe, at one side surface centre 175mm above bottom suitable to receive 32/50mm secondary lead cable and including check nuts as required and another hole at 175mm from the bottom of the CI Box to receive one no. 15mm dia "B" class GI pipe and check nut as required.The box should have two SS earth bolts of M10 x 30mm tapped inside near the hole (4" away from the hole centre) and having a drain hole at the bottom suitably tapped to receive 15mm dia "B" class GI pipe and having clear opening of 220 mm at the top surface and 6 nos. M10 tapped hole at the hole centre 260 mm to receive fitting base plate and bolts as required as per the drawings- Double hole | 175.00 | Each |  | 5500.00 | 962500.00 | 5400.00 | 945000.00 | 5440.00 | 952000.00 | 4850.00 | 848750.00 | 4900.00 | 857500.00 | 848750.00 | Manish Electricals
1.08 | Supply of CI collar, outer dia 330mm of for the following height made of 10mm thick all round except on top surface which is 15mm thick , with clear opening of 220mm at the top surface and bottom. With provision of 6 nos, M10 tapped holes on top and 6 nos through holes at bottom to fix M10 bolts at 260mm PCD for fixing on exisitng C.I. Transformer house boxes installed at site etc as required. a)200mm height with 32/50 mm hole in side centre | 120.00 | Job |  | 3200.00 | 384000.00 | 3500.00 | 420000.00 | 3289.00 | 394680.00 | 2600.00 | 312000.00 | 2500.00 | 300000.00 | 300000.00 | JCC ENGINEERS PRIVATE LIMITED
1.09 | Supply of CI collar, outer dia 330mm of for the following height made of 10mm thick all round except on top surface which is 15mm thick , with clear opening of 220mm at the top surface and bottom. With provision of 6 nos, M10 tapped holes on top and 6 nos through holes at bottom to fix M10 bolts at 260mm PCD for fixing on exisitng C.I. Transformer house boxes installed at site etc as required. b)75mm Height with 32 mm hole in side centre | 10.00 | Job |  | 2500.00 | 25000.00 | 2700.00 | 27000.00 | 2214.00 | 22140.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
1.10 | Supply of follwing size 5 KV Grade stranded Copper Conductor single core PVC insulated, PVC sheathed, unshielded, anti‐termite and rodent treated, airport lighting cable generally confirming to IS 1554‐ Part‐II 1981 with up to date amendments and as specified in particular specifications of the following sizes as required. - Single Core 16 Sq.mm | 25000.00 | Mtr |  | 225.00 | 5625000.00 | 215.00 | 5375000.00 | 206.00 | 5150000.00 | 185.00 | 4625000.00 | 170.00 | 4250000.00 | 4250000.00 | JCC ENGINEERS PRIVATE LIMITED
1.11 | Supply of follwing size 5 KV Grade stranded Copper Conductor single core PVC insulated, PVC sheathed, unshielded, anti‐termite and rodent treated, airport lighting cable generally confirming to IS 1554‐ Part‐II 1981 with up to date amendments and as specified in particular specifications of the following sizes as required. - Two core 16 Sq.mm | 750.00 | Mtr |  | 535.00 | 401250.00 | 515.00 | 386250.00 | 462.00 | 346500.00 | 400.00 | 300000.00 | 340.00 | 255000.00 | 255000.00 | JCC ENGINEERS PRIVATE LIMITED
1.12 | Supply of follwing size 5 KV Grade stranded Copper Conductor single core PVC insulated, PVC sheathed, unshielded, anti‐termite and rodent treated, airport lighting cable generally confirming to IS 1554‐ Part‐II 1981 with up to date amendments and as specified in particular specifications of the following sizes as required. - Single Core 6 Sq.mm | 2500.00 | Mtr |  | 110.00 | 275000.00 | 105.00 | 262500.00 | 101.00 | 252500.00 | 92.00 | 230000.00 | 95.00 | 237500.00 | 230000.00 | Manish Electricals
1.13 | Supply of follwing size 5 KV Grade stranded Copper Conductor single core PVC insulated, PVC sheathed, unshielded, anti‐termite and rodent treated, airport lighting cable generally confirming to IS 1554‐ Part‐II 1981 with up to date amendments and as specified in particular specifications of the following sizes as required. - Two core 6 Sq.mm | 11500.00 | Mtr |  | 245.00 | 2817500.00 | 235.00 | 2702500.00 | 220.00 | 2530000.00 | 190.00 | 2185000.00 | 180.00 | 2070000.00 | 2070000.00 | JCC ENGINEERS PRIVATE LIMITED
1.14 | Supply of 2core 2.5sq.mm Secondary lead connector of length 10Mtr suitable for Taxi Edge light fitting. (1set=10Mtr lengh) | 140.00 | Each |  | 2000.00 | 280000.00 | 2000.00 | 280000.00 | 2073.00 | 290220.00 | 1500.00 | 210000.00 | 1800.00 | 252000.00 | 210000.00 | Manish Electricals
1.15 | Supply of 2C x 2.5 sq.mm., 600V Grade Flexible Copper Conductor, EPR insulated & CPE (Chlorinated Polyethylen, cross - linked, heavy duty) outer sheath (Black colour) Secondary cable for Airport lighting circuits as required. | 400.00 | Mtr |  | 140.00 | 56000.00 | 135.00 | 54000.00 | 136.00 | 54400.00 | 150.00 | 60000.00 | 160.00 | 64000.00 | 54000.00 | Techno Electricals
1.16 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in polyester resin, finally moulded in neoprene type rubber and with primary and secondary connections etc as required - 300 watts, 20 / 6.6 amps. | 20.00 | Each |  | 6500.00 | 130000.00 | 6400.00 | 128000.00 | 6038.00 | 120760.00 | 7000.00 | 140000.00 | 7500.00 | 150000.00 | 120760.00 | Vardhman Airport Solutions Pvt Ltd
1.17 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in polyester resin, finally moulded in neoprene type rubber and with primary and secondary connections etc as required - 200 watts, 20 / 6.6 amps. | 20.00 | Each |  | 5000.00 | 100000.00 | 4500.00 | 90000.00 | 4529.00 | 90580.00 | 4600.00 | 92000.00 | 5500.00 | 110000.00 | 90000.00 | Techno Electricals
1.18 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in polyester resin, finally moulded in neoprene type rubber and with primary and secondary connections etc as required - 150 watts, 20 / 6.6 amps. | 275.00 | Each |  | 4800.00 | 1320000.00 | 4250.00 | 1168750.00 | 4408.00 | 1212200.00 | 5000.00 | 1375000.00 | 5100.00 | 1402500.00 | 1168750.00 | Techno Electricals
1.19 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in polyester resin, finally moulded in neoprene type rubber and with primary and secondary connections etc as required - 15 watts, 20/6.6 amps | 20.00 | Each |  | 2820.00 | 56400.00 | 3000.00 | 60000.00 | 2838.00 | 56760.00 | 2700.00 | 54000.00 | 2600.00 | 52000.00 | 52000.00 | JCC ENGINEERS PRIVATE LIMITED
1.20 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in polyester resin, finally moulded in neoprene type rubber and with primary and secondary connections etc as required - 15 watts, 6.6 / 6.6 amps. | 60.00 | Each |  | 2820.00 | 169200.00 | 3000.00 | 180000.00 | 2838.00 | 170280.00 | 2700.00 | 162000.00 | 2600.00 | 156000.00 | 156000.00 | JCC ENGINEERS PRIVATE LIMITED
1.21 | Supply of 6sqmm 5 KV grade dry type Plug and Receptacle of type I, class 'B' primary connector kit with field attachment and suitable for 5 KV grade single core copper conductor, XLPE insulated PE outer sheathed shielded cable, complete as required confirming to the technical specification. 6 Sq.mm | 100.00 | Each |  | 500.00 | 50000.00 | 350.00 | 35000.00 | 362.00 | 36200.00 | 370.00 | 37000.00 | 390.00 | 39000.00 | 35000.00 | Techno Electricals
1.22 | Supply of 16sqmm 5 KV grade dry type Plug and Receptacle of type I, class 'B' primary connector kit with field attachment and suitable for 5 KV grade single core copper conductor, XLPE insulated PE outer sheathed shielded cable, complete as required confirming to the technical specification. 16 Sq.mm | 250.00 | Each |  | 500.00 | 125000.00 | 350.00 | 87500.00 | 362.00 | 90500.00 | 377.00 | 94250.00 | 390.00 | 97500.00 | 87500.00 | Techno Electricals
1.23 | Supply of Gasket suitable for Base plate | 150.00 | Each |  | 150.00 | 22500.00 | 120.00 | 18000.00 | 121.00 | 18150.00 | 100.00 | 15000.00 | 90.00 | 13500.00 | 13500.00 | JCC ENGINEERS PRIVATE LIMITED
1.24 | Supply of Two pin Secondary plug assembly suitable for edge light fitting of lengh 12" or 0.3Mtr | 150.00 | Each |  | 800.00 | 120000.00 | 385.00 | 57750.00 | 332.00 | 49800.00 | 150.00 | 22500.00 | 120.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
1.25 | Supply of 180 Filter- Red/Green/Yellow/Clear suitable for Runway edge light fittings. | 80.00 | Each |  | 2000.00 | 160000.00 | 1800.00 | 144000.00 | 1811.00 | 144880.00 | 1350.00 | 108000.00 | 1400.00 | 112000.00 | 108000.00 | Manish Electricals
1.26 | Supply of 2C x 4 sq.mm secondary lead of following length made out of multi stranded copper conductor, EPR insulalted PCP sheathed, treated 600V grade cable as specified in particular specification and as required. 30 mtr length | 10.00 | Each |  | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 5449.00 | 54490.00 | 4900.00 | 49000.00 | 5600.00 | 56000.00 | 45000.00 | Techno Electricals
1.27 | Supply of 2C x 4 sq.mm secondary lead of following length made out of multi stranded copper conductor, EPR insulalted PCP sheathed, treated 600V grade cable as specified in particular specification and as required. 50 mtr length | 10.00 | Each |  | 8400.00 | 84000.00 | 7500.00 | 75000.00 | 8410.00 | 84100.00 | 8500.00 | 85000.00 | 9500.00 | 95000.00 | 75000.00 | Techno Electricals
1.28 | Supply of DOBEFIL 60 of Dr. Beck & Co. or equivalent sealant material suitable for fixing bottom box of inset approach/threshold fitting etc. as required | 500.00 | Kg |  | 600.00 | 300000.00 | 500.00 | 250000.00 | 435.00 | 217500.00 | 750.00 | 375000.00 | 800.00 | 400000.00 | 217500.00 | Vardhman Airport Solutions Pvt Ltd
1.29 | Supply of hardener 758 for DOBEFIL 60 sealant as required | 500.00 | kg |  | 250.00 | 125000.00 | 500.00 | 250000.00 | 988.00 | 494000.00 | 240.00 | 120000.00 | 200.00 | 100000.00 | 100000.00 | JCC ENGINEERS PRIVATE LIMITED
1.30 | Supply of Dummy Plate 10 mm Thickness, 330 mm Dia,Including provision of 6 nos, M10 tapped holes on top and 6 nos through holes at bottom to fix M10 bolts for fixing on exisitng C.I. Transformer house boxes | 30.00 | Each |  | 1000.00 | 30000.00 | 1100.00 | 33000.00 | 1027.00 | 30810.00 | 700.00 | 21000.00 | 800.00 | 24000.00 | 21000.00 | Manish Electricals
1.31 | Supply of spare cards (01 set of cards) for each 50KW Thyristor controlled CCR | 2.00 | Set |  | 70000.00 | 140000.00 | 131471.00 | 262942.00 | 124244.00 | 248488.00 | 50000.00 | 100000.00 | 65000.00 | 130000.00 | 100000.00 | Manish Electricals
1.32 | Supply of 150W, 6.6A Halogen Lamp suitable for use in runway edge light fitting or equivalent. | 150.00 | Each |  | 600.00 | 90000.00 | 500.00 | 75000.00 | 513.00 | 76950.00 | 400.00 | 60000.00 | 390.00 | 58500.00 | 58500.00 | JCC ENGINEERS PRIVATE LIMITED
1.33 | Supply of 105W, 6.6A Halogen Lampsuitable for use in runway insert light fitting or equivalent. | 25.00 | Each |  | 1200.00 | 30000.00 | 950.00 | 23750.00 | 979.00 | 24475.00 | 800.00 | 20000.00 | 850.00 | 21250.00 | 20000.00 | Manish Electricals
1.34 | Supply of Breakable Coupling for Approach Fittings | 30.00 | Each |  | 600.00 | 18000.00 | 400.00 | 12000.00 | 1732.00 | 51960.00 | 525.00 | 15750.00 | 550.00 | 16500.00 | 12000.00 | Techno Electricals
1.35 | Supply of 15W LED taxiway fitting driver set as per site requirement | 25.00 | Each |  | 2000.00 | 50000.00 | 1500.00 | 37500.00 | 1811.00 | 45275.00 | 1650.00 | 41250.00 | 1800.00 | 45000.00 | 37500.00 | Techno Electricals
1.36 | Supplying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc conforming to IS 14930. Part II etc., complete as required 63mm dia ( OD - 63mm and ID 51mm nominal) | 20000.00 | Mtr |  | 60.00 | 1200000.00 | 75.00 | 1500000.00 | 59.00 | 1180000.00 | 62.00 | 1240000.00 | 80.00 | 1600000.00 | 1180000.00 | Vardhman Airport Solutions Pvt Ltd
1.37 | Supply, Installation, Testing and Commissioning of FAA complaint indoor type microprocessor based, air cooled constant current regulator of Thyristor control electronic type suitable for use on 240/415 VAC; 50/60 Hz, input AC supply with below mentioned output power at 20 amps with 5 steps variation of current output suitable for local and remote control operation with 24/48 VDC control supply complete with output current indicated on multifunction digital display, over current, over voltage, earth fault protection and earth leakage meter, positive back indication equipments relay contactor etc. as required as per specification of following rating and as per the requirement of the site . 50 KW MPCCR at 20 Amp, supply voltage 415 VAC with tapping at 30 KW | 3.00 | Each |  | 650000.00 | 1950000.00 | 600000.00 | 1800000.00 | 573131.00 | 1719393.00 | 610000.00 | 1830000.00 | 654000.00 | 1962000.00 | 1719393.00 | Vardhman Airport Solutions Pvt Ltd
1.38 | Supply, installation, testing and commissioning of frangible & illuminated wind direction indicator confirming to ICAO Annex 14, volume I and suitable for operation on 230 V, 50 Hz, single phase AC supply and consist of following complete as required. (a) 5 mtr height FRP frangible pole/mast. The frangibility shall confirm to ICAO Annex 14 & Aerodrome design manual part-6/FAA. The color of pole/mast shall be preferably aviation yellow or red/white. (b) Wind sock assembly complete with slip rings, drum, bracket for drum, bearing, carbon brush with holder etc. (c) Four nos, 20 W nominal capacity LED lamps alonwith Lamps mounting arrangement for outdoor conditions. (d) One no. LED Aviation obstruction light having aluminium cast body and red polycarbonate dome. (e) Internal wiring, provision for remote control operation. (f) Providing and laying suitable cement concrete foundation for installation of WDI as per OEM recommandations. (g) Any other component required for operation of WDI. | 2.00 | Each |  | 200000.00 | 400000.00 | 250000.00 | 500000.00 | 203435.00 | 406870.00 | 180000.00 | 360000.00 | 190000.00 | 380000.00 | 360000.00 | Manish Electricals
1.39 | Installation, Testing and commissioning of inset Type High Intensity Runway Edge/ threshold/ end Light/ Approach light Fixtures including cuttings the Bilminous/ Concrete Runway by cuttings the Runway with Machine Tool for required size, positioning of fittings, applying suitable sealent for bonding etc., making the Runway to the original shape and strength, alignment of fitting etc., including installation of Inset Type Fitting and Installation of Isolation Transformers in the CI box, and making secondary Lead connections and Earth connections including Testing and Commisioning etc., as required. (Excluding Supply of Sealent materials) | 34.00 | Each |  | 3500.00 | 119000.00 | 3252.00 | 110568.00 | 5750.00 | 195500.00 | 5800.00 | 197200.00 | 3000.00 | 102000.00 | 102000.00 | JCC ENGINEERS PRIVATE LIMITED
1.40 | Installation, testing and commisiong of HIRL /MIRL elevated type (Suitable for Halogen lamp) type fittings on the existing transformer housing boxes including installation of transformer, lens, lamps gasket,nut bolts, lens holding clamp and other accessories i/c alignment, levelling,isolating transformer, connection, earth connection etc. all complete. | 198.00 | Each |  | 250.00 | 49500.00 | 180.00 | 35640.00 | 115.00 | 22770.00 | 120.00 | 23760.00 | 100.00 | 19800.00 | 19800.00 | JCC ENGINEERS PRIVATE LIMITED
1.41 | Installation of transformer housing box with a base concrete of 1:3:6 of 100mm thick all round concrete of 1:2:4 150mm thick. The top sloped with 1:2:4 cement concrete including providing and fixing 10" long 1/2" dia "B" class GI pipe with checknuts for drainage of water including excavation of side shoulder/ Basic strip and re-filling (wherever the transformer are in a line the same has to be aligned in such a way that the centers fall in a straight line) etc. complete as required. | 175.00 | Job |  | 2000.00 | 350000.00 | 2700.00 | 472500.00 | 2070.00 | 362250.00 | 1600.00 | 280000.00 | 1500.00 | 262500.00 | 262500.00 | JCC ENGINEERS PRIVATE LIMITED
1.42 | Dismantling of HIRL/MIRL fixtures on the existing runway circuit. | 150.00 | Job |  | 100.00 | 15000.00 | 100.00 | 15000.00 | 115.00 | 17250.00 | 50.00 | 7500.00 | 50.00 | 7500.00 | 7500.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
1.43 | Painting of Runway/ threshold /end /turnning pad light fixtures with aviation yellow & CI box with black synethic enamelled paint including making the numbering on the each lighting fitting base plate etc as required. | 195.00 | Each |  | 25.00 | 4875.00 | 100.00 | 19500.00 | 23.00 | 4485.00 | 50.00 | 9750.00 | 50.00 | 9750.00 | 4485.00 | Vardhman Airport Solutions Pvt Ltd
1.44 | Providing and laying of 110mm outer dia, PE80, PN6 rating HDPE pipe IS:4984, IS:14333 by Horizontal Directional Drilling including jointing/welding of HDPE pipes across the runway/taxiway and Roads by trencheless directional drilling (HDD) method by deploying HDD machines, mud mixing system, Earth movers etc. complete as required. | 700.00 | Mtr |  | 1600.00 | 1120000.00 | 2100.00 | 1470000.00 | 599.00 | 419300.00 | 1050.00 | 735000.00 | 1200.00 | 840000.00 | 419300.00 | Vardhman Airport Solutions Pvt Ltd
1.45 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 5 KV grade of size up to 35 Sqmm in the existing RCC/HUME/STONE WARE/METAL/DWC-HDPE pipe as required. | 33040.00 | Mtr |  | 10.00 | 330400.00 | 18.00 | 594720.00 | 15.00 | 495600.00 | 10.00 | 330400.00 | 13.00 | 429520.00 | 330400.00 | Balaji Engineering, Manish Electricals
1.46 | Cutting groove of size 50mm wide and 100mm deep/ As per site requirement with saw cut/ kerf cutting machine,on the concrete/ bituminous runway surface including kerfing, chiseling, cleaning and filling the excess gap with cement morar and top layer groove with sealant compound after putting sealant primer after laying including jute covering for protection etc. as required. | 14.50 | cum |  | 5000.00 | 72500.00 | 500.00 | 7250.00 | 400.00 | 5800.00 | 20000.00 | 290000.00 | 18000.00 | 261000.00 | 5800.00 | Vardhman Airport Solutions Pvt Ltd
1.47 | Dismantiling of existing INSET fitting by Core cutting the existing bitiminous/Concreate withmachine tool including removal of fitting etc., as required. (Approach lights and Runway Lights) | 16.00 | Each |  | 1000.00 | 16000.00 | 1500.00 | 24000.00 | 3450.00 | 55200.00 | 500.00 | 8000.00 | 400.00 | 6400.00 | 6400.00 | JCC ENGINEERS PRIVATE LIMITED
1.48 | Making field connections by crimping of 16 sqmm /6 sqmm sizes plug & receptable with suitable existing size single core PVC cu. Conductor cable of 5 KV grade Airfield cable including filling the gap with water sealent material applying PVC insulation tape etc. complete as reqd. | 250.00 | Each |  | 200.00 | 50000.00 | 85.00 | 21250.00 | 173.00 | 43250.00 | 100.00 | 25000.00 | 100.00 | 25000.00 | 21250.00 | Techno Electricals
1.49 | Dismantiling of existing runway cables from field and handing over to store etc as required . | 12500.00 | Mtr |  | 10.00 | 125000.00 | 8.00 | 100000.00 | 23.00 | 287500.00 | 25.00 | 312500.00 | 30.00 | 375000.00 | 100000.00 | Techno Electricals
1.50 | Providing, laying and fixing following dia G.I pipe (medium class) in ground complete with G.I.fittings including cutting and threading with coupling , trenching (75cm deep) and re-filling etc., as required - 50 mm dia | 2000.00 | Mtr |  | 650.00 | 1300000.00 | 650.00 | 1300000.00 | 785.00 | 1570000.00 | 650.00 | 1300000.00 | 600.00 | 1200000.00 | 1200000.00 | JCC ENGINEERS PRIVATE LIMITED
1.51 | Providing, laying and fixing following dia G.I pipe (medium class) in ground complete with G.I.fittings including cutting and threading with coupling , trenching (75cm deep) and re-filling etc., as required - 80 mm dia | 275.00 | Mtr |  | 1450.00 | 398750.00 | 950.00 | 261250.00 | 1180.00 | 324500.00 | 1250.00 | 343750.00 | 1200.00 | 330000.00 | 261250.00 | Techno Electricals
1.52 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 34.00 | Each |  | 6000.00 | 204000.00 | 6500.00 | 221000.00 | 8625.00 | 293250.00 | 6000.00 | 204000.00 | 6500.00 | 221000.00 | 204000.00 | Balaji Engineering, Manish Electricals
1.53 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 425.00 | Mtr |  | 150.00 | 63750.00 | 230.00 | 97750.00 | 259.00 | 110075.00 | 175.00 | 74375.00 | 120.00 | 51000.00 | 51000.00 | JCC ENGINEERS PRIVATE LIMITED
1.54 | Providing and laying of 6 SWG GI wire inside the excavated cable trench/humepipe/DWC pipe for loop earthing etc complete as required | 20000.00 | Mtr |  | 20.00 | 400000.00 | 20.00 | 400000.00 | 25.00 | 500000.00 | 20.00 | 400000.00 | 16.00 | 320000.00 | 320000.00 | JCC ENGINEERS PRIVATE LIMITED
1.55 | Laying of following size DWC HDPE pipe direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., including fixing fittings and cutting, jointing etc.,63mm dia (OD-63 mm & ID 51mm nominal) complete as required. | 18810.00 | Mtr |  | 50.00 | 940500.00 | 80.00 | 1504800.00 | 58.00 | 1090980.00 | 100.00 | 1881000.00 | 70.00 | 1316700.00 | 940500.00 | Balaji Engineering
1.56 | Design, Manufacturing, Supply, Installation, Testing & Commissioning of LT Panel, cubicle type, made out of 2mm thick CRCA sheet,totally enclosed, IP 42, free standing, floor mounting, dust and vermin proof, indoor, compartmentalised, suitable for operation on 3 phase and neutral, 415 V, 50Hz AC system with busbars extensible on both sides, making interlocking arrangement between incomers, top/ bottom 3mm thick detachable gland plate as per site requirement including internal wiring with suitable size wires/cable, interconnection, duly powder coated painting etc. including supply & installation of following switchgears,metering instruments and accessories in the LT Panel and as per specifications.INCOMER 1 :1 No-400A 4P 25KA MCCB (With Microprocessor based Release),1 Set-R,Y & B Indication Lamps (LED Type) with control fuse,1 Set-R,Y & B Indication Lamps (LED Type) with control fuse,1No- (0-400A MIN) Digital Multifunction meter 50HZ,3-PHASE AC 240V , class-1 ,flush mounting with RS485. Mode No:MFM 4405 LED meter Cl 1 with RS485 / Equivalent ,1 Set-400/5A cast resin type CT with necessary terminal block.INCOMER 2 :1 No-400A 4P 25KA MCCB (With Microprocessor based Release),1 Set-R,Y & B Indication Lamps (LED Type) with control fuse,1 No- (0-400A MIN) Digital Multifunction meter 50HZ,3-PHASE AC 240V , class-1 ,flush mounting with RS485 . Mode No:MFM 4405 LED meter Cl 1 with RS485 / Equivalent . 1 Set-400/5A cast resin type CT with necessary terminal block.BUSCOUPLER : 1 No-400A 4P 25KA MCCB BUS BAR :R,Y,B, N & earth busbars suitable for minimum 400 Amps , OUT GOING :4 nos. 160A TPN MCCB Microprocessor based with Rotary handle ,4 nos. 125A TPN MCCB Microprocessor based with Rotary handle ,4 nos. 63 A TPN MCCB Microprocessor based with Rotary handle ,All out going shall be provided with Digital ammeter with suitable raion resin cast CT. NOTE: All MCCB shall have rotary operating handle and mechanical key interlock between incomer - I and incomer - 2, bus coupler. | 1.00 | Each |  | 175000.00 | 175000.00 | 500000.00 | 500000.00 | 653407.00 | 653407.00 | 575000.00 | 575000.00 | 450000.00 | 450000.00 | 175000.00 | Balaji Engineering
1.57 | Supply of 3½ core x 120 Sq.mm XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1KV grade confirming to relevant IS 1554 / IS 7098 with upto date amendments etc, as required. | 250.00 | Mtr |  | 850.00 | 212500.00 | 690.00 | 172500.00 | 780.00 | 195000.00 | 550.00 | 137500.00 | 450.00 | 112500.00 | 112500.00 | JCC ENGINEERS PRIVATE LIMITED
1.58 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kVgr ade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required - Above 35 sq. mm and upto 95 sq. mm | 100.00 | Mtr |  | 20.00 | 2000.00 | 50.00 | 5000.00 | 23.00 | 2300.00 | 20.00 | 2000.00 | 50.00 | 5000.00 | 2000.00 | Balaji Engineering, Manish Electricals
1.59 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kVgr ade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required - Above 95 sq. mm and upto 185 sq. mm | 75.00 | Mtr |  | 20.00 | 1500.00 | 50.00 | 3750.00 | 29.00 | 2175.00 | 20.00 | 1500.00 | 50.00 | 3750.00 | 1500.00 | Balaji Engineering, Manish Electricals
1.60 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. - Above 35 sq. mm and upto 95 sq. mm | 150.00 | Mtr |  | 30.00 | 4500.00 | 50.00 | 7500.00 | 23.00 | 3450.00 | 30.00 | 4500.00 | 50.00 | 7500.00 | 3450.00 | Vardhman Airport Solutions Pvt Ltd
1.61 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required - Above 95 sq. mm and upto 185 sq. mm | 125.00 | Mtr |  | 50.00 | 6250.00 | 50.00 | 6250.00 | 29.00 | 3625.00 | 30.00 | 3750.00 | 50.00 | 6250.00 | 3625.00 | Vardhman Airport Solutions Pvt Ltd
1.62 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required - 3½ X 50 sq. mm (35mm) | 12.00 | Each |  | 500.00 | 6000.00 | 500.00 | 6000.00 | 863.00 | 10356.00 | 300.00 | 3600.00 | 300.00 | 3600.00 | 3600.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
1.63 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required - 3½ X 120 sq. mm (45mm) | 4.00 | Each |  | 500.00 | 2000.00 | 700.00 | 2800.00 | 863.00 | 3452.00 | 500.00 | 2000.00 | 600.00 | 2400.00 | 2000.00 | Balaji Engineering, Manish Electricals
1.64 | Supplying and fixing of electrical Insulating Rubber Mats as per IS 15652:2006 made out of synthetic rubber and highly electrical resistant elastomers, anti- skid, fire resistant, oil resistant in sizes of 1m x 2 m and 2 mm thick suitable for 3.3 KV complete as required. | 40.00 | Sqm |  | 1500.00 | 60000.00 | 1000.00 | 40000.00 | 585.00 | 23400.00 | 750.00 | 30000.00 | 1200.00 | 48000.00 | 23400.00 | Vardhman Airport Solutions Pvt Ltd
1.65 | Supply, Installation, Testing and Commissioning of Three phase Surge protection (MOV, plug in type) capable with Neutral Earth of carrying nominal discharge of 100KA (block MOV), 8/20 micro second surge, protection level of 1.5KV in IP55 grade enclosure, complete with suitable safety circuit breaker, base interconnection with copper cable, end terminations etc., as per specifications enclosed (First stage protection to be provided at power entry point) | 2.00 | Each |  | 40000.00 | 80000.00 | 75000.00 | 150000.00 | 19924.00 | 39848.00 | 155000.00 | 310000.00 | 75000.00 | 150000.00 | 39848.00 | Vardhman Airport Solutions Pvt Ltd
1.66 | Providing of earth pits chemical earth pit with suitable chemical compuned and other earthing materials for above item (Surge diverter) with vertically or horizontally as per the site conditions complete with flanges bends, top cover inspection chamber including excavation and refilling etc as required. | 1.00 | Each |  | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 9056.00 | 9056.00 | 22000.00 | 22000.00 | 30385.00 | 30385.00 | 9056.00 | Vardhman Airport Solutions Pvt Ltd
1.67 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 20.00 | Mtr |  | 1250.00 | 25000.00 | 1100.00 | 22000.00 | 201.00 | 4020.00 | 1000.00 | 20000.00 | 1200.00 | 24000.00 | 4020.00 | Vardhman Airport Solutions Pvt Ltd
1.68 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | 25.00 | Mtr |  | 150.00 | 3750.00 | 250.00 | 6250.00 | 173.00 | 4325.00 | 250.00 | 6250.00 | 190.00 | 4750.00 | 3750.00 | Balaji Engineering
1.69 | Insatalation of 200mm CI collar base concrete of 1:3:6 of 75mm thick all round concrete of 1:2:4 150mm thick. The top sloped with 1:2:4 cement concrete including excavation of side shoulder/ Basic strip and re-filling (wherever the transformer are in a line the same has to be aligned in such a way that the centers fall in a straight line) etc. complete as required | 106.00 | Each |  | 500.00 | 53000.00 | 1500.00 | 159000.00 | 1725.00 | 182850.00 | 300.00 | 31800.00 | 350.00 | 37100.00 | 31800.00 | Manish Electricals
1.70 | Insatalation of 75 mm CI collar on exisitng C.I. Transformer house boxes installed at site etc as required. | 10.00 | Each |  | 700.00 | 7000.00 | 1200.00 | 12000.00 | 345.00 | 3450.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
1.71 | Shifting of different capacity of CCRs in side substation with proper earthing and other termination etc. as per site requirement. | 7.00 | Each |  | 5000.00 | 35000.00 | 3000.00 | 21000.00 | 2875.00 | 20125.00 | 7000.00 | 49000.00 | 5000.00 | 35000.00 | 20125.00 | Vardhman Airport Solutions Pvt Ltd
1.72 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. 225 mm width X 50 mm depth X 1.6 mm thickness . | 40.00 | Mtr |  | 900.00 | 36000.00 | 700.00 | 28000.00 | 860.00 | 34400.00 | 600.00 | 24000.00 | 450.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 27048625.00 |  | 28411220.00 |  | 26275858.00 |  | 25724435.00 |  | 24855555.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(24855555.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Second Runway Circuit including strengthening of existing GLF system at Kalaburgi Airport Tender ID: 2022_AAI_110216_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 24855555.00 | L1
| 2 | Manish Electricals | 25724435.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd | 26275858.00 | L3
| 4 | Balaji Engineering | 27048625.00 | L4
| 5 | Techno Electricals | 28411220.00 | L5