## BoQ1
Government eProcurement System Created By: Joshua Kindo Created Date/Time: 06-Apr-2022 11:52 AM Tender Title: Provision of Air conditioners Water cooler cum purifiers Water dispensers etc. Kadapa Airport. Sub head SITC of Air Conditioners Tender ID: 2022_AAI_110395_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Kadapa Airport.
Name of Work: Provision of Air conditioners, Water cooler cum purifiers, Water dispensers etc., Kadapa Airport. SH: SITC of Air Conditioners
Contract No: 2022_AAI_110395_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | General Electricals and Refrigeration(GSTN-36AAGFG4251M1Z7) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | COOL STAR(GSTN-29AFJPP1758A1ZE) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 star rated, 1.5 Ton Split Air Conditioner wall mounted type consisting of rotary type compressor & operating features like sleep mode, On/Off timer, auto restart , self diagnosys, etc, suitable to operate on 230V,50 HZ , single phase AC power supply, i/c supply of refrigerent copper piping syatem, control cable and drain piping of 04 mtr complete including voltage stabilizer of rating as recommended by OEM etc. as required as per OEM specification. | 30.00 | Nos |  | 36000.00 | 1080000.00 | 32950.00 | 988500.00 | 37250.00 | 1117500.00 | 38210.00 | 1146300.00 | 988500.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Supply of Vertical / Tower type Split Airconditioner of 3.5 TR/ 4 TR Capacity with Tower indoor units, outdoor and Scroll Compressors and having operating features like timer, airflow direction control, auto restart function etc suitable for operation on 415 volts +/-10% 50 Hz three phase AC power supply including following accessories as per OEM recommendation. Refrigerent Copper piping between indoor and outdoor units, along with insulation foam, proper support clamps | 5.00 | Nos |  | 105000.00 | 525000.00 | 156750.00 | 783750.00 | 91900.00 | 459500.00 | 90200.00 | 451000.00 | 451000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply of Cassette type Split Airconditioner of capacity 4.0 TR, single compressor of rotary type with cord less and corded remote control, plasma Air purfiying system, Optimal air distribution, 3 dimensional turbo fan, high - ceiling corresponding operation, group control, weekly program, auto restart operation and one number out door condensing unit comprising of sealed compressor suitable for operation on , 415Volts +/- 10% volts,, 50HZ, Three phase, AC supply etc., as required as per OEM specification. | 3.00 | Nos |  | 106000.00 | 318000.00 | 112500.00 | 337500.00 | 92900.00 | 278700.00 | 90300.00 | 270900.00 | 270900.00 | VOLKS ENERGIE PVT LTD
4.00 | Installation, testing and Commissioning of following Air-Conditioning units i/c providing and fixing of suitable MS stand for outdoor unit, electrical interconnection, drain piping, regrigerent piping system and other required civil works complete etc as required. 1.5 TR Single Phase Split type AC Unit | 30.00 | Nos |  | 1500.00 | 45000.00 | 1950.00 | 58500.00 | 2200.00 | 66000.00 | 2000.00 | 60000.00 | 45000.00 | General Electricals and Refrigeration
4.10 | 3.5TR/ 4 TR Tower or Cassette type AC unit | 8.00 | Nos |  | 4000.00 | 32000.00 | 6500.00 | 52000.00 | 3500.00 | 28000.00 | 6000.00 | 48000.00 | 28000.00 | COOL STAR
5.00 | Providing and fixing extra length Refrigerent Copper piping, electrical control copper cable for interconnection of indoor and outdoor units, and insulation foam for refrigerent piping etc as required for the following Air Conditioning units 1.5 TR Single Phase Split type AC Unit | 180.00 | Mtr |  | 850.00 | 153000.00 | 740.00 | 133200.00 | 700.00 | 126000.00 | 700.00 | 126000.00 | 126000.00 | COOL STAR, VOLKS ENERGIE PVT LTD
6.00 | Providing and fixing extra length drain piping of size (25 mm) etc as required for following Air Conditioning units 1.5 TR Single Phase Split type AC Unit | 180.00 | Mtr |  | 150.00 | 27000.00 | 925.00 | 166500.00 | 150.00 | 27000.00 | 150.00 | 27000.00 | 27000.00 | General Electricals and Refrigeration, COOL STAR, VOLKS ENERGIE PVT LTD
7.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 30.00 | Nos |  | 1400.00 | 42000.00 | 850.00 | 25500.00 | 1500.00 | 45000.00 | 1400.00 | 42000.00 | 25500.00 | LAKSHMI ELECTRICAL ENTERPRISES
8.00 | Supplying and fixing 20 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 8.00 | Nos |  | 6500.00 | 52000.00 | 2950.00 | 23600.00 | 2000.00 | 16000.00 | 2800.00 | 22400.00 | 16000.00 | COOL STAR
9.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (a) 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 300.00 | mtr |  | 230.00 | 69000.00 | 425.00 | 127500.00 | 400.00 | 120000.00 | 300.00 | 90000.00 | 69000.00 | General Electricals and Refrigeration
| Total in Figures |  |  |  |  | 2343000.00 |  | 2696550.00 |  | 2283700.00 |  | 2283600.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(2283600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Air conditioners Water cooler cum purifiers Water dispensers etc. Kadapa Airport. Sub head SITC of Air Conditioners Tender ID: 2022_AAI_110395_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 2283600.00 | L1
| 2 | COOL STAR | 2283700.00 | L2
| 3 | General Electricals and Refrigeration | 2343000.00 | L3
| 4 | LAKSHMI ELECTRICAL ENTERPRISES | 2696550.00 | L4