## BoQ1
Government eProcurement System Created By: Arun Kumar Majhi Created Date/Time: 19-Apr-2022 05:27 PM Tender Title: Annual Maintenance Contract for Electrical and Mechanical Installation at ATS Technical Building and Operational Area at NSCBI Airport, Kolkata for the year 2022 to 2024 Tender ID: 2022_AAI_110431_1
Tender Inviting Authority: Airport Authority of India
Name of Work: Annual Maintenance Contract for Electrical & Mechanical Installation at ATS Technical Building and Operational Area at NSCBI Airport, Kolkata for the year 2022-24
Contract No: 2022_AAI_110431_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | Brady Services Pvt. Ltd.(GSTN-07AABCB4175F1ZW) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of Internal and External E&M installations such as LT panels, building wiring, power cables, water pumps, water level control system, air-conditioning system, FADS etc. including attending complaints / faults/ breakdown, rectification and ensuring serviceability/ satisfactory working condition including operation of 2 nos. elevators at ATS technical building on round the clock basis and maintaining all records as per PMI schedule of special conditions of contract and as per the requirement of works. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract or as per the instruction of Engineer-in-charge.)
1.10 | (a) For 1st Year | 12.00 | Month |  | 662817.00 | 7953804.00 | 518390.00 | 6220680.00 | 600000.00 | 7200000.00 | 520000.00 | 6240000.00 | 6220680.00 | Brady Services Pvt. Ltd.
1.20 | (b) For 2nd Year | 12.00 | Month |  | 662817.00 | 7953804.00 | 518390.00 | 6220680.00 | 600000.00 | 7200000.00 | 522000.00 | 6264000.00 | 6220680.00 | Brady Services Pvt. Ltd.
2.00 | Operation and maintenance of Internal and External E&M installations such as HT/LT panels, transformers, power cables, pumps, DG sets, Air conditioning etc including attending complaints / faults/ breakdown, rectification and ensuring serviceability/ satisfactory working condition and maintaining all records as per PMI schedule as per the special conditions of contract and particular specifications, in shift basis round the clock as per the instruction of the Engineer-in- Charge or his authorized representative as per the requirement of works at various nav aid installations inside operational area. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.)
2.10 | (a) For 1st Year | 12.00 | Month |  | 578367.00 | 6940404.00 | 535710.00 | 6428520.00 | 650000.00 | 7800000.00 | 570000.00 | 6840000.00 | 6428520.00 | Brady Services Pvt. Ltd.
2.20 | (b) For 2nd Year | 12.00 | Month |  | 578367.00 | 6940404.00 | 535710.00 | 6428520.00 | 650000.00 | 7800000.00 | 575000.00 | 6900000.00 | 6428520.00 | Brady Services Pvt. Ltd.
3.00 | Servicing of Electrical Switch gears:- Preventive maintenance as per OEM (L&T/Emerson/Siemens/Havells) standard of the Switchgears available in the L.T. Power panels followed by necessary relay calibration and submission of service report in prescribed format of OEM and as directed by Engineer-in-Charge.
3.10 | ACBs upto 1600A = 8 nos.
3.11 | (a) For 1st Year | 8.00 | job |  | 5500.00 | 44000.00 | 1000.00 | 8000.00 | 4000.00 | 32000.00 | 2000.00 | 16000.00 | 8000.00 | Brady Services Pvt. Ltd.
3.12 | (b) For 2nd Year | 8.00 | Job |  | 5500.00 | 44000.00 | 1000.00 | 8000.00 | 4000.00 | 32000.00 | 2000.00 | 16000.00 | 8000.00 | Brady Services Pvt. Ltd.
3.20 | Auto Transfer Switch of 1000A = 1 Nos.
3.21 | (a) For 1st Year | 1.00 | job |  | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 2000.00 | Brady Services Pvt. Ltd.
3.22 | (b) For 2nd Year | 1.00 | job |  | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 2000.00 | Brady Services Pvt. Ltd.
4.00 | Lifting and lowering of 10 HP to 15 HP submerssible pump motor in open borewell by providing Chainpully and other arrangement including jointing of submerssible cable by providing new joint kit of size 2.5 sq. mm. to 10 sq. mm. submerssible cable etc complete as required and direction of engineer-In-Charge.
4.10 | (a) For 1st Year | 4.00 | job |  | 5000.00 | 20000.00 | 10473.00 | 41892.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
4.20 | (b) For 2nd Year | 4.00 | job |  | 5000.00 | 20000.00 | 10473.00 | 41892.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
5.00 | Annual comprehensive maintenance of all make AC units 1.5 Tr. capacity single or three phase window type at different location including providing all necessary consumable spares and up to its smooth performance as as per the special conditions of contract and particular specifications.
5.10 | (a) For 1st Year | 2.00 | Each per year |  | 250.00 | 500.00 | 10473.00 | 20946.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 500.00 | EASTERN POWER ENGINEERING
5.20 | (b) For 2nd Year | 2.00 | Each per year |  | 250.00 | 500.00 | 10473.00 | 20946.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 500.00 | EASTERN POWER ENGINEERING
6.00 | Annual comprehensive maintenance of all make AC units upto 1.5 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications.
6.10 | (a) For 1st Year | 38.00 | Each per year |  | 300.00 | 11400.00 | 10473.00 | 397974.00 | 2000.00 | 76000.00 | 3200.00 | 121600.00 | 11400.00 | EASTERN POWER ENGINEERING
6.20 | (b) For 2nd Year | 23.00 | Each per year |  | 300.00 | 6900.00 | 10473.00 | 240879.00 | 2000.00 | 46000.00 | 3200.00 | 73600.00 | 6900.00 | EASTERN POWER ENGINEERING
7.00 | Annual comprehensive maintenance of all make AC units of 2.0 Tr. capacity single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications.
7.10 | (a) For 1st Year | 132.00 | Each per year |  | 250.00 | 33000.00 | 10473.00 | 1382436.00 | 2500.00 | 330000.00 | 5000.00 | 660000.00 | 33000.00 | EASTERN POWER ENGINEERING
7.20 | (b) For 2nd Year | 123.00 | Each per year |  | 250.00 | 30750.00 | 10473.00 | 1288179.00 | 2500.00 | 307500.00 | 5000.00 | 615000.00 | 30750.00 | EASTERN POWER ENGINEERING
8.00 | Annual comprehensive maintenance of all make AC units of 3.0 Tr. capacity single or three phase slimline / high wall split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications.
8.10 | (a) For 1st Year | 8.00 | Each per year |  | 300.00 | 2400.00 | 10473.00 | 83784.00 | 3000.00 | 24000.00 | 6000.00 | 48000.00 | 2400.00 | EASTERN POWER ENGINEERING
8.20 | (b) For 2nd Year | 16.00 | Each per year |  | 300.00 | 4800.00 | 10473.00 | 167568.00 | 3000.00 | 48000.00 | 6000.00 | 96000.00 | 4800.00 | EASTERN POWER ENGINEERING
9.00 | Annual comprehensive maintenance of all make AC units of 1.5 Tr. capacity inverter type single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications.
9.10 | (a) For 1st Year | 2.00 | Each per year |  | 500.00 | 1000.00 | 10473.00 | 20946.00 | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 1000.00 | EASTERN POWER ENGINEERING
9.20 | (b) For 2nd Year | 15.00 | Each per year |  | 500.00 | 7500.00 | 10473.00 | 157095.00 | 1500.00 | 22500.00 | 4000.00 | 60000.00 | 7500.00 | EASTERN POWER ENGINEERING
10.00 | Annual comprehensive maintenance of all make AC units of 2.0 Tr. capacity inverter type single phase or three phase split type AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications.
10.10 | (a) For 1st Year | 10.00 | Each per year |  | 500.00 | 5000.00 | 10473.00 | 104730.00 | 2000.00 | 20000.00 | 5000.00 | 50000.00 | 5000.00 | EASTERN POWER ENGINEERING
10.20 | (b) For 2nd Year | 19.00 | Each per year |  | 500.00 | 9500.00 | 10473.00 | 198987.00 | 2000.00 | 38000.00 | 5000.00 | 95000.00 | 9500.00 | EASTERN POWER ENGINEERING
11.00 | Annual comprehensive maintenance of all make AC units of 3.0 Tr. Ductable AC at different location including providing all necessary consumable spares and up to its smooth performance as per the special conditions of contract and particular specifications.
11.10 | (a) For 1st Year | 1.00 | Each per year |  | 1000.00 | 1000.00 | 10473.00 | 10473.00 | 3000.00 | 3000.00 | 7900.00 | 7900.00 | 1000.00 | EASTERN POWER ENGINEERING
11.20 | (b) For 2nd Year | 1.00 | Each per year |  | 1000.00 | 1000.00 | 10473.00 | 10473.00 | 3000.00 | 3000.00 | 7900.00 | 7900.00 | 1000.00 | EASTERN POWER ENGINEERING
12.00 | Dismantling of window / split ACs / slimline / highwall A/C units of capacity 1.5 Tr/ 2 Tr / 3 Tr, 1 ph/ 3 ph and transporting to AAI store as directed by EIC etc. complete as required.
12.10 | (a) For 1st Year | 40.00 | Job |  | 50.00 | 2000.00 | 10473.00 | 418920.00 | 1800.00 | 72000.00 | 100.00 | 4000.00 | 2000.00 | EASTERN POWER ENGINEERING
12.20 | (b) For 2nd Year | 20.00 | Job |  | 50.00 | 1000.00 | 10473.00 | 209460.00 | 1800.00 | 36000.00 | 100.00 | 2000.00 | 1000.00 | EASTERN POWER ENGINEERING
13.00 | Reinstallation, testing and commissioning including refrigerent charging of the window / split ACs / slimline / highwall A/C units of capacity 1.5 Tr/ 2 Tr / 3 Tr, 1 ph/ 3 ph as directed by E-I-C (Indoor & Outdoor unit will be issued by AAI)
13.10 | (a) For 1st Year | 10.00 | Job |  | 300.00 | 3000.00 | 10473.00 | 104730.00 | 4000.00 | 40000.00 | 500.00 | 5000.00 | 3000.00 | EASTERN POWER ENGINEERING
13.20 | (b) For 2nd Year | 10.00 | Job |  | 300.00 | 3000.00 | 10473.00 | 104730.00 | 4000.00 | 40000.00 | 500.00 | 5000.00 | 3000.00 | EASTERN POWER ENGINEERING
14.00 | Supply and fixing of extra copper refrigerant piping complete with suction / liquid line, insulation (i.e. cunifoam with neoprene / rubber lining), and all the accessories i/c Control Cable as per site requirement as directed by Engineer-in-Charge. | 50.00 | Mtr. |  | 400.00 | 20000.00 | 10473.00 | 523650.00 | 850.00 | 42500.00 | 800.00 | 40000.00 | 20000.00 | EASTERN POWER ENGINEERING
15.00 | Annual Comprehensive Maintenance contract for Aquaguard multifunction Hot & Cold type water cooler cum purifier. Model No.:- Hot & Cold RO UV Water Purifier
15.10 | (a) For 1st Year | 5.00 | Each per year |  | 3000.00 | 15000.00 | 13800.00 | 69000.00 | 12000.00 | 60000.00 | 5000.00 | 25000.00 | 15000.00 | EASTERN POWER ENGINEERING
15.20 | (b) For 2nd Year | 5.00 | Each per year |  | 3000.00 | 15000.00 | 13800.00 | 69000.00 | 12000.00 | 60000.00 | 5000.00 | 25000.00 | 15000.00 | EASTERN POWER ENGINEERING
16.00 | Annual Comprehensive Maintenance contract for Aquaguard storage cooler cum purifier. Model No.:- Aquaguard Enhance RO water Purifier
16.10 | (a) For 1st Year | 1.00 | Each per year |  | 5000.00 | 5000.00 | 11800.00 | 11800.00 | 12000.00 | 12000.00 | 6000.00 | 6000.00 | 5000.00 | EASTERN POWER ENGINEERING
16.20 | (b) For 2nd Year | 1.00 | Each per year |  | 5000.00 | 5000.00 | 11800.00 | 11800.00 | 12000.00 | 12000.00 | 6000.00 | 6000.00 | 5000.00 | EASTERN POWER ENGINEERING
17.00 | Annual Comprehensive maintenance contract of Aquaguard Green Pure Chill 80 SS RO+UV (or Equvalent) water cooler at various Operational Units & offices at NSCBI Airport, Kolkata including providing and repairing / replacing of faulty component, consumable spares and compressors etc as required. Model No.:- AG. GR. PURE CHILL 80 SS-RO+UV
17.10 | (a) For 1st Year | 10.00 | Each per year |  | 4000.00 | 40000.00 | 20500.00 | 205000.00 | 8000.00 | 80000.00 | 10000.00 | 100000.00 | 40000.00 | EASTERN POWER ENGINEERING
17.20 | (b) For 2nd Year | 10.00 | Each per year |  | 4000.00 | 40000.00 | 20500.00 | 205000.00 | 8000.00 | 80000.00 | 10000.00 | 100000.00 | 40000.00 | EASTERN POWER ENGINEERING
18.00 | Half Yearly Water testing (input raw water and purified water = 1 job) from different sites during the contract period.
18.10 | (a) For 1st Year | 32.00 | Job |  | 1600.00 | 51200.00 | 500.00 | 16000.00 | 2500.00 | 80000.00 | 2500.00 | 80000.00 | 16000.00 | Brady Services Pvt. Ltd.
18.20 | (b) For 2nd Year | 32.00 | Job |  | 1600.00 | 51200.00 | 500.00 | 16000.00 | 2500.00 | 80000.00 | 2500.00 | 80000.00 | 16000.00 | Brady Services Pvt. Ltd.
19.00 | Supply, installation, Testing and commissiong of iron remover consisting of 20''/24'' iron vessel-Resin based with filteration capacity 200 LPH equipped backwash facility for flushing out filtered iron sediments. | 11.00 | Job |  | 10500.00 | 115500.00 | 13000.00 | 143000.00 | 10000.00 | 110000.00 | 5500.00 | 60500.00 | 60500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.00 | Annual Maintenance of addressable fire alarm system consisting of fire loop, 01 no. addressable panel of Morely IAS ZX5e and 03 nos. of Morely IAS ZX2e Fire alarm PC station with Visualized Software, graphic display in computer including other accessories like active & passive repeater panel, different type smoke detector, Heat detector, Response indicator, Manual call point, Fault isolator, Hooter, Control realy module, Monitor module etc. including monthly servicing and periodical maintenance and attending breakdown maintenance as per tender document from ground floor to 7th floor including tower at NSCBI Airport, Kolkata. (Refer Appendix -A for Engaging specialized agency and Appendix-B for Man Power.)
20.10 | (a) For 1st Year | 12.00 | Month |  | 6000.00 | 72000.00 | 25000.00 | 300000.00 | 40000.00 | 480000.00 | 60000.00 | 720000.00 | 72000.00 | EASTERN POWER ENGINEERING
20.20 | (b) For 2nd Year | 12.00 | Month |  | 6000.00 | 72000.00 | 25000.00 | 300000.00 | 40000.00 | 480000.00 | 60000.00 | 720000.00 | 72000.00 | EASTERN POWER ENGINEERING
21.00 | Dehydration of insulating oil for transformers through centrifugal oil purifier / sparkler machine and heating arrangements to attend withstand strength of 40 kv for one minute as per IS 355 - 1983 (uptodate ammendments) with submission of prior and post-test report of breaking strength of oil at sub-station. | 500.00 | Ltr. |  | 20.00 | 10000.00 | 14.00 | 7000.00 | 15.00 | 7500.00 | 7.00 | 3500.00 | 3500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | Scrubing, rubbing, cleaning & spray painting of LT Panels, metal frame, metal boxes, metal surface in different shape and in different location with 2 coat red oxide primer & 01 coat of synthetic enamel paint of smoke grey or any other approved colour etc. as required. | 50.00 | Sq.m |  | 200.00 | 10000.00 | 200.00 | 10000.00 | 185.00 | 9250.00 | 200.00 | 10000.00 | 9250.00 | Techno Electricals
23.00 | Lettering with synthetic enamel paint of approved brand and manufacture as per the instructions of Engineer in Charge. | 1000.00 | Per letter per cm |  | 5.00 | 5000.00 | 20.00 | 20000.00 | 35.00 | 35000.00 | 20.00 | 20000.00 | 5000.00 | EASTERN POWER ENGINEERING
24.00 | Supply of RYB Indicator set for LT Panels of size inner Diameter 22.5 mm suitable to operate from 230V AC, 50Hz supply. | 40.00 | Set |  | 200.00 | 8000.00 | 100.00 | 4000.00 | 200.00 | 8000.00 | 70.00 | 2800.00 | 2800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
25.00 | Supply of Green colour LED panel indicator of size inner Diameter 22.5 mm suitable to operate from 230V AC, 50Hz supply | 20.00 | Each |  | 80.00 | 1600.00 | 20.00 | 400.00 | 200.00 | 4000.00 | 45.00 | 900.00 | 400.00 | Brady Services Pvt. Ltd.
26.00 | Supply of 250 A ,36 kA 4 Pole MCCB of make L& T , Cat No. CM9210900P1OG | 2.00 | Each |  | 18000.00 | 36000.00 | 14000.00 | 28000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 20000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
27.00 | Supply of 40 A ,36 kA 4 Pole microprocessor based MCCB . make Havells model no. loadine FEN | 4.00 | Each |  | 8000.00 | 32000.00 | 1850.00 | 7400.00 | 7500.00 | 30000.00 | 17000.00 | 68000.00 | 7400.00 | Brady Services Pvt. Ltd.
28.00 | DSR item ( Rate will be considered % above / below of or equal to 100% of DSR 2018 E&M rate). (for Sub. Div.-I & Sub. Div.-II) NOTE:-The execution of Delhi Schedule of Rates (E&M) 2018 Items as when required basis. Example for quoting the rate:- (i)Agency Quoting Rs.9,00,000‬.00 in the Rate stands for 10% below the Estimate amounting of Rs.10,00,000.00 net amount will be 9,00,000‬.00 and payement will be made 10% below on DSR 2018 rate against items. (ii)Agency Quoting Rs. ‭11,00,000‬‬.00 in the Rate stands for 10% above the Estimate amounting of Rs.10,00,000.00 net amount will be 10,00,000‬‬.00 and payement will be made 10% above on DSR 2018 rate against items. (For Payment calculation please see SCC, Miscellaneous Page No. 213)
28.10 | For 24 Months (Rs. 10 Lakh) | 1.00 | job |  | 750000.00 | 750000.00 | 750000.00 | 750000.00 | 950000.00 | 950000.00 | 950000.00 | 950000.00 | 750000.00 | EASTERN POWER ENGINEERING, Brady Services Pvt. Ltd.
29.00 | Providing Commercial AC vehicle not less than 1400 CC capacity and not more than 03 years old (Scorpio / Bollero / Inova/ Tata Sumo) including necessary fuel, permit & necessary airport entry pass to run the vehicle inside the operational and Non-operational areas alongwith driver under skilled category for all days including saturday, sunday & holidays for round the clock basis throughout the year with average run of 100 KM daily for attending complaints, carry out the maintenance works related to E & M installations, attending breakdown calls etc as per site requirement and as directed by Engineer-In-Charge.
29.10 | (a) For 1st Year | 12.00 | Months |  | 20000.00 | 240000.00 | 73000.00 | 876000.00 | 60000.00 | 720000.00 | 120000.00 | 1440000.00 | 240000.00 | EASTERN POWER ENGINEERING
29.20 | (b) For 2nd Year | 12.00 | Months |  | 20000.00 | 240000.00 | 73000.00 | 876000.00 | 65000.00 | 780000.00 | 120000.00 | 1440000.00 | 240000.00 | EASTERN POWER ENGINEERING
| Total in Figures |  |  |  |  | 31887166.00 |  | 34794490.00 |  | 35390250.00 |  | 34089700.00
Lowest Amount Quoted BY: EASTERN POWER ENGINEERING(31887166.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract for Electrical and Mechanical Installation at ATS Technical Building and Operational Area at NSCBI Airport, Kolkata for the year 2022 to 2024 Tender ID: 2022_AAI_110431_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | EASTERN POWER ENGINEERING | 31887166.00 | L1
| 2 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 34089700.00 | L2
| 3 | Brady Services Pvt. Ltd. | 34794490.00 | L3
| 4 | Techno Electricals | 35390250.00 | L4