## BoQ1
Government eProcurement System Created By: NARENDRA P Created Date/Time: 21-Apr-2022 04:23 PM Tender Title: Providing vitrified tiles Flooring and allied works at AAI Residential Colony, Cambridge Layout Ulsoor, Bangalore SH Electrical Works Tender ID: 2022_AAI_110490_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Providing Vitrified tiles flooring and allied works at AAI Residential Colony, Cambridge Layout, Ulsoor, Bangalore. SH: Electrical Works
Contract No: 2022_AAI_110490_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | surbhi association(GSTN-23AGKPD2522N1ZK)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, testing and commissioning of 20W LED type batten fitting as per technical specifications attached, complete directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. Model Equivalent to HAvells LUMLINE+BS20WLED865SPCSS | 200.00 | Each |  | 570.00 | 114000.00 | 500.00 | 100000.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 60000.00 | M/s LEESHA ELECTRICALS, surbhi association
2.00 | Supply,Installation, testing and commissioning of 1200mm sweep ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required | 180.00 | Each |  | 3350.00 | 603000.00 | 1600.00 | 288000.00 | 1650.00 | 297000.00 | 1610.00 | 289800.00 | 288000.00 | KALKI ELECTRICALS
3.00 | Supplying and fixing angle holder including connection etc. as required. | 430.00 | Each |  | 65.00 | 27950.00 | 80.00 | 34400.00 | 40.00 | 17200.00 | 40.00 | 17200.00 | 17200.00 | M/s LEESHA ELECTRICALS, surbhi association
4.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
4.10 | 2 Module Box | 240.00 | Each |  | 75.00 | 18000.00 | 160.00 | 38400.00 | 115.00 | 27600.00 | 115.00 | 27600.00 | 18000.00 | Shantha ELectricals and Engineers Pvt Ltd
4.20 | 3 Module Box | 190.00 | Each |  | 80.00 | 15200.00 | 200.00 | 38000.00 | 125.00 | 23750.00 | 120.00 | 22800.00 | 15200.00 | Shantha ELectricals and Engineers Pvt Ltd
4.30 | 4 Module Box | 50.00 | Each |  | 95.00 | 4750.00 | 250.00 | 12500.00 | 135.00 | 6750.00 | 135.00 | 6750.00 | 4750.00 | Shantha ELectricals and Engineers Pvt Ltd
4.40 | 6 Module Box | 50.00 | Each |  | 140.00 | 7000.00 | 300.00 | 15000.00 | 195.00 | 9750.00 | 195.00 | 9750.00 | 7000.00 | Shantha ELectricals and Engineers Pvt Ltd
4.50 | 8 Module Box | 140.00 | Each |  | 160.00 | 22400.00 | 330.00 | 46200.00 | 235.00 | 32900.00 | 235.00 | 32900.00 | 22400.00 | Shantha ELectricals and Engineers Pvt Ltd
4.60 | 12 Module Box | 100.00 | Each |  | 190.00 | 19000.00 | 380.00 | 38000.00 | 295.00 | 29500.00 | 295.00 | 29500.00 | 19000.00 | Shantha ELectricals and Engineers Pvt Ltd
5.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
5.10 | S.P. 5/6 amps, one way modular switch | 1370.00 | Each |  | 60.00 | 82200.00 | 60.00 | 82200.00 | 25.00 | 34250.00 | 25.00 | 34250.00 | 34250.00 | M/s LEESHA ELECTRICALS, surbhi association
5.20 | S.P. 5/6 amps, two way modular switch, | 60.00 | Each |  | 85.00 | 5100.00 | 100.00 | 6000.00 | 50.00 | 3000.00 | 50.00 | 3000.00 | 3000.00 | M/s LEESHA ELECTRICALS, surbhi association
5.30 | S.P. 15/16 amps, one way modular switch | 240.00 | Each |  | 130.00 | 31200.00 | 120.00 | 28800.00 | 65.00 | 15600.00 | 65.00 | 15600.00 | 15600.00 | M/s LEESHA ELECTRICALS, surbhi association
5.40 | 3 pin 5/6 amps modular socket outlet | 470.00 | Each |  | 120.00 | 56400.00 | 110.00 | 51700.00 | 90.00 | 42300.00 | 90.00 | 42300.00 | 42300.00 | M/s LEESHA ELECTRICALS, surbhi association
5.50 | 6 pin 15/16 amps modular socket outlet | 240.00 | Each |  | 170.00 | 40800.00 | 166.00 | 39840.00 | 125.00 | 30000.00 | 125.00 | 30000.00 | 30000.00 | M/s LEESHA ELECTRICALS, surbhi association
5.60 | Supplying and fixing of electronic step type regulator | 180.00 | Each |  | 290.00 | 52200.00 | 220.00 | 39600.00 | 250.00 | 45000.00 | 250.00 | 45000.00 | 39600.00 | KALKI ELECTRICALS
5.70 | Supplying and fixing of Call bell Switch | 50.00 | Each |  | 95.00 | 4750.00 | 110.00 | 5500.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 2500.00 | M/s LEESHA ELECTRICALS, surbhi association
5.80 | Modular Blanking Plate | 230.00 | Each |  | 30.00 | 6900.00 | 8.00 | 1840.00 | 12.00 | 2760.00 | 12.00 | 2760.00 | 1840.00 | KALKI ELECTRICALS
6.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 50.00 | Each |  | 1500.00 | 75000.00 | 1000.00 | 50000.00 | 1200.00 | 60000.00 | 1200.00 | 60000.00 | 50000.00 | KALKI ELECTRICALS
7.00 | Supplying and fixing 20amps rating, 240/415 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 50.00 | Each |  | 275.00 | 13750.00 | 166.00 | 8300.00 | 350.00 | 17500.00 | 350.00 | 17500.00 | 8300.00 | KALKI ELECTRICALS
8.00 | Fixing of 5 to 32amps rating, 240/415 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 450.00 | Each |  | 100.00 | 45000.00 | 40.00 | 18000.00 | 100.00 | 45000.00 | 100.00 | 45000.00 | 18000.00 | KALKI ELECTRICALS
9.00 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 volts, complete as required. | 50.00 | Each |  | 150.00 | 7500.00 | 125.00 | 6250.00 | 180.00 | 9000.00 | 180.00 | 9000.00 | 6250.00 | KALKI ELECTRICALS
10.00 | Supply and Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 95.00 | Each |  | 1000.00 | 95000.00 | 1200.00 | 114000.00 | 2850.00 | 270750.00 | 2850.00 | 270750.00 | 95000.00 | Shantha ELectricals and Engineers Pvt Ltd
11.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
11.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 380.00 | Mtr |  | 110.00 | 41800.00 | 200.00 | 76000.00 | 210.00 | 79800.00 | 200.00 | 76000.00 | 41800.00 | Shantha ELectricals and Engineers Pvt Ltd
11.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 900.00 | Mtr |  | 140.00 | 126000.00 | 220.00 | 198000.00 | 240.00 | 216000.00 | 230.00 | 207000.00 | 126000.00 | Shantha ELectricals and Engineers Pvt Ltd
12.00 | Supply of 20mm PVC Junction Box | 50.00 | Each |  | 35.00 | 1750.00 | 10.00 | 500.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 500.00 | KALKI ELECTRICALS
| Total in Figures |  |  |  |  | 1516650.00 |  | 1337030.00 |  | 1379410.00 |  | 1358460.00
Lowest Amount Quoted BY: KALKI ELECTRICALS(1337030.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing vitrified tiles Flooring and allied works at AAI Residential Colony, Cambridge Layout Ulsoor, Bangalore SH Electrical Works Tender ID: 2022_AAI_110490_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KALKI ELECTRICALS | 1337030.00 | L1
| 2 | surbhi association | 1358460.00 | L2
| 3 | M/s LEESHA ELECTRICALS | 1379410.00 | L3
| 4 | Shantha ELectricals and Engineers Pvt Ltd | 1516650.00 | L4