## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 05-May-2022 03:20 PM Tender Title: Modification of Sewage Treatment Plant at Goa Airport Tender ID: 2022_AAI_110592_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, Goa Airport, Goa.
Name of Work: Modification of Sewage Treatment Plant at Goa Airport.
Contract No: 2022_AAI_110592_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | IDEAL SYSTEMS AND SERVICES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing of ISI Marked UPVC/HDPE pipes including all UPVC/HDPE plain & brass threaded fittings and attachments like elbow, tee, socket, union, coupler etc. This includes cutting of existng pipes, jointing of pipes & fittings with one step UPVC/HDPE solvent cement and testing of all required joints etc complete as per direction of Engineer in Charge.
1.01 | 50 mm Dia. | 6.00 | Mtr. |  | 350.00 | 2100.00 | 610.00 | 3660.00 | 2100.00 | Techno Electricals
1.02 | 65mm Dia | 30.00 | Mtr. |  | 550.00 | 16500.00 | 576.00 | 17280.00 | 16500.00 | Techno Electricals
1.03 | 80mm Dia | 12.00 | Mtr. |  | 650.00 | 7800.00 | 656.00 | 7872.00 | 7800.00 | Techno Electricals
2.00 | Supply, installation, and testing of centrifugal, monoblock, pump & motor set to transfer filtered water from UF tank to pipeline connecting gardening area with following specifications . A) Head range -- 17 -30mtrs, b) Mini discharge Capacity --- 25 K ltrs/hr, c) Minimmum capacity of motor -- 5HP, d) mini RPM -- 2800, e) suction/delivery pipe dia. -- 80mm/80mm, f) Impeller--cast iorn , g) Motor body --Cast iorn , h) Power supply--3 Phase, 415v+ 10% ,etc. with Concrete foundation all necessary accessories etc as required complete as per direction of Engineer in Charge. | 2.00 | Each |  | 35000.00 | 70000.00 | 31860.00 | 63720.00 | 63720.00 | IDEAL SYSTEMS AND SERVICES
3.00 | Supply , Installation and testing of Self-Priming Monoblock Sludge Recirculation pump & motor set to transfer sludge from lamella clarifier tank to MBBR tank with following specifications. a) Head range --10-16 mtrs, b) discharge Capacity --- 20K ltr/ hr, C) Minimum capacity of motor --- 2HP, d) Mini RPM --- 2800, e) suction/delivery pipe dia -- 40/40mm, f) Impeller--Cast iron, g) Motor body --Cast iron, h) 3 Phase Power supply --415v_+ 10%,50 Hz Concrete foundation necessary removable type enclosure for rain protection including all necessary accessories etc as required complete as per direction of Engineer in Charge. | 2.00 | Each |  | 22000.00 | 44000.00 | 26550.00 | 53100.00 | 44000.00 | Techno Electricals
4.00 | Supplying , replacement of Ball valve ( metal Valve) of size 1" in existing suction pipeline of filter feed pump as required. | 2.00 | Each |  | 1500.00 | 3000.00 | 1204.00 | 2408.00 | 2408.00 | IDEAL SYSTEMS AND SERVICES
5.00 | Providing and fixing medium class ISI Marked 80mm Size G.I. pipe and G.I. fittings like elbow, tee, socket, union, coupler , reducers etc. for suction and interlinking of delivery branch suitable for centrifugal, monoblock pumps mentioned in item no. 2 .This includes jointing of pipes & G.I. fittings like elbow, tee, union etc and making suitable size holes in wall as required complete as per direction of Engineer in Charge. | 8.00 | Mtr. |  | 1000.00 | 8000.00 | 1758.00 | 14064.00 | 8000.00 | Techno Electricals
6.00 | Dismentaling of old pipeline and providing and fixing of medium class ISI Marked 65 mm G.I. pipe and G.I. fittings like elbow, tee, socket, union, coupler , reducers etc. for interlinking in existing pipeline of MGF & ACF .This includes jointing of pipes & G.I. fittings like elbow,tee,union etc as required complete as per direction of Engineer in Charge. | 6.00 | Mtr. |  | 850.00 | 5100.00 | 1798.00 | 10788.00 | 5100.00 | Techno Electricals
7.00 | Supply of C.I. butterfly valves of size 50 mm with S.G. Iron Disc. conforming to BS 5155 (PN 1.6) having Pressure /class /rating : PN16/PN10 , slim seal standard lever operated type with nuts, bolts, gasket etc. complete as required . | 3.00 | Each |  | 3500.00 | 10500.00 | 2203.00 | 6609.00 | 6609.00 | IDEAL SYSTEMS AND SERVICES
8.00 | Supply of C.I. butterfly valves of size 80 mm with S.G. Iron Disc. conforming to BS 5155 (PN 1.6) having Pressure /class /rating : PN16/PN10 , slim seal standard lever operated type with nuts, bolts, gasket etc. complete as required . | 4.00 | Each |  | 6500.00 | 26000.00 | 2803.00 | 11212.00 | 11212.00 | IDEAL SYSTEMS AND SERVICES
9.00 | Supplying, Installing, testing and commissioning of C.I. butterfly valves of size 65 mm with S.G. Iron Disc. conforming to BS 5155 (PN 1.6) having Pressure /class /rating : PN16/PN10 , slim seal standard lever operated type with required suitable size UPVC flanges, nuts, bolts, gasket etc. with proper inter connection including all necessary accessories complete as per direction of Engineer in Charge. | 3.00 | Each |  | 5500.00 | 16500.00 | 2517.00 | 7551.00 | 7551.00 | IDEAL SYSTEMS AND SERVICES
10.00 | Dismentalling of old CI valves and supplying and installation of C.I. butterfly valves of size 65 mm with S.G. Iron Disc. conforming to BS 5155 (PN 1.6) having Pressure /class /rating : PN16/PN10 , slim seal standard lever operated type with nuts, bolts, gasket etc. in existing GI pipeline of ACF & MGF with proper inter connection including all necessary accessories complete as per direction of Engineer in Charge. | 3.00 | Each |  | 7000.00 | 21000.00 | 3304.00 | 9912.00 | 9912.00 | IDEAL SYSTEMS AND SERVICES
11.00 | Supplying, Installing, testing and commissioning of C.I. butterfly valves of size 80 mm with S.G. Iron Disc. conforming to BS 5155 (PN 1.6) having Pressure /class /rating : PN16/PN10 , slim seal standard lever operated type with required G.I. flanges, nuts, bolts, gasket etc. with proper inter connection including all necessary accessories and fixing these valves with G.I threaded pipe fittings complete as per direction of Engineer in Charge. | 5.00 | Each |  | 7500.00 | 37500.00 | 2832.00 | 14160.00 | 14160.00 | IDEAL SYSTEMS AND SERVICES
12.00 | Supplying, Installing, testing and commissioning of C.I. butterfly valves of size 65 mm with S.G. Iron Disc. conforming to BS 5155 (PN 1.6) having Pressure /class /rating : PN16/PN10 , slim seal standard lever operated type with required G.I. flanges, nuts, bolts, gasket etc. with proper inter connection including all necessary accessories. This includes cutting of existing 65 mm uPVC pipe (which is delivering treated water to UF system ) and fixing these valves with Brass threaded pipe fittings complete as per direction of Engineer in Charge. | 2.00 | Each |  | 7500.00 | 15000.00 | 3304.00 | 6608.00 | 6608.00 | IDEAL SYSTEMS AND SERVICES
13.00 | Supplying, Installing, testing and commissioning of C.I. butterfly valves of size 50 mm with S.G. Iron Disc. conforming to BS 5155 (PN 1.6) having Pressure /class /rating : PN16/PN10 , slim seal standard lever operated type with required G.I. flanges, nuts, bolts, gasket etc. with proper inter connection including all necessary accessories and fixing these valves with G.I threaded pipe fittings complete as per direction of Engineer in Charge. | 2.00 | Each |  | 8000.00 | 16000.00 | 3186.00 | 6372.00 | 6372.00 | IDEAL SYSTEMS AND SERVICES
14.00 | Supplying, installing, testing and commissioning of C.I. Dual plated Non-return valves PN 1.6 having Pressure /class /rating : PN16/PN10 & as per IS:5312 reflux swing check type with required flanges, nuts, bolts and gaskets etc. suitable for centrifugal,monoblock pump mentioned in item no. 2 for fixing the start of the delivery of the pump as required. | 2.00 | Each |  | 7500.00 | 15000.00 | 3068.00 | 6136.00 | 6136.00 | IDEAL SYSTEMS AND SERVICES
15.00 | Supply and installation of Dial type glycerine filled pressure gauge with isolation having range of 0-10 Kg./sq.cm together along with ball valve of 15 mm and GI Barrel Nipples. | 1.00 | Each |  | 5000.00 | 5000.00 | 1180.00 | 1180.00 | 1180.00 | IDEAL SYSTEMS AND SERVICES
16.00 | Supply and replacement of lubrication grade oil for air blower of 11 KW rating , capacity 460 m3/hr as per recommended by O&M Manufacturer beta Maschinenfabrik as required. | 1.00 | Job |  | 4500.00 | 4500.00 | 2950.00 | 2950.00 | 2950.00 | IDEAL SYSTEMS AND SERVICES
17.00 | Supply, fixing of 25 Amps 3 pole D-curve MCB DOL starter with OLR with built in single phase protection in existing electrical panel for providing supply to existing pumps complete as per direction of Engineer in Charge. | 4.00 | Each |  | 3500.00 | 14000.00 | 1918.00 | 7672.00 | 7672.00 | IDEAL SYSTEMS AND SERVICES
18.00 | Supply of 4C x 4 sq. mm. size LT power cable of 1.1 KV grade Copper conductor XLPE insulated PVC sheathed armoured cable confirming to IS 7098 Part I-1988 with upto date amendment as required. | 30.00 | Mtr. |  | 300.00 | 9000.00 | 244.00 | 7320.00 | 7320.00 | IDEAL SYSTEMS AND SERVICES
19.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle). | 30.00 | Mtr. |  | 50.00 | 1500.00 | 334.00 | 10020.00 | 1500.00 | Techno Electricals
20.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/submain wiring/ cable as required. | 30.00 | Mtr. |  | 30.00 | 900.00 | 153.00 | 4590.00 | 900.00 | Techno Electricals
21.00 | Supply and Replacement of MBBR Media of existing 300 KLD sewage treatment plant with 6 Meter Cube Mushroom type media including cleaning of both the tanks, removal of any blockage in pipelines etc. upto satisfaction of Engineer Incharge complete as required. | 1.00 | Job |  | 105000.00 | 105000.00 | 191160.00 | 191160.00 | 105000.00 | Techno Electricals
22.00 | Supply and Replacement of Clarifier Plates Media of existing 300 KLD sewage treatment plant with suitable Size PVC plate type media which includes cleaning of tank , removal of any blockage in pipelines etc. upto satisfaction of Engineer Incharge complete as required. | 1.00 | Job |  | 100000.00 | 100000.00 | 287920.00 | 287920.00 | 100000.00 | Techno Electricals
23.00 | Overhauling, servicing, replacing of media, strainers and commissioning of Multi-grade filter having down type flow of size 1200mm x 1500 mm height for treatment of clarified water tank of the STP complete upto satisfaction of Engineer Incharge complete as required. . | 1.00 | Job |  | 4000.00 | 4000.00 | 24544.00 | 24544.00 | 4000.00 | Techno Electricals
24.00 | Overhauling, servicing, replacing of media, strainers and commissioning of Activated Carbon Filter having down type flow of size 1200mm x 1500 mm height for filtration of treated sewage water complete upto satisfaction of Engineer Incharge complete as required. | 1.00 | Job |  | 5000.00 | 5000.00 | 34456.00 | 34456.00 | 5000.00 | Techno Electricals
25.00 | Supply and installation of Micron Cartridge Filter of capacity 12.5 cum/hr, rating 100 mircon, MOC: Sponge type cartridge filter for PLC based Ultra Filtration system installed for STP. | 4.00 | Each |  | 25000.00 | 100000.00 | 3835.00 | 15340.00 | 15340.00 | IDEAL SYSTEMS AND SERVICES
26.00 | Supply and fixing of Acrylic body Rotameter between existing sewage line and MBBR tank of flow range 0-15000LPH having float material made of SS-304/SS-316 and end connection threaded of SS-304/SS-316 complete as per direction of Engineer in Charge. | 1.00 | Each |  | 15163.00 | 15163.00 | 8260.00 | 8260.00 | 8260.00 | IDEAL SYSTEMS AND SERVICES
27.00 | Servicing, dismantling, re-fixing, testing and commissioning of the existing UF hollow fiber membrane (MOC Polyether Sulfone (PES)) of Make-Qua , Model - Q SEP-6008 having permeate capcacity of 12.5cum/hr, inside out flow path, max feed pressure 70PSI and this includes chemically enhanced backwash procedure, a combination of chemicals like citric Acid, Sodium Hypochlorite, Sodium Hydroxide , Sulfuric Acid, Hydrochloric Acid of PLC based Ultra Filtration system installed for STP complete as per direction of Engineer in Charge. | 4.00 | Each |  | 80000.00 | 320000.00 | 32450.00 | 129800.00 | 129800.00 | IDEAL SYSTEMS AND SERVICES
28.00 | Supply and replacement of Existing Air grid Line of Equalization tank and MBBR tank of existing 300 KLD sewage treatment plant by new 4 inch diameter size UPVC/HDPE grid line including all Values , air flow meter , Air Diffusors, fabrication , installation etc. . The work includes removal of sludge from tanks upto satisfaction of Engineer Incharge complete as required. | 1.00 | Job |  | 110000.00 | 110000.00 | 366980.00 | 366980.00 | 110000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 1108063.00 |  | 1333644.00
Lowest Amount Quoted BY: Techno Electricals(1108063.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Sewage Treatment Plant at Goa Airport Tender ID: 2022_AAI_110592_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 1108063.00 | L1
| 2 | IDEAL SYSTEMS AND SERVICES | 1333644.00 | L2