## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 08-Jun-2022 11:51 AM Tender Title: ARMO Operation and Maintenance of GLF installation and Operation of conveyer belts, DG Sets and external E and M installations at Jammu Airport for the year 2022-23 Tender ID: 2022_AAI_110600_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work:ARMO” Operation and Maintenance of GLF installation & Operation of conveyer belts, DG Sets and external E&M installations at Jammu Airport for the year 2022-23".
Tender ID: 2018_AAI_110600
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH(I):- Shift Operation and Maintenance Management - GLF, DG Sets, Conveyor belt, CCRs, NAV-AIDS,INRESS etc. Periodical Maintenance of operational area Installations of GLF, NAV-AIDs, external E&M installation and operation of DG sets and Conveyor belt involving repairs & maintenance & attending to complaints/ faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, preventive maintenance, maintenance of records/ documentations etc., as per the detailed specifications, terms & conditions covered under this contract & deputation of minimum manpower on all days including sundays & holidays etc as reqd as per technical specification, complete as required.
1.10 | Supervisor (Highly Skilled)- 02 Nos ( 1 person/shift for 2 shifts) | 24.00 | Job | 24795.00 | 27458.00 | 658992.00 | 25000.00 | 600000.00 | 20950.00 | 502800.00 | 22500.00 | 540000.00 | 25900.00 | 621600.00 | 27000.00 | 648000.00 | 502800.00 | Anil Kumar Sharma
1.20 | Electrician(Skilled) - 04Nos (1 person/shift for 3 shifts & 1 person in general shift) | 48.00 | Job | 26424.00 | 25005.00 | 1200240.00 | 23000.00 | 1104000.00 | 19050.00 | 914400.00 | 21000.00 | 1008000.00 | 22755.00 | 1092240.00 | 25000.00 | 1200000.00 | 914400.00 | Anil Kumar Sharma
1.30 | (i) Belt Operator(Semi-Skilled) - 04 Nos (2 person/shift for 2 shifts) (ii) DG Operator Cum Wireman - 03 Nos (1 person/shift) | 84.00 | Job | 22594.00 | 21292.00 | 1788528.00 | 19500.00 | 1638000.00 | 16240.00 | 1364160.00 | 19000.00 | 1596000.00 | 20084.00 | 1687056.00 | 20500.00 | 1722000.00 | 1364160.00 | Anil Kumar Sharma
1.40 | Helper(Un-Skilled) - 8 Nos (2 person/shift for 3 shifts & 2 in general shift) | 96.00 | Job | 19256.00 | 19768.00 | 1897728.00 | 17000.00 | 1632000.00 | 14375.00 | 1380000.00 | 17000.00 | 1632000.00 | 17144.00 | 1645824.00 | 18000.00 | 1728000.00 | 1380000.00 | Anil Kumar Sharma
1.50 | SH (II):- Procurement of GLF Spares 200 W 6.6 A Bi-Pin Halogen Lamp (Make : OSRAM / Philips) | 50.00 | Each | 352.00 | 1334.00 | 66700.00 | 450.00 | 22500.00 | 700.00 | 35000.00 | 525.00 | 26250.00 | 368.00 | 18400.00 | 500.00 | 25000.00 | 18400.00 | ABHISHEK INTEGRATIONS LIMITED
1.60 | Supply of following isolating transformer (a) 45W, 20A/6.6A | 10.00 | Each | 3285.00 | 9775.00 | 97750.00 | 4000.00 | 40000.00 | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 500.00 | 5000.00 | 5000.00 | SAURABH ENTERPRISES
1.70 | 150W Approach lamp with holder | 30.00 | No | 1796.00 | 886.00 | 26580.00 | 1000.00 | 30000.00 | 1200.00 | 36000.00 | 300.00 | 9000.00 | 1700.00 | 51000.00 | 850.00 | 25500.00 | 9000.00 | Manish Electricals
1.80 | Supply of following size airfield cable 5KV grade PVC insulated & PVC sheathed standard copper conductor singel core Airport Lighting cable confirming IS 1554 (Part-II) with upto date amendment as required. Confirming to particular specification etc as required. (a) 16 sq.mm | 500.00 | Mtr. | 222.00 | 195.00 | 97500.00 | 200.00 | 100000.00 | 200.00 | 100000.00 | 210.00 | 105000.00 | 210.00 | 105000.00 | 500.00 | 250000.00 | 97500.00 | Sew Engineering Works Pvt Ltd
1.90 | SH(III):- REWINDING, PAINTING OF MOTORS. Repairing of following fans including rewinding, replacement of bearing & capacitors and including assembling testing, transportation charges etc, as and when required. a) Ceiling fan up to 1400mm | 10.00 | Job | 650.00 | 450.00 | 4500.00 | 800.00 | 8000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 450.00 | 4500.00 | 3000.00 | Anil Kumar Sharma
2.00 | (b) b) Pedestal fan up to 600mm | 5.00 | Job | 600.00 | 400.00 | 2000.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 700.00 | 3500.00 | 400.00 | 2000.00 | 350.00 | 1750.00 | 1500.00 | Anil Kumar Sharma
2.10 | c) Wall Mounting fan up to 450mm | 10.00 | Job | 550.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 800.00 | 8000.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 3000.00 | Anil Kumar Sharma
2.20 | d) Exhaust fan/ Desert cooler fan up to 450mm | 10.00 | Job | 700.00 | 650.00 | 6500.00 | 1000.00 | 10000.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 3000.00 | Anil Kumar Sharma
2.30 | e) Air circulator fan up to 600mm | 5.00 | Job | 800.00 | 850.00 | 4250.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 1000.00 | 5000.00 | 700.00 | 3500.00 | 350.00 | 1750.00 | 1500.00 | Anil Kumar Sharma
2.40 | Identifying the cable fault location at Airport premises in both operational and non operational area along with cable fault detention instrument including arranging necessary labours for excavation of soil at suspected location etc, as and when required. i) First fault | 2.00 | Job | 25250.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 6000.00 | 12000.00 | 12000.00 | SAURABH ENTERPRISES
2.50 | ii) Subsequent fault | 3.00 | Job | 10100.00 | 12000.00 | 36000.00 | 10000.00 | 30000.00 | 10000.00 | 30000.00 | 10000.00 | 30000.00 | 8000.00 | 24000.00 | 4000.00 | 12000.00 | 12000.00 | SAURABH ENTERPRISES
2.60 | SH(IV):- MOTOR PUMP SETs. Lifting and lowering of upto 15 HP submersible pump set along with column pipe detaching one length of column pipe from rest of column pipe by opening nut and bolts in this manner taking out entire pump system and lowering of entire pump system in the reverse order of the above process including chain block and supporting pipes transportation, testing and commissioning etc as required (up to 3 inch G.I. Pipe) | 200.00 | Job | 35.00 | 300.00 | 60000.00 | 100.00 | 20000.00 | 20.00 | 4000.00 | 100.00 | 20000.00 | 29.00 | 5800.00 | 100.00 | 20000.00 | 4000.00 | Anil Kumar Sharma
2.70 | Rewinding of upto15 HP, 3 phase submersible motor set including transporatation charges etc., as and when required. | 1.00 | Job | 6500.00 | 9500.00 | 9500.00 | 15000.00 | 15000.00 | 3000.00 | 3000.00 | 12000.00 | 12000.00 | 5525.00 | 5525.00 | 5058.00 | 5058.00 | 3000.00 | Anil Kumar Sharma
2.80 | Servicing of upto 15 HP, 15 stage submersible motor pump set's including replacement of motor bushes, thrust bearings, pump body casting bush, distance pices, steady bush upper and lower, 15 nos gun metal impllers, painting including transportation charges etc, as and when required. | 1.00 | Job | 3000.00 | 5000.00 | 5000.00 | 8000.00 | 8000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
2.90 | Rewinding of upto 12.5 HP, 3 phase centrifugal pump including transporatation charges etc, as and when required. | 1.00 | Job | 5500.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 3500.00 | 3500.00 | 9000.00 | 9000.00 | 4600.00 | 4600.00 | 4000.00 | 4000.00 | 3500.00 | Anil Kumar Sharma
3.00 | Servicing of upto 12.5 HP, centrifugal motor pump set's including replacement of motor bushes, bearings, paitnting including transportation charges etc, as and when required. | 1.00 | Job | 1000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 10000.00 | 10000.00 | 1000.00 | 1000.00 | 2500.00 | 2500.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED, Anil Kumar Sharma
3.10 | Rewinding and servicing of Fire Main Pump - 45KW/ 60HP 50Hz 3 Phase 415V, 75A induction motor type pump of water Head range 25-55m (Kirloskar Make)- 2965 rpm including transporatation charges etc., as and when required. | 1.00 | Job | 22000.00 | 12500.00 | 12500.00 | 30000.00 | 30000.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 15000.00 | 15000.00 | 6000.00 | 6000.00 | 6000.00 | SAURABH ENTERPRISES
3.20 | Rewinding and servicing of Jockey Pump - 11 KW/ 15 HP 50Hz 3 Phase 415V ,20A induction motor type pump of Head range 16-170 (Kirloskar Make)- 2900 rpm including transporatation charges etc., as and when required. | 1.00 | Job | 14000.00 | 11500.00 | 11500.00 | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 5000.00 | SAURABH ENTERPRISES
3.30 | SH(V):- Procrument of Electrical Spares Supply of XLPE/PVC insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part-I) 1988 with upto date amendments etc as required for the following sizes (Make : As per approved list) (a)3.5C X 240 Sq.mm | 300.00 | Mtr. | 1991.00 | 1380.00 | 414000.00 | 500.00 | 150000.00 | 1200.00 | 360000.00 | 980.00 | 294000.00 | 1776.00 | 532800.00 | 400.00 | 120000.00 | 120000.00 | SAURABH ENTERPRISES
3.40 | SH(VI):- DSR items Execution of the item of work as per requirement of site from the CPWD schedule of rates (Electrical DSR - 2018) As per CPWD specification complete as required (Total amount of Rs. 1,00,000.00 (exclusive of GST) is kept for –DSR item-2018) Percentage above or below CPWD schedule of rates E&M 2018. (Items will be executed as per requirement). (If bidder wants to quote above 10%, then write 1.10, similarly if Bidder wants to quote below 10%, write 0.90) in rate column. | 1.00 | Job | 100000.00 | 90000.00 | 90000.00 | 100000.00 | 100000.00 | .50 | .50 | 70000.00 | 70000.00 | 85000.00 | 85000.00 | 50000.00 | 50000.00 | .50 | Anil Kumar Sharma
| Total in Figures |  |  |  |  | 6534768.00 |  | 5602500.00 |  | 4820860.50 |  | 5531750.00 |  | 6002845.00 |  | 5858058.00
Lowest Amount Quoted BY: Anil Kumar Sharma(4820860.50)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Operation and Maintenance of GLF installation and Operation of conveyer belts, DG Sets and external E and M installations at Jammu Airport for the year 2022-23 Tender ID: 2022_AAI_110600_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anil Kumar Sharma | 4820860.50 | L1
| 2 | Manish Electricals | 5531750.00 | L2
| 3 | CENTRE TAP ENGINEERING | 5602500.00 | L3
| 4 | SAURABH ENTERPRISES | 5858058.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 6002845.00 | L5
| 6 | Sew Engineering Works Pvt Ltd | 6534768.00 | L6