## BoQ1
Government eProcurement System Created By: Jagannath singh Deshmukh Created Date/Time: 22-Apr-2022 05:09 PM Tender Title: Annual Operation and Maintenance Contract for E and M Installations at C. A. Rajkot. For 1 year (Yr 2022-23) Tender ID: 2022_AAI_111171_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: Annual Operation & Maintenance Contract for E & M Installations at C. A. Rajkot. [ For 1 year (Yr 2022-23)].
Contract No: AAI/RAJ/SM(E-E)/NIT-10/21-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of Electrical & Mechanical Installations of operational & non-operational areas of the Airport including GLF, CCR Panels, conveyor belts involving operation of conveyors, pump sets involving operation of pumps and minor repairing as per specification & conditions attached, attending to complaints / faults / breakdowns ensuring serviceability, satisfactory working condition of the system / preventive maintenance, maintenance of records/ documentation etc. as per the detailed specification terms & condition on all days including Sundays and holidays in 03 (three) shift basis and also as & when required basis etc as required. (Highly Skilled-3; Skilled-6; Semi-Skilled-7; Un-Skilled-6. The above mentioned minimum strength of labour is exclusive of reliever. Reliever as per site requirement shall be considered in addition to the minimum strength while quoting rate for this item.) | 12.00 | Months |  | 556625.00 | 6679500.00 | 514000.00 | 6168000.00 | 465251.00 | 5583012.00 | 440000.00 | 5280000.00 | 458500.00 | 5502000.00 | 470019.05 | 5640228.60 | 474000.00 | 5688000.00 | 489640.00 | 5875680.00 | 463444.00 | 5561328.00 | 5280000.00 | Rudraksha Enterprise
2.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. (Highly Skilled) | 25.00 | Hrs |  | 100.00 | 2500.00 | 225.00 | 5625.00 | 100.00 | 2500.00 | 20.00 | 500.00 | 110.00 | 2750.00 | 50.00 | 1250.00 | 100.00 | 2500.00 | 100.00 | 2500.00 | 99.00 | 2475.00 | 500.00 | Rudraksha Enterprise
3.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. (Skilled) | 75.00 | Hrs |  | 91.00 | 6825.00 | 200.00 | 15000.00 | 91.00 | 6825.00 | 20.00 | 1500.00 | 100.00 | 7500.00 | 50.00 | 3750.00 | 95.00 | 7125.00 | 91.00 | 6825.00 | 91.00 | 6825.00 | 1500.00 | Rudraksha Enterprise
4.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. (Semi skilled) | 25.00 | Hrs |  | 78.00 | 1950.00 | 175.00 | 4375.00 | 78.00 | 1950.00 | 20.00 | 500.00 | 90.00 | 2250.00 | 50.00 | 1250.00 | 90.00 | 2250.00 | 77.00 | 1925.00 | 77.00 | 1925.00 | 500.00 | Rudraksha Enterprise
5.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. (Un skilled) | 75.00 | Hrs |  | 69.00 | 5175.00 | 150.00 | 11250.00 | 68.00 | 5100.00 | 20.00 | 1500.00 | 80.00 | 6000.00 | 50.00 | 3750.00 | 70.00 | 5250.00 | 68.00 | 5100.00 | 68.00 | 5100.00 | 1500.00 | Rudraksha Enterprise
6.00 | Inspection, servicing and testing of 3 Pole, 800A, 26.3 KA, 11KV, HT Vaccum circuit Breakers (1 No. Incoming + 02 Nos. Outgoing) (Make: Sudhir Power .Ltd.) installed at power house at Rajkot Airport inlcuding carrying out the following tests & preventive maintenance alongwith submission of the test reports from the authorised service dealer of Sudhir/Kirloskar /L&T /Simens / Areva / Jyoti complete as per site requirement. (a) General inspection (b) Wiring check including control cirucuit and indications (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts (f) Resistance measurement of tripping coil (g) Closing, tripping and inter- locking testing (h) Tripping through relay operation (i) Insection, servicing and testing of CT & PT | 1.00 | Job |  | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 10000.00 | 10000.00 | 4000.00 | 4000.00 | 9000.00 | 9000.00 | 80000.00 | 80000.00 | 25725.00 | 25725.00 | 4000.00 | Ascent Electrification Engineers
7.00 | Inspection, Servicing, Calibration and Testing of C&S Make Type CSENEX- I 250, O/C + E/F with IDMT & RS485 PORT relay Installed at HT Panel of power house at Rajkot Airport from NABL accrediated labs including carrying out the following and submitting reports complete as per the site requirement. (a) General inspection (b) Wiring check (c) IR value test (d) Continuity of plug shifting taps and plug bridge shorting contacts (e) Secondary injection test including pick up current of IDMT element etc. | 3.00 | Set |  | 3999.00 | 11997.00 | 8000.00 | 24000.00 | 2000.00 | 6000.00 | 5000.00 | 15000.00 | 2500.00 | 7500.00 | 2500.00 | 7500.00 | 1500.00 | 4500.00 | 20000.00 | 60000.00 | 4200.00 | 12600.00 | 4500.00 | Techno Electricals
8.00 | Inspection, servicing, calibration and Testing of auxiliary and tripping relays (Control, alarm, indication and other auxiliary duties in ac or dc systems) at power house (HT Panel) at Rajkot Airport from NABL accrediated labs including carrying out the following and submitting reports complete as per the site requirement. (a) General inspection (b) Wiring check (c) IR value test (d) Tripping check | 3.00 | Set |  | 2999.00 | 8997.00 | 5500.00 | 16500.00 | 1000.00 | 3000.00 | 5000.00 | 15000.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 15000.00 | 45000.00 | 3150.00 | 9450.00 | 3000.00 | Manish Electricals, M/s BHARAT ELECTRIC, NAGPUR, Techno Electricals
9.00 | Inspection, Servicing & Testing of L&T/ Schneider Make Air circuit breakers ( 800 Amp) at Power House at Rajkot Airport from authorized service dealer of Sudhir/Kirloskar /L&T /Schneider/Simens / Areva / Jyoti including carrying out the following and submitting test reports complete as per the site requirement. (a) General inspection (b) Wiring cheking including control and indications (c) IR test between poles to poles and poles to earth. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts (f) Resistance measurement of tripping coil (g) Closing, tripping and inter- locking testing (h) Tripping through relay operation (i) Secondary injection test of In-bult thermal and magnetic release and calibration of the same | 10.00 | Job |  | 2999.00 | 29990.00 | 5500.00 | 55000.00 | 2500.00 | 25000.00 | 5000.00 | 50000.00 | 2000.00 | 20000.00 | 900.00 | 9000.00 | 2200.00 | 22000.00 | 5000.00 | 50000.00 | 1575.00 | 15750.00 | 9000.00 | Ascent Electrification Engineers
10.00 | Dehydration and filtration of transformer oil at AAI site includnig testing the BDV and acidity before and after testing and submission of test reports etc. as required for following Transformes. a) 630 KVA Transformer (Make: Sudhir) | 2.00 | Job |  | 4999.00 | 9998.00 | 9650.00 | 19300.00 | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 14000.00 | 28000.00 | 7350.00 | 14700.00 | 9998.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | Supply and topping of transformer oil complete as per the site requirement. | 100.00 | Ltr |  | 185.00 | 18500.00 | 170.00 | 17000.00 | 120.00 | 12000.00 | 120.00 | 12000.00 | 110.00 | 11000.00 | 100.00 | 10000.00 | 125.00 | 12500.00 | 140.00 | 14000.00 | 115.00 | 11500.00 | 10000.00 | Ascent Electrification Engineers
12.00 | Annual Servicing i.e healthcheckup of CCR of 4KW to 20 KW capacity of NASU make by OEM.The scope of item includes inspection of all lthe parts of CCR, servicing , checking of wiring for healthiness etc. and submission of test reports complete as per site requirement. | 5.00 | Each |  | 3999.00 | 19995.00 | 6500.00 | 32500.00 | 2000.00 | 10000.00 | 8000.00 | 40000.00 | 2000.00 | 10000.00 | 5000.00 | 25000.00 | 3500.00 | 17500.00 | 10000.00 | 50000.00 | 6825.00 | 34125.00 | 10000.00 | Manish Electricals, M/s BHARAT ELECTRIC, NAGPUR
13.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Digital Lux meter,Make-Mextech LX-1010B,Range-2000-50000 lux | 1.00 | Each |  | 499.00 | 499.00 | 850.00 | 850.00 | 500.00 | 500.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 900.00 | 900.00 | 1200.00 | 1200.00 | 525.00 | 525.00 | 499.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
14.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Electronic Digital Micrometre, Make- Aerospace, Range-0-25 mm, Acuuracy-0.001mm | 1.00 | Each |  | 499.00 | 499.00 | 850.00 | 850.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 900.00 | 900.00 | 1300.00 | 1300.00 | 472.00 | 472.00 | 472.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Digital vernier caliper, Make-Yuri, Range-200x.01mm | 1.00 | Each |  | 499.00 | 499.00 | 850.00 | 850.00 | 450.00 | 450.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 900.00 | 900.00 | 1200.00 | 1200.00 | 315.00 | 315.00 | 315.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate (from NABL accredited lab) of following instruments including minor repair etc. compete as required. Digital Earth resistance tester | 1.00 | Each |  | 499.00 | 499.00 | 850.00 | 850.00 | 450.00 | 450.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 900.00 | 900.00 | 1300.00 | 1300.00 | 420.00 | 420.00 | 420.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Celling Fans 36"/48"/56", 230V | 30.00 | Each |  | 299.00 | 8970.00 | 550.00 | 16500.00 | 400.00 | 12000.00 | 50.00 | 1500.00 | 300.00 | 9000.00 | 350.00 | 10500.00 | 550.00 | 16500.00 | 500.00 | 15000.00 | 336.00 | 10080.00 | 1500.00 | Rudraksha Enterprise
18.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Wall fans 60-100W, 230V | 10.00 | Each |  | 299.00 | 2990.00 | 550.00 | 5500.00 | 450.00 | 4500.00 | 50.00 | 500.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 550.00 | 5500.00 | 1000.00 | 10000.00 | 315.00 | 3150.00 | 500.00 | Rudraksha Enterprise
19.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Exhaust Fans/ Air cooler Fans | 10.00 | Each |  | 449.00 | 4490.00 | 750.00 | 7500.00 | 500.00 | 5000.00 | 50.00 | 500.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 700.00 | 7000.00 | 472.00 | 4720.00 | 500.00 | Rudraksha Enterprise
20.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. 1-2 HP Motor all category (pump, kitchen utensil etc.) | 2.00 | Each |  | 1999.00 | 3998.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 600.00 | 1200.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 1890.00 | 3780.00 | 1200.00 | Rudraksha Enterprise
21.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. 5HP Horizontal/ Vertical Submersible Pump Motor | 2.00 | Each |  | 1999.00 | 3998.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 900.00 | 1800.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 6000.00 | 12000.00 | 3675.00 | 7350.00 | 1800.00 | Rudraksha Enterprise
22.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. 7.5HP Horizontal/ Vertical Submersible Pump Motor | 4.00 | Each |  | 1999.00 | 7996.00 | 6000.00 | 24000.00 | 3500.00 | 14000.00 | 900.00 | 3600.00 | 4000.00 | 16000.00 | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 7000.00 | 28000.00 | 4725.00 | 18900.00 | 3600.00 | Rudraksha Enterprise
23.00 | Rewinding of the following Fans & Pumps with copper wire of required size including alignment, bearing replacement, less for dismantled copper wire, etc. complete as reqd. Siron Motor / Grass cutting motor (Upto 2.5 HP) | 1.00 | Each |  | 1999.00 | 1999.00 | 3600.00 | 3600.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2100.00 | 2100.00 | 500.00 | Rudraksha Enterprise
24.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. 50 mm Gl pipe pole of length not exceeding 3 Mt. | 40.00 | Each |  | 99.00 | 3960.00 | 235.00 | 9400.00 | 110.00 | 4400.00 | 50.00 | 2000.00 | 100.00 | 4000.00 | 150.00 | 6000.00 | 250.00 | 10000.00 | 1100.00 | 44000.00 | 450.00 | 18000.00 | 2000.00 | Rudraksha Enterprise
25.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Tubular street light poles of length not exceeding 10 Mt. | 46.00 | Each |  | 399.00 | 18354.00 | 800.00 | 36800.00 | 300.00 | 13800.00 | 90.00 | 4140.00 | 250.00 | 11500.00 | 300.00 | 13800.00 | 400.00 | 18400.00 | 1600.00 | 73600.00 | 850.00 | 39100.00 | 4140.00 | Rudraksha Enterprise
26.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Lattice type flood light mast of length not exceeding 16 Mt. | 2.00 | Each |  | 1499.00 | 2998.00 | 2800.00 | 5600.00 | 3500.00 | 7000.00 | 800.00 | 1600.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 3500.00 | 7000.00 | 1600.00 | 3200.00 | 1100.00 | 2200.00 | 1600.00 | Rudraksha Enterprise
27.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Lattice type DG silencer support of length not exceeding 7 Mt. | 2.00 | Each |  | 999.00 | 1998.00 | 1850.00 | 3700.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 300.00 | 600.00 | 1200.00 | 2400.00 | 1200.00 | 2400.00 | 750.00 | 1500.00 | 600.00 | Ascent Electrification Engineers
28.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Perimeter lighting pole 75mm dia up to 3Mt. | 100.00 | Each |  | 99.00 | 9900.00 | 235.00 | 23500.00 | 110.00 | 11000.00 | 40.00 | 4000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 175.00 | 17500.00 | 1100.00 | 110000.00 | 200.00 | 20000.00 | 4000.00 | Rudraksha Enterprise
29.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. H - indicator | 2.00 | Each |  | 1499.00 | 2998.00 | 2800.00 | 5600.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR, Ascent Electrification Engineers
30.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. PAPI Units. | 8.00 | Each |  | 499.00 | 3992.00 | 900.00 | 7200.00 | 500.00 | 4000.00 | 200.00 | 1600.00 | 500.00 | 4000.00 | 100.00 | 800.00 | 200.00 | 1600.00 | 1200.00 | 9600.00 | 1500.00 | 12000.00 | 800.00 | Ascent Electrification Engineers
31.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. Runway/ Taxi Elevated Light | 192.00 | Each |  | 99.00 | 19008.00 | 140.00 | 26880.00 | 50.00 | 9600.00 | 50.00 | 9600.00 | 50.00 | 9600.00 | 50.00 | 9600.00 | 70.00 | 13440.00 | 400.00 | 76800.00 | 80.00 | 15360.00 | 9600.00 | Manish Electricals, Rudraksha Enterprise, M/s BHARAT ELECTRIC, NAGPUR, Ascent Electrification Engineers
32.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. Elevated SAPL Light | 43.00 | Each |  | 99.00 | 4257.00 | 170.00 | 7310.00 | 50.00 | 2150.00 | 50.00 | 2150.00 | 50.00 | 2150.00 | 50.00 | 2150.00 | 80.00 | 3440.00 | 400.00 | 17200.00 | 100.00 | 4300.00 | 2150.00 | Manish Electricals, Rudraksha Enterprise, M/s BHARAT ELECTRIC, NAGPUR, Ascent Electrification Engineers
33.00 | Painting of GLF fitting including base plate in installation position with two coats of synthetic enamel paint of yellow colour of make (Asian / Burzer) to given an even shade including cleaning the surface with detergent etc, as required. Windcone pole and arm | 1.00 | Each |  | 199.00 | 199.00 | 500.00 | 500.00 | 300.00 | 300.00 | 200.00 | 200.00 | 500.00 | 500.00 | 200.00 | 200.00 | 1000.00 | 1000.00 | 400.00 | 400.00 | 3000.00 | 3000.00 | 199.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
34.00 | Spray Painting of sheet metal enclosures of electrical panels inside the power house, Pump room & ATC building & terminal building including cleaning the surface and one coats of grey or any other colour of make (Asian / Berger) including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 50.00 | Square Meter |  | 99.00 | 4950.00 | 140.00 | 7000.00 | 200.00 | 10000.00 | 40.00 | 2000.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 185.00 | 9250.00 | 400.00 | 20000.00 | 100.00 | 5000.00 | 2000.00 | Rudraksha Enterprise
35.00 | Painting of sheet metal enclosures of electrical equipments such as feeder pilars, distribution boards, electrical panel, frame etc. including cleaning the surface and two coats of grey or any other colour of make (Asian / Berger) including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 50.00 | Square Meter |  | 99.00 | 4950.00 | 140.00 | 7000.00 | 200.00 | 10000.00 | 40.00 | 2000.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 185.00 | 9250.00 | 400.00 | 20000.00 | 100.00 | 5000.00 | 2000.00 | Rudraksha Enterprise
36.00 | Painting of Exhaust fan up to 450 mm dia. etc. including cleaning the surface and two coats of grey or any other colour of make (Asian / Berger) including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 30.00 | Each |  | 49.00 | 1470.00 | 65.00 | 1950.00 | 100.00 | 3000.00 | 20.00 | 600.00 | 100.00 | 3000.00 | 80.00 | 2400.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 100.00 | 3000.00 | 600.00 | Rudraksha Enterprise
37.00 | Maintenance of two pole HT structure (11 KV) located in city side area of Rajkot Airport i/c. cleaning of terminals, tighting of nut bolts, to check status of HT fuse and leakage of Insulator, replacing minor spares etc. complete as required as per actual site requirement. | 1.00 | Each |  | 2499.00 | 2499.00 | 4200.00 | 4200.00 | 9000.00 | 9000.00 | 1500.00 | 1500.00 | 7500.00 | 7500.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 14000.00 | 14000.00 | 15000.00 | 15000.00 | 1500.00 | Rudraksha Enterprise
38.00 | Repairing of Ground Flood Light stand (job includes welding, cleaning the surface and painting etc. as required) | 1.00 | Job |  | 4999.00 | 4999.00 | 8500.00 | 8500.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 1200.00 | M/s BHARAT ELECTRIC, NAGPUR
39.00 | Repairing of Hand Dryer (Job includes PCB replacement and all other parts for smooth functioning) | 3.00 | Job |  | 1499.00 | 4497.00 | 2800.00 | 8400.00 | 4000.00 | 12000.00 | 1000.00 | 3000.00 | 2250.00 | 6750.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 3000.00 | 9000.00 | 4000.00 | 12000.00 | 3000.00 | Rudraksha Enterprise, Techno Electricals
40.00 | Maintenance, servicing & upkeeping of automatic air curtains i/c minor repairs, replacement of faulty spares parts (to be supplied by AAI) painting all as reqd. & as specified (Total no. of aircurtains = 10 nos.) | 12.00 | Months |  | 999.00 | 11988.00 | 1400.00 | 16800.00 | 5000.00 | 60000.00 | 1000.00 | 12000.00 | 1000.00 | 12000.00 | 1000.00 | 12000.00 | 1500.00 | 18000.00 | 5000.00 | 60000.00 | 5000.00 | 60000.00 | 11988.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
41.00 | Annual Maintenance of platform type electronic weighing scale, i/c remote display unit installed at departure area by attending any numbers of breakdown calls including carring out of Government stamping/ Calibration, repairing/ replacement of PCB, Repair or Replacement of working parts, necessitated by fair wear and tear such as Key sheets, Rubber legs, "O" Rings, Fasteners, Electronic components, Transformer, adaptor, Solenoid coil and cables etc, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract (Each one job/set per year). | 7.00 | Each |  | 1999.00 | 13993.00 | 1700.00 | 11900.00 | 2000.00 | 14000.00 | 1000.00 | 7000.00 | 1000.00 | 7000.00 | 1200.00 | 8400.00 | 3000.00 | 21000.00 | 7000.00 | 49000.00 | 9500.00 | 66500.00 | 7000.00 | Rudraksha Enterprise, M/s BHARAT ELECTRIC, NAGPUR
42.00 | Complete items of CPWD SCHEDULE OF RATES (ELECTRICAL)-PART I & II, DSR-2018 as and when required as per site. (Rates Shall be quoted in multiples e.g. 0.99 or 1.01% Below / Above, correspondingly amount shall be 1,20,000 x 0.99 = 1,18,000 or 1,20,000 x 1.01 = 1,21,200) | 120000.00 | Rs. |  | .80 | 96000.00 | 1.00 | 120000.00 | .70 | 84000.00 | .80 | 96000.00 | .70 | 84000.00 | .70 | 84000.00 | .90 | 108000.00 | 1.00 | 120000.00 | .90 | 108000.00 | 84000.00 | Manish Electricals, M/s BHARAT ELECTRIC, NAGPUR, Ascent Electrification Engineers
| Total in Figures |  |  |  |  | 7064874.00 |  | 6800290.00 |  | 6017537.00 |  | 5630190.00 |  | 5825200.00 |  | 5938678.60 |  | 6109505.00 |  | 6961630.00 |  | 6150275.00
Lowest Amount Quoted BY: Rudraksha Enterprise(5630190.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for E and M Installations at C. A. Rajkot. For 1 year (Yr 2022-23) Tender ID: 2022_AAI_111171_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rudraksha Enterprise | 5630190.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 5825200.00 | L2
| 3 | Ascent Electrification Engineers | 5938678.60 | L3
| 4 | Manish Electricals | 6017537.00 | L4
| 5 | Techno Electricals | 6109505.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED | 6150275.00 | L6
| 7 | CENTRE TAP ENGINEERING | 6800290.00 | L7
| 8 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 6961630.00 | L8
| 9 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 7064874.00 | L9