## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 27-Apr-2022 04:12 PM Tender Title: Supply of day to day Electrical Spares for E and M Installations at JPNI Airport Patna for year 21 22 Tender ID: 2022_AAI_111234_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna
Name of Work: Supply of day to day electrical Spares for E & M Installations at JPNI Airport Patna for year 2021-2022.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S COOL CONTROL(GSTN-10ALLPK6251D1ZJ) |  | SHREE NURSING TIMER AND ELECTRIC STORES(GSTN-19AAQFS7594F1ZC) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following type of contactors , 240 V/415 V, 50 Hz, Suitable for Inductive loads Make:L&T or equivalent.
1.01 | 32A 3P(With 1 NO, 1 NC) Model: CS94101 | 10.00 | Each |  | 870.00 | 8700.00 | 2371.00 | 23710.00 | 825.00 | 8250.00 | 8250.00 | ABHISHEK INTEGRATIONS LIMITED
1.02 | 32A FP | 3.00 | Each |  | 725.00 | 2175.00 | 787.00 | 2361.00 | 836.00 | 2508.00 | 2175.00 | M/S COOL CONTROL
1.03 | 63A FP | 3.00 | Each |  | 2810.00 | 8430.00 | 3033.00 | 9099.00 | 3850.00 | 11550.00 | 8430.00 | M/S COOL CONTROL
2.00 | Supply of Eletrical Panel Lock suitable for existing panel or as per required. | 60.00 | Each |  | 16.00 | 960.00 | 29.00 | 1740.00 | 55.00 | 3300.00 | 960.00 | M/S COOL CONTROL
3.00 | Supply of following type of MCB Isolators , 240 V/415 V, 50 Hz, Suitable for inductive load. Make L&T or Equivalent.
3.01 | 40 A TP | 5.00 | Each |  | 505.00 | 2525.00 | 563.00 | 2815.00 | 449.00 | 2245.00 | 2245.00 | ABHISHEK INTEGRATIONS LIMITED
3.02 | 63A FP | 5.00 | Each |  | 804.00 | 4020.00 | 723.00 | 3615.00 | 602.00 | 3010.00 | 3010.00 | ABHISHEK INTEGRATIONS LIMITED
3.03 | 100A FP | 5.00 | Each |  | 1015.00 | 5075.00 | 893.00 | 4465.00 | 732.00 | 3660.00 | 3660.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Supply of following wattagte LED Power Supply driver working on 230 Volt, 50 Hz, AC Supply with Overcurrent, Overvoltage & Short circuit protection etc complete as required..(Make : osram or equivalent).
4.01 | 18W | 10.00 | Each |  | 995.00 | 9950.00 | 468.00 | 4680.00 | 264.00 | 2640.00 | 2640.00 | ABHISHEK INTEGRATIONS LIMITED
4.02 | 35W | 10.00 | Each |  | 1805.00 | 18050.00 | 702.00 | 7020.00 | 385.00 | 3850.00 | 3850.00 | ABHISHEK INTEGRATIONS LIMITED
4.03 | 50 W | 5.00 | Each |  | 1415.00 | 7075.00 | 702.00 | 3510.00 | 495.00 | 2475.00 | 2475.00 | ABHISHEK INTEGRATIONS LIMITED
4.04 | 130 W | 5.00 | Each |  | 4600.00 | 23000.00 | 2106.00 | 10530.00 | 1210.00 | 6050.00 | 6050.00 | ABHISHEK INTEGRATIONS LIMITED
4.05 | 180 W | 5.00 | Each |  | 2550.00 | 12750.00 | 2574.00 | 12870.00 | 1650.00 | 8250.00 | 8250.00 | ABHISHEK INTEGRATIONS LIMITED
4.06 | 250 W | 5.00 | Each |  | 6310.00 | 31550.00 | 3276.00 | 16380.00 | 2200.00 | 11000.00 | 11000.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Supply of indicator lamp suitable for Essential and Non Essential panel.Make: L&T or equivalent..
5.01 | Red | 50.00 | Each |  | 132.00 | 6600.00 | 82.00 | 4100.00 | 138.00 | 6900.00 | 4100.00 | SHREE NURSING TIMER AND ELECTRIC STORES
5.02 | Green | 20.00 | Each |  | 132.00 | 2640.00 | 82.00 | 1640.00 | 138.00 | 2760.00 | 1640.00 | SHREE NURSING TIMER AND ELECTRIC STORES
5.03 | Yellow | 50.00 | Each |  | 132.00 | 6600.00 | 82.00 | 4100.00 | 138.00 | 6900.00 | 4100.00 | SHREE NURSING TIMER AND ELECTRIC STORES
5.04 | Blue | 50.00 | Each |  | 132.00 | 6600.00 | 466.00 | 23300.00 | 138.00 | 6900.00 | 6600.00 | M/S COOL CONTROL
6.00 | Supply of 18 Watts LED batten type tubeligt(4 ft.) ultra slim with extruded polycarbonate , Suitable for 230V, 50Hz, AC Supply.(Model LHEXACP7PN1W018) Make: Havells or equivalent. | 20.00 | Each |  | 186.00 | 3720.00 | 466.00 | 9320.00 | 220.00 | 4400.00 | 3720.00 | M/S COOL CONTROL
7.00 | Supply of following type of 'C' Series MCBs, 240 V/415 V, 50 Hz, 10 kA Suitable for Motor and other Inductive loads .
7.01 | 32A, DP, MCB | 15.00 | Each |  | 495.00 | 7425.00 | 466.00 | 6990.00 | 423.00 | 6345.00 | 6345.00 | ABHISHEK INTEGRATIONS LIMITED
7.02 | 63A, DP, MCB | 10.00 | Each |  | 830.00 | 8300.00 | 650.00 | 6500.00 | 682.00 | 6820.00 | 6500.00 | SHREE NURSING TIMER AND ELECTRIC STORES
7.03 | 32A, TP, MCB | 10.00 | Each |  | 840.00 | 8400.00 | 666.00 | 6660.00 | 684.00 | 6840.00 | 6660.00 | SHREE NURSING TIMER AND ELECTRIC STORES
7.04 | 63A, TP, MCB | 5.00 | Each |  | 1260.00 | 6300.00 | 1006.00 | 5030.00 | 1051.00 | 5255.00 | 5030.00 | SHREE NURSING TIMER AND ELECTRIC STORES
7.05 | 32A, FP, MCB | 5.00 | Each |  | 1115.00 | 5575.00 | 887.00 | 4435.00 | 921.00 | 4605.00 | 4435.00 | SHREE NURSING TIMER AND ELECTRIC STORES
7.06 | 63A, FP, MCB | 5.00 | Each |  | 1625.00 | 8125.00 | 1278.00 | 6390.00 | 1320.00 | 6600.00 | 6390.00 | SHREE NURSING TIMER AND ELECTRIC STORES
8.00 | Supply of following modular type Switches / Sockets/ Plug Top/Door Bell suitable to work on 230V ± 10%, 50Hz, AC Supply. Make-Anchor, ISI Marked, Colour - White.
8.01 | 6A/10A 1way Switch. (Modular) | 200.00 | Each |  | 24.00 | 4800.00 | 45.00 | 9000.00 | 36.00 | 7200.00 | 4800.00 | M/S COOL CONTROL
8.02 | 6A/10A 1way Bell Push (Modular) | 10.00 | Each |  | 46.00 | 460.00 | 93.00 | 930.00 | 90.00 | 900.00 | 460.00 | M/S COOL CONTROL
8.03 | 16/20A 1way Switch. (Modular) | 100.00 | Each |  | 59.00 | 5900.00 | 101.00 | 10100.00 | 106.00 | 10600.00 | 5900.00 | M/S COOL CONTROL
8.04 | 6A/10A, 2 in 1 socket with shutter (Modular) | 200.00 | Each |  | 65.00 | 13000.00 | 98.00 | 19600.00 | 176.00 | 35200.00 | 13000.00 | M/S COOL CONTROL
8.05 | 16/20A , Socket with shutter (Modular) | 100.00 | Each |  | 102.00 | 10200.00 | 161.00 | 16100.00 | 149.00 | 14900.00 | 10200.00 | M/S COOL CONTROL
8.06 | Wireless door bell with selectable tune (22720) | 5.00 | Each |  | 505.00 | 2525.00 | 538.00 | 2690.00 | 742.00 | 3710.00 | 2525.00 | M/S COOL CONTROL
9.00 | Supply of Oil Filled Capacitor for fan with wire terminals suitable to work on 230V ± 10%, 50Hz, AC Supply.
9.01 | 2.5 MFD | 20.00 | Each |  | 20.00 | 400.00 | 29.00 | 580.00 | 39.00 | 780.00 | 400.00 | M/S COOL CONTROL
9.02 | 4 MFD | 20.00 | Each |  | 28.00 | 560.00 | 49.00 | 980.00 | 99.00 | 1980.00 | 560.00 | M/S COOL CONTROL
10.00 | Supply of the following size of PVC conduit pipe of medium duty,ISI marks.
10.01 | 20mm Conduit | 210.00 | Mtr |  | 19.00 | 3990.00 | 29.00 | 6090.00 | 21.00 | 4410.00 | 3990.00 | M/S COOL CONTROL
10.02 | 25mm Conduit | 210.00 | Mtr |  | 29.00 | 6090.00 | 40.00 | 8400.00 | 33.00 | 6930.00 | 6090.00 | M/S COOL CONTROL
11.00 | Supply of the following size fire retardent poly propylene corrugated flexible conduit pipes. Make Precision or equivalent. ( colour: white or Grey)
11.01 | 20 mm | 50.00 | Mtr |  | 11.00 | 550.00 | 9.00 | 450.00 | 17.00 | 850.00 | 450.00 | SHREE NURSING TIMER AND ELECTRIC STORES
11.02 | 25mm | 50.00 | Mtr |  | 14.00 | 700.00 | 13.00 | 650.00 | 25.00 | 1250.00 | 650.00 | SHREE NURSING TIMER AND ELECTRIC STORES
12.00 | supply of pvc Elbow of following size as per required.
12.01 | 20 mm | 50.00 | Each |  | 8.00 | 400.00 | 8.00 | 400.00 | 7.00 | 350.00 | 350.00 | ABHISHEK INTEGRATIONS LIMITED
12.02 | 25 mm | 50.00 | Each |  | 13.00 | 650.00 | 11.00 | 550.00 | 10.00 | 500.00 | 500.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | supply of pvc Bend of following size as per required.
13.01 | 20 mm | 100.00 | Each |  | 9.00 | 900.00 | 9.00 | 900.00 | 7.00 | 700.00 | 700.00 | ABHISHEK INTEGRATIONS LIMITED
13.02 | 25 mm | 100.00 | Each |  | 14.00 | 1400.00 | 16.00 | 1600.00 | 9.00 | 900.00 | 900.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | supply of pvc saddle of following size as per required.
14.01 | 20 mm | 500.00 | Each |  | 8.00 | 4000.00 | 19.00 | 9500.00 | 6.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
14.02 | 25 mm | 500.00 | Each |  | 9.00 | 4500.00 | 22.00 | 11000.00 | 8.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Supply of the following size MS conduit pipe,ISI markes ,Colour :Black
15.01 | 20mm Conduit | 100.00 | Mtr |  | 35.00 | 3500.00 | 85.00 | 8500.00 | 90.00 | 9000.00 | 3500.00 | M/S COOL CONTROL
15.02 | 25mm Conduit | 100.00 | Mtr |  | 39.00 | 3900.00 | 108.00 | 10800.00 | 107.00 | 10700.00 | 3900.00 | M/S COOL CONTROL
16.00 | Supply of the following size Galvanized steel flexible conduit pipe. Make Precision or equivalent.
16.01 | 20mm | 50.00 | Mtr |  | 33.00 | 1650.00 | 26.00 | 1300.00 | 140.00 | 7000.00 | 1300.00 | SHREE NURSING TIMER AND ELECTRIC STORES
16.02 | 25mm | 50.00 | Mtr |  | 46.00 | 2300.00 | 36.00 | 1800.00 | 161.00 | 8050.00 | 1800.00 | SHREE NURSING TIMER AND ELECTRIC STORES
17.00 | Supply of following module type PVC Cover Plates with Base Frame suitable to work on 230V ± 10%, 50Hz, AC Supply. ISI Marked, Colour - White/Grey.
17.01 | 3 Module | 40.00 | Each |  | 56.00 | 2240.00 | 296.00 | 11840.00 | 68.00 | 2720.00 | 2240.00 | M/S COOL CONTROL
18.00 | Supply 35 sq mm aluminium lugs(Long Barrel) .(Make Dowells) | 100.00 | Each |  | 7.00 | 700.00 | 10.00 | 1000.00 | 10.00 | 1000.00 | 700.00 | M/S COOL CONTROL
19.00 | Supply of Copper lugs for following size as required.(Make:Dowells or equivalent)
19.01 | 25 sq mm | 50.00 | Each |  | 15.00 | 750.00 | 24.00 | 1200.00 | 25.00 | 1250.00 | 750.00 | M/S COOL CONTROL
19.02 | 35 sq mm | 50.00 | Each |  | 17.00 | 850.00 | 26.00 | 1300.00 | 40.00 | 2000.00 | 850.00 | M/S COOL CONTROL
19.03 | 50 sq mm | 50.00 | Each |  | 21.00 | 1050.00 | 35.00 | 1750.00 | 66.00 | 3300.00 | 1050.00 | M/S COOL CONTROL
20.00 | Supply of Al. Ferrul of following size as per required.(Make:Dowells or equivalent)
20.01 | 10 sqmm | 100.00 | Each |  | 3.00 | 300.00 | 2.00 | 200.00 | 4.00 | 400.00 | 200.00 | SHREE NURSING TIMER AND ELECTRIC STORES
20.02 | 16 sqmm | 100.00 | Each |  | 3.00 | 300.00 | 3.00 | 300.00 | 5.00 | 500.00 | 300.00 | M/S COOL CONTROL, SHREE NURSING TIMER AND ELECTRIC STORES
20.03 | 25 sqmm | 100.00 | Each |  | 3.00 | 300.00 | 5.00 | 500.00 | 6.00 | 600.00 | 300.00 | M/S COOL CONTROL
20.04 | 35 sqmm | 100.00 | Each |  | 3.00 | 300.00 | 5.00 | 500.00 | 7.00 | 700.00 | 300.00 | M/S COOL CONTROL
20.05 | 50 sqmm | 100.00 | Each |  | 5.00 | 500.00 | 10.00 | 1000.00 | 10.00 | 1000.00 | 500.00 | M/S COOL CONTROL
20.06 | 70 sqmm | 100.00 | Each |  | 13.00 | 1300.00 | 16.00 | 1600.00 | 18.00 | 1800.00 | 1300.00 | M/S COOL CONTROL
21.00 | Supply of brass compression gland suitabe for following size cable.
21.01 | 3 x 16 Sq. mm. Al Cable armoured cable. | 20.00 | Each |  | 38.00 | 760.00 | 80.00 | 1600.00 | 143.00 | 2860.00 | 760.00 | M/S COOL CONTROL
21.02 | 3.5 x 25. Sq. mm. Al Cable armoured cable. | 20.00 | Each |  | 24.00 | 480.00 | 116.00 | 2320.00 | 198.00 | 3960.00 | 480.00 | M/S COOL CONTROL
21.03 | 3.5 x 35 Sq. mm. Al Cable armoured cable. | 20.00 | Each |  | 155.00 | 3100.00 | 143.00 | 2860.00 | 198.00 | 3960.00 | 2860.00 | SHREE NURSING TIMER AND ELECTRIC STORES
21.04 | 3.5 x 50 Sq. mm. Al Cable armoured cable. | 20.00 | Each |  | 295.00 | 5900.00 | 193.00 | 3860.00 | 275.00 | 5500.00 | 3860.00 | SHREE NURSING TIMER AND ELECTRIC STORES
22.00 | Supply of digital Clamp meter with all its accessories suitable for measurement of (a) AC Voltage of range 6V-60V-600V-750V with of accuracy of 1.2% (b) DC Volatge of range 600 mV-6V-60V-600V-1000V with of accuracy of 0.8% © AC Current 60A-600A-1000A with accuracy 2.5% (d) Resistance 600ohem -6Kohm-60Kohm--600KOhm-6Mohm-60Mohm with accurancy of 1.2% (e) Frequency 10Hz -10MHz with Accuracy of 0.5% (f) Capacitance of 6nFarad-60nFarad-600nFarad-6 MicroFarad-60-MicroFarad Jaw size of the clapm meter shall be 52 mm Dia.with provision of Diode test, continuity test, data Hold, Back Light facility Available.Make meco or equivalent. | 1.00 | Each |  | 1990.00 | 1990.00 | 2306.00 | 2306.00 | 7557.00 | 7557.00 | 1990.00 | M/S COOL CONTROL
23.00 | Supply of terminal Digital earth resistance tester with dual resistance range (0-10-1000 ohms). The instrument shall has ve provision of rechargeable battery with in buit charger with all its accessories as complete as required for its operation. | 1.00 | Each |  | 4550.00 | 4550.00 | 4902.00 | 4902.00 | 4477.00 | 4477.00 | 4477.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Supply of digital Multimeter with all its accessories suitable for measurement of (a) AC Voltage of range 60/600mV/6/60/600/750V (b) DC Volatge of range 60/600mV/6/60/600/1000V (c) DC Current of 600/6000µA/60/600mA/6/20A (d) AC Current of 600/6000µA/60/600mA/6/20A (e) Resistance of 600Ω/6/60/600KΩ/6/60MΩ (f) Capacitance of 9.999/99.99/999.9nF/9.999/99.99/999.9µF/9.999mF (g) Frequency of 99.99Hz~10.00Mz of sensitivity 1V~36V AC (h) Duty Cycle of 0.1%~99.99% of sensitivity 1V~36V AC Accessories- One pair of Test Leads , Holster, Battery(intalled), Instruction Manual. Make Meco Model | 1.00 | Each |  | 1850.00 | 1850.00 | 2371.00 | 2371.00 | 2453.00 | 2453.00 | 1850.00 | M/S COOL CONTROL
25.00 | Supply of following size of PVC insulated unsheathead bright anneales Copper Conductor cable suitable to work upto 1100V, AC Supply confirming to IS:694 upto date amendments etc complete as required.
25.01 | 3C X 1.5 Sq mm | 300.00 | Mtr |  | 65.00 | 19500.00 | 59.00 | 17700.00 | 61.00 | 18300.00 | 17700.00 | SHREE NURSING TIMER AND ELECTRIC STORES
25.02 | 3C X 2.5 Sq mm | 200.00 | Mtr |  | 102.00 | 20400.00 | 94.00 | 18800.00 | 92.00 | 18400.00 | 18400.00 | ABHISHEK INTEGRATIONS LIMITED
25.03 | 3C X 4 Sq mm | 200.00 | Mtr |  | 156.00 | 31200.00 | 149.00 | 29800.00 | 150.00 | 30000.00 | 29800.00 | SHREE NURSING TIMER AND ELECTRIC STORES
26.00 | Supply of silica gel suitable for transformer. | 3.00 | kg |  | 995.00 | 2985.00 | 210.00 | 630.00 | 460.00 | 1380.00 | 630.00 | SHREE NURSING TIMER AND ELECTRIC STORES
27.00 | Supply of HT TAPES Scotch 23 Self Bonding (size: 9.15meter X38MM X 0.75 MM) | 10.00 | Roll |  | 305.00 | 3050.00 | 561.00 | 5610.00 | 935.00 | 9350.00 | 3050.00 | M/S COOL CONTROL
28.00 | Supply of Usha Quartz Room Heater 800 watt with overheating protection(ivory) for 230 V, 50Hz Supply. | 10.00 | Each |  | 1230.00 | 12300.00 | 1281.00 | 12810.00 | 2497.00 | 24970.00 | 12300.00 | M/S COOL CONTROL
29.00 | Supply of the following height of Alluminium stool type folding ladder as per Design No. AL-201/8818, sides made up of Zig-Zag heavy duty shape section size 75X35X3.5 as per IS: 733-1983 temper T-6, steps of 63mm wide, platform on top of size- 16" X 12" inches and bottom end with non slippery rubber pad .(Make: Sumer or equivalent.)
29.01 | 8 Feet | 2.00 | Each |  | 9300.00 | 18600.00 | 14274.00 | 28548.00 | 11000.00 | 22000.00 | 18600.00 | M/S COOL CONTROL
29.02 | 12 Feet | 2.00 | Each |  | 15450.00 | 30900.00 | 20124.00 | 40248.00 | 16500.00 | 33000.00 | 30900.00 | M/S COOL CONTROL
29.03 | 14 Feet | 2.00 | Each |  | 20500.00 | 41000.00 | 23049.00 | 46098.00 | 19250.00 | 38500.00 | 38500.00 | ABHISHEK INTEGRATIONS LIMITED
29.04 | 16 Feet | 2.00 | Each |  | 23400.00 | 46800.00 | 25974.00 | 51948.00 | 22000.00 | 44000.00 | 44000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 530875.00 |  | 596781.00 |  | 551960.00
Lowest Amount Quoted BY: M/S COOL CONTROL(530875.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of day to day Electrical Spares for E and M Installations at JPNI Airport Patna for year 21 22 Tender ID: 2022_AAI_111234_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S COOL CONTROL | 530875.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 551960.00 | L2
| 3 | SHREE NURSING TIMER AND ELECTRIC STORES | 596781.00 | L3