## BoQ1
Government eProcurement System Created By: Subhra Santa Ghosh Created Date/Time: 27-Apr-2022 05:33 PM Tender Title: Replacement of Passenger Elevator in Terminal Building at Bagdogra Airport including AICMC for 5 Years (after 2 years DLP) at Bagdogra Airport. Tender ID: 2022_AAI_111510_1
Tender Inviting Authority: SM (E-E)
Name of Work: Replacement of Passenger Elevator in Terminal Building at Bagdogra Airport including AICMC for 5 Years (after 2 years DLP) at Bagdogra Airport.
Contract No: 2022_AAI_111510_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Escon elevators Pvt Ltd(GSTN-27AAACE0977F1ZQ) |  | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9) |  | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing & commissioning of with Machine Room electric traction type Elevator of 16 passengers, 1088 KG Capacity, 2 Stops, 2 openings and entrance at front side on all the serving floors, automatic centre opening full Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 4.2 mtrs. (Approx). and type suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency (VVVF) type traction control, minimum speed of 1 Mtr./sec , electromagnetic brake system, simplex mode operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP / DOWN direction, light fixtures, ventilation fan, etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Device (MRD) in the event of power failure etc., as required. The traction motor in machine room of Elevator shall be of gearless type. Elevators shall be BMS compatible. (Including Warranty/ Defect Liability Period of 2 years) | 1.00 | Job | 1728814.00 | 1925000.00 | 1925000.00 | 1600000.00 | 1600000.00 | 1975000.00 | 1975000.00 | 1600000.00 | OMEGA ELEVATORS
2.00 | Dismantling of existing Elevator(16 Passengers, Ground+1) installed at terminal building including all types of accessories/parts like motor/steel ropes/driving sheaves/pulley/control panel/governor unit/counter weight assemblies etc. and keeping the same in AAI store (within 50 Mtr. distance) as per site condition and as directed by Engineer-in-Charge. | 1.00 | Job | 20000.00 | 20000.00 | 20000.00 | 45000.00 | 45000.00 | 30000.00 | 30000.00 | 20000.00 | Escon elevators Pvt Ltd
3.00 | All inclusive Comprehensive Maintenance Conrtract (AICMC) of 1 no. of 16 passenger elevator (i.e. BOQ Item of Sl. No-1) for 5 years (after defect liability period of 2 years)
3.10 | Year - 1 (4.50% of SITC cost i.e. total of Sl. No:01) | 1.00 | Job | 77796.63 | 86625.00 | 86625.00 | 72000.00 | 72000.00 | 88875.00 | 88875.00 | 72000.00 | OMEGA ELEVATORS
3.20 | Year - 2 (6.00% cumulative enhancement on Year - 1 AICMC cost) | 1.00 | Job | 82464.43 | 91822.50 | 91822.50 | 76320.00 | 76320.00 | 94207.50 | 94207.50 | 76320.00 | OMEGA ELEVATORS
3.30 | Year - 3 (6.00% cumulative enhancement on Year - 2 AICMC cost) | 1.00 | Job | 87412.29 | 97331.85 | 97331.85 | 80899.20 | 80899.20 | 99859.95 | 99859.95 | 80899.20 | OMEGA ELEVATORS
3.40 | Year - 4 (6.00% cumulative enhancement on Year - 3 AICMC cost) | 1.00 | Job | 92657.03 | 103171.76 | 103171.76 | 85753.15 | 85753.15 | 105851.55 | 105851.55 | 85753.15 | OMEGA ELEVATORS
3.50 | Year - 5 (6.00% cumulative enhancement on Year - 4 AICMC cost) | 1.00 | Job | 98216.45 | 109362.07 | 109362.07 | 90898.34 | 90898.34 | 112202.64 | 112202.64 | 90898.34 | OMEGA ELEVATORS
| Total in Figures |  |  |  |  | 2433313.18 |  | 2050870.69 |  | 2505996.64
Lowest Amount Quoted BY: OMEGA ELEVATORS(2050870.69)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Passenger Elevator in Terminal Building at Bagdogra Airport including AICMC for 5 Years (after 2 years DLP) at Bagdogra Airport. Tender ID: 2022_AAI_111510_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OMEGA ELEVATORS | 2050870.69 | L1
| 2 | Escon elevators Pvt Ltd | 2433313.18 | L2
| 3 | Johnson Lifts Pvt Ltd | 2505996.64 | L3