## BoQ1
Government eProcurement System Created By: Krishna Kumar Soni Created Date/Time: 06-May-2022 12:22 PM Tender Title: ARMO 2022 24. SH Job contract for operation and maintenance of Electrical installations of operation area including GLF and old power house at S.V. Airport, Raipur. Tender ID: 2022_AAI_111529_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: ARMO 2022-24. SH:- Job contract for operation & maintenance of Electrical installations of operation area including GLF and old power house at S.V. Airport, Raipur.
Contract No: 2022_AAI_111529
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA) |  | JAI ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation & maintenance of all GLF system comprising runway edge, taxiways, isolation bay edge lighting, apron edge lighting, approach lighting, PAPI system , CCR panels and apron high mast lighting, electrical installation of ILS, DVOR, ATC building, fire station, MT section, other buildings of operational area, perimeter lighting and other area lighting of operational area which involves repair, maintenance and attending to complaint/fault/breakdowns and taking rectification action ensuring serviceability/satisfactory working condition of the system, carrying out preventive maintenance, maintenance of records and documentation etc. round the clock on all days i/c sundays, holidays etc. as required. | 24.00 | Month | 690778.00 | 623000.00 | 14952000.00 | 641000.00 | 15384000.00 | 646875.00 | 15525000.00 | 612485.00 | 14699640.00 | 613681.00 | 14728344.00 | 592208.00 | 14212992.00 | 618975.00 | 14855400.00 | 14212992.00 | SAURABH ENTERPRISES
2.00 | Spray painting of fire hydrant boxes, electrical panels, feeder pillar box, DBs, metal structures, members, equipments etc., with two coats of synthetic enamel paint of approved colour (all shades except black or chocolate shade) by using spray gun to give an even shade including cleaning the rusted area, scrapping of surface, applying metal primer on rusted surface, covering of meters, switches, glass etc. with masking stickers etc.,as required. | 25.00 | Sqm | 155.00 | 125.00 | 3125.00 | 225.00 | 5625.00 | 150.00 | 3750.00 | 300.00 | 7500.00 | 110.00 | 2750.00 | 150.00 | 3750.00 | 100.00 | 2500.00 | 2500.00 | JAI ENTERPRISES
3.00 | Painting of following MS street light pole, using one coat of metal primer on rusted surface and two coats of approved aluminium paint including scrapping and thoroughly cleaning the surface, as required as per the directions of Engineer-in-Charge.
4.00 | (a) Above 4 Mtr. up to 9 Mtr. Street light poles (including upto 1.5 meter arm bracket) | 15.00 | Each | 344.00 | 250.00 | 3750.00 | 375.00 | 5625.00 | 450.00 | 6750.00 | 250.00 | 3750.00 | 605.00 | 9075.00 | 170.00 | 2550.00 | 60.00 | 900.00 | 900.00 | JAI ENTERPRISES
5.00 | (b) Up to 4 Mtr. Street light poles (including upto 1.5 meter arm bracket) | 177.00 | Each | 116.00 | 250.00 | 44250.00 | 225.00 | 39825.00 | 250.00 | 44250.00 | 100.00 | 17700.00 | 165.00 | 29205.00 | 125.00 | 22125.00 | 60.00 | 10620.00 | 10620.00 | JAI ENTERPRISES
6.00 | Complete items of CPWD schedule of rates electrical - 2018. Executions of DSR items 2018 (Electrical) of amount Rs. 4,00,000/- (Rate shall be quoted in % age above/below which shall be including GST). | 400000.00 | Rs. | 1.00 | 1.05 | 420000.00 | .90 | 360000.00 | .90 | 360000.00 | .75 | 300000.00 | .80 | 320000.00 | .40 | 160000.00 | .95 | 380000.00 | 160000.00 | SAURABH ENTERPRISES
7.00 | Supply of following spares suitable for 200W halogen type double optic HIRL fitting confirming to ICAO specification. (Make: Osram/ Philips/ AMA or its equivalent)
8.00 | (a) 200W, 6.6A Halogen Lamps with PK-30d base with male Connector (Cat No: 64382 HLX-C 200-15 [Osram] or its equivalent). | 10.00 | Each | 864.00 | 840.00 | 8400.00 | 950.00 | 9500.00 | 550.00 | 5500.00 | 900.00 | 9000.00 | 971.00 | 9710.00 | 850.00 | 8500.00 | 500.00 | 5000.00 | 5000.00 | JAI ENTERPRISES
9.00 | (b) 200W, 6.6A Bi-pin Halogen Lamp Suitable for AMA runway light fixtures. (Cat No: 64386 [Osram] or its equivalent). | 50.00 | Each | 341.00 | 420.00 | 21000.00 | 450.00 | 22500.00 | 500.00 | 25000.00 | 435.00 | 21750.00 | 404.00 | 20200.00 | 650.00 | 32500.00 | 375.00 | 18750.00 | 18750.00 | JAI ENTERPRISES
10.00 | (c)Bi-Pin Lamp Holder suitable for 200W & 45W, 6.6 A halogen lamp. | 50.00 | Each | 273.00 | 470.00 | 23500.00 | 225.00 | 11250.00 | 500.00 | 25000.00 | 250.00 | 12500.00 | 446.00 | 22300.00 | 450.00 | 22500.00 | 210.00 | 10500.00 | 10500.00 | JAI ENTERPRISES
11.00 | Supply of following type 5KV grade 50 HZ, series type Isolating transformer encapsulated in polyster resin finally moulded in neoprene rubber with primary and secondary connection as specified in particular specifications. (Make: AMA/Bildal or equivalent)
12.00 | (a) 20A/6.6A of 15 W | 20.00 | Each | 2363.00 | 3050.00 | 61000.00 | 3000.00 | 60000.00 | 2850.00 | 57000.00 | 3000.00 | 60000.00 | 3675.00 | 73500.00 | 2750.00 | 55000.00 | 1800.00 | 36000.00 | 36000.00 | JAI ENTERPRISES
13.00 | (b) 20A/6.6A of 200 W | 20.00 | Each | 3636.00 | 4200.00 | 84000.00 | 3000.00 | 60000.00 | 3850.00 | 77000.00 | 5750.00 | 115000.00 | 3675.00 | 73500.00 | 4450.00 | 89000.00 | 3200.00 | 64000.00 | 60000.00 | Techno Electricals
14.00 | Supply of 5KV grade plug & receptacle of type-1 class-B connector & suitable field attachment suitable for following sizes 5 KV grade PVC insulated PVC sheathed single core standard copper conductor cable confirming to IS:1554 (Part-I) etc. as reqd.
15.00 | (a) 6 Sq.mm | 50.00 | Each | 409.00 | 480.00 | 24000.00 | 350.00 | 17500.00 | 305.00 | 15250.00 | 410.00 | 20500.00 | 378.00 | 18900.00 | 550.00 | 27500.00 | 220.00 | 11000.00 | 11000.00 | JAI ENTERPRISES
16.00 | (b) 16 Sq. mm | 50.00 | Each | 409.00 | 480.00 | 24000.00 | 350.00 | 17500.00 | 310.00 | 15500.00 | 410.00 | 20500.00 | 378.00 | 18900.00 | 550.00 | 27500.00 | 220.00 | 11000.00 | 11000.00 | JAI ENTERPRISES
17.00 | Providing 01 No. Vehicle i.e. TATA Sumo/Mahindra Bolero, Mahindra Camper or Equivalent, Vehicle model or as per direction of Engineer-in-charge for full month including Saturday, Sunday and all national holidays without driver in two shifts per day (One shift of 08 Hrs. total 16 Hrs.) for each vehicle with fuel expenses, minor and major maintenance etc. has to be carried out by agency without any delay, limited to 1200 Kms per vehicle per month as per condition of contract. | 24.00 | Month | 32479.00 | 85000.00 | 2040000.00 | 45000.00 | 1080000.00 | 35000.00 | 840000.00 | 39000.00 | 936000.00 | 16500.00 | 396000.00 | 35000.00 | 840000.00 | 28000.00 | 672000.00 | 396000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 17709025.00 |  | 17073325.00 |  | 17000000.00 |  | 16223840.00 |  | 15722384.00 |  | 15503917.00 |  | 16077670.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(15503917.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 2022 24. SH Job contract for operation and maintenance of Electrical installations of operation area including GLF and old power house at S.V. Airport, Raipur. Tender ID: 2022_AAI_111529_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 15503917.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 15722384.00 | L2
| 3 | JAI ENTERPRISES | 16077670.00 | L3
| 4 | Manish Electricals | 16223840.00 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 17000000.00 | L5
| 6 | Techno Electricals | 17073325.00 | L6
| 7 | Comfort Zone | 17709025.00 | L7