## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 28-Apr-2022 04:32 PM Tender Title: AMC of fire alarm, fire detection and fire fighting system at Tezpur Airport (2022-25) Tender ID: 2022_AAI_111742_1
Tender Inviting Authority:
Name of Work: AMC of fire alarm, fire detection and fire fighting system at Tezpur Airport (2022-25).
Contract No: 2022_AAI_111742_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I - AMC of fire work
2.00 | Annual service contract for complete fire alarm cum detection system of Tezpur Airport as per inventory of Microprocessor based two loop, analog intelligent addressible type fire alarm control panel (Make honeywell) including inspection of system once in a month, servicing of detectors , sensors , panels etc, replacement of minor spares like LED, Diode, transistor, IC etc all areas of Tezpur Airport including attending complains/breakdown and taking rectification action as required ensuring servicebility / satisfactorily working condiotion of the system and preventive maintenance by agency at least once in a month as per the detailed specification terms and condition etc complete as required . This also includes labour charges for replacement of any accessories related to complete fire alarm system (spares shall be supplied by AAI ). Detailed Specification: MS- 9600LS Addressable Fire Alarm panel, photo + Heat Detector (make Honeywell )-152 Nos, Short Circuit Isolator (make Honeywell)-10 Nos ,Control Output Module (make Honeywell )-30 Nos , Manual call point (make system sensor )-22 Nos , Hooters (make system sensor )-23 Nos, Response Indicator (make Agni)-47 Nos, 8 Zone PA System(16 Channel, Make AHUJA), Microphone(make Ahuja) and PA Mixer Amplifier-1 Set , Cabinet Louds Speaker (make Bosch)-20 Nos.
3.00 | First Year | 12.00 | Months | 0.00 | 13000.00 | 156000.00 | 11000.00 | 132000.00 | 132000.00 | DOGRA AND DOGRA ENTERPRISES
4.00 | Second Year | 12.00 | Months | 0.00 | 14000.00 | 168000.00 | 12000.00 | 144000.00 | 144000.00 | DOGRA AND DOGRA ENTERPRISES
5.00 | Third Year | 12.00 | Months | 0.00 | 15000.00 | 180000.00 | 13000.00 | 156000.00 | 156000.00 | DOGRA AND DOGRA ENTERPRISES
6.00 | Annual service contract for complete fire Hydrant system as per inventory of all areas of Tezpur Airport including attending to complaints / breakdown and taking rectification action as required ensuring serviceability / satisfactorily working condition of the system and preventive maintenance by agency at least once in a mointh , maintenance of records / documentation records etc as per the detailed specification terms and condition etc complete as required. This also includes labour charges for replacement of any accessories related to complete fire fighting system (spares shall be supplied by AAI ) . Detailed Specification : Fire fighting pump of 20 Hp -2 set, internal Hydrant system with hose cabinate -9 Set , external Hydrant system with hose cabinate -16 set , Air vessel -1 set ,Water head collector -2 set , associated pipe line with valves & Measuring Instrument-1 Lot.
7.00 | First Year | 12.00 | Months | 0.00 | 10000.00 | 120000.00 | 7667.00 | 92004.00 | 92004.00 | DOGRA AND DOGRA ENTERPRISES
8.00 | Second Year | 12.00 | Months | 0.00 | 11000.00 | 132000.00 | 8000.00 | 96000.00 | 96000.00 | DOGRA AND DOGRA ENTERPRISES
9.00 | Third Year | 12.00 | Months | 0.00 | 12000.00 | 144000.00 | 8833.00 | 105996.00 | 105996.00 | DOGRA AND DOGRA ENTERPRISES
10.00 | SH:II - One time Repairing Work
11.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector (Smoke + heat) with inbuilt fault isolator / isolator base and with unique optical sensing chamber , visible LED, fully coated circuit board , superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed as per instruction of EIC | 10.00 | Nos. | 0.00 | 2500.00 | 25000.00 | 3350.00 | 33500.00 | 25000.00 | CENTRE TAP ENGINEERING
12.00 | Supply and drawing of multicore, round flexible ,heavy duty industrial FRLS unarmoured bright annealed copper conductor as per IS 694/1990 with latest ammendment upto date of voltage grade 1.1KV in the existing surface/ recessed steel/ PVC conduit as required. | 735.00 | Meter | 0.00 | 100.00 | 73500.00 | 145.00 | 106575.00 | 73500.00 | CENTRE TAP ENGINEERING
13.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. - 20 mm dia. | 735.00 | Meter | 0.00 | 35.00 | 25725.00 | 110.00 | 80850.00 | 25725.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 1024225.00 |  | 946925.00
Lowest Amount Quoted BY: DOGRA AND DOGRA ENTERPRISES(946925.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of fire alarm, fire detection and fire fighting system at Tezpur Airport (2022-25) Tender ID: 2022_AAI_111742_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DOGRA AND DOGRA ENTERPRISES | 946925.00 | L1
| 2 | CENTRE TAP ENGINEERING | 1024225.00 | L2